# Appendix

The price of land varies greatly in different regions of the world, and even in the countries bordering the Persian Gulf and the Sea of ​​Oman, it varies greatly. However, for the northern coast of the Persian Gulf and the Sea of ​​Oman, this cost, based on the estimates made by the authors, which were examined in the section on salt extraction, includes about 40% of the total cost. This is while the aforementioned cost is much higher in the countries of the southern Persian Gulf, and this extraction method may not be economically justified. As mentioned in the manuscript, this method is not recommended in countries where land is limited or its evaporation and transpiration are low, as well as in areas with high rainfall. More details are presented in Table A1. The calculations are based on the authors' estimates and the general reference is the Statistical Center of Iran (2023), and the inflation rate is assumed to be about 2%.

Table A1. Cost estimate for salt extraction from the evaporation pond of a project with a capacity of 1 MCM of desalinated water.

|  | Description |  | Cost (USD) | Design Lifetime (yr) | Cost (USD/yr) |
| --- | --- | --- | --- | --- | --- |
| Construction cost | Cost of land (pools, access road, service road, building) |  | 16,715,000.0 | 25 | 668,600 |
|  | Cost of construction and lining |  | 372,000.0 | 25 | 14,880 |
|  | Cost of electro pump and electricity subscription |  | 865,000.0 | 25 | 34,600 |
|  | Cost of plumbing and facilities |  | 180,000.0 | 25 | 7,200 |
|  | Cost of relevant buildings |  | 6,631,000.0 | 25 | 265,240 |
|  | Unpredicted costs (9% above costs) |  | 2,228,670.0 | 25 | 89,147 |
|  | Overhead costs (30% above costs) |  | 10,100,000.0 | 25 | 404,000 |
|  | Total Annual Construction Costs |  |  |  | 1,483,667 |
| Operation and maintenance cost | Human resources: 6 workers, 6 staff, 7 drivers, and 2 supervisors | 191625 | 200000.0 | 1 | 200000 |
|  | Machinery (machine purchase and maintenance and repairs) | 1,184,500.0 | 1,200,000.0 | 25 | 48000 |
|  | Workers' equipment and supplies |  |  |  | 170000 |
|  | Energy (electricity and fuel) | 68416 | 100000.0 | 1 | 100000 |
|  | Overhead costs 41% |  |  |  | 208946 |
|  | Total Annual Maintenance and Operation Costs |  |  |  | 726946 |
| Total cost (USD) |  |  | 2,210,613 |  |  |
| Total salt produced, including 60% precipitation (kg) |  |  | 49420000 |  |  |
| Unit Cost (USD/kg) |  |  | 0.045 |  |  |

The final cost of 0.04, is represented in Table 3 (for Sodium Chloride).