Supplementary data

Table S1. Standard deviation and Z scores for the water quality parameters obtained from Proficiency test conducted by NABL accredited Laboratories in the year 2022, 2023 and 2024

Global PT Provider Pvt  Ltd, New Delhi, 2024

| Sl.No. | PT Parameter | Lab’s Result | Assigned Value (xpt) | Standard Deviation for Proficiency Assessment (σpt) | Robust ‘Z’ Score |
| --- | --- | --- | --- | --- | --- |
|  |  | AVG |  |  |  |
| 1. | pH @ 270C | 4.59 | 4.62 | 0.0675 | -0.40 |
| 2. | Total Hardness (as CaCO3), mg/l | 134 | 133 | 6.77 | 0.14 |
| 3. | Total Dissolved Solids, mg/l | 186 | 166 | 20.3 | 0.94 |
| 4. | Chloride (as Cl), mg/l | 19.99 | 23.1 | 2.41 | -1.22 |
| 5. | Sulphate (as SO4), mg/l | 81.73 | 79 | 12 | 0.21 |
| 6. | Calcium (as Ca), mg/l | 21.38 | 22.68 | 1.18 | -1.05 |
| 7. | Total Alkalinity as CaCO3, mg/L | 6.7 | 6.3 | 1.03 | 0.37 |
| 8. | Fluoride (as F), mg/L | 11.28 | 11.57 | 2.13 | -0.13 |
| 9. | Conductivity@ 25oC,µS/cm | 138 | 159 | 17.6 | -1.13 |
| 10. | Turbidity, NTU | 6.69 | 6.14 | 0.776 | 0.67 |

| Aashvi Proficiency Testing & Analytical Service, Hyderabad,2023 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | pH @ 25oC | 7.99 | 7. 97 | 0.247 | 0.08 |
| 2. | Conductivity@ 25oC,µS/cm | 1080 | 1033.98 | 88.92 | 0.52 |
| 3. | Total Alkalinity as CaCO3, mg/L | 155 | 167.50 | 11.72 | -1.07 |
| 4. | Total Hardness (as CaCO3), mg/L | 90.00 | 91.02 | 9.557 | -0.11 |
| 5. | Total Dissolved Solids, mg/L | 622 | 625.61 | 64.438 | -0.06 |
| 6. | Magnesium hardness, mg/L | 13.20 | 9.39 | 2.348 | 1.62 |
| 7. | Sulphate (as SO4), mg/L | 101.30 | 99.95 | 14.99 | 0.09 |
| 8. | Chloride (as Cl), mg/L | 176.29 | 172.53 | 10.352 | 0.36 |
| 9. | Fluoride (as F), mg/L | 1.76 | 1.47 | 0.221 | 1.31 |

| Global PT Provider Pvt. Ltd, New Delhi , 2022 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | PT Parameter | Lab’s Result | Assigned Value (xpt) | Standard Deviation for Proficiency Assessment (σpt) | Robust ‘Z’ Score |
|  |  | AVG |  |  |  |
| 1. | pH @ 270C | 6.96 | 6.73 | 11.70 | 1.05 |
| 2. | Total Hardness (as CaCO3), mg/l | 157 | 172 | 22 | -0.65 |
| 3. | Total Dissolved Solids, mg/l | 354 | 313 | 46 | 0.82 |
| 4. | Chloride (as Cl), mg/l | 23.49 | 30.50 | 5.68 | -1.16 |
| 5. | Sulphate (as SO4), mg/l | 83.80 | 85.88 | 8.55 | -0.23 |
| 6. | Calcium (as Ca), mg/l | 20.05 | 26.15 | 5.50 | -1.04 |

Table S2. Measurement of Uncertainty for parameters analysed in Drinking Water, surface water and groundwater.

| Sl.No. | Specific parameters performed | Test Method / Standard against which tests are performed | Range of Testing (mg/L) | Uncertainty of Measurement () at Value (mg/L) |
| --- | --- | --- | --- | --- |
|  | Calcium | EDTA titrimetric method IS 3025 (Part 40):1991 R.A-2019 | 1.6 - 500 mg/L | ± 1.54 @ 40.35 mg/L |
|  | Chloride as Cl- | Argentometric method IS 3025(part 32) -1988, RA 2019 | 2 to 1000 mg/L | ± 1.33 @ 37.21 mg/L |
|  | Color | Platinum Cobalt Visual Comparison method IS 3025 (Part 4): 2021 | 5 to 500 Hazen units | 0.85 @ 3.33 Hazen units |
|  | Fluoride as F- | SPADNS Method APHA 4500 F- D, 23rd Edtn.2017 | 0.1 to 5mg/L | ± 0.05 @ 0.44 mg/L |
|  | Free Residual chlorine | Iodometric method IS 3025 (Part 26): 2021 | 1 to 5 mg/L | 1.095 @ 64.16 mg/L |
|  | Magnesium | Calculation method APHA 3500 F- B, 23rd Edtn-2017 | 1 to 500 mg/L | 0.75 @ 17.30 mg/L |
|  | Nitrate as NO3 | Chromotropic acid method IS 3025 Part 34: 2022 | 5 to 25 mg/L | ± 0.25 @ 3.36 mg/L |
|  | pH | Electrometric Method IS 3025 Part 11 : 2022 | 2.0 to 12.0 | ± 0.18 @ 7.26 pH value |
|  | Sulphate as SO4 | Turbidity method IS 3025 Part 24/Sec 1:2022- | 1 to 500 mg/L | 0.86 @ 20.92 mg/L |
|  | Total Alkalinity as CaCO3 | Indicator method IS 3025(part 23) -1986, RA 2019 | 5 to 1000 mg/L | ± 2.36 @ 106.11 mg/L |
|  | Total Dissolved solids | Gravimetric method IS 3025 part-16: 1984 RA 2012 | 10 to 2000 mg/L | ± 6.68 @ 243.00 mg/L |
|  | Total Hardness as CaCO3 | IS 3025 (Part 21)R.A- 2019 Titrimetric | 4 to 2000 mg/L | ± 2.07 @ 111.61 mg/L |
|  | Turbidity | IS 3025 (Part 10) 1984, R.A-2012 | 0.1 to 400 NTU | ± 0.025@ 0.15 NTU |
|  | DO | Winkler method | 1-10 mg/L | 0.5 @ 50.0 mg/L |
|  | BOD | Titrimetric method | 2-9 mg/L | 1.05 @ 70.00 mg/L |
|  | COD | Titrimetric method | 20-200mg/L | 0.95 @ 20.50 mg/L |

Table S3 List of samples collected from locations of Raichur district

| S.No | Source of Municipality water sample | Sample code | Location |
| --- | --- | --- | --- |
|  | MRS colony | DW1 | Raichur |
|  | Railway KSN | DW2 | Raichur |
|  | Railway RC | DW3 | Raichur |
|  | Devara colony | DW4 | Raichur |
|  | Sedam | DW5 | Raichur |

| S.No | Source of Ground water sample | Sample code | Location |
| --- | --- | --- | --- |
|  | MRS colony | GW1 | Raichur |
|  | Vijay NGO COLONY | GW2 | Raichur |
|  | Bahubali S1 bore Yadgir | GW3 | Raichur |
|  | Bahubali S2 bore Yadgir | GW4 | Raichur |
|  | Zindavali LBS Nagar | GW5 | Raichur |
|  | Suryakanth Krishna devaraya colony | GW6 | Raichur |
|  | Hanumanthu Beroon Quilla | GW7 | Raichur |
|  | Bharathi colony | GW8 | Raichur |
|  | Nijalingappa colony near water tank | GW9 | Raichur |
|  | Rampur | GW10 | Raichur |
|  | Askihal | GW11 | Raichur |
|  | Nijalingappa colony | GW12 | Raichur |
|  | Sharanama sindhanur | GW13 | Sindanur |
|  | SannaKantha sindhanur | GW14 | Sindanur |
|  | K.V.Venkatesh Kallur | GW15 | Kallur |
|  | K.Banadesh Devadurga | GW16 | Devdurga |

| S.No | Source of Surface water sample | Sample code | Place |
| --- | --- | --- | --- |
|  | UsukuHanumappa | SW1 | Raichur |
|  | Nerbavikunta | SW2 | Raichur |
|  | Aamthalab | SW3 | Raichur |
|  | Khakina | SW4 | Raichur |
|  | Jadarapete | SW5 | Mudgal |
|  | Halepete | SW6 | Mudgal |
|  | Nelhal | SW7 | Raichur |
|  | Dinni | SW8 | Raichur |
|  | Hunasihal | SW9 | Raichur |
|  | Sri Ram Nagar | SW10 | Raichur |
|  | Rampur | SW11 | Raichur |

| Characteristic (mg/L) | Acceptable limit* | Raichur district |  |  |
| --- | --- | --- | --- | --- |
|  |  | Lake water | Ground water | Municipality water |
| pH | 6.5–8.5 | 7.1–-8.8 | 7.0–7.9 | 7.1–7.5 |
| TDS | 500 | 14.9–129 | 330–8724.0 | 36.0–891.0 |
| Turbidity, NT Units Calcium (Ca+2) | 1.0 75 | 10.0–20.0 27.0–121.0 | 1.0–2.0 1.6–527.0 | 1.0–7.0 12.83–137 |
| Chloride (Cl- ) | 250 | 13.3–229.0 | 25.3–366.0 | 17.09–88.0 |
| Fluoride(F-) | 1.0 | 0.16– 0.89 | 0.3–3.9 | 0.1–1.8 |
| Magnesium (Mg+2) | 30 | 12.2–68.1 | 1.1–241.0 | 2.0–56.6 |
| Nitrite(NO3-) | 45 | 0.1–5.8 | 0.1–80.0 | 3.1–19.8 |
| Sulphate(SO4-2) | 200 | 15.1–190.9 | 7.6–440.0 | 8.1–171.0 |
| Total alkalinity (CaCO3) | 200 | 77.3–401.0 | 62–1518.0 | 24.5–370.0 |
| Total hardness (CaCO3) | 200 | 8.94–43.0 | 10.0 –587.0 | 18.9–340.0 |
| Free residual chlorine( Cl2) | 0.2 | - | - | 0.2–8.0 |
| Biochemical oxygen demand (BOD) | 30 | 9.1–33.1 | - | - |
| Dissolved oxygen (DO) | 6 | 12.1–200.0 | - | - |