Supplementary Table 1 – Sample preparation procedures carried out according to sample nature/matrix prior to DNA and RNA extraction.

| Sample type | Sample preparation |
| --- | --- |
| Biopsy (mammalian tissue) | · Submerge an appropriate amount of fresh or frozen sample into 350 µL of DNA/RNA Shield™ (1X). · Homogenise samples by bead beat them with ZR Bashing Bead Lysis Tubes, for 45 seconds at 6,5 m/s, twice, and keeping them in ice for 2 min in between beating cycles. · For each 350 µL, add 17.5 µL of Proteinase K and 35 µL of PK Digestion Buffer. · Incubate at 55 ºC, overnight. · Homogenise samples, once again, by bead beat them with ZR Bashing Bead Lysis Tubes, for 45 seconds at 6.5 m/s, twice, and keeping them in ice for 2 min in between beating cycles. · Centrifuge and transfer ~250 µL supernatant to a new tube. · Add 250 µL (1:1) DNA/RNA Lysis Buffer and mix well. · Continue to purification, page 10, of the Quick-DNA/RNA™ Miniprep Plus Kit instructions handbook a. |
| Formalin-Fixed Paraffin-Embedded (FFPE) tissue | · Remove (trim) excess paraffin wax from ≤ 25 mg FFPE tissue and transfer into a nuclease-free tube. · Add 400 µL Deparaffinization Solution to the sample. Incubate at 55 ºC, 1 minute. Vortex briefly. Remove Deparaffinization Solution by pipeting. · Add 95 µL DNase/RNase-Free Water, 95 µL 2X Digestion Buffer, and 10 µL Proteinase K. Mix well. · Incubate at 55 ºC for at least 1 hour. Then incubate at 65 ºC for 15 minutes. · Centrifuge to deposit debris and transfer ~200 µL supernatant to a nuclease-free tube. · Add ~200 µL (1:1) DNA/RNA Lysis Buffer to the supernatant and mix well. Proceed to purification, page 10, of the Quick-DNA/RNA™ Miniprep Plus Kit instructions handbook a. |
| Whole blood, serum, plasma | · Add 250 µL of DNA/RNA Shield™ (2X) to 250 µL of sample. · Add 10 µL Proteinase K and mix well. · Incubate at room temperature (20-30 °C) for 30 minutes. · Add 500 µL (1:1) of isopropanol and mix well. · Transfer sample into a Spin-Away™ Filter (yellow) in a Collection Tube and centrifuge. · Discard the flow-through and transfer the filter into a new nuclease-free tube. · Add 200 µL (1:1) DNA/RNA Lysis Buffer directly to filter matrix, let sit for 5 minutes then centrifuge. · Proceed to purification, page 10, of the Quick-DNA/RNA™ Miniprep Plus Kit instructions handbook a. |
| Cerebrospinal fluid (CSF), respiratory samples and all swabs | · Add 250 µL of DNA/RNA Shield™ (2X) to 250 µL of sample. · Add 25 µL Proteinase K and 50 µL PK Digestion Buffer. · Mix well and incubate at room temperature (20-30 °C) for ≥30 minutes. · Vortex samples briefly and centrifuge at max speed for 2 minutes. · Transfer ~500 µL of the cleared supernatant to a nuclease-free tube. · Add 500 µL (1:1) DNA/RNA Lysis Buffer directly to filter matrix, let sit for 5 minutes then centrifuge. · Proceed to purification, page 10, of the Quick-DNA/RNA™ Miniprep Plus Kit instructions handbook a. |

a Quick-DNA/RNA™ Miniprep Plus Kit instructions handbook at https://files.zymoresearch.com/protocols/_d7003t_d7003_quick-dna-rna_miniprep_plus_kit.pdf