Supplementary Contents

Methods	2

MiniDock MTB protocol deviation	2

Diagnostic yield analysis	2

Supplementary Table 1: MiniDock MTB tongue swab and induced sputum-dipped swab positivity relative to induced sputum Ultra semi-quantitation categories. The number and percentage of people within that induced sputum semi-quantitation category detected by tongue swabs and induced sputum-dipped swabs is indicated. MiniDock MTB positivity on both tongue swabs and induced sputum-dipped swabs increased with higher induced sputum semi-quantitation categories.	3

## Methods

### MiniDock MTB protocol deviation

TSs were thawed, 1 mL of Nucleic Acid Releasing Agent (NARA) was added to the 2 mL microcentrifuge tube containing the swab (Eppendorf SE, Hamburg, Germany), which was vortexed at maximum (3000 rpm) speed for 2 minutes, followed by a brief centrifugation pulse to collect droplets from the cap. The full volume from the processing tube was transferred back to the manufacturer-provided lysis tube.

### Diagnostic yield analysis

For DYT, all people in whom testing was attempted were counted in the denominator (1). For DYD, positive results in the denominator were those from the MRS (induced sputum culture and/or Ultra) and MiniDock MTB TS and induced sputum-dipped swabs.

## Supplementary Table 1: MiniDock MTB tongue swab and induced sputum-dipped swab positivity relative to induced sputum Ultra semi-quantitation categories. The number and percentage of people within that induced sputum semi-quantitation category detected by tongue swabs and induced sputum-dipped swabs is indicated. MiniDock MTB positivity on both tongue swabs and induced sputum-dipped swabs increased with higher induced sputum semi-quantitation categories.

|  |  | Tongue swab positivity |  |
| --- | --- | --- | --- |
|  |  | Negative (n=74) | Positive (n=12) |
| Induced sputum semi-quantitation category | High (n=3) | 1 | 2 (67) |
|  | Medium (n=3) | 0 | 3 (100) |
|  | Low (n=4) | 1 | 3 (75) |
|  | Very low (n=4) | 3 | 1 (25) |
|  | Trace (n=1) | 1 | 0 (0) |
|  | Negative (n=71) | 68 | 3 (4) |
|  |  | Induced sputum-dipped swab positivity |  |
|  |  | Negative (n=69) | Positive (n=11) |
| Induced sputum semi-quantitation category | High (n=3) | 1 | 2 (67) |
|  | Medium (n=3) | 0 | 3 (100) |
|  | Low (n=3) | 1 | 2 (67) |
|  | Very low (n=4) | 3 | 1 (25) |
|  | Trace (n=1) | 1 | 0 (0) |
|  | Negative (n=66) | 63 | 3 (5) |

|  | Section & Topic | No | Item | Reported |
| --- | --- | --- | --- | --- |
|  | TITLE OR ABSTRACT |  |  |  |
|  |  | 1 | Identification as a study of diagnostic accuracy using at least one measure of accuracy (such as sensitivity, specificity, predictive values, or AUC) | Yes |
|  | ABSTRACT |  |  |  |
|  |  | 2 | Structured summary of study design, methods, results, and conclusions (for specific guidance, see STARD for Abstracts) | Yes |
|  | INTRODUCTION |  |  |  |
|  |  | 3 | Scientific and clinical background, including the intended use and clinical role of the index test | Yes |
|  |  | 4 | Study objectives and hypotheses |  |
|  | METHODS |  |  |  |
|  | Study design | 5 | Whether data collection was planned before the index test and reference standard were performed (prospective study) or after (retrospective study) | Yes |
|  | Participants | 6 | Eligibility criteria | Yes |
|  |  | 7 | On what basis potentially eligible participants were identified (such as symptoms, results from previous tests, inclusion in registry) | Yes |
|  |  | 8 | Where and when potentially eligible participants were identified (setting, location and dates) | Yes |
|  |  | 9 | Whether participants formed a consecutive, random or convenience series | Yes |
|  | Test methods | 10a | Index test, in sufficient detail to allow replication | Yes |
|  |  | 10b | Reference standard, in sufficient detail to allow replication | Yes |
|  |  | 11 | Rationale for choosing the reference standard (if alternatives exist) | NA |
|  |  | 12a | Definition of and rationale for test positivity cut-offs or result categories of the index test, distinguishing pre-specified from exploratory | NA |
|  |  | 12b | Definition of and rationale for test positivity cut-offs or result categories of the reference standard, distinguishing pre-specified from exploratory | Yes |
|  |  | 13a | Whether clinical information and reference standard results were available to the performers/readers of the index test | Yes |
|  |  | 13b | Whether clinical information and index test results were available to the assessors of the reference standard | Yes |
|  | Analysis | 14 | Methods for estimating or comparing measures of diagnostic accuracy | Yes |
|  |  | 15 | How indeterminate index test or reference standard results were handled | Yes |
|  |  | 16 | How missing data on the index test and reference standard were handled | Yes |
|  |  | 17 | Any analyses of variability in diagnostic accuracy, distinguishing pre-specified from exploratory | Yes |
|  |  | 18 | Intended sample size and how it was determined | No |
|  | RESULTS |  |  |  |
|  | Participants | 19 | Flow of participants, using a diagram | No |
|  |  | 20 | Baseline demographic and clinical characteristics of participants | No |
|  |  | 21a | Distribution of severity of disease in those with the target condition | No |
|  |  | 21b | Distribution of alternative diagnoses in those without the target condition | No |
|  |  | 22 | Time interval and any clinical interventions between index test and reference standard | Yes |
|  | Test results | 23 | Cross tabulation of the index test results (or their distribution) by the results of the reference standard | Yes |
|  |  | 24 | Estimates of diagnostic accuracy and precision (such as 95% confidence intervals) | Yes |
|  |  | 25 | Any adverse events from performing the index test or the reference standard | No |
|  | DISCUSSION |  |  |  |
|  |  | 26 | Study limitations, including sources of potential bias, statistical uncertainty, and generalizability | Yes |
|  |  | 27 | Implications for practice, including the intended use and clinical role of the index test | Yes |
|  | OTHER INFORMATION |  |  |  |
|  |  | 28 | Registration number and name of registry | Not a clinical trial |
|  |  | 29 | Where the full study protocol can be accessed | No |
|  |  | 30 | Sources of funding and other support; role of funders | Yes |

References

1.	Broger T, Marx FM, Theron G, Marais BJ, Nicol MP, Kerkhoff AD, et al. Diagnostic yield as an important metric for the evaluation of novel tuberculosis tests: rationale and guidance for future research. The Lancet Global Health. 2024;12(7):e1184-e91.