Supplementary Information for:

Impact of WWTP Capacity and Treatment Process on the Dynamics of Antimicrobial Resistance Determinants

Vikas Sonkara, Arun Kashyapa, Rebeca Pallarés-Vegab, Sai Sugitha Sasidharana, Sangeetha Chandrakalabai Jambua, Nikash Naorema, David Grahamb, Jan-Ulrich Kreftc,*, Shashidhar Thatikondaa,*, on behalf of the AMRflows consortium

Figure S1. Flow scheme of studied WWTPs and sample collection points.

| Table S1 Physicochemical parameters and heavy metals analysed in influent and effluent samples. |  |  |  |
| --- | --- | --- | --- |
| S. No. | Parameter | Unit | Method (American Public Health Association (APHA) 2017) |
| 1 | pH |  | Potentiometry |
| 2 | Electrical Conductivity (EC) | µS/cm | Potentiometry |
| 3 | Dissolved Oxygen (DO) | mg/L | Polarographic probe |
| 4 | Turbidity (TUR) | NTU | Nephelometry (2130-B) |
| 5 | Total Suspended Solids (TSS) | mg/L | Gravimetric Method (2540 D. dried at 105°C) |
| 6 | Volatile Solids (VS) | mg/L | Gravimetric Method (2540 E. ignited at 550°C) |
| 7 | CODTotal and Soluble COD | mg/L | Titrimetry (5220-C) |
| 8 | BOD5 | mg/L | Titrimetry (5210-A) |
| 9 | Total organic carbon (TOC) | mg/L | TOC analyser |
| 10 | Total nitrogen (TN) | mg/L | TOC analyser |
| 11 | Ammonia (NH3-N) | mg/L | Phenate Method (4500-NH3 F) |
| 12 | Nitrite (NO2--N) | mg/L | Colorimetric Method (4500-NO2 B) |
| 13 | Nitrate (NO3 --N) | mg/L | Ion Chromatography |
| 14 | Total Phosphorus (TP) | mg/L | Vanadomolybdophosphoric Acid (4500-P C) |
| 15 | Heavy Metals (HMs) | mg/L | ICP-MS (CEM Corporation 2019) and (Dalai et al. 2023) |

| Table S2 Physicochemical parameters and heavy metals analysed in sludge samples. |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Parameter | Unit | methods | References |
| 1 | Moisture Content (MC) | % | Gravimetry |  |
| 2 | Organic Matter (OM) | % | Gravimetry | (Walter E. Dean 1974) |
| 3 | Total Organic Carbon (TOC) | mg/kg | TOC analyser | (Avramidis and Bekiari 2021) |
| 4 | Total Nitrogen (TN) | mg/kg | TOC analyser | (Avramidis and Bekiari 2021) |
| 5 | Total Phosphorus (TP) | mg/kg | Vanadomolybdophosphoric Acid (4500-P C) | (American Public Health Association (APHA) 2017) |
| 6 | Heavy Metals (HMs) | mg/kg | ICP-MS | (USEPA 1996, 3050b) (Dalai et al. 2023) |

2.1. Quantification of ARGs by qPCR

All qPCR reactions were conducted in 10 µL volumes, including TB SYBR Green® Premix Ex TaqTM II (Takara, Japan) and BSA 4 mg/mL (Sigma Aldrich, USA). Concentrations of forward and reverse primers, amplicon size of target genes and annealing temperatures are summarised in Table S3. After initial testing, DNA was diluted 10-fold to reduce inhibition and 2 µL of DNA template was added to each reaction. The reaction volume was made up to 10 µL with DNase/RNase-free water (Honeywell, USA). All reactions were performed in a CFX96 Touch® Thermocycler from BioRad (USA), according to Pallares-Vega et al. (2019), but using different annealing temperatures provided in Table S3. Synthetic DNA fragments (IDT, Singapore) containing suites of target genes were used as positive controls and to create standard curves, for which ten-fold serial dilutions of gene fragments were performed in DNase/RNase-free water (Honeywell, USA). Every sample was analysed in technical duplicates. Standard curves were included in each PCR plate with at least seven serial dilution points and technical duplicates. A joint standard curve based on standard curves from every run was created for every gene set. Concentrations of genes in the samples were then calculated using this joint standard curve.

| Table S3 Oligonucleotides used for ARGs and MGE detection by qPCR reactions. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Target gene | Reference | Probe name | Oligonucleotide sequence 5’-3’ | Conc. in reaction (nmol L-1) | Amplicon size (bp) | Ann. Tª (ºC) | Standard Curve |
| 16S rRNA | (Lane 1991; Muyzer et al. 1993) | q_338F | ACTCCTACGGGAGGCAGCAG | 200 | 198 | 60 | R2= 0.996 Slope = -3.34 Efficiency (%) = 99.40 |
|  |  | q_518R | ATTACCGCGGCTGCTGG |  |  |  |  |
| qnrS | (Marti and Balcázar 2013) | q_qnrSrtF11 | GACGTGCTAACTTGCGTGAT | 200 | 117 | 60 | R2= 0.998 Slope = -3.237 Efficiency (%) = 103.664 |
|  |  | q_qnrSrtR11 | TGGCATTGTTGGAAACTTG |  |  |  |  |
| uidA | (Frahm and Obst 2003; Silkie et al. 2008) | q_uidA-F | CGGAAGCAACGCGTAAACTC | 200 | 90 | 62 | R2 = 0.999 Slope = -3.51 Efficiency (%) = 92.64 |
|  |  | q_uidA-R | TGAGCGTCGCAGAACATTACA |  |  |  |  |
| aph(3'')-Ib | (Liang et al. 2021) | q_aph(3'')-Ib-F | ACTGGCAGGAGGAACAGGAGGGTG | 200 | 240 | 58 | R2 = 1.000 Slope = -3.398 Efficiency (%) = 96.912 |
|  |  | q_aph(3'')-Ib-R | CGTCCGGTAAGAAGTCGGGATTGA |  |  |  |  |
| sul2 | (Pei et al. 2006) | q_sul2-F | TCCGGTGGAGGCCGGTATCTGG | 200 | 192 | 62 | R2 = 0.999 Slope = -3.51 Efficiency (%) = 92.64 |
|  |  | q_sul2-R | CGGGAATGCCATCTGCCTTGAG |  |  |  |  |
| blaNDM | Resistomap AY152 | q_blaNDM-F | GGCCACACCAGTGACAATATCA | 200 | 66 | 59 | R2 = 0.997 Slope = -3.26 Efficiency (%) = 102.72 |
|  |  | q_blaNDM-R | CAGGCAGCCACCAAAAGC |  |  |  |  |
| blaCTX-M | (Marti et al. 2013) | q_CTXM-F | CTATGGCACCACCAACGATA | 200 | 104 | 57 | R2 = 0.999 Slope = -3.51 Efficiency (%) = 90.79 |
|  |  | q_CTXM-R | ACGGCTTTCTGCCTTAGGTT |  |  |  |  |
| intI1 | (Barraud et al. 2010) | q_intI-F | GATCGGTCGAATGCGTGT | 200 | 196 | 61 | R2 = Slope= Efficiency (%) = |
|  |  | q_intI-R | GCCTTGATGTTACCCGAGAG |  |  |  |  |
| ermF | Resistomap AY535 | q_ermF -F | TCTGATGCCCGAAATGTTCAAG | 300 | 170 | 57 | R2 = 0.998 Slope = -3.227 Efficiency (%) = 104.113 |
|  |  | q_ermF-R | TGAAGGACAATTGAACCTCCCA |  |  |  |  |
| tetW | (Walsh et al. 2011) | q_tetW -F | CGGCAGCGCAAAGAGAAC | 200 | 59 | 57 | R2 = 0.986 Slope = -3.28 Efficiency (%) = 101.94 |
|  |  | q_tetW -R | CGGGTCAGTATCCGCAAGTT |  |  |  |  |

3.1. Physiochemical Characteristics of the WWTPs

Fifteen wastewater quality parameters were measured in the WWTPs across seasons, with a subset in sludge samples. The removal efficiency of analysed parameters (Figure 1) showed a negative removal efficiency of nitrogen-based nutrients (ammonium (NH4+), nitrite (NO2-), and nitrate (NO3-)). WWTP A, which employs the aerobic SBR treatment, produced an increase in NO2-and NO3- levels and a corresponding decrease in NH4+ levels across seasons due to nitrification (ratio of oxidised inorganic nitrogen (OIN) and total inorganic nitrogen (TIN) was 0.19, i.e., 19% of TIN was oxidized in effluents). In contrast, WWTP B exhibited elevated levels of NH₄⁺, likely due to denitrification (only 6 % of TIN oxidized) in the anaerobic UASB. Meanwhile, WWTP B and D reported subsequent increases of NO₂⁻ and NO₃⁻ in effluents, which could be explained by the elevated oxygen levels due to the facultative aerated lagoon (FAL) after the UASB process. The FAL inhibits denitrification and facilitates nitrification (30-70% of TIN oxidized), resulting in higher nitrite and nitrate levels in the effluents.

Heavy metals (chromium Cr, iron Fe, cobalt Co, nickel Ni, copper Cu, zinc Zn, arsenic As, silver Ag, cadmium Cd, mercury Hg and lead Pb) were analysed in all collected samples (influents, effluents and sludge). All metals were below the thresholds set by CPCB (2008) for discharge of effluents in the environment. Nevertheless, a minor but consistent increase of Cr, Co, Ni, As, Ag, Hg, and Pb was observed post-treatment across various WWTPs and seasons (Table S4). The ability of WWTPs to remove metal contaminants from influent wastewater is a critical concern, as it directly impacts water quality in the Musi River, a highly urbanized river system facing intense anthropogenic inputs of nutrients and pollutants. The heavy metal contents in sludge samples are shown in Supplementary Information.xlsx. The average metal concentrations in sludge followed a descending order: Fe > As > Zn > Cu > Pb > Cr > Cd > Ag > Hg > Co across WWTPs and seasons. The variations in metal content within sewage sludge can be attributed to irregular inputs from urban and industrial inflows. A previous study on the occurrence of heavy metal fractionation in sewage sludge revealed that Ni and Zn are predominantly found in water-soluble, exchangeable, and carbonate-bound fractions; Cr and Cu are mainly associated with organic matter and sulphides; and Pb, Zn, and Ni are associated with oxides and hydroxides (Karvelas et al. 2003).

3.2. Microbial Removal Efficiency

E. coli log reduction ranged from 1.68 to 4.45 across all WWTPs, performance varied drastically. WWTP B achieved only 1.69 and 1.68 log reductions in the summer and winter seasons, respectively. Similarly, WWTP C underperformed with just a 2.29 log reduction during the summer season (Figure 2 & S2). The log10 reduction of heterotrophic environmental and ESBL producing bacteria (OSS30°C and OSS-ESBL30°C) showed a similar pattern as for E. coli, with WWTPs A and C exhibiting lower removal efficiencies across various seasons (Figure S2).

ESBL-producing environmental bacteria (OSS-ESBL30°C) were effectively removed in all WWTPs, except for WWTP B, the largest plant, which achieved only about 2.74 log reduction during summer. ESBL-producing gut-associated bacteria (OSS-ESBL44°C) removal was low in winter for WWTPs A, B, and C, at 1.22, 1.59, and 1.50 log reduction, respectively (Figures 2, S2). In contrast, WWTP D, the smallest of all plants, achieved substantial removal of all analysed microbial counts, with its efficiency ranging from 3.34 to 5.09 log reduction across all seasons (Figures 2, S2). Notably, carbapenemase-producing bacteria (OSS-CARB 30 and 44°C) were below the detection limit (<3 CFU/mL) in all samples across all seasons. Compared to OSS-ESBL30°C, high concentrations of OSS-ESBL44°C bacteria were observed in the effluent during the winter season. One possible reason is that gut-associated bacteria are more likely to acquire resistance than heterotrophic environmental bacteria in WWTP systems, as members of the gut microbiome tend to be more permissive to the transfer of resistance plasmids  (Li et al. 2018; Moradigaravand et al. 2023) and naturally act as reservoirs for ARGs that can be easily transferred between bacterial species, contributing to the spread of multidrug-resistant pathogens (van Schaik 2015). Another possible reason is that gut-associated bacteria flow through the treatment plant rather than attaching to particulate biomass, which would retain these bacteria for longer in the system (Quintela-Baluja et al. 2019).

Table S4 Removal efficiency (%) for physicochemical parameters, heavy metals, bacterial counts and genes in four studied WWTPs in three different seasons. See Fig. 1.

| Set | Parameters | WWTP A |  |  | WWTP B |  |  | WWTP C |  |  | WWTP D |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Summer | Monsoon | Winter | Summer | Monsoon | Winter | Summer | Monsoon | Winter | Summer | Monsoon | Winter |
| Physicochemical | TSS (mg/L) | 83.51 | 94.48 | 96.63 | 75.51 | 81.09 | 78.14 | 91.96 | 86.00 | 85.47 | 92.91 | 95.02 | 95.68 |
|  | VS (mg/L) | 79.46 | 94.25 | 96.27 | 72.30 | 77.33 | 76.19 | 91.91 | 82.34 | 86.56 | 92.04 | 94.20 | 94.98 |
|  | CODtotal (mg/L) | 65.96 | 86.02 | 91.67 | 46.60 | 74.55 | 74.29 | 66.67 | 74.73 | 80.00 | 72.45 | 88.14 | 90.83 |
|  | CODsoluble (mg/L) | 21.43 | 52.17 | 70.00 | 26.67 | 27.66 | 62.16 | 40.30 | 16.67 | 52.94 | 66.07 | 64.71 | 64.29 |
|  | BOD5 (mg/L) | 75.00 | 75.00 | 96.44 | 61.12 | 61.12 | 86.48 | 83.66 | 83.66 | 92.98 | 87.32 | 87.32 | 94.10 |
|  | Nitrite | -77.49 | -8742.11 | -45.90 | -640.00 | -81.47 | -269.09 | -1590.32 | -1053.52 | -220.85 | -38721.52 | -1413.10 | -118134.88 |
|  | Nitrate | 87.18 | -7111.28 | 97.40 | -190.08 | -1942.59 | -20.00 | 68.85 | 2.69 | -1382.22 | 57.65 | -1028.00 | -1423.97 |
|  | Ammonium | 35.32 | 48.07 | 52.75 | -13.06 | -75.30 | -24.35 | 5.79 | 8.60 | -36.32 | -7.82 | -110.90 | -37.38 |
|  | TP (mg/L) | 55.15 | 49.05 | 94.58 | 22.69 | -38.11 | 18.66 | 65.51 | -102.58 | 24.53 | 23.14 | 30.16 | 30.00 |
|  | TOC (mg/L) | 59.05 | 17.81 | 29.19 | 56.72 | -89.25 | 1.38 | 88.68 | -335.38 | 10.22 | 96.23 | 60.00 | 13.14 |
|  | TN (mg/L) | 42.81 | -44.93 | 25.41 | -17.10 | -11.42 | 14.77 | 14.49 | 38.94 | 14.14 | -23.21 | -2.98 | 49.03 |
| Heavy Metals (HMs) | Cr (µg/L) | 55.49 | 81.46 | 57.88 | 53.19 | 61.65 | 73.46 | 58.09 | 65.87 | 24.37 | 13.94 | -17.55 | 45.30 |
|  | Fe (µg/L) | 39.19 | 92.20 | 83.94 | 37.91 | 55.27 | 68.11 | 49.50 | 81.84 | 68.86 | 49.35 | 67.52 | 78.43 |
|  | Co (µg/L) | 2.80 | 19.41 | 12.03 | 0.98 | 3.03 | 10.35 | -0.21 | 12.56 | 6.64 | 2.05 | -1.17 | 11.00 |
|  | Ni (µg/L) | 29.54 | 68.26 | 44.94 | -5.45 | 17.36 | 21.68 | 14.81 | 50.17 | 23.19 | 20.89 | -43.22 | 30.32 |
|  | Cu (µg/L) | 48.06 | 88.43 | 78.68 | 54.38 | 77.96 | 82.06 | 50.63 | 95.69 | 80.84 | 64.53 | 80.55 | 81.82 |
|  | Zn (µg/L) | 53.44 | 56.85 | 73.18 | 5.19 | 65.39 | 66.25 | 54.93 | 73.01 | 46.23 | 36.56 | 22.79 | 64.33 |
|  | As (µg/L) | 35.09 | 30.77 | 64.86 | -44.44 | 92.31 | 70.59 | 16.00 | 44.44 | 64.86 | -61.54 | 30.77 | 92.31 |
|  | Ag (µg/L) | 47.75 | -510.07 | 71.65 | 51.26 | -2011.18 | 82.48 | 47.69 | 7.08 | 72.99 | -21.05 | 34.31 | 69.63 |
|  | Cd (µg/L) | 27.86 | 96.58 | 90.55 | 55.68 | 72.05 | 70.36 | 54.36 | 95.40 | 66.13 | 59.34 | 56.56 | 72.96 |
|  | Hg (µg/L) | -32.47 | 53.44 | 2.82 | 62.43 | -4.75 | 11.18 | 55.90 | 2.58 | 8.80 | -110.31 | -13.38 | 1.19 |
|  | Pb (µg/L) | -13.36 | 73.15 | 61.45 | 26.09 | 54.69 | 57.92 | 19.36 | 57.15 | 43.73 | 18.64 | 23.46 | 52.94 |
| Counts | TBX 44°C (CFU/mL) | 89.59 | 89.56 | 89.80 | 42.28 | 89.70 | 33.85 | 45.08 | 90.49 | 89.16 | 88.74 | 90.19 | 90.64 |
|  | OSS 30°C (CFU/mL) | 66.04 | 91.06 | 71.27 | 35.48 | 90.92 | 46.16 | 53.88 | 91.13 | 68.32 | 91.22 | 80.53 | 82.08 |
|  | OSS 44°C (CFU/mL) | 65.29 | 44.82 | 33.73 | 39.17 | 59.22 | 39.35 | 58.78 | 41.19 | 47.65 | 90.19 | 90.88 | 73.69 |
|  | ESBL30°C (CFU/mL) | 91.17 | 87.99 | 92.38 | 62.26 | 88.45 | 57.29 | 91.26 | 90.19 | 81.08 | 90.34 | 88.35 | 92.29 |
|  | ESBL44°C (CFU/mL) | 89.36 | 87.37 | 32.01 | 74.72 | 88.15 | 36.67 | 91.28 | 88.39 | 34.94 | 91.71 | 88.42 | 76.95 |
| Genes | 16S rDNA (copies/mL) | 90.26 | 95.31 | 96.72 | 87.55 | 95.42 | 49.05 | 98.45 | 95.47 | 90.90 | 96.60 | 95.61 | 86.27 |
|  | uidA (copies/mL) | 84.23 | 84.58 | 93.71 | 96.95 | 97.72 | 82.86 | 99.13 | 97.58 | 95.20 | 99.69 | 98.87 | 98.95 |
|  | aph3-Ib (copies/mL) | 67.72 | 79.71 | 95.00 | 78.02 | 83.49 | 45.23 | 99.59 | 88.42 | 75.80 | 96.82 | 99.51 | 98.27 |
|  | blaCTX-M (copies/mL) | 82.65 | 76.76 | 92.83 | 96.84 | 98.36 | 81.83 | 99.52 | 94.21 | 95.66 | 99.65 | 95.69 | 94.72 |
|  | blaNDM (copies/mL) | 81.28 | 78.35 | 95.89 | 97.47 | 14.56 | 66.03 | 98.85 | 97.81 | 95.51 | 99.07 | 95.27 | 93.76 |
|  | ermF (copies/mL) | 85.36 | 83.82 | 93.97 | 96.74 | 97.12 | 87.91 | 98.84 | 99.09 | 92.57 | 98.47 | 97.55 | 95.56 |
|  | qnrS (copies/mL) | 85.13 | 94.72 | 95.05 | 98.48 | 99.17 | 78.15 | 99.58 | 99.15 | 96.95 | 99.82 | 97.20 | 99.35 |
|  | sul2 (copies/mL) | 34.91 | 55.99 | 93.62 | 12.59 | 43.79 | -92.64 | 94.31 | 67.56 | 40.88 | 79.57 | 87.32 | 71.87 |
|  | tetW (copies/mL) | 85.33 | 86.82 | 93.86 | 97.05 | 97.24 | 94.52 | 99.77 | 98.14 | 93.73 | 99.66 | 98.72 | 98.53 |
|  | intI1 (copies/mL) | 47.93 | 68.33 | 90.92 | 46.47 | 96.10 | 7.18 | 98.18 | 72.26 | 57.72 | 92.15 | 96.61 | 94.62 |

Figure S2 Heatmap with hierarchical clustering using Euclidean distance of the log10 removal of bacterial counts in all WWTPs across the seasons.

| Table S5 Design capacity in PE, process configuration, and log10 removal of uidA, ARGs and MGE in 4 Hyderabad wastewater treatment plants (WWTPs) situated along River Musi. WWTP characteristics were retrieved from the respective water board (HMWSSB). The gene removal is given as the decadic logarithm of the ratio between the influent and effluent concentration. Acronyms: TOD: Total Oxygen Demand; Prim Sed: Primary Sedimentation; SBR: Sequencing Batch Reactor; UASB: Upflow Anaerobic Sludge Blanket Reactor; FAL: Facultative Aeration Lagoon. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WWTP | Size in PE (120g TOD) | Primary treatment |  | Secondary treatment |  |  | Tertiary treatment | Gene removal (log10) |  |  |  |  |  |  |  |  |  |
|  |  | Screen | Prim sed. | SBR | UASB | UASB + FAL | Disinfection (chlorination) | S16 rDNA | uidA | aph3-Ib | blaCTX-M | blaNDM | ermF | qnrS | sul2 | tetW | intI1 |
| Summer season |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A | 286516 | x | x | x |  |  | x | 1.01 | 0.8 | 0.49 | 0.76 | 0.73 | 0.83 | 0.83 | 0.19 | 0.83 | 0.28 |
| B | 1904494 | x | x |  |  | x | x | 0.9 | 1.52 | 0.66 | 1.5 | 1.6 | 1.49 | 1.82 | 0.06 | 1.53 | 0.27 |
| C | 966292 | x | x |  | x |  | x | 1.81 | 2.06 | 2.39 | 2.32 | 1.94 | 1.94 | 2.38 | 1.24 | 2.63 | 1.74 |
| D | 168539 | x | x |  |  | x | x | 1.47 | 2.51 | 1.5 | 2.46 | 2.03 | 1.81 | 2.75 | 0.69 | 2.47 | 1.1 |
| Monsoon season |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A | 286516 | x | x | x |  |  | x | 1.33 | 0.81 | 0.69 | 0.63 | 0.66 | 0.79 | 1.28 | 0.36 | 0.88 | 0.5 |
| B | 1904494 | x | x |  |  | x | x | 1.34 | 1.64 | 0.78 | 1.79 | 0.07 | 1.54 | 2.08 | 0.25 | 1.56 | 1.41 |
| C | 966292 | x | x |  | x |  | x | 1.34 | 1.62 | 0.94 | 1.24 | 1.66 | 2.04 | 2.07 | 0.49 | 1.73 | 0.56 |
| D | 168539 | x | x |  |  | x | x | 1.36 | 1.95 | 2.31 | 1.37 | 1.33 | 1.61 | 1.55 | 0.9 | 1.89 | 1.47 |
| Winter season |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A | 286516 | x | x | x |  |  | x | 1.48 | 1.2 | 1.3 | 1.14 | 1.39 | 1.22 | 1.31 | 1.19 | 1.21 | 1.04 |
| B | 1904494 | x | x |  |  | x | x | 0.29 | 0.77 | 0.26 | 0.74 | 0.47 | 0.92 | 0.66 | -0.28 | 1.26 | 0.03 |
| C | 966292 | x | x |  | x |  | x | 1.04 | 1.32 | 0.62 | 1.36 | 1.35 | 1.13 | 1.52 | 0.23 | 1.2 | 0.37 |
| D | 168539 | x | x |  |  | x | x | 0.86 | 1.98 | 1.76 | 1.28 | 1.21 | 1.35 | 2.19 | 0.55 | 1.83 | 1.27 |

| Table S6 Relative abundance of uidA, ARGs and MGE in influent, effluent and sludge samples of Hyderabad wastewater treatment plants (WWTPs) situated along River Musi. Values were obtained by averaging the log10 relative abundances of each gene in each season. Relative abundance was obtained in each case with the following formula: relative abundance = log10 (ARG/ 16S rDNA). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gene | WWTP A |  |  | WWTP B |  |  | WWTP C |  |  | WWTP D |  |  |
|  | Influent | Effluent | Sludge | Influent | Effluent | Sludge | Influent | Effluent | Sludge | Influent | Effluent | Sludge |
| uidA | 0.53 | 0.50 | 0.29 | 0.59 | 0.48 | 0.37 | 0.59 | 0.48 | 0.32 | 0.61 | 0.41 | 0.29 |
| aph3-Ib | 0.76 | 0.78 | 0.87 | 0.79 | 0.79 | 0.81 | 0.79 | 0.76 | 0.81 | 0.83 | 0.71 | 0.83 |
| blaCTX-M | 0.55 | 0.54 | 0.37 | 0.61 | 0.50 | 0.44 | 0.61 | 0.51 | 0.37 | 0.63 | 0.50 | 0.38 |
| blaNDM | 0.50 | 0.46 | 0.33 | 0.55 | 0.52 | 0.32 | 0.56 | 0.45 | 0.33 | 0.53 | 0.41 | 0.33 |
| ermF | 0.74 | 0.74 | 0.67 | 0.75 | 0.67 | 0.65 | 0.77 | 0.69 | 0.63 | 0.74 | 0.65 | 0.62 |
| qnrS | 0.66 | 0.63 | 0.43 | 0.71 | 0.59 | 0.50 | 0.70 | 0.57 | 0.45 | 0.74 | 0.56 | 0.42 |
| sul2 | 0.73 | 0.78 | 0.80 | 0.76 | 0.83 | 0.77 | 0.75 | 0.80 | 0.76 | 0.76 | 0.79 | 0.80 |
| tetW | 0.73 | 0.72 | 0.64 | 0.78 | 0.67 | 0.70 | 0.78 | 0.68 | 0.64 | 0.82 | 0.67 | 0.69 |
| intI1 | 0.79 | 0.84 | 0.87 | 0.84 | 0.86 | 0.83 | 0.80 | 0.83 | 0.84 | 0.85 | 0.81 | 0.85 |

Table S7 Treatment characteristics, and uidA, ARG and MGE intI1 presence and removal as observed in this study (n=12) compared to other recent studies (adapted from Pallares-Vega et al. (2019)). Values are expressed in log10. Prevalence values of influent (I) and effluent (E) were obtained from the available data included in the corresponding publications. When not available, data were obtained by digitalization of plots in the corresponding publications with WebPlotDigitizer. The removal values were estimated by subtracting influent and effluent values. Acronyms are as follows: Advan: Advanced treatment; GC: Grit chamber; PC: Primary clarifier; UASB: Upflow anaerobic sludge blanket; SBR: Sequencing batch reactor; FAL: Facultative aerobic lagoon; MABR: Membrane aerated bioreactor; OD: Oxidation ditch; AN/A/O: anaerobic-anoxic-oxic treatment; ASP: Activated sludge process; P+M+B:  Physical + Mechanical + Biofilters.

| Reference | Location | WWTPs | Size (MLD) | Sampling date | Treatment |  |  | Sample type | Average absolute log10 gene copies/mL |  |  |  |  |  |  |  |  |  |  | Average log reduction = log10 (gene copies influent/gene copies effluent) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Primary | Secondary | Advanced |  | 16S | uidA | aph3-Ib | blaCTX-M | blaNDM | ermF | qnrS | sul2 | tetW | intI1 | 16S |  | uidA | aph3-Ib | blaCTX-M | blaNDM | ermF | qnrS | sul2 | tetW | intI1 |
| This study | Hyderabad, India | 1 | 51 | Summer | GC | SBR | Chlorination | I | 9.15 | 4.86 | 6.83 | 5.02 | 4.36 | 6.74 | 5.84 | 6.76 | 6.70 | 7.25 | 1.01 |  | 0.80 | 0.49 | 0.76 | 0.73 | 0.83 | 0.83 | 0.19 | 0.83 | 0.28 |
|  |  |  |  |  |  |  |  | E | 8.14 | 4.05 | 6.33 | 4.26 | 3.63 | 5.91 | 5.01 | 6.58 | 5.87 | 6.97 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Monsoon |  |  |  | I | 9.32 | 4.78 | 7.01 | 4.82 | 4.55 | 6.60 | 6.08 | 6.66 | 6.64 | 7.14 | 1.33 |  | 0.81 | 0.69 | 0.63 | 0.66 | 0.79 | 1.28 | 0.36 | 0.88 | 0.50 |
|  |  |  |  |  |  |  |  | E | 7.99 | 3.97 | 6.32 | 4.19 | 3.88 | 5.81 | 4.80 | 6.30 | 5.76 | 6.65 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 9.09 | 5.07 | 7.15 | 5.42 | 4.78 | 7.05 | 6.38 | 6.75 | 6.68 | 7.30 | 1.48 |  | 1.20 | 1.30 | 1.14 | 1.39 | 1.22 | 1.31 | 1.19 | 1.21 | 1.04 |
|  |  |  |  |  |  |  |  | E | 7.61 | 3.87 | 5.85 | 4.27 | 3.40 | 5.83 | 5.08 | 5.56 | 5.47 | 6.26 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 339 | Summer | GC | UASB+FAL | Chlorination | I | 8.97 | 5.33 | 7.08 | 5.53 | 4.96 | 6.67 | 6.40 | 6.83 | 7.03 | 7.34 | 0.90 |  | 1.52 | 0.66 | 1.50 | 1.60 | 1.49 | 1.82 | 0.06 | 1.53 | 0.27 |
|  |  |  |  |  |  |  |  | E | 8.07 | 3.81 | 6.42 | 4.03 | 3.36 | 5.19 | 4.58 | 6.77 | 5.50 | 7.06 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Monsoon |  |  |  | I | 9.39 | 5.40 | 7.18 | 5.50 | 5.20 | 6.90 | 6.48 | 6.93 | 7.09 | 8.34 | 1.34 |  | 1.64 | 0.78 | 1.79 | 0.07 | 1.54 | 2.08 | 0.25 | 1.56 | 1.41 |
|  |  |  |  |  |  |  |  | E | 8.05 | 3.76 | 6.39 | 3.71 | 5.13 | 5.36 | 4.40 | 6.68 | 5.53 | 6.93 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 8.68 | 4.91 | 6.89 | 5.32 | 4.66 | 6.72 | 6.20 | 6.62 | 6.63 | 7.11 | 0.29 |  | 0.77 | 0.26 | 0.74 | 0.47 | 0.92 | 0.66 | -0.28 | 1.26 | 0.03 |
|  |  |  |  |  |  |  |  | E | 8.39 | 4.15 | 6.63 | 4.58 | 4.19 | 5.80 | 5.54 | 6.90 | 5.37 | 7.08 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | 172 | Summer | GC | UASB | Chlorination | I | 9.19 | 5.47 | 7.14 | 5.71 | 5.32 | 6.88 | 6.41 | 6.93 | 7.30 | 7.20 | 1.81 |  | 2.06 | 2.39 | 2.32 | 1.94 | 1.94 | 2.38 | 1.24 | 2.63 | 1.74 |
|  |  |  |  |  |  |  |  | E | 7.38 | 3.41 | 4.75 | 3.38 | 3.38 | 4.95 | 4.03 | 5.69 | 4.67 | 5.46 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Monsoon |  |  |  | I | 9.14 | 5.29 | 7.15 | 5.37 | 5.09 | 7.07 | 6.36 | 6.83 | 7.13 | 7.29 | 1.34 |  | 1.62 | 0.94 | 1.24 | 1.66 | 2.04 | 2.07 | 0.49 | 1.73 | 0.56 |
|  |  |  |  |  |  |  |  | E | 7.80 | 3.67 | 6.21 | 4.13 | 3.43 | 5.03 | 4.29 | 6.34 | 5.39 | 6.73 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 8.89 | 5.19 | 7.14 | 5.55 | 4.81 | 7.05 | 6.34 | 6.68 | 6.85 | 7.38 | 1.04 |  | 1.32 | 0.62 | 1.36 | 1.35 | 1.13 | 1.52 | 0.23 | 1.20 | 0.37 |
|  |  |  |  |  |  |  |  | E | 7.85 | 3.88 | 6.52 | 4.19 | 3.46 | 5.93 | 4.83 | 6.45 | 5.65 | 7.01 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4 | 30 | Summer | GC | UASB+FAL | Chlorination | I | 8.64 | 5.39 | 7.00 | 5.59 | 4.90 | 6.61 | 6.56 | 6.59 | 7.20 | 7.13 | 1.47 |  | 2.51 | 1.50 | 2.46 | 2.03 | 1.81 | 2.75 | 0.69 | 2.47 | 1.10 |
|  |  |  |  |  |  |  |  | E | 7.17 | 2.88 | 5.51 | 3.13 | 2.87 | 4.80 | 3.81 | 5.90 | 4.72 | 6.03 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Monsoon |  |  |  | I | 8.53 | 5.06 | 6.98 | 5.20 | 4.41 | 6.26 | 5.99 | 6.40 | 6.82 | 7.07 | 1.36 |  | 1.95 | 2.31 | 1.37 | 1.33 | 1.61 | 1.55 | 0.90 | 1.89 | 1.47 |
|  |  |  |  |  |  |  |  | E | 7.18 | 3.11 | 4.68 | 3.84 | 3.09 | 4.65 | 4.44 | 5.51 | 4.93 | 5.60 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 7.87 | 4.84 | 6.75 | 5.08 | 4.10 | 5.76 | 5.91 | 6.05 | 6.56 | 6.93 | 0.86 |  | 1.98 | 1.76 | 1.28 | 1.21 | 1.35 | 2.19 | 0.55 | 1.83 | 1.27 |
|  |  |  |  |  |  |  |  | E | 7.01 | 2.86 | 4.99 | 3.80 | 2.89 | 4.41 | 3.72 | 5.50 | 4.73 | 5.66 |  |  |  |  |  |  |  |  |  |  |  |
| (Saxena et al. 2021) | Delhi, India | 1 | 45 | NA | GC | ASP | NA | I | 12.15 |  |  | 2.33 |  |  | 3.61 | 2.13 |  |  | 1.8 |  |  |  | 1.29 |  |  | 1.32 | 0.77 |  |  |
|  |  |  |  |  |  |  |  | E | 10.35 |  |  | 1.04 |  |  | 2.29 | 1.36 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 636 | NA | GC | ASP | NA | I | 11.64 |  |  | 3.48 |  |  | 1.38 | 3.63 |  |  | 2.19 |  |  |  | 2.02 |  |  | 1.15 | 0.9 |  |  |
|  |  |  |  |  |  |  |  | E | 9.45 |  |  | 1.46 |  |  | 0.23 | 2.73 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Nagpur, India | 3 | 0.3 | NA | GC | MBBR | NA | I | 12.14 |  |  |  |  |  | 2.42 | 6.12 |  |  | 1.67 |  |  |  |  |  |  | 2.19 | 3.49 |  |  |
|  |  |  |  |  |  |  |  | E | 10.47 |  |  |  |  |  | 0.23 | 2.63 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (Shukla et al. 2024) | Delhi, India | 1 | NA | NA | GC | ASP | BIOFOR filters | I | 9.51 |  |  | 6.11 | 5.81 | 6.34 | 3.62 |  | 5.09 | 6.83 | 1.28 |  |  |  | 0.55 | -0.04 | 1.17 | 1.06 |  | 1.85 | 1.25 |
|  |  |  |  |  |  |  |  | E | 8.23 |  |  | 5.56 | 5.85 | 5.17 | 2.56 |  | 3.24 | 5.58 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | NA | NA | GC | ASP | Chlorination | I | 9.16 |  |  | 6.21 | 5.77 | 6.16 | 3.52 |  | 4.97 | 5.77 | 2.38 |  |  |  | 1.15 | 0.58 | 3.43 | 1.27 |  | 1.14 | 0.58 |
|  |  |  |  |  |  |  |  | E | 6.78 |  |  | 5.06 | 5.19 | 2.73 | 2.25 |  | 3.83 | 5.19 |  |  |  |  |  |  |  |  |  |  |  |
| (Osińska et al. 2020) | Northern Poland | 1 | 0.45 | Autumn | NA | NA | NA | I | 9.56 | 6.20 |  |  |  |  | 5.13 |  |  | 6.26 | 0.88 |  | 1.09 |  |  |  |  | 0.13 |  |  | 0.66 |
|  |  |  |  |  |  |  |  | E | 8.68 | 5.11 |  |  |  |  | 5.00 |  |  | 5.59 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 9.76 | 6.40 |  |  |  |  | 5.72 |  |  | 6.32 | 0.76 |  | 1.63 |  |  |  |  | 1.74 |  |  | 0.94 |
|  |  |  |  |  |  |  |  | E | 9.00 | 4.77 |  |  |  |  | 3.98 |  |  | 5.38 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 0.05 | Autumn | NA | NA | NA | I | 9.65 | 6.67 |  |  |  |  | 5.51 |  |  | 6.61 | 0.81 |  | 1.89 |  |  |  |  | 1.48 |  |  | 1.14 |
|  |  |  |  |  |  |  |  | E | 8.84 | 4.79 |  |  |  |  | 4.03 |  |  | 5.46 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 9.36 | 6.37 |  |  |  |  | 5.64 |  |  | 6.78 | 0.00 |  | 0.14 |  |  |  |  | 0.33 |  |  | 0.35 |
|  |  |  |  |  |  |  |  | E | 9.36 | 6.23 |  |  |  |  | 5.31 |  |  | 6.44 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | 1.6 | Autumn | NA | NA | NA | I | 8.95 | 5.17 |  |  |  |  | 4.49 |  |  | 5.13 | -0.67 |  | -0.78 |  |  |  |  | -1.65 |  |  | -0.97 |
|  |  |  |  |  |  |  |  | E | 9.62 | 5.96 |  |  |  |  | 6.14 |  |  | 6.10 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 9.99 | 7.12 |  |  |  |  | 5.66 |  |  | 7.45 | 0.79 |  | 1.71 |  |  |  |  | 1.10 |  |  | 1.86 |
|  |  |  |  |  |  |  |  | E | 9.20 | 5.41 |  |  |  |  | 4.56 |  |  | 5.59 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4 | 0.69 | Autumn | NA | NA | NA | I | 10.62 | 6.22 |  |  |  |  | 6.09 |  |  | 7.18 | 1.41 |  | -0.34 |  |  |  |  | 1.76 |  |  | 1.90 |
|  |  |  |  |  |  |  |  | E | 9.21 | 6.56 |  |  |  |  | 4.33 |  |  | 5.29 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Winter |  |  |  | I | 10.18 | 6.69 |  |  |  |  | 5.62 |  |  | 6.80 | 1.10 |  | 1.33 |  |  |  |  | 1.38 |  |  | 1.08 |
|  |  |  |  |  |  |  |  | E | 9.09 | 5.36 |  |  |  |  | 4.24 |  |  | 5.71 |  |  |  |  |  |  |  |  |  |  |  |
| (Thakali et al. 2021) | Nepal | 1 |  | Summer | GC | OD | NA | I | 8.15 |  |  | 4.11 | 2.42 |  | 5.26 |  |  | 7.84 | 0.20 |  |  |  | 2.38 | 2.51 |  | 2.63 |  |  | 0.16 |
|  |  |  |  |  |  |  |  | E | 7.95 |  |  | 1.73 | -0.09 |  | 2.63 |  |  | 7.68 |  |  |  |  |  |  |  |  |  |  |  |
| (Li et al. 2016) | Eastern China | 1 | 400 | Summer | GC | AN/A/O | UV | I |  |  |  |  |  |  |  | 10.86 | 10.95 | 10.95 |  |  |  |  |  |  |  |  | 0.25 | 0.34 | 0.23 |
|  |  |  |  |  |  |  |  | E |  |  |  |  |  |  |  | 10.61 | 10.61 | 10.71 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 60 | Summer | GC | OD | UV | I |  |  |  |  |  |  |  | 10.61 | 10.69 | 10.95 |  |  |  |  |  |  |  |  | 0.84 | 0.21 | 0.15 |
|  |  |  |  |  |  |  |  | E |  |  |  |  |  |  |  | 9.77 | 10.48 | 10.80 |  |  |  |  |  |  |  |  |  |  |  |
| (Pallares-Vega et al. 2019) | Netherland | 62 |  | Mixed | Varied | Varied | None | I | 8.54 |  |  | 4.40 |  |  | 5.44 | 5.71 |  | 6.53 | 1.77 |  |  |  | 2.46 |  |  | 2.65 | 2.00 |  | 1.81 |
|  |  |  |  |  |  |  |  | E | 6.77 |  |  | 1.94 |  |  | 2.79 | 3.71 |  | 4.72 |  |  |  |  |  |  |  |  |  |  |  |
| (Teixeira et al. 2023) | Portugal | 1 | NA | Winter |  |  |  | I | 7.12 | 4.17 | 5.07 |  |  | 5.62 |  |  |  | 6.21 | 0.34 |  | 1.47 | 0.18 |  |  | 0.77 |  |  |  | 0.35 |
|  |  |  |  |  |  |  |  | E | 6.78 | 2.71 | 4.90 |  |  | 4.85 |  |  |  | 5.86 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 14.4 | Summer |  |  |  | I | 7.45 | 3.67 | 5.47 |  |  | 5.79 |  |  |  | 6.89 | -0.23 |  | -0.15 | 0.09 |  |  | 0.37 |  |  |  | -0.52 |
|  |  |  |  |  |  |  |  | E | 7.68 | 3.82 | 5.38 |  |  | 5.42 |  |  |  | 7.41 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | 30.7 | Winter |  |  |  | I | 6.86 | 4.93 | 5.47 |  |  | 5.82 |  |  |  | 6.91 | 1.07 |  | 2.76 | 1.56 |  |  | 1.27 |  |  |  | 1.99 |
|  |  |  |  |  |  |  |  | E | 5.79 | 2.17 | 3.91 |  |  | 4.55 |  |  |  | 4.92 |  |  |  |  |  |  |  |  |  |  |  |
|  | Czech Republic | 1 | 144 | Winter |  |  |  | I | 8.58 | 5.11 | 6.67 |  |  | 6.61 |  |  |  | 6.28 | 1.32 |  | 1.31 | 1.93 |  |  | 1.24 |  |  |  | 1.10 |
|  |  |  |  |  |  |  |  | E | 7.26 | 3.79 | 4.74 |  |  | 5.37 |  |  |  | 5.18 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 144 | Winter |  |  |  | I | 7.71 | 4.22 | 5.31 |  |  | 5.87 |  |  |  | 5.96 | 1.60 |  | 2.33 | 2.20 |  |  | 2.44 |  |  |  | 2.28 |
|  |  |  |  |  |  |  |  | E | 6.10 | 1.90 | 3.12 |  |  | 3.43 |  |  |  | 3.68 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | 144 | Winter |  |  |  | I | 8.52 | 5.00 | 6.50 |  |  | 6.56 |  |  |  | 6.80 | 2.00 |  | 1.79 | 2.00 |  |  | 1.77 |  |  |  | 2.13 |
|  |  |  |  |  |  |  |  | E | 6.53 | 3.21 | 4.50 |  |  | 4.80 |  |  |  | 4.66 |  |  |  |  |  |  |  |  |  |  |  |
|  | Denmark | 1 | 46.08 | Winter |  |  |  | I | 8.24 | 4.35 | 5.33 |  |  | 5.18 |  |  |  | 6.42 | 1.63 |  | 2.35 | 1.58 |  |  | 1.70 |  |  |  | 1.41 |
|  |  |  |  |  |  |  |  | E | 6.61 | 2.00 | 3.75 |  |  | 3.48 |  |  |  | 5.02 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | 46.08 | Winter |  |  |  | I | 8.07 | 3.99 | 5.22 |  |  | 5.52 |  |  |  | 6.35 | 1.49 |  | 1.85 | 1.27 |  |  | 2.09 |  |  |  | 1.24 |
|  |  |  |  |  |  |  |  | E | 6.58 | 2.15 | 3.95 |  |  | 3.43 |  |  |  | 5.11 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | 46.08 | Winter |  |  |  | I | 8.12 | 4.25 | 6.08 |  |  | 5.64 |  |  |  | 6.56 | 1.65 |  | 2.06 | 1.60 |  |  | 2.26 |  |  |  | 1.55 |
|  |  |  |  |  |  |  |  | E | 6.47 | 2.19 | 4.48 |  |  | 3.38 |  |  |  | 5.02 |  |  |  |  |  |  |  |  |  |  |  |
|  | Israel | 1 | NA | Winter |  | MABR |  | I | 8.02 | 4.47 | 5.69 |  |  | 5.94 |  |  |  | 6.77 | 1.77 |  | 2.48 | 1.45 |  |  | 1.79 |  |  |  | 1.57 |
|  |  |  |  |  |  |  |  | E | 6.24 | 2.00 | 4.24 |  |  | 4.15 |  |  |  | 5.20 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 2 | NA | Winter |  | MABR |  | I | 7.71 | 4.17 | 5.69 |  |  | 5.57 |  |  |  | 6.54 | 1.58 |  | 2.20 | 1.45 |  |  | 1.57 |  |  |  | 1.45 |
|  |  |  |  |  |  |  |  | E | 6.13 | 1.97 | 4.24 |  |  | 4.00 |  |  |  | 5.09 |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3 | NA | Winter |  | MABR |  | I | 8.10 | 4.47 | 6.54 |  |  | 5.87 |  |  |  | 7.05 | 1.88 |  | 2.10 | 2.24 |  |  | 1.77 |  |  |  | 1.83 |
|  |  |  |  |  |  |  |  | E | 6.22 | 2.38 | 4.30 |  |  | 4.10 |  |  |  | 5.23 |  |  |  |  |  |  |  |  |  |  |  |

Figure S3. (A) Log reduction of absolute abundance of all analysed genes in WWTPs employing SBR (A), UASB (C) and UASB+FAL (D) treatment processes across different seasons. (B) Boxplots compare the log reduction (aggregated across seasons and genes) among different treatment processes. Significant differences in gene removal between treatment processes were evaluated using a paired Kruskal-Wallis test, with p-values indicated between treatment groups.

References

American Public Health Association (APHA) (2017) Standard Method for the Examination of Water and Wastewater, 23rd edn. American Public Health Association, Washington (DC)

Avramidis P, Bekiari V (2021) Application of a catalytic oxidation method for the simultaneous determination of total organic carbon and total nitrogen in marine sediments and soils. PLoS One 16:1–14. https://doi.org/10.1371/journal.pone.0252308

Barraud O, Baclet MC, Denis F, Ploy MC (2010) Quantitative multiplex real-time PCR for detecting class 1, 2 and 3 integrons. J Antimicrob Chemother 65:1642–1645. https://doi.org/10.1093/jac/dkq167

CEM Corporation (2019) CEM Microwave Digester Protocol. 1–4

CPCB (2008) General Standards for Discharge of Environmental Pollutants. Environ Rules 2:545–560

Dalai S, Sivan M, Husain MA, et al (2023) Mechanistic Insight into the Abiotic Interactions of Selenate and Selenite with Natural Organic Matter. Environ Sci Technol 57:16595–16605. https://doi.org/10.1021/acs.est.3c06276

Frahm E, Obst U (2003) Application of the fluorogenic probe technique (TaqMan PCR) to the detection of Enterococcus spp. and Escherichia coli in water samples. J Microbiol Methods 52:123–131. https://doi.org/10.1016/S0167-7012(02)00150-1

Karvelas M, Katsoyiannis A, Samara C (2003) Occurrence and fate of heavy metals in the wastewater treatment process. Chemosphere 53:1201–1210. https://doi.org/10.1016/S0045-6535(03)00591-5

Lane D (1991) 16S/23S rRNA sequencing. In: Stackebrandt E, Goodfellow M (eds) Nucleic Acid Techniques in Bacterial Systematics. John Wiley & Sons, New York, pp 115–175

Li J, Cheng W, Xu L, et al (2016) Occurrence and removal of antibiotics and the corresponding resistance genes in wastewater treatment plants: effluents’ influence to downstream water environment. Environ Sci Pollut Res 23:6826–6835. https://doi.org/10.1007/s11356-015-5916-2

Li L, Dechesne A, He Z, et al (2018) Estimating the Transfer Range of Plasmids Encoding Antimicrobial Resistance in a Wastewater Treatment Plant Microbial Community. Environ Sci Technol Lett 5:260–265. https://doi.org/10.1021/acs.estlett.8b00105

Liang C, Wei D, Zhang S, et al (2021) Removal of antibiotic resistance genes from swine wastewater by membrane filtration treatment. Ecotoxicol Environ Saf 210:111885. https://doi.org/10.1016/j.ecoenv.2020.111885

Marti E, Balcázar JL (2013) Real-time PCR assays for quantification of qnr genes in environmental water samples and chicken feces. Appl Environ Microbiol 79:1743–1745. https://doi.org/10.1128/AEM.03409-12

Marti E, Jofre J, Balcazar JL (2013) Prevalence of Antibiotic Resistance Genes and Bacterial Community Composition in a River Influenced by a Wastewater Treatment Plant. PLoS One 8:1–8. https://doi.org/10.1371/journal.pone.0078906

Moradigaravand D, Li L, Dechesne A, et al (2023) Plasmid permissiveness of wastewater microbiomes can be predicted from 16S rRNA sequences by machine learning. Bioinformatics 39:. https://doi.org/10.1093/bioinformatics/btad400

Muyzer G, De Waal EC, Uitterlinden AG (1993) Profiling of complex microbial populations by denaturing gradient gel electrophoresis analysis of polymerase chain reaction-amplified genes coding for 16S rRNA. Appl Environ Microbiol 59:695–700. https://doi.org/10.1128/aem.59.3.695-700.1993

Osińska A, Korzeniewska E, Harnisz M, et al (2020) Small-scale wastewater treatment plants as a source of the dissemination of antibiotic resistance genes in the aquatic environment. J Hazard Mater 381:121221. https://doi.org/10.1016/j.jhazmat.2019.121221

Pallares-Vega R, Blaak H, van der Plaats R, et al (2019) Determinants of presence and removal of antibiotic resistance genes during WWTP treatment: A cross-sectional study. Water Res 161:319–328. https://doi.org/10.1016/j.watres.2019.05.100

Pei R, Kim SC, Carlson KH, Pruden A (2006) Effect of River Landscape on the sediment concentrations of antibiotics and corresponding antibiotic resistance genes (ARG). Water Res 40:2427–2435. https://doi.org/10.1016/j.watres.2006.04.017

Quintela-Baluja M, Abouelnaga M, Romalde J, et al (2019) Spatial ecology of a wastewater network defines the antibiotic resistance genes in downstream receiving waters. Water Res 162:347–357. https://doi.org/10.1016/j.watres.2019.06.075

Saxena P, Hiwrale I, Das S, et al (2021) Profiling of emerging contaminants and antibiotic resistance in sewage treatment plants: An Indian perspective. J Hazard Mater 408:124877. https://doi.org/10.1016/j.jhazmat.2020.124877

Shukla R, Prasad DK, Ahammad SZ (2024) Investigating antimicrobial resistance determinants and micropollutants in urban sewage treatment plants of India: Occurrence, removal and ecotoxicological risk. J Environ Chem Eng 12:111654. https://doi.org/10.1016/j.jece.2023.111654

Silkie SS, Tolcher MP, Nelson KL (2008) Reagent decontamination to eliminate false-positives in Escherichia coli qPCR. J Microbiol Methods 72:275–282. https://doi.org/10.1016/j.mimet.2007.12.011

Teixeira AM, Vaz-Moreira I, Calderón-Franco D, et al (2023) Candidate biomarkers of antibiotic resistance for the monitoring of wastewater and the downstream environment. Water Res 247:. https://doi.org/10.1016/j.watres.2023.120761

Thakali O, Malla B, Tandukar S, et al (2021) Release of antibiotic-resistance genes from hospitals and a wastewater treatment plant in the kathmandu valley, Nepal. Water (Switzerland) 13:1–11. https://doi.org/10.3390/w13192733

USEPA (1996) USEPA (United States Environmental Protection Agency) Method 3050B Acid Digestion of Sediments, Sludges, and Soils. 26:551–556

van Schaik W (2015) The human gut resistome. Philos Trans R Soc B Biol Sci 370:. https://doi.org/10.1098/rstb.2014.0087

Walsh F, Ingenfeld A, Zampicolli M, et al (2011) Real-time PCR methods for quantitative monitoring of streptomycin and tetracycline resistance genes in agricultural ecosystems. J Microbiol Methods 86:150–155. https://doi.org/10.1016/j.mimet.2011.04.011

Walter E. Dean J (1974) Determination of carbonate and organic matter in calcareous sediments and sedimentary rocks by loss on ignition: comparison with other methods. J Sedimetary Petrol 44:242–248