Supplementary Table 1. Detailed parameters of MR sequences

| Parameters | Respiratory-triggered T2-weighted imaging | Free-breathing DWI * | Breath-hold T1-weighted in-phase and opposed-phase imaging |  | MRE | Breath-hold T1-weighted VIBE imaging |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TR (ms) | 4918 | 5100 | 6.88 | 3800 |  |  | 3.47 |
| TE (ms) | 106 | 55 | 2.39/4.77 | 86.2 |  |  | 1.36 |
| BW (Hz) | 195 | 1565 | 435 | 1500 |  |  | 400 |
| FOV (mm2) | 285×380 | 285×380 | 365×380 | 300×380 |  |  | 308×380 |
| Matrix | 384×273 | 192×154 | 320×240 | 300×380 |  |  | 320×240 |
| Section thickness (mm) | 5.5 | 5.5 | 3.5 | 8 |  |  | 3 |
| Acquisition Time (sec) | 13 | 74 | 18 | 10 |  |  | 15 |

Note. — TR, Repetition time; TE, Echo time; BW, Bandwidth; FOV, Field of view; DWI, Diffusion-weighted Imaging; VIBE, Volumetric interpolated breath-hold examination

* Performed with b values of 0 and 500 sec/mm2