## Sample Details
Administrative Information
Export date | 10 December 2024 09:42:24
Culture name | en-GB
Decimal separator | .
Workspace name | November 2024
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\2024\November 2024\
File name | ICF_04_12_2024-0007.sample
Creation date | 06 December 2024 12:01:14
Created by | OBPC
Comments | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Software version | Agilent SEC Software - 2.1.9.34851
Sample Information
Sample name | E bis
Information
Sample type | Sample
Injection date | 06 December 2024
Vial number | None
Injection number | 1
Injection volume (µL) | 200
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 0
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Instrument name | Agilent DataStream
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV

## Raw Data
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV
Raw Data
RT (mins) | Response Trace 1
0 | -2.1924
0.016667 | -2.2102
0.033333 | -2.2395
0.05 | -2.2352
0.066667 | -2.2218
0.083333 | -2.205
0.1 | -2.203
0.11667 | -2.1908
0.13333 | -2.1966
0.15 | -2.1999
0.16667 | -2.1905
0.18333 | -2.2152
0.2 | -2.206
0.21667 | -2.2056
0.23333 | -2.2074
0.25 | -2.2016
0.26667 | -2.1893
0.28333 | -2.2028
0.3 | -2.185
0.31667 | -2.1906
0.33333 | -2.1894
0.35 | -2.1769
0.36667 | -2.1897
0.38333 | -2.1807
0.4 | -2.1912
0.41667 | -2.1801
0.43333 | -2.1676
0.45 | -2.1754
0.46667 | -2.1723
0.48333 | -2.1673
0.5 | -2.1647
0.51667 | -2.1687
0.53333 | -2.1731
0.55 | -2.1766
0.56667 | -2.1604
0.58333 | -2.1835
0.6 | -2.1833
0.61667 | -2.1908
0.63333 | -2.1964
0.65 | -2.223
0.66667 | -2.223
0.68333 | -2.2234
0.7 | -2.2262
0.71667 | -2.2172
0.73333 | -2.2189
0.75 | -2.2213
0.76667 | -2.2303
0.78333 | -2.2128
0.8 | -2.2201
0.81667 | -2.219
0.83333 | -2.2276
0.85 | -2.2204
0.86667 | -2.2016
0.88333 | -2.1906
0.9 | -2.1774
0.91667 | -2.1952
0.93333 | -2.1969
0.95 | -2.1935
0.96667 | -2.1964
0.98333 | -2.1983
1 | -2.1922
1.0167 | -2.1926
1.0333 | -2.1842
1.05 | -2.1824
1.0667 | -2.1899
1.0833 | -2.1857
1.1 | -2.1894
1.1167 | -2.1893
1.1333 | -2.1935
1.15 | -2.1926
1.1667 | -2.192
1.1833 | -2.1986
1.2 | -2.1867
1.2167 | -2.1937
1.2333 | -2.1827
1.25 | -2.197
1.2667 | -2.1946
1.2833 | -2.1947
1.3 | -2.1882
1.3167 | -2.1822
1.3333 | -2.1745
1.35 | -2.1857
1.3667 | -2.1928
1.3833 | -2.1938
1.4 | -2.201
1.4167 | -2.2004
1.4333 | -2.2022
1.45 | -2.1871
1.4667 | -2.1754
1.4833 | -2.1719
1.5 | -2.1812
1.5167 | -2.1891
1.5333 | -2.1914
1.55 | -2.1741
1.5667 | -2.1743
1.5833 | -2.176
1.6 | -2.1873
1.6167 | -2.1865
1.6333 | -2.1891
1.65 | -2.199
1.6667 | -2.2028
1.6833 | -2.1874
1.7 | -2.169
1.7167 | -2.1684
1.7333 | -2.1653
1.75 | -2.1813
1.7667 | -2.1777
1.7833 | -2.1647
1.8 | -2.172
1.8167 | -2.1835
1.8333 | -2.1819
1.85 | -2.1999
1.8667 | -2.2042
1.8833 | -2.2045
1.9 | -2.205
1.9167 | -2.1992
1.9333 | -2.1859
1.95 | -2.1897
1.9667 | -2.192
1.9833 | -2.1818
2 | -2.1894
2.0167 | -2.1882
2.0333 | -2.1976
2.05 | -2.1976
2.0667 | -2.1668
2.0833 | -2.1679
2.1 | -2.1609
2.1167 | -2.1658
2.1333 | -2.1731
2.15 | -2.1737
2.1667 | -2.1738
2.1833 | -2.1503
2.2 | -2.1626
2.2167 | -2.1656
2.2333 | -2.1494
2.25 | -2.1391
2.2667 | -2.1333
2.2833 | -2.1339
2.3 | -2.1433
2.3167 | -2.1763
2.3333 | -2.1655
2.35 | -2.1655
2.3667 | -2.1684
2.3833 | -2.1534
2.4 | -2.1604
2.4167 | -2.1552
2.4333 | -2.1523
2.45 | -2.1542
2.4667 | -2.1606
2.4833 | -2.1658
2.5 | -2.1568
2.5167 | -2.161
2.5333 | -2.1549
2.55 | -2.1587
2.5667 | -2.1702
2.5833 | -2.1772
2.6 | -2.1694
2.6167 | -2.1651
2.6333 | -2.1665
2.65 | -2.1738
2.6667 | -2.1534
2.6833 | -2.1632
2.7 | -2.1796
2.7167 | -2.1856
2.7333 | -2.1696
2.75 | -2.1607
2.7667 | -2.1587
2.7833 | -2.158
2.8 | -2.1868
2.8167 | -2.178
2.8333 | -2.1636
2.85 | -2.165
2.8667 | -2.1716
2.8833 | -2.1789
2.9 | -2.1822
2.9167 | -2.1819
2.9333 | -2.1806
2.95 | -2.1815
2.9667 | -2.1923
2.9833 | -2.1844
3 | -2.1668
3.0167 | -2.1642
3.0333 | -2.1792
3.05 | -2.1571
3.0667 | -2.1545
3.0833 | -2.1516
3.1 | -2.1426
3.1167 | -2.15
3.1333 | -2.1525
3.15 | -2.1389
3.1667 | -2.1638
3.1833 | -2.1398
3.2 | -2.1468
3.2167 | -2.1548
3.2333 | -2.1543
3.25 | -2.1543
3.2667 | -2.1362
3.2833 | -2.1308
3.3 | -2.1407
3.3167 | -2.1493
3.3333 | -2.1439
3.35 | -2.1391
3.3667 | -2.1326
3.3833 | -2.1371
3.4 | -2.1476
3.4167 | -2.1468
3.4333 | -2.1665
3.45 | -2.1583
3.4667 | -2.1484
3.4833 | -2.1558
3.5 | -2.1355
3.5167 | -2.1181
3.5333 | -2.1105
3.55 | -2.1345
3.5667 | -2.1178
3.5833 | -2.1301
3.6 | -2.1328
3.6167 | -2.1281
3.6333 | -2.1198
3.65 | -2.1091
3.6667 | -2.1233
3.6833 | -2.127
3.7 | -2.1285
3.7167 | -2.1291
3.7333 | -2.1243
3.75 | -2.1183
3.7667 | -2.1049
3.7833 | -2.1062
3.8 | -2.1174
3.8167 | -2.132
3.8333 | -2.1156
3.85 | -2.1265
3.8667 | -2.1326
3.8833 | -2.1107
3.9 | -2.1088
3.9167 | -2.1075
3.9333 | -2.1114
3.95 | -2.1162
3.9667 | -2.1165
3.9833 | -2.107
4 | -2.109
4.0167 | -2.111
4.0333 | -2.1291
4.05 | -2.1217
4.0667 | -2.1017
4.0833 | -2.0977
4.1 | -2.087
4.1167 | -2.0924
4.1333 | -2.102
4.15 | -2.0956
4.1667 | -2.098
4.1833 | -2.103
4.2 | -2.1049
4.2167 | -2.105
4.2333 | -2.1113
4.25 | -2.1084
4.2667 | -2.1038
4.2833 | -2.1079
4.3 | -2.1139
4.3167 | -2.1171
4.3333 | -2.1284
4.35 | -2.1285
4.3667 | -2.1143
4.3833 | -2.1186
4.4 | -2.1003
4.4167 | -2.1023
4.4333 | -2.0979
4.45 | -2.1088
4.4667 | -2.1001
4.4833 | -2.1085
4.5 | -2.1119
4.5167 | -2.1081
4.5333 | -2.1009
4.55 | -2.1165
4.5667 | -2.1156
4.5833 | -2.1166
4.6 | -2.1214
4.6167 | -2.1095
4.6333 | -2.1003
4.65 | -2.0913
4.6667 | -2.0962
4.6833 | -2.0989
4.7 | -2.1056
4.7167 | -2.1117
4.7333 | -2.1093
4.75 | -2.0959
4.7667 | -2.1003
4.7833 | -2.1011
4.8 | -2.0928
4.8167 | -2.1032
4.8333 | -2.113
4.85 | -2.0907
4.8667 | -2.0867
4.8833 | -2.1128
4.9 | -2.0942
4.9167 | -2.0931
4.9333 | -2.1021
4.95 | -2.0965
4.9667 | -2.1096
4.9833 | -2.1163
5 | -2.1275
5.0167 | -2.1191
5.0333 | -2.111
5.05 | -2.125
5.0667 | -2.113
5.0833 | -2.1098
5.1 | -2.1174
5.1167 | -2.1134
5.1333 | -2.0998
5.15 | -2.1027
5.1667 | -2.1041
5.1833 | -2.1006
5.2 | -2.1008
5.2167 | -2.1067
5.2333 | -2.1125
5.25 | -2.1062
5.2667 | -2.1223
5.2833 | -2.1142
5.3 | -2.1333
5.3167 | -2.1304
5.3333 | -2.1194
5.35 | -2.111
5.3667 | -2.1033
5.3833 | -2.1047
5.4 | -2.1062
5.4167 | -2.1014
5.4333 | -2.1017
5.45 | -2.1018
5.4667 | -2.1188
5.4833 | -2.1191
5.5 | -2.0994
5.5167 | -2.0963
5.5333 | -2.0885
5.55 | -2.0815
5.5667 | -2.0954
5.5833 | -2.0959
5.6 | -2.0966
5.6167 | -2.0852
5.6333 | -2.0927
5.65 | -2.098
5.6667 | -2.0887
5.6833 | -2.0826
5.7 | -2.0814
5.7167 | -2.0963
5.7333 | -2.1137
5.75 | -2.1043
5.7667 | -2.0972
5.7833 | -2.0948
5.8 | -2.0887
5.8167 | -2.0898
5.8333 | -2.0965
5.85 | -2.103
5.8667 | -2.1017
5.8833 | -2.0975
5.9 | -2.0939
5.9167 | -2.0876
5.9333 | -2.0589
5.95 | -2.0757
5.9667 | -2.0728
5.9833 | -2.0698
6 | -2.0774
6.0167 | -2.0846
6.0333 | -2.0814
6.05 | -2.0863
6.0667 | -2.1033
6.0833 | -2.0969
6.1 | -2.0997
6.1167 | -2.1093
6.1333 | -2.1041
6.15 | -2.0962
6.1667 | -2.098
6.1833 | -2.1203
6.2 | -2.0875
6.2167 | -2.0931
6.2333 | -2.1098
6.25 | -2.1067
6.2667 | -2.1059
6.2833 | -2.1058
6.3 | -2.0927
6.3167 | -2.0933
6.3333 | -2.1056
6.35 | -2.1004
6.3667 | -2.1093
6.3833 | -2.1149
6.4 | -2.1125
6.4167 | -2.1175
6.4333 | -2.1218
6.45 | -2.1111
6.4667 | -2.1012
6.4833 | -2.1012
6.5 | -2.0956
6.5167 | -2.0931
6.5333 | -2.1035
6.55 | -2.0911
6.5667 | -2.0893
6.5833 | -2.0924
6.6 | -2.1076
6.6167 | -2.1079
6.6333 | -2.1062
6.65 | -2.0812
6.6667 | -2.0782
6.6833 | -2.0998
6.7 | -2.1033
6.7167 | -2.1037
6.7333 | -2.0858
6.75 | -2.0861
6.7667 | -2.0913
6.7833 | -2.0913
6.8 | -2.103
6.8167 | -2.0969
6.8333 | -2.0902
6.85 | -2.0927
6.8667 | -2.098
6.8833 | -2.0898
6.9 | -2.0942
6.9167 | -2.0934
6.9333 | -2.0988
6.95 | -2.1018
6.9667 | -2.0983
6.9833 | -2.1131
7 | -2.1003
7.0167 | -2.0953
7.0333 | -2.0977
7.05 | -2.1078
7.0667 | -2.107
7.0833 | -2.1183
7.1 | -2.1044
7.1167 | -2.1004
7.1333 | -2.1124
7.15 | -2.1003
7.1667 | -2.0921
7.1833 | -2.077
7.2 | -2.0809
7.2167 | -2.0779
7.2333 | -2.0805
7.25 | -2.0835
7.2667 | -2.0647
7.2833 | -2.0953
7.3 | -2.0847
7.3167 | -2.0905
7.3333 | -2.0806
7.35 | -2.0847
7.3667 | -2.0798
7.3833 | -2.0853
7.4 | -2.0785
7.4167 | -2.0786
7.4333 | -2.0811
7.45 | -2.0698
7.4667 | -2.0704
7.4833 | -2.0818
7.5 | -2.0797
7.5167 | -2.0739
7.5333 | -2.0776
7.55 | -2.0785
7.5667 | -2.0895
7.5833 | -2.0849
7.6 | -2.0873
7.6167 | -2.0792
7.6333 | -2.0699
7.65 | -2.0597
7.6667 | -2.0678
7.6833 | -2.0635
7.7 | -2.0736
7.7167 | -2.0969
7.7333 | -2.0965
7.75 | -2.089
7.7667 | -2.076
7.7833 | -2.0756
7.8 | -2.076
7.8167 | -2.0815
7.8333 | -2.0773
7.85 | -2.1008
7.8667 | -2.0957
7.8833 | -2.086
7.9 | -2.0815
7.9167 | -2.0776
7.9333 | -2.0652
7.95 | -2.073
7.9667 | -2.0647
7.9833 | -2.0843
8 | -2.0681
8.0167 | -2.0692
8.0333 | -2.0763
8.05 | -2.0736
8.0667 | -2.0753
8.0833 | -2.065
8.1 | -2.0637
8.1167 | -2.0742
8.1333 | -2.0843
8.15 | -2.0835
8.1667 | -2.0876
8.1833 | -2.0707
8.2 | -2.077
8.2167 | -2.0782
8.2333 | -2.0759
8.25 | -2.0655
8.2667 | -2.0798
8.2833 | -2.0637
8.3 | -2.0574
8.3167 | -2.0824
8.3333 | -2.0699
8.35 | -2.0686
8.3667 | -2.0809
8.3833 | -2.0947
8.4 | -2.0782
8.4167 | -2.0731
8.4333 | -2.089
8.45 | -2.0773
8.4667 | -2.0834
8.4833 | -2.0925
8.5 | -2.0856
8.5167 | -2.0849
8.5333 | -2.0907
8.55 | -2.0927
8.5667 | -2.0995
8.5833 | -2.089
8.6 | -2.0814
8.6167 | -2.1032
8.6333 | -2.0895
8.65 | -2.093
8.6667 | -2.078
8.6833 | -2.0838
8.7 | -2.0922
8.7167 | -2.1075
8.7333 | -2.0985
8.75 | -2.0806
8.7667 | -2.1001
8.7833 | -2.107
8.8 | -2.0911
8.8167 | -2.0702
8.8333 | -2.0754
8.85 | -2.0986
8.8667 | -2.1098
8.8833 | -2.0907
8.9 | -2.0766
8.9167 | -2.085
8.9333 | -2.0741
8.95 | -2.0684
8.9667 | -2.0679
8.9833 | -2.0675
9 | -2.0644
9.0167 | -2.0678
9.0333 | -2.0719
9.05 | -2.0716
9.0667 | -2.0609
9.0833 | -2.0612
9.1 | -2.0725
9.1167 | -2.0699
9.1333 | -2.0724
9.15 | -2.0748
9.1667 | -2.0779
9.1833 | -2.0823
9.2 | -2.0707
9.2167 | -2.0957
9.2333 | -2.0858
9.25 | -2.0878
9.2667 | -2.082
9.2833 | -2.0818
9.3 | -2.089
9.3167 | -2.0797
9.3333 | -2.0629
9.35 | -2.0657
9.3667 | -2.0536
9.3833 | -2.0553
9.4 | -2.0635
9.4167 | -2.0696
9.4333 | -2.0856
9.45 | -2.0756
9.4667 | -2.0805
9.4833 | -2.087
9.5 | -2.0835
9.5167 | -2.0776
9.5333 | -2.0762
9.55 | -2.0751
9.5667 | -2.0869
9.5833 | -2.0826
9.6 | -2.0704
9.6167 | -2.0704
9.6333 | -2.0722
9.65 | -2.0794
9.6667 | -2.0541
9.6833 | -2.076
9.7 | -2.0713
9.7167 | -2.0641
9.7333 | -2.0798
9.75 | -2.0722
9.7667 | -2.0712
9.7833 | -2.087
9.8 | -2.0826
9.8167 | -2.0708
9.8333 | -2.0713
9.85 | -2.078
9.8667 | -2.0861
9.8833 | -2.0786
9.9 | -2.0757
9.9167 | -2.0934
9.9333 | -2.0922
9.95 | -2.0882
9.9667 | -2.0966
9.9833 | -2.1026
10 | -2.0817
10.0167 | -2.0684
10.0333 | -2.0727
10.05 | -2.091
10.0667 | -2.0954
10.0833 | -2.0812
10.1 | -2.0843
10.1167 | -2.0893
10.1333 | -2.0971
10.15 | -2.0992
10.1667 | -2.1206
10.1833 | -2.1252
10.2 | -2.132
10.2167 | -2.1186
10.2333 | -2.116
10.25 | -2.1183
10.2667 | -2.1194
10.2833 | -2.1181
10.3 | -2.1409
10.3167 | -2.1316
10.3333 | -2.1061
10.35 | -2.1111
10.3667 | -2.1366
10.3833 | -2.1227
10.4 | -2.1238
10.4167 | -2.1478
10.4333 | -2.1473
10.45 | -2.1305
10.4667 | -2.1433
10.4833 | -2.1543
10.5 | -2.1494
10.5167 | -2.1526
10.5333 | -2.1493
10.55 | -2.1362
10.5667 | -2.1377
10.5833 | -2.1508
10.6 | -2.1465
10.6167 | -2.1395
10.6333 | -2.1612
10.65 | -2.1659
10.6667 | -2.1732
10.6833 | -2.1882
10.7 | -2.1812
10.7167 | -2.1813
10.7333 | -2.1932
10.75 | -2.1923
10.7667 | -2.1795
10.7833 | -2.1861
10.8 | -2.19
10.8167 | -2.2109
10.8333 | -2.1996
10.85 | -2.1958
10.8667 | -2.21
10.8833 | -2.2178
10.9 | -2.2248
10.9167 | -2.239
10.9333 | -2.2527
10.95 | -2.2599
10.9667 | -2.2677
10.9833 | -2.2738
11 | -2.2897
11.0167 | -2.3014
11.0333 | -2.3106
11.05 | -2.3112
11.0667 | -2.3267
11.0833 | -2.3235
11.1 | -2.3316
11.1167 | -2.3432
11.1333 | -2.3463
11.15 | -2.3576
11.1667 | -2.3646
11.1833 | -2.3803
11.2 | -2.3895
11.2167 | -2.3878
11.2333 | -2.3992
11.25 | -2.3992
11.2667 | -2.4249
11.2833 | -2.448
11.3 | -2.4491
11.3167 | -2.4593
11.3333 | -2.4882
11.35 | -2.505
11.3667 | -2.4981
11.3833 | -2.519
11.4 | -2.5361
11.4167 | -2.5573
11.4333 | -2.5777
11.45 | -2.6029
11.4667 | -2.6484
11.4833 | -2.6392
11.5 | -2.6783
11.5167 | -2.7354
11.5333 | -2.7396
11.55 | -2.7647
11.5667 | -2.797
11.5833 | -2.828
11.6 | -2.8436
11.6167 | -2.8959
11.6333 | -2.9464
11.65 | -2.9797
11.6667 | -3.0022
11.6833 | -3.0486
11.7 | -3.091
11.7167 | -3.1355
11.7333 | -3.1768
11.75 | -3.222
11.7667 | -3.2723
11.7833 | -3.3259
11.8 | -3.3646
11.8167 | -3.3932
11.8333 | -3.4451
11.85 | -3.5014
11.8667 | -3.556
11.8833 | -3.6109
11.9 | -3.6529
11.9167 | -3.6967
11.9333 | -3.7487
11.95 | -3.7994
11.9667 | -3.843
11.9833 | -3.8779
12 | -3.9364
12.0167 | -3.9695
12.0333 | -4.0199
12.05 | -4.0719
12.0667 | -4.1171
12.0833 | -4.1622
12.1 | -4.23
12.1167 | -4.2725
12.1333 | -4.3121
12.15 | -4.3826
12.1667 | -4.4466
12.1833 | -4.4849
12.2 | -4.5397
12.2167 | -4.6174
12.2333 | -4.6644
12.25 | -4.732
12.2667 | -4.7921
12.2833 | -4.8432
12.3 | -4.8943
12.3167 | -4.9503
12.3333 | -5.0074
12.35 | -5.0587
12.3667 | -5.1003
12.3833 | -5.1803
12.4 | -5.2302
12.4167 | -5.2807
12.4333 | -5.3298
12.45 | -5.364
12.4667 | -5.4229
12.4833 | -5.4891
12.5 | -5.5267
12.5167 | -5.5741
12.5333 | -5.6399
12.55 | -5.687
12.5667 | -5.72
12.5833 | -5.7662
12.6 | -5.8083
12.6167 | -5.8437
12.6333 | -5.8721
12.65 | -5.922
12.6667 | -5.9832
12.6833 | -6.0059
12.7 | -6.0427
12.7167 | -6.0601
12.7333 | -6.0923
12.75 | -6.1472
12.7667 | -6.1631
12.7833 | -6.1686
12.8 | -6.2011
12.8167 | -6.2315
12.8333 | -6.2617
12.85 | -6.2687
12.8667 | -6.2707
12.8833 | -6.2878
12.9 | -6.2946
12.9167 | -6.3128
12.9333 | -6.3183
12.95 | -6.3204
12.9667 | -6.3349
12.9833 | -6.3447
13 | -6.3529
13.0167 | -6.3473
13.0333 | -6.3461
13.05 | -6.3457
13.0667 | -6.3442
13.0833 | -6.3361
13.1 | -6.3265
13.1167 | -6.3015
13.1333 | -6.3032
13.15 | -6.2925
13.1667 | -6.2745
13.1833 | -6.2692
13.2 | -6.2293
13.2167 | -6.224
13.2333 | -6.1988
13.25 | -6.1802
13.2667 | -6.1538
13.2833 | -6.1384
13.3 | -6.1158
13.3167 | -6.086
13.3333 | -6.0546
13.35 | -6.0328
13.3667 | -6.003
13.3833 | -5.9954
13.4 | -5.9621
13.4167 | -5.9283
13.4333 | -5.8979
13.45 | -5.8665
13.4667 | -5.8588
13.4833 | -5.8338
13.5 | -5.8172
13.5167 | -5.792
13.5333 | -5.7546
13.55 | -5.7346
13.5667 | -5.7076
13.5833 | -5.6721
13.6 | -5.6411
13.6167 | -5.6107
13.6333 | -5.579
13.65 | -5.5425
13.6667 | -5.5193
13.6833 | -5.4942
13.7 | -5.4639
13.7167 | -5.4256
13.7333 | -5.3901
13.75 | -5.3613
13.7667 | -5.3284
13.7833 | -5.2956
13.8 | -5.2674
13.8167 | -5.2273
13.8333 | -5.1832
13.85 | -5.1591
13.8667 | -5.1266
13.8833 | -5.0968
13.9 | -5.0636
13.9167 | -5.026
13.9333 | -4.9723
13.95 | -4.9354
13.9667 | -4.9072
13.9833 | -4.8798
14 | -4.849
14.0167 | -4.8232
14.0333 | -4.7755
14.05 | -4.7356
14.0667 | -4.6998
14.0833 | -4.681
14.1 | -4.6354
14.1167 | -4.5847
14.1333 | -4.5673
14.15 | -4.5246
14.1667 | -4.488
14.1833 | -4.4704
14.2 | -4.4505
14.2167 | -4.4103
14.2333 | -4.394
14.25 | -4.365
14.2667 | -4.3224
14.2833 | -4.2783
14.3 | -4.2477
14.3167 | -4.2161
14.3333 | -4.1808
14.35 | -4.1441
14.3667 | -4.1186
14.3833 | -4.0774
14.4 | -4.0405
14.4167 | -4.0136
14.4333 | -3.9938
14.45 | -3.9762
14.4667 | -3.9265
14.4833 | -3.9025
14.5 | -3.852
14.5167 | -3.8274
14.5333 | -3.8044
14.55 | -3.7612
14.5667 | -3.7333
14.5833 | -3.6997
14.6 | -3.6777
14.6167 | -3.652
14.6333 | -3.6054
14.65 | -3.5899
14.6667 | -3.5741
14.6833 | -3.5551
14.7 | -3.5261
14.7167 | -3.507
14.7333 | -3.4905
14.75 | -3.447
14.7667 | -3.4373
14.7833 | -3.4212
14.8 | -3.3991
14.8167 | -3.371
14.8333 | -3.3584
14.85 | -3.3447
14.8667 | -3.3242
14.8833 | -3.3036
14.9 | -3.2841
14.9167 | -3.2713
14.9333 | -3.2537
14.95 | -3.2282
14.9667 | -3.1847
14.9833 | -3.1847
15 | -3.1699
15.0167 | -3.1518
15.0333 | -3.1149
15.05 | -3.1121
15.0667 | -3.1167
15.0833 | -3.0939
15.1 | -3.075
15.1167 | -3.0796
15.1333 | -3.0584
15.15 | -3.0262
15.1667 | -3.0132
15.1833 | -2.9813
15.2 | -2.9493
15.2167 | -2.9598
15.2333 | -2.9412
15.25 | -2.9259
15.2667 | -2.9127
15.2833 | -2.8951
15.3 | -2.8881
15.3167 | -2.8645
15.3333 | -2.8626
15.35 | -2.8477
15.3667 | -2.8289
15.3833 | -2.8321
15.4 | -2.8196
15.4167 | -2.7959
15.4333 | -2.7689
15.45 | -2.7601
15.4667 | -2.7586
15.4833 | -2.7386
15.5 | -2.7186
15.5167 | -2.7026
15.5333 | -2.7259
15.55 | -2.6867
15.5667 | -2.6705
15.5833 | -2.6717
15.6 | -2.6771
15.6167 | -2.6691
15.6333 | -2.6531
15.65 | -2.6437
15.6667 | -2.6293
15.6833 | -2.6295
15.7 | -2.6211
15.7167 | -2.6243
15.7333 | -2.6075
15.75 | -2.5983
15.7667 | -2.5782
15.7833 | -2.595
15.8 | -2.6035
15.8167 | -2.599
15.8333 | -2.5907
15.85 | -2.5727
15.8667 | -2.586
15.8833 | -2.5872
15.9 | -2.5716
15.9167 | -2.5593
15.9333 | -2.5509
15.95 | -2.5367
15.9667 | -2.5347
15.9833 | -2.5405
16 | -2.5246
16.0167 | -2.5178
16.0333 | -2.5059
16.05 | -2.5166
16.0667 | -2.5211
16.0833 | -2.5071
16.1 | -2.503
16.1167 | -2.4937
16.1333 | -2.4761
16.15 | -2.4862
16.1667 | -2.4853
16.1833 | -2.4877
16.2 | -2.4807
16.2167 | -2.4574
16.2333 | -2.4619
16.25 | -2.4543
16.2667 | -2.4451
16.2833 | -2.4331
16.3 | -2.4329
16.3167 | -2.4342
16.3333 | -2.4313
16.35 | -2.4319
16.3667 | -2.4273
16.3833 | -2.4133
16.4 | -2.4014
16.4167 | -2.4189
16.4333 | -2.4232
16.45 | -2.4026
16.4667 | -2.3974
16.4833 | -2.3949
16.5 | -2.394
16.5167 | -2.3937
16.5333 | -2.3919
16.55 | -2.3962
16.5667 | -2.4079
16.5833 | -2.4038
16.6 | -2.4139
16.6167 | -2.3997
16.6333 | -2.4058
16.65 | -2.4023
16.6667 | -2.4102
16.6833 | -2.394
16.7 | -2.391
16.7167 | -2.3829
16.7333 | -2.3701
16.75 | -2.3788
16.7667 | -2.3844
16.7833 | -2.3867
16.8 | -2.391
16.8167 | -2.3777
16.8333 | -2.3696
16.85 | -2.3696
16.8667 | -2.3774
16.8833 | -2.3818
16.9 | -2.3927
16.9167 | -2.4017
16.9333 | -2.3814
16.95 | -2.3974
16.9667 | -2.3745
16.9833 | -2.3823
17 | -2.3843
17.0167 | -2.3856
17.0333 | -2.3739
17.05 | -2.3649
17.0667 | -2.3598
17.0833 | -2.3644
17.1 | -2.3566
17.1167 | -2.3518
17.1333 | -2.3536
17.15 | -2.3467
17.1667 | -2.3772
17.1833 | -2.3634
17.2 | -2.3617
17.2167 | -2.3785
17.2333 | -2.4026
17.25 | -2.3895
17.2667 | -2.3788
17.2833 | -2.371
17.3 | -2.3797
17.3167 | -2.3708
17.3333 | -2.3852
17.35 | -2.3852
17.3667 | -2.4059
17.3833 | -2.3983
17.4 | -2.3917
17.4167 | -2.3968
17.4333 | -2.4072
17.45 | -2.4004
17.4667 | -2.3902
17.4833 | -2.3823
17.5 | -2.3858
17.5167 | -2.3743
17.5333 | -2.3809
17.55 | -2.3872
17.5667 | -2.3725
17.5833 | -2.3563
17.6 | -2.3748
17.6167 | -2.3701
17.6333 | -2.3644
17.65 | -2.3609
17.6667 | -2.3528
17.6833 | -2.3508
17.7 | -2.3582
17.7167 | -2.3489
17.7333 | -2.3434
17.75 | -2.3443
17.7667 | -2.3368
17.7833 | -2.3504
17.8 | -2.3467
17.8167 | -2.3368
17.8333 | -2.3382
17.85 | -2.3415
17.8667 | -2.3573
17.8833 | -2.3653
17.9 | -2.3611
17.9167 | -2.3595
17.9333 | -2.3602
17.95 | -2.3867
17.9667 | -2.3753
17.9833 | -2.3786
18 | -2.3913
18.0167 | -2.3934
18.0333 | -2.3788
18.05 | -2.3895
18.0667 | -2.3956
18.0833 | -2.3948
18.1 | -2.4195
18.1167 | -2.421
18.1333 | -2.4171
18.15 | -2.4287
18.1667 | -2.4334
18.1833 | -2.4418
18.2 | -2.4545
18.2167 | -2.4439
18.2333 | -2.434
18.25 | -2.4416
18.2667 | -2.45
18.2833 | -2.4409
18.3 | -2.449
18.3167 | -2.4436
18.3333 | -2.4302
18.35 | -2.4259
18.3667 | -2.4052
18.3833 | -2.4064
18.4 | -2.4108
18.4167 | -2.4117
18.4333 | -2.4097
18.45 | -2.4055
18.4667 | -2.4203
18.4833 | -2.4282
18.5 | -2.4401
18.5167 | -2.4181
18.5333 | -2.3876
18.55 | -2.3743
18.5667 | -2.367
18.5833 | -2.3811
18.6 | -2.3821
18.6167 | -2.3872
18.6333 | -2.3812
18.65 | -2.3869
18.6667 | -2.3876
18.6833 | -2.3711
18.7 | -2.3624
18.7167 | -2.3533
18.7333 | -2.3559
18.75 | -2.353
18.7667 | -2.3463
18.7833 | -2.3446
18.8 | -2.3244
18.8167 | -2.3104
18.8333 | -2.3205
18.85 | -2.3046
18.8667 | -2.2929
18.8833 | -2.2776
18.9 | -2.2727
18.9167 | -2.2654
18.9333 | -2.2459
18.95 | -2.2274
18.9667 | -2.2103
18.9833 | -2.1835
19 | -2.1781
19.0167 | -2.1712
19.0333 | -2.1499
19.05 | -2.1336
19.0667 | -2.1243
19.0833 | -2.1139
19.1 | -2.1108
19.1167 | -2.091
19.1333 | -2.0898
19.15 | -2.1093
19.1667 | -2.1017
19.1833 | -2.0928
19.2 | -2.0901
19.2167 | -2.084
19.2333 | -2.091
19.25 | -2.0933
19.2667 | -2.0658
19.2833 | -2.0649
19.3 | -2.0594
19.3167 | -2.0374
19.3333 | -2.0243
19.35 | -2.015
19.3667 | -1.997
19.3833 | -1.9715
19.4 | -1.9352
19.4167 | -1.9044
19.4333 | -1.8679
19.45 | -1.8667
19.4667 | -1.7922
19.4833 | -1.7394
19.5 | -1.6607
19.5167 | -1.5813
19.5333 | -1.504
19.55 | -1.3987
19.5667 | -1.3105
19.5833 | -1.2
19.6 | -1.0748
19.6167 | -0.95955
19.6333 | -0.81505
19.65 | -0.6884
19.6667 | -0.55687
19.6833 | -0.39955
19.7 | -0.28664
19.7167 | -0.18242
19.7333 | -0.084915
19.75 | -0.016098
19.7667 | 0.044632
19.7833 | 0.068436
19.8 | 0.067368
19.8167 | 0.042038
19.8333 | 0.00053406
19.85 | -0.044174
19.8667 | -0.1078
19.8833 | -0.2021
19.9 | -0.30968
19.9167 | -0.38643
19.9333 | -0.51247
19.95 | -0.62218
19.9667 | -0.72334
19.9833 | -0.8477
20 | -0.95955
20.0167 | -1.0665
20.0333 | -1.1654
20.05 | -1.2551
20.0667 | -1.3554
20.0833 | -1.4193
20.1 | -1.4867
20.1167 | -1.5778
20.1333 | -1.659
20.15 | -1.735
20.1667 | -1.814
20.1833 | -1.9033
20.2 | -2.0135
20.2167 | -2.1169
20.2333 | -2.2446
20.25 | -2.3806
20.2667 | -2.5471
20.2833 | -2.7319
20.3 | -2.9404
20.3167 | -3.1824
20.3333 | -3.4734
20.35 | -3.8021
20.3667 | -4.1949
20.3833 | -4.5991
20.4 | -5.0404
20.4167 | -5.5283
20.4333 | -6.0596
20.45 | -6.6312
20.4667 | -7.221
20.4833 | -7.8274
20.5 | -8.4557
20.5167 | -9.0665
20.5333 | -9.6737
20.55 | -10.2618
20.5667 | -10.8295
20.5833 | -11.352
20.6 | -11.8153
20.6167 | -12.2272
20.6333 | -12.5762
20.65 | -12.8388
20.6667 | -13.0573
20.6833 | -13.1933
20.7 | -13.2584
20.7167 | -13.251
20.7333 | -13.1847
20.75 | -13.0929
20.7667 | -12.9078
20.7833 | -12.678
20.8 | -12.4366
20.8167 | -12.1865
20.8333 | -11.8963
20.85 | -11.5992
20.8667 | -11.3075
20.8833 | -11.0171
20.9 | -10.7145
20.9167 | -10.4624
20.9333 | -10.1797
20.95 | -9.9158
20.9667 | -9.6735
20.9833 | -9.444
21 | -9.2088
21.0167 | -9.0208
21.0333 | -8.8033
21.05 | -8.6042
21.0667 | -8.4042
21.0833 | -8.2278
21.1 | -8.0181
21.1167 | -7.8101
21.1333 | -7.6075
21.15 | -7.3913
21.1667 | -7.203
21.1833 | -6.9991
21.2 | -6.8008
21.2167 | -6.601
21.2333 | -6.4103
21.25 | -6.2286
21.2667 | -6.0464
21.2833 | -5.8637
21.3 | -5.7017
21.3167 | -5.537
21.3333 | -5.3648
21.35 | -5.2239
21.3667 | -5.0687
21.3833 | -4.9349
21.4 | -4.8072
21.4167 | -4.7088
21.4333 | -4.5969
21.45 | -4.4994
21.4667 | -4.3906
21.4833 | -4.2915
21.5 | -4.2136
21.5167 | -4.1465
21.5333 | -4.074
21.55 | -4.0127
21.5667 | -3.9548
21.5833 | -3.8651
21.6 | -3.8223
21.6167 | -3.7672
21.6333 | -3.7276
21.65 | -3.6794
21.6667 | -3.6401
21.6833 | -3.5867
21.7 | -3.5297
21.7167 | -3.4957
21.7333 | -3.4634
21.75 | -3.4327
21.7667 | -3.4052
21.7833 | -3.3743
21.8 | -3.3472
21.8167 | -3.2983
21.8333 | -3.2665
21.85 | -3.2446
21.8667 | -3.2346
21.8833 | -3.1873
21.9 | -3.1783
21.9167 | -3.1676
21.9333 | -3.1455
21.95 | -3.1236
21.9667 | -3.1063
21.9833 | -3.0671
22 | -3.0346
22.0167 | -3.0334
22.0333 | -3.018
22.05 | -3.0123
22.0667 | -3.0045
22.0833 | -2.9873
22.1 | -2.9795
22.1167 | -2.9667
22.1333 | -2.9821
22.15 | -2.9476
22.1667 | -2.9337
22.1833 | -2.9147
22.2 | -2.8913
22.2167 | -2.8884
22.2333 | -2.8799
22.25 | -2.862
22.2667 | -2.8465
22.2833 | -2.846
22.3 | -2.8445
22.3167 | -2.8448
22.3333 | -2.8382
22.35 | -2.8196
22.3667 | -2.8136
22.3833 | -2.7958
22.4 | -2.7979
22.4167 | -2.7813
22.4333 | -2.7746
22.45 | -2.7677
22.4667 | -2.7695
22.4833 | -2.7639
22.5 | -2.7724
22.5167 | -2.7732
22.5333 | -2.7758
22.55 | -2.7552
22.5667 | -2.7468
22.5833 | -2.7273
22.6 | -2.7387
22.6167 | -2.7402
22.6333 | -2.7215
22.65 | -2.7097
22.6667 | -2.7059
22.6833 | -2.7106
22.7 | -2.6983
22.7167 | -2.6963
22.7333 | -2.718
22.75 | -2.7146
22.7667 | -2.6911
22.7833 | -2.6905
22.8 | -2.6826
22.8167 | -2.6847
22.8333 | -2.6862
22.85 | -2.6896
22.8667 | -2.6723
22.8833 | -2.6592
22.9 | -2.6575
22.9167 | -2.6624
22.9333 | -2.6665
22.95 | -2.6548
22.9667 | -2.6348
22.9833 | -2.6359
23 | -2.6223
23.0167 | -2.627
23.0333 | -2.6229
23.05 | -2.6237
23.0667 | -2.6138
23.0833 | -2.624
23.1 | -2.617
23.1167 | -2.6226
23.1333 | -2.6139
23.15 | -2.615
23.1667 | -2.6023
23.1833 | -2.598
23.2 | -2.588
23.2167 | -2.5704
23.2333 | -2.5852
23.25 | -2.6026
23.2667 | -2.5901
23.2833 | -2.575
23.3 | -2.5803
23.3167 | -2.5843
23.3333 | -2.5838
23.35 | -2.5826
23.3667 | -2.5723
23.3833 | -2.575
23.4 | -2.5712
23.4167 | -2.5735
23.4333 | -2.5747
23.45 | -2.5831
23.4667 | -2.5645
23.4833 | -2.5738
23.5 | -2.559
23.5167 | -2.5622
23.5333 | -2.57
23.55 | -2.5538
23.5667 | -2.5387
23.5833 | -2.5297
23.6 | -2.5369
23.6167 | -2.5379
23.6333 | -2.5539
23.65 | -2.5455
23.6667 | -2.5413
23.6833 | -2.5356
23.7 | -2.5268
23.7167 | -2.5217
23.7333 | -2.5234
23.75 | -2.5176
23.7667 | -2.5326
23.7833 | -2.5201
23.8 | -2.5394
23.8167 | -2.5294
23.8333 | -2.5031
23.85 | -2.521
23.8667 | -2.5161
23.8833 | -2.5288
23.9 | -2.5224
23.9167 | -2.5072
23.9333 | -2.4998
23.95 | -2.4854
23.9667 | -2.5036
23.9833 | -2.5068
24 | -2.5352
24.0167 | -2.5414
24.0333 | -2.5439
24.05 | -2.5266
24.0667 | -2.517
24.0833 | -2.5138
24.1 | -2.5163
24.1167 | -2.5101
24.1333 | -2.5147
24.15 | -2.5138
24.1667 | -2.5282
24.1833 | -2.5404
24.2 | -2.5475
24.2167 | -2.5188
24.2333 | -2.5146
24.25 | -2.5018
24.2667 | -2.5086
24.2833 | -2.5065
24.3 | -2.5144
24.3167 | -2.5289
24.3333 | -2.5262
24.35 | -2.5246
24.3667 | -2.5219
24.3833 | -2.5282
24.4 | -2.5277
24.4167 | -2.5083
24.4333 | -2.5225
24.45 | -2.5463
24.4667 | -2.5275
24.4833 | -2.5202
24.5 | -2.5137
24.5167 | -2.5112
24.5333 | -2.5237
24.55 | -2.5196
24.5667 | -2.5236
24.5833 | -2.5205
24.6 | -2.5134
24.6167 | -2.513
24.6333 | -2.5091
24.65 | -2.5022
24.6667 | -2.5214
24.6833 | -2.5135
24.7 | -2.513
24.7167 | -2.512
24.7333 | -2.5103
24.75 | -2.5101
24.7667 | -2.5205
24.7833 | -2.5199
24.8 | -2.5108
24.8167 | -2.5269
24.8333 | -2.5307
24.85 | -2.5144
24.8667 | -2.5164
24.8833 | -2.5208
24.9 | -2.5045
24.9167 | -2.499
24.9333 | -2.4976
24.95 | -2.494
24.9667 | -2.5002
24.9833 | -2.519
25 | -2.5196
25.0167 | -2.5152
25.0333 | -2.5106
25.05 | -2.5166
25.0667 | -2.5167
25.0833 | -2.4987
25.1 | -2.49
25.1167 | -2.4859
25.1333 | -2.4851
25.15 | -2.4876
25.1667 | -2.4976
25.1833 | -2.5071
25.2 | -2.5132
25.2167 | -2.4946
25.2333 | -2.4973
25.25 | -2.5021
25.2667 | -2.5068
25.2833 | -2.51
25.3 | -2.4989
25.3167 | -2.5085
25.3333 | -2.4967
25.35 | -2.4979
25.3667 | -2.4833
25.3833 | -2.5066
25.4 | -2.5013
25.4167 | -2.5106
25.4333 | -2.5198
25.45 | -2.4937
25.4667 | -2.4738
25.4833 | -2.4886
25.5 | -2.4744
25.5167 | -2.4673
25.5333 | -2.4848
25.55 | -2.4657
25.5667 | -2.456
25.5833 | -2.4786
25.6 | -2.49
25.6167 | -2.4876
25.6333 | -2.4735
25.65 | -2.4703
25.6667 | -2.4694
25.6833 | -2.4662
25.7 | -2.4743
25.7167 | -2.4709
25.7333 | -2.4795
25.75 | -2.4883
25.7667 | -2.4711
25.7833 | -2.4615
25.8 | -2.4786
25.8167 | -2.4607
25.8333 | -2.4841
25.85 | -2.4903
25.8667 | -2.487
25.8833 | -2.4839
25.9 | -2.5018
25.9167 | -2.5024
25.9333 | -2.5097
25.95 | -2.4995
25.9667 | -2.5115
25.9833 | -2.5129
26 | -2.4928
26.0167 | -2.4877
26.0333 | -2.4831
26.05 | -2.4866
26.0667 | -2.4955
26.0833 | -2.4888
26.1 | -2.4862
26.1167 | -2.4818
26.1333 | -2.4839
26.15 | -2.4894
26.1667 | -2.4961
26.1833 | -2.4992
26.2 | -2.5007
26.2167 | -2.492
26.2333 | -2.4802
26.25 | -2.4822
26.2667 | -2.4888
26.2833 | -2.4726
26.3 | -2.4825
26.3167 | -2.4834
26.3333 | -2.4895
26.35 | -2.4799
26.3667 | -2.487
26.3833 | -2.4981
26.4 | -2.4876
26.4167 | -2.4763
26.4333 | -2.4717
26.45 | -2.4786
26.4667 | -2.4657
26.4833 | -2.4625
26.5 | -2.4592
26.5167 | -2.4599
26.5333 | -2.4624
26.55 | -2.4868
26.5667 | -2.4874
26.5833 | -2.4609
26.6 | -2.4482
26.6167 | -2.4561
26.6333 | -2.4802
26.65 | -2.4877
26.6667 | -2.4886
26.6833 | -2.4688
26.7 | -2.4786
26.7167 | -2.4639
26.7333 | -2.4488
26.75 | -2.4505
26.7667 | -2.4479
26.7833 | -2.4294
26.8 | -2.4216
26.8167 | -2.414
26.8333 | -2.4194
26.85 | -2.4163
26.8667 | -2.4104
26.8833 | -2.3981
26.9 | -2.4145
26.9167 | -2.3881
26.9333 | -2.376
26.95 | -2.3737
26.9667 | -2.3579
26.9833 | -2.3431
27 | -2.3228
27.0167 | -2.3046
27.0333 | -2.2746
27.05 | -2.2303
27.0667 | -2.2245
27.0833 | -2.1879
27.1 | -2.1395
27.1167 | -2.0995
27.1333 | -2.0533
27.15 | -2.0109
27.1667 | -1.9588
27.1833 | -1.9236
27.2 | -1.8475
27.2167 | -1.7922
27.2333 | -1.7405
27.25 | -1.6555
27.2667 | -1.5894
27.2833 | -1.5099
27.3 | -1.4208
27.3167 | -1.3287
27.3333 | -1.2377
27.35 | -1.1546
27.3667 | -1.0671
27.3833 | -0.98167
27.4 | -0.88585
27.4167 | -0.79994
27.4333 | -0.69969
27.45 | -0.61729
27.4667 | -0.54802
27.4833 | -0.44182
27.5 | -0.35484
27.5167 | -0.29228
27.5333 | -0.20119
27.55 | -0.1313
27.5667 | -0.063248
27.5833 | -0.0067902
27.6 | 0.04158
27.6167 | 0.084152
27.6333 | 0.11589
27.65 | 0.13649
27.6667 | 0.16243
27.6833 | 0.20256
27.7 | 0.20531
27.7167 | 0.21996
27.7333 | 0.21645
27.75 | 0.1899
27.7667 | 0.14809
27.7833 | 0.15099
27.8 | 0.11604
27.8167 | 0.076218
27.8333 | 0.026169
27.85 | -0.031357
27.8667 | -0.089645
27.8833 | -0.12871
27.9 | -0.18623
27.9167 | -0.26192
27.9333 | -0.3199
27.95 | -0.38017
27.9667 | -0.43724
27.9833 | -0.50362
28 | -0.55779
28.0167 | -0.63194
28.0333 | -0.69099
28.05 | -0.76073
28.0667 | -0.8355
28.0833 | -0.86235
28.1 | -0.92934
28.1167 | -0.99464
28.1333 | -1.0323
28.15 | -1.0867
28.1667 | -1.1465
28.1833 | -1.1878
28.2 | -1.2357
28.2167 | -1.2905
28.2333 | -1.3349
28.25 | -1.3743
28.2667 | -1.4123
28.2833 | -1.4362
28.3 | -1.4771
28.3167 | -1.5119
28.3333 | -1.5372
28.35 | -1.5791
28.3667 | -1.5842
28.3833 | -1.607
28.4 | -1.6348
28.4167 | -1.6622
28.4333 | -1.6892
28.45 | -1.71
28.4667 | -1.7136
28.4833 | -1.7239
28.5 | -1.7532
28.5167 | -1.7756
28.5333 | -1.7883
28.55 | -1.7965
28.5667 | -1.814
28.5833 | -1.8418
28.6 | -1.8598
28.6167 | -1.8612
28.6333 | -1.8783
28.65 | -1.8838
28.6667 | -1.9146
28.6833 | -1.9073
28.7 | -1.919
28.7167 | -1.93
28.7333 | -1.9262
28.75 | -1.9393
28.7667 | -1.9643
28.7833 | -1.9856
28.8 | -1.9765
28.8167 | -1.9863
28.8333 | -1.999
28.85 | -2.001
28.8667 | -2.004
28.8833 | -2.0159
28.9 | -2.0226
28.9167 | -2.0225
28.9333 | -2.0354
28.95 | -2.0426
28.9667 | -2.0798
28.9833 | -2.0733
29 | -2.0736
29.0167 | -2.0782
29.0333 | -2.0985
29.05 | -2.107
29.0667 | -2.0887
29.0833 | -2.1078
29.1 | -2.1229
29.1167 | -2.1421
29.1333 | -2.1275
29.15 | -2.1377
29.1667 | -2.1426
29.1833 | -2.1412
29.2 | -2.1384
29.2167 | -2.1587
29.2333 | -2.1772
29.25 | -2.1824
29.2667 | -2.1804
29.2833 | -2.1792
29.3 | -2.1894
29.3167 | -2.1973
29.3333 | -2.2099
29.35 | -2.217
29.3667 | -2.2106
29.3833 | -2.215
29.4 | -2.2318
29.4167 | -2.2434
29.4333 | -2.246
29.45 | -2.2817
29.4667 | -2.2732
29.4833 | -2.263
29.5 | -2.2785
29.5167 | -2.2654
29.5333 | -2.2631
29.55 | -2.2674
29.5667 | -2.261
29.5833 | -2.2684
29.6 | -2.2697
29.6167 | -2.2655
29.6333 | -2.281
29.65 | -2.2779
29.6667 | -2.2791
29.6833 | -2.2869
29.7 | -2.2942
29.7167 | -2.2909
29.7333 | -2.3005
29.75 | -2.2981
29.7667 | -2.2852
29.7833 | -2.306
29.8 | -2.3129
29.8167 | -2.3124
29.8333 | -2.3106
29.85 | -2.3081
29.8667 | -2.3046
29.8833 | -2.2915
29.9 | -2.3049
29.9167 | -2.2918
29.9333 | -2.315
29.95 | -2.3023
29.9667 | -2.3075
29.9833 | -2.319
30 | -2.3154

## MW Results
Administrative Information
File name | ICF_04_12_2024-0007.sample
Analysed by | OBPC
Date of analysis | 06 December 2024 14:01:07
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 168052 | 34185 | 235165 | 706223 | 1350898 | 626823 | 6.8792
Sample Parameters
Injection volume (µL) | 200
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 6.6833 | 8.1833
Baseline region 2 | 24.8 | 25.7167
Peaks | Start (mins) | End (mins)
Peak 1 | 10.3667 | 16.7833
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| RI | 13 | 580.5111 | -4.1391
Flowrate region | Start (mins) | End (mins)
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | OBPC
Last modified date | 06 December 2024 14:01:07
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | OBPC
Creation date | 29 October 2024 11:18:00
Last modified by | OBPC
Last modified date | 29 October 2024 11:18:00
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name
FRM RT (mins) | 0
FRCF | 1
Column Calibration
Name | 2024-10-29-001
Created By | OBPC
Creation Date | 29/10/2024 16:43:21
Last Modified By | OBPC
Last Modified | 29/10/2024 16:46:00
High Limit RT (mins) | 10.3167
Low Limit RT (mins) | 17.05
High Limit MW | 6542896
Low Limit MW | 585
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name
Calibration Flow Marker RT (mins) | 0
Calibration Comments | GPC Column Calibration created 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC
Calibration Type | GPC Narrow Standard
Curve Fit Type | Polynomial
Order Of Curve Fit | 5
Number Of Points | 11
Curve Fit Equation | y = - 0.0006266x^5 + 0.04142x^4 - 1.085x^3 + 14.06x^2 - 90.8x + 242.2
Coeff a | 242.1862
Coeff b | -90.7983
Coeff c | 14.0588
Coeff d | -1.0846
Coeff e | 0.041423
Coeff f | -0.00062657
Residual Sum Of Squares | 0.00058182
Corrected Sum Of Squares | 18.6999
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.010787
Linear Correlation Coefficient | -0.99987

## Slice Table
Slice Table
RT (mins) | RI | Norm Ht | Cum Ht | Mw (g/mol) | logM | dwdlogM | Outside Calib | Peak
10.3667 | 0.016741 | -2.8848e-05 | 1 | 6109137 | 6.786 | 0 | No | 1
10.3833 | 0.031009 | -5.3434e-05 | 1 | 5971910 | 6.7761 | 0 | No | 1
10.4 | 0.030324 | -5.2254e-05 | 1 | 5838166 | 6.7663 | 0 | No | 1
10.4167 | 0.0067504 | -1.1632e-05 | 1 | 5707795 | 6.7565 | 0 | No | 1
10.4333 | 0.007591 | -1.3081e-05 | 1 | 5580692 | 6.7467 | 0 | No | 1
10.45 | 0.024758 | -4.2663e-05 | 1 | 5456753 | 6.7369 | 0 | No | 1
10.4667 | 0.012324 | -2.1236e-05 | 1 | 5335880 | 6.7272 | 0 | No | 1
10.4833 | 0.0017203 | -2.9644e-06 | 1 | 5217980 | 6.7175 | 0 | No | 1
10.5 | 0.0069859 | -1.2038e-05 | 1 | 5102961 | 6.7078 | 0 | No | 1
10.5167 | 0.0041643 | -7.1759e-06 | 1 | 4990736 | 6.6982 | 0 | No | 1
10.5333 | 0.0079041 | -1.362e-05 | 1 | 4881221 | 6.6885 | 0 | No | 1
10.55 | 0.021409 | -3.6892e-05 | 1 | 4774335 | 6.6789 | 0 | No | 1
10.5667 | 0.020266 | -3.4922e-05 | 1 | 4670001 | 6.6693 | 0 | No | 1
10.5833 | 0.0075265 | -1.297e-05 | 1 | 4568143 | 6.6597 | 0 | No | 1
10.6 | 0.012182 | -2.0991e-05 | 1 | 4468690 | 6.6502 | 0 | No | 1
10.6167 | 0.019584 | -3.3746e-05 | 1 | 4371571 | 6.6406 | 0 | No | 1
10.6333 | -0.0017011 | 2.9313e-06 | 1 | 4276720 | 6.6311 | 0.00070121 | No | 1
10.65 | -0.0060485 | 1.0423e-05 | 0.99999 | 4184073 | 6.6216 | 0.0017253 | No | 1
10.6667 | -0.01299 | 2.2384e-05 | 0.99996 | 4093567 | 6.6121 | 0.0036802 | No | 1
10.6833 | -0.027561 | 4.7492e-05 | 0.99992 | 4005142 | 6.6026 | 0.0043367 | No | 1
10.7 | -0.020159 | 3.4737e-05 | 0.99988 | 3918740 | 6.5931 | 0.0036478 | No | 1
10.7167 | -0.019929 | 3.4341e-05 | 0.99984 | 3834305 | 6.5837 | 0.0046806 | No | 1
10.7333 | -0.031448 | 5.419e-05 | 0.9998 | 3751785 | 6.5742 | 0.005618 | No | 1
10.75 | -0.03015 | 5.1953e-05 | 0.99975 | 3671126 | 6.5648 | 0.0043001 | No | 1
10.7667 | -0.016949 | 2.9207e-05 | 0.99971 | 3592279 | 6.5554 | 0.0036626 | No | 1
10.7833 | -0.023128 | 3.9853e-05 | 0.99967 | 3515195 | 6.5459 | 0.0045588 | No | 1
10.8 | -0.026712 | 4.603e-05 | 0.99962 | 3439827 | 6.5365 | 0.0067691 | No | 1
10.8167 | -0.047234 | 8.1393e-05 | 0.99955 | 3366131 | 6.5271 | 0.0075845 | No | 1
10.8333 | -0.03556 | 6.1276e-05 | 0.99949 | 3294063 | 6.5177 | 0.0061345 | No | 1
10.85 | -0.031362 | 5.4043e-05 | 0.99943 | 3223580 | 6.5083 | 0.0070194 | No | 1
10.8667 | -0.04517 | 7.7836e-05 | 0.99935 | 3154641 | 6.4989 | 0.008969 | No | 1
10.8833 | -0.052569 | 9.0586e-05 | 0.99926 | 3087208 | 6.4896 | 0.010261 | No | 1
10.9 | -0.059206 | 0.00010202 | 0.99916 | 3021243 | 6.4802 | 0.012143 | No | 1
10.9167 | -0.073014 | 0.00012582 | 0.99903 | 2956707 | 6.4708 | 0.014641 | No | 1
10.9333 | -0.086364 | 0.00014882 | 0.99888 | 2893567 | 6.4614 | 0.016495 | No | 1
10.95 | -0.093153 | 0.00016052 | 0.99872 | 2831786 | 6.4521 | 0.017801 | No | 1
10.9667 | -0.10055 | 0.00017327 | 0.99855 | 2771333 | 6.4427 | 0.019009 | No | 1
10.9833 | -0.10627 | 0.00018313 | 0.99836 | 2712173 | 6.4333 | 0.020959 | No | 1
11 | -0.12176 | 0.00020981 | 0.99816 | 2654277 | 6.4239 | 0.023426 | No | 1
11.0167 | -0.13313 | 0.0002294 | 0.99793 | 2597613 | 6.4146 | 0.025275 | No | 1
11.0333 | -0.1419 | 0.00024451 | 0.99769 | 2542153 | 6.4052 | 0.026098 | No | 1
11.05 | -0.14213 | 0.00024491 | 0.99743 | 2487868 | 6.3958 | 0.027508 | No | 1
11.0667 | -0.15731 | 0.00027107 | 0.99717 | 2434729 | 6.3865 | 0.028566 | No | 1
11.0833 | -0.15372 | 0.00026489 | 0.9969 | 2382711 | 6.3771 | 0.028935 | No | 1
11.1 | -0.16142 | 0.00027816 | 0.99662 | 2331787 | 6.3677 | 0.030661 | No | 1
11.1167 | -0.17264 | 0.00029749 | 0.99633 | 2281933 | 6.3583 | 0.031922 | No | 1
11.1333 | -0.17531 | 0.00030208 | 0.99602 | 2233122 | 6.3489 | 0.033152 | No | 1
11.15 | -0.18622 | 0.00032088 | 0.9957 | 2185333 | 6.3395 | 0.034743 | No | 1
11.1667 | -0.19285 | 0.00033232 | 0.99537 | 2138541 | 6.3301 | 0.036736 | No | 1
11.1833 | -0.20819 | 0.00035874 | 0.99501 | 2092725 | 6.3207 | 0.038921 | No | 1
11.2 | -0.21696 | 0.00037386 | 0.99464 | 2047862 | 6.3113 | 0.039509 | No | 1
11.2167 | -0.2149 | 0.0003703 | 0.99427 | 2003932 | 6.3019 | 0.040305 | No | 1
11.2333 | -0.22596 | 0.00038937 | 0.99388 | 1960914 | 6.2925 | 0.04125 | No | 1
11.25 | -0.22558 | 0.00038871 | 0.99348 | 1918787 | 6.283 | 0.043488 | No | 1
11.2667 | -0.25083 | 0.00043222 | 0.99305 | 1877533 | 6.2736 | 0.047836 | No | 1
11.2833 | -0.27364 | 0.00047153 | 0.99259 | 1837132 | 6.2641 | 0.049937 | No | 1
11.3 | -0.27432 | 0.00047271 | 0.99211 | 1797566 | 6.2547 | 0.05085 | No | 1
11.3167 | -0.28416 | 0.00048966 | 0.99162 | 1758818 | 6.2452 | 0.054287 | No | 1
11.3333 | -0.31262 | 0.0005387 | 0.99108 | 1720869 | 6.2357 | 0.058311 | No | 1
11.35 | -0.32902 | 0.00056696 | 0.99053 | 1683703 | 6.2263 | 0.059084 | No | 1
11.3667 | -0.32177 | 0.00055447 | 0.98996 | 1647303 | 6.2168 | 0.060227 | No | 1
11.3833 | -0.34229 | 0.00058983 | 0.98937 | 1611653 | 6.2073 | 0.063536 | No | 1
11.4 | -0.359 | 0.00061862 | 0.98875 | 1576738 | 6.1978 | 0.066864 | No | 1
11.4167 | -0.37983 | 0.00065451 | 0.9881 | 1542542 | 6.1882 | 0.070486 | No | 1
11.4333 | -0.39989 | 0.00068909 | 0.98741 | 1509050 | 6.1787 | 0.074455 | No | 1
11.45 | -0.42469 | 0.00073181 | 0.98667 | 1476247 | 6.1692 | 0.080671 | No | 1
11.4667 | -0.46978 | 0.00080951 | 0.98588 | 1444121 | 6.1596 | 0.083777 | No | 1
11.4833 | -0.46024 | 0.00079307 | 0.98507 | 1412655 | 6.15 | 0.086297 | No | 1
11.5 | -0.49892 | 0.00085972 | 0.9842 | 1381838 | 6.1405 | 0.09476 | No | 1
11.5167 | -0.5556 | 0.0009574 | 0.98327 | 1351656 | 6.1309 | 0.10008 | No | 1
11.5333 | -0.55949 | 0.0009641 | 0.98229 | 1322097 | 6.1213 | 0.10251 | No | 1
11.55 | -0.58413 | 0.0010066 | 0.98128 | 1293146 | 6.1116 | 0.10744 | No | 1
11.5667 | -0.6161 | 0.0010616 | 0.98022 | 1264793 | 6.102 | 0.11289 | No | 1
11.5833 | -0.64669 | 0.0011144 | 0.97912 | 1237025 | 6.0924 | 0.11683 | No | 1
11.6 | -0.66187 | 0.0011405 | 0.97796 | 1209831 | 6.0827 | 0.12266 | No | 1
11.6167 | -0.71383 | 0.0012301 | 0.97673 | 1183199 | 6.0731 | 0.13158 | No | 1
11.6333 | -0.76395 | 0.0013164 | 0.97542 | 1157118 | 6.0634 | 0.13878 | No | 1
11.65 | -0.79683 | 0.0013731 | 0.97405 | 1131576 | 6.0537 | 0.14347 | No | 1
11.6667 | -0.81903 | 0.0014113 | 0.97263 | 1106564 | 6.044 | 0.14932 | No | 1
11.6833 | -0.86504 | 0.0014906 | 0.97115 | 1082071 | 6.0343 | 0.15691 | No | 1
11.7 | -0.90707 | 0.001563 | 0.96958 | 1058087 | 6.0245 | 0.16429 | No | 1
11.7167 | -0.95109 | 0.0016389 | 0.96794 | 1034600 | 6.0148 | 0.17156 | No | 1
11.7333 | -0.99206 | 0.0017095 | 0.96623 | 1011603 | 6.005 | 0.17887 | No | 1
11.75 | -1.0368 | 0.0017867 | 0.96445 | 989085 | 5.9952 | 0.18696 | No | 1
11.7667 | -1.0868 | 0.0018728 | 0.96257 | 967036 | 5.9854 | 0.19575 | No | 1
11.7833 | -1.14 | 0.0019644 | 0.96062 | 945448 | 5.9756 | 0.2035 | No | 1
11.8 | -1.1784 | 0.0020305 | 0.95859 | 924311 | 5.9658 | 0.20904 | No | 1
11.8167 | -1.2065 | 0.002079 | 0.9565 | 903617 | 5.956 | 0.2157 | No | 1
11.8333 | -1.258 | 0.0021678 | 0.95433 | 883357 | 5.9461 | 0.22478 | No | 1
11.85 | -1.3139 | 0.0022641 | 0.95207 | 863523 | 5.9363 | 0.23406 | No | 1
11.8667 | -1.3682 | 0.0023576 | 0.94971 | 844105 | 5.9264 | 0.2432 | No | 1
11.8833 | -1.4227 | 0.0024516 | 0.94727 | 825097 | 5.9165 | 0.2512 | No | 1
11.9 | -1.4643 | 0.0025233 | 0.94474 | 806490 | 5.9066 | 0.25822 | No | 1
11.9167 | -1.5077 | 0.0025981 | 0.94214 | 788276 | 5.8967 | 0.26609 | No | 1
11.9333 | -1.5594 | 0.0026871 | 0.93946 | 770447 | 5.8867 | 0.27453 | No | 1
11.95 | -1.6096 | 0.0027737 | 0.93669 | 752997 | 5.8768 | 0.28222 | No | 1
11.9667 | -1.6529 | 0.0028482 | 0.93384 | 735917 | 5.8668 | 0.28853 | No | 1
11.9833 | -1.6875 | 0.0029078 | 0.93093 | 719201 | 5.8569 | 0.2961 | No | 1
12 | -1.7455 | 0.0030078 | 0.92793 | 702841 | 5.8469 | 0.30349 | No | 1
12.0167 | -1.7782 | 0.0030642 | 0.92486 | 686830 | 5.8368 | 0.31017 | No | 1
12.0333 | -1.8282 | 0.0031503 | 0.92171 | 671161 | 5.8268 | 0.31845 | No | 1
12.05 | -1.8799 | 0.0032393 | 0.91848 | 655829 | 5.8168 | 0.32626 | No | 1
12.0667 | -1.9247 | 0.0033165 | 0.91516 | 640825 | 5.8067 | 0.33347 | No | 1
12.0833 | -1.9694 | 0.0033937 | 0.91176 | 626145 | 5.7967 | 0.34259 | No | 1
12.1 | -2.0368 | 0.0035098 | 0.90826 | 611781 | 5.7866 | 0.35147 | No | 1
12.1167 | -2.079 | 0.0035825 | 0.90468 | 597726 | 5.7765 | 0.35792 | No | 1
12.1333 | -2.1181 | 0.0036499 | 0.90102 | 583976 | 5.7664 | 0.36672 | No | 1
12.15 | -2.1882 | 0.0037707 | 0.89725 | 570524 | 5.7563 | 0.3776 | No | 1
12.1667 | -2.2519 | 0.0038805 | 0.89338 | 557364 | 5.7461 | 0.38572 | No | 1
12.1833 | -2.2899 | 0.0039458 | 0.88943 | 544491 | 5.736 | 0.39303 | No | 1
12.2 | -2.3443 | 0.0040396 | 0.88538 | 531898 | 5.7258 | 0.40366 | No | 1
12.2167 | -2.4215 | 0.0041727 | 0.88122 | 519580 | 5.7157 | 0.41361 | No | 1
12.2333 | -2.4682 | 0.0042531 | 0.87696 | 507532 | 5.7055 | 0.42269 | No | 1
12.25 | -2.5354 | 0.0043689 | 0.8726 | 495748 | 5.6953 | 0.43285 | No | 1
12.2667 | -2.5951 | 0.0044718 | 0.86813 | 484223 | 5.685 | 0.44161 | No | 1
12.2833 | -2.6458 | 0.0045593 | 0.86358 | 472952 | 5.6748 | 0.44959 | No | 1
12.3 | -2.6966 | 0.0046467 | 0.85893 | 461930 | 5.6646 | 0.45797 | No | 1
12.3167 | -2.7522 | 0.0047425 | 0.85419 | 451151 | 5.6543 | 0.46683 | No | 1
12.3333 | -2.8089 | 0.0048402 | 0.84935 | 440611 | 5.6441 | 0.47529 | No | 1
12.35 | -2.8598 | 0.0049279 | 0.84443 | 430305 | 5.6338 | 0.48244 | No | 1
12.3667 | -2.901 | 0.004999 | 0.83941 | 420229 | 5.6235 | 0.49198 | No | 1
12.3833 | -2.9806 | 0.0051361 | 0.83429 | 410377 | 5.6132 | 0.50219 | No | 1
12.4 | -3.0301 | 0.0052214 | 0.82907 | 400745 | 5.6029 | 0.50993 | No | 1
12.4167 | -3.0803 | 0.0053078 | 0.82377 | 391328 | 5.5925 | 0.5176 | No | 1
12.4333 | -3.129 | 0.0053918 | 0.81838 | 382123 | 5.5822 | 0.52391 | No | 1
12.45 | -3.1628 | 0.0054501 | 0.81293 | 373124 | 5.5719 | 0.53102 | No | 1
12.4667 | -3.2213 | 0.0055509 | 0.80737 | 364328 | 5.5615 | 0.54079 | No | 1
12.4833 | -3.2872 | 0.0056643 | 0.80172 | 355731 | 5.5511 | 0.54877 | No | 1
12.5 | -3.3243 | 0.0057284 | 0.79599 | 347328 | 5.5407 | 0.55519 | No | 1
12.5167 | -3.3714 | 0.0058095 | 0.79018 | 339115 | 5.5303 | 0.56395 | No | 1
12.5333 | -3.4368 | 0.0059221 | 0.78426 | 331088 | 5.5199 | 0.57268 | No | 1
12.55 | -3.4835 | 0.0060027 | 0.77827 | 323244 | 5.5095 | 0.57869 | No | 1
12.5667 | -3.5161 | 0.0060589 | 0.77221 | 315579 | 5.4991 | 0.58463 | No | 1
12.5833 | -3.562 | 0.0061379 | 0.76607 | 308088 | 5.4887 | 0.59132 | No | 1
12.6 | -3.6037 | 0.0062098 | 0.75987 | 300769 | 5.4782 | 0.59712 | No | 1
12.6167 | -3.6387 | 0.0062701 | 0.7536 | 293617 | 5.4678 | 0.6018 | No | 1
12.6333 | -3.6667 | 0.0063184 | 0.74728 | 286630 | 5.4573 | 0.60767 | No | 1
12.65 | -3.7162 | 0.0064037 | 0.74087 | 279803 | 5.4469 | 0.61624 | No | 1
12.6667 | -3.777 | 0.0065085 | 0.73438 | 273134 | 5.4364 | 0.62258 | No | 1
12.6833 | -3.7994 | 0.006547 | 0.72783 | 266618 | 5.4259 | 0.62693 | No | 1
12.7 | -3.8358 | 0.0066097 | 0.72123 | 260253 | 5.4154 | 0.63084 | No | 1
12.7167 | -3.8528 | 0.006639 | 0.71459 | 254036 | 5.4049 | 0.63438 | No | 1
12.7333 | -3.8846 | 0.0066938 | 0.70789 | 247963 | 5.3944 | 0.64102 | No | 1
12.75 | -3.9391 | 0.0067878 | 0.70112 | 242030 | 5.3839 | 0.64632 | No | 1
12.7667 | -3.9546 | 0.0068145 | 0.69431 | 236237 | 5.3733 | 0.64758 | No | 1
12.7833 | -3.9597 | 0.0068233 | 0.68748 | 230578 | 5.3628 | 0.65022 | No | 1
12.8 | -3.9919 | 0.0068787 | 0.6806 | 225051 | 5.3523 | 0.65491 | No | 1
12.8167 | -4.0218 | 0.0069303 | 0.67367 | 219654 | 5.3417 | 0.65942 | No | 1
12.8333 | -4.0517 | 0.0069817 | 0.6667 | 214383 | 5.3312 | 0.66203 | No | 1
12.85 | -4.0583 | 0.0069932 | 0.65971 | 209236 | 5.3206 | 0.66236 | No | 1
12.8667 | -4.0599 | 0.0069959 | 0.65271 | 204210 | 5.3101 | 0.66353 | No | 1
12.8833 | -4.0766 | 0.0070247 | 0.6457 | 199303 | 5.2995 | 0.6651 | No | 1
12.9 | -4.0831 | 0.0070359 | 0.63866 | 194511 | 5.2889 | 0.66679 | No | 1
12.9167 | -4.1009 | 0.0070665 | 0.6316 | 189832 | 5.2784 | 0.66837 | No | 1
12.9333 | -4.106 | 0.0070753 | 0.62453 | 185264 | 5.2678 | 0.66867 | No | 1
12.95 | -4.1077 | 0.0070784 | 0.61745 | 180805 | 5.2572 | 0.66972 | No | 1
12.9667 | -4.1218 | 0.0071027 | 0.61035 | 176451 | 5.2466 | 0.67141 | No | 1
12.9833 | -4.1312 | 0.0071188 | 0.60323 | 172201 | 5.236 | 0.67261 | No | 1
13 | -4.1391 | 0.0071324 | 0.59611 | 168052 | 5.2254 | 0.67257 | No | 1
13.0167 | -4.1331 | 0.007122 | 0.58899 | 164002 | 5.2148 | 0.67178 | No | 1
13.0333 | -4.1315 | 0.0071192 | 0.58187 | 160048 | 5.2043 | 0.67144 | No | 1
13.05 | -4.1308 | 0.007118 | 0.57475 | 156189 | 5.1937 | 0.6711 | No | 1
13.0667 | -4.1289 | 0.0071148 | 0.56764 | 152423 | 5.1831 | 0.67014 | No | 1
13.0833 | -4.1204 | 0.0071002 | 0.56055 | 148746 | 5.1724 | 0.66855 | No | 1
13.1 | -4.1104 | 0.0070829 | 0.55347 | 145158 | 5.1618 | 0.6656 | No | 1
13.1167 | -4.085 | 0.0070392 | 0.54642 | 141656 | 5.1512 | 0.66358 | No | 1
13.1333 | -4.0863 | 0.0070414 | 0.53939 | 138239 | 5.1406 | 0.66275 | No | 1
13.15 | -4.0752 | 0.0070223 | 0.53237 | 134903 | 5.13 | 0.66034 | No | 1
13.1667 | -4.0568 | 0.0069906 | 0.52538 | 131649 | 5.1194 | 0.65838 | No | 1
13.1833 | -4.0511 | 0.0069808 | 0.51842 | 128472 | 5.1088 | 0.65467 | No | 1
13.2 | -4.0109 | 0.0069115 | 0.51149 | 125373 | 5.0982 | 0.65097 | No | 1
13.2167 | -4.0052 | 0.0069016 | 0.5046 | 122348 | 5.0876 | 0.64849 | No | 1
13.2333 | -3.9796 | 0.0068576 | 0.49774 | 119397 | 5.077 | 0.64494 | No | 1
13.25 | -3.9606 | 0.0068248 | 0.49092 | 116517 | 5.0664 | 0.64131 | No | 1
13.2667 | -3.9338 | 0.0067787 | 0.48414 | 113707 | 5.0558 | 0.63796 | No | 1
13.2833 | -3.918 | 0.0067515 | 0.4774 | 110965 | 5.0452 | 0.63494 | No | 1
13.3 | -3.8951 | 0.0067119 | 0.47069 | 108290 | 5.0346 | 0.63076 | No | 1
13.3167 | -3.8649 | 0.00666 | 0.46403 | 105681 | 5.024 | 0.62589 | No | 1
13.3333 | -3.8331 | 0.0066051 | 0.45743 | 103134 | 5.0134 | 0.62167 | No | 1
13.35 | -3.8109 | 0.0065669 | 0.45086 | 100650 | 5.0028 | 0.6176 | No | 1
13.3667 | -3.7808 | 0.006515 | 0.44434 | 98226 | 4.9922 | 0.61471 | No | 1
13.3833 | -3.7728 | 0.0065011 | 0.43785 | 95862 | 4.9816 | 0.61154 | No | 1
13.4 | -3.7391 | 0.0064432 | 0.43141 | 93555 | 4.9711 | 0.60625 | No | 1
13.4167 | -3.7049 | 0.0063841 | 0.42503 | 91305 | 4.9605 | 0.60121 | No | 1
13.4333 | -3.6741 | 0.0063312 | 0.4187 | 89110 | 4.9499 | 0.59638 | No | 1
13.45 | -3.6423 | 0.0062763 | 0.41242 | 86968 | 4.9394 | 0.59341 | No | 1
13.4667 | -3.6343 | 0.0062625 | 0.40616 | 84879 | 4.9288 | 0.59099 | No | 1
13.4833 | -3.6089 | 0.0062187 | 0.39994 | 82842 | 4.9183 | 0.58784 | No | 1
13.5 | -3.5919 | 0.0061894 | 0.39376 | 80854 | 4.9077 | 0.58469 | No | 1
13.5167 | -3.5663 | 0.0061454 | 0.38762 | 78915 | 4.8972 | 0.57986 | No | 1
13.5333 | -3.5285 | 0.0060803 | 0.38154 | 77024 | 4.8866 | 0.57546 | No | 1
13.55 | -3.5082 | 0.0060452 | 0.37549 | 75179 | 4.8761 | 0.57192 | No | 1
13.5667 | -3.4808 | 0.005998 | 0.3695 | 73379 | 4.8656 | 0.56712 | No | 1
13.5833 | -3.4448 | 0.0059361 | 0.36357 | 71624 | 4.8551 | 0.562 | No | 1
13.6 | -3.4135 | 0.005882 | 0.35769 | 69912 | 4.8446 | 0.55731 | No | 1
13.6167 | -3.3827 | 0.0058291 | 0.35186 | 68242 | 4.8341 | 0.55257 | No | 1
13.6333 | -3.3506 | 0.0057737 | 0.34609 | 66613 | 4.8236 | 0.54733 | No | 1
13.65 | -3.3138 | 0.0057102 | 0.34038 | 65025 | 4.8131 | 0.5428 | No | 1
13.6667 | -3.2902 | 0.0056696 | 0.33471 | 63475 | 4.8026 | 0.53921 | No | 1
13.6833 | -3.2646 | 0.0056255 | 0.32909 | 61964 | 4.7921 | 0.53505 | No | 1
13.7 | -3.234 | 0.0055728 | 0.32352 | 60489 | 4.7817 | 0.52981 | No | 1
13.7167 | -3.1954 | 0.0055062 | 0.31801 | 59052 | 4.7712 | 0.52414 | No | 1
13.7333 | -3.1594 | 0.0054442 | 0.31257 | 57649 | 4.7608 | 0.51924 | No | 1
13.75 | -3.1302 | 0.0053939 | 0.30718 | 56282 | 4.7504 | 0.51458 | No | 1
13.7667 | -3.097 | 0.0053367 | 0.30184 | 54948 | 4.74 | 0.5096 | No | 1
13.7833 | -3.0638 | 0.0052795 | 0.29656 | 53646 | 4.7295 | 0.50499 | No | 1
13.8 | -3.0352 | 0.0052302 | 0.29134 | 52377 | 4.7191 | 0.49978 | No | 1
13.8167 | -2.9947 | 0.0051604 | 0.28618 | 51140 | 4.7088 | 0.49326 | No | 1
13.8333 | -2.9502 | 0.0050837 | 0.28109 | 49932 | 4.6984 | 0.48806 | No | 1
13.85 | -2.9257 | 0.0050415 | 0.27606 | 48755 | 4.688 | 0.48383 | No | 1
13.8667 | -2.8928 | 0.0049849 | 0.27107 | 47606 | 4.6777 | 0.47913 | No | 1
13.8833 | -2.8627 | 0.0049329 | 0.26614 | 46486 | 4.6673 | 0.47436 | No | 1
13.9 | -2.829 | 0.004875 | 0.26127 | 45394 | 4.657 | 0.46895 | No | 1
13.9167 | -2.7911 | 0.0048096 | 0.25647 | 44328 | 4.6467 | 0.46182 | No | 1
13.9333 | -2.737 | 0.0047164 | 0.25175 | 43289 | 4.6364 | 0.45474 | No | 1
13.95 | -2.6997 | 0.0046521 | 0.24709 | 42275 | 4.6261 | 0.44978 | No | 1
13.9667 | -2.6711 | 0.0046028 | 0.24249 | 41286 | 4.6158 | 0.44563 | No | 1
13.9833 | -2.6434 | 0.0045551 | 0.23794 | 40322 | 4.6055 | 0.44125 | No | 1
14 | -2.6122 | 0.0045013 | 0.23344 | 39381 | 4.5953 | 0.437 | No | 1
14.0167 | -2.586 | 0.0044562 | 0.22899 | 38464 | 4.5851 | 0.43133 | No | 1
14.0333 | -2.5379 | 0.0043733 | 0.22462 | 37569 | 4.5748 | 0.42446 | No | 1
14.05 | -2.4977 | 0.004304 | 0.22031 | 36696 | 4.5646 | 0.41859 | No | 1
14.0667 | -2.4615 | 0.0042415 | 0.21606 | 35844 | 4.5544 | 0.41448 | No | 1
14.0833 | -2.4423 | 0.0042085 | 0.21187 | 35013 | 4.5442 | 0.40955 | No | 1
14.1 | -2.3963 | 0.0041292 | 0.20774 | 34203 | 4.5341 | 0.40191 | No | 1
14.1167 | -2.3453 | 0.0040413 | 0.20369 | 33413 | 4.5239 | 0.39664 | No | 1
14.1333 | -2.3275 | 0.0040106 | 0.19969 | 32642 | 4.5138 | 0.39205 | No | 1
14.15 | -2.2844 | 0.0039364 | 0.19575 | 31889 | 4.5036 | 0.3858 | No | 1
14.1667 | -2.2474 | 0.0038726 | 0.19187 | 31156 | 4.4935 | 0.3817 | No | 1
14.1833 | -2.2294 | 0.0038417 | 0.18803 | 30440 | 4.4834 | 0.379 | No | 1
14.2 | -2.2091 | 0.0038066 | 0.18424 | 29742 | 4.4734 | 0.37437 | No | 1
14.2167 | -2.1685 | 0.0037368 | 0.18049 | 29060 | 4.4633 | 0.37005 | No | 1
14.2333 | -2.1518 | 0.003708 | 0.17679 | 28396 | 4.4533 | 0.36667 | No | 1
14.25 | -2.1225 | 0.0036574 | 0.17314 | 27747 | 4.4432 | 0.36103 | No | 1
14.2667 | -2.0795 | 0.0035834 | 0.16956 | 27115 | 4.4332 | 0.35408 | No | 1
14.2833 | -2.035 | 0.0035067 | 0.16605 | 26497 | 4.4232 | 0.34813 | No | 1
14.3 | -2.004 | 0.0034532 | 0.1626 | 25895 | 4.4132 | 0.34325 | No | 1
14.3167 | -1.972 | 0.0033981 | 0.1592 | 25307 | 4.4032 | 0.33796 | No | 1
14.3333 | -1.9364 | 0.0033367 | 0.15586 | 24734 | 4.3933 | 0.33221 | No | 1
14.35 | -1.8992 | 0.0032727 | 0.15259 | 24175 | 4.3834 | 0.32729 | No | 1
14.3667 | -1.8734 | 0.0032281 | 0.14937 | 23629 | 4.3734 | 0.32197 | No | 1
14.3833 | -1.8318 | 0.0031565 | 0.14621 | 23096 | 4.3635 | 0.31564 | No | 1
14.4 | -1.7945 | 0.0030922 | 0.14312 | 22576 | 4.3536 | 0.31054 | No | 1
14.4167 | -1.7672 | 0.0030452 | 0.14007 | 22069 | 4.3438 | 0.30692 | No | 1
14.4333 | -1.747 | 0.0030104 | 0.13706 | 21574 | 4.3339 | 0.3041 | No | 1
14.45 | -1.7291 | 0.0029795 | 0.13409 | 21091 | 4.3241 | 0.29866 | No | 1
14.4667 | -1.679 | 0.0028931 | 0.13119 | 20619 | 4.3143 | 0.29263 | No | 1
14.4833 | -1.6546 | 0.0028512 | 0.12835 | 20159 | 4.3045 | 0.28651 | No | 1
14.5 | -1.6037 | 0.0027635 | 0.12558 | 19710 | 4.2947 | 0.28033 | No | 1
14.5167 | -1.5788 | 0.0027205 | 0.12286 | 19271 | 4.2849 | 0.27654 | No | 1
14.5333 | -1.5553 | 0.0026801 | 0.12019 | 18843 | 4.2752 | 0.2711 | No | 1
14.55 | -1.5118 | 0.0026051 | 0.11758 | 18425 | 4.2654 | 0.2652 | No | 1
14.5667 | -1.4835 | 0.0025563 | 0.11502 | 18018 | 4.2557 | 0.26014 | No | 1
14.5833 | -1.4495 | 0.0024978 | 0.11252 | 17620 | 4.246 | 0.25559 | No | 1
14.6 | -1.4272 | 0.0024593 | 0.11006 | 17231 | 4.2363 | 0.25171 | No | 1
14.6167 | -1.401 | 0.0024142 | 0.10766 | 16852 | 4.2267 | 0.24563 | No | 1
14.6333 | -1.3541 | 0.0023333 | 0.10531 | 16481 | 4.217 | 0.24044 | No | 1
14.65 | -1.3381 | 0.0023058 | 0.10301 | 16120 | 4.2074 | 0.23799 | No | 1
14.6667 | -1.322 | 0.0022781 | 0.10073 | 15766 | 4.1977 | 0.23521 | No | 1
14.6833 | -1.3026 | 0.0022446 | 0.098492 | 15422 | 4.1881 | 0.23123 | No | 1
14.7 | -1.2732 | 0.0021939 | 0.096295 | 15085 | 4.1785 | 0.22724 | No | 1
14.7167 | -1.2537 | 0.0021604 | 0.094134 | 14756 | 4.169 | 0.22436 | No | 1
14.7333 | -1.2369 | 0.0021314 | 0.092015 | 14435 | 4.1594 | 0.21926 | No | 1
14.75 | -1.193 | 0.0020558 | 0.089945 | 14122 | 4.1499 | 0.21475 | No | 1
14.7667 | -1.1829 | 0.0020383 | 0.08791 | 13815 | 4.1404 | 0.21271 | No | 1
14.7833 | -1.1665 | 0.00201 | 0.085904 | 13516 | 4.1308 | 0.20954 | No | 1
14.8 | -1.144 | 0.0019712 | 0.083936 | 13224 | 4.1214 | 0.20526 | No | 1
14.8167 | -1.1155 | 0.0019222 | 0.082007 | 12939 | 4.1119 | 0.20182 | No | 1
14.8333 | -1.1024 | 0.0018997 | 0.080109 | 12660 | 4.1024 | 0.19968 | No | 1
14.85 | -1.0883 | 0.0018754 | 0.078237 | 12388 | 4.093 | 0.19681 | No | 1
14.8667 | -1.0675 | 0.0018395 | 0.076398 | 12122 | 4.0836 | 0.19331 | No | 1
14.8833 | -1.0465 | 0.0018033 | 0.074595 | 11862 | 4.0742 | 0.18987 | No | 1
14.9 | -1.0266 | 0.001769 | 0.072824 | 11608 | 4.0648 | 0.18714 | No | 1
14.9167 | -1.0134 | 0.0017463 | 0.07108 | 11360 | 4.0554 | 0.18457 | No | 1
14.9333 | -0.99547 | 0.0017154 | 0.069368 | 11118 | 4.046 | 0.18083 | No | 1
14.95 | -0.96961 | 0.0016708 | 0.067706 | 10881 | 4.0367 | 0.17467 | No | 1
14.9667 | -0.92574 | 0.0015952 | 0.066093 | 10649 | 4.0273 | 0.17085 | No | 1
14.9833 | -0.92535 | 0.0015945 | 0.064505 | 10423 | 4.018 | 0.16967 | No | 1
15 | -0.91017 | 0.0015684 | 0.062938 | 10202 | 4.0087 | 0.16679 | No | 1
15.0167 | -0.89163 | 0.0015364 | 0.061411 | 9986 | 3.9994 | 0.16186 | No | 1
15.0333 | -0.85432 | 0.0014721 | 0.059924 | 9775 | 3.9901 | 0.15833 | No | 1
15.05 | -0.85119 | 0.0014668 | 0.058455 | 9568 | 3.9808 | 0.15865 | No | 1
15.0667 | -0.85539 | 0.001474 | 0.056993 | 9366 | 3.9716 | 0.1571 | No | 1
15.0833 | -0.83227 | 0.0014341 | 0.055558 | 9169 | 3.9623 | 0.15336 | No | 1
15.1 | -0.81296 | 0.0014009 | 0.054147 | 8976 | 3.9531 | 0.15214 | No | 1
15.1167 | -0.81716 | 0.0014081 | 0.052751 | 8788 | 3.9439 | 0.15071 | No | 1
15.1333 | -0.79557 | 0.0013709 | 0.051385 | 8603 | 3.9346 | 0.14583 | No | 1
15.15 | -0.76299 | 0.0013148 | 0.050062 | 8423 | 3.9255 | 0.1417 | No | 1
15.1667 | -0.74963 | 0.0012918 | 0.048779 | 8246 | 3.9162 | 0.13758 | No | 1
15.1833 | -0.71736 | 0.0012361 | 0.047543 | 8074 | 3.9071 | 0.13166 | No | 1
15.2 | -0.68493 | 0.0011803 | 0.046345 | 7905 | 3.8979 | 0.12971 | No | 1
15.2167 | -0.69508 | 0.0011977 | 0.04516 | 7740 | 3.8887 | 0.12901 | No | 1
15.2333 | -0.67608 | 0.001165 | 0.043994 | 7579 | 3.8796 | 0.12588 | No | 1
15.25 | -0.66044 | 0.0011381 | 0.042856 | 7421 | 3.8705 | 0.12323 | No | 1
15.2667 | -0.64678 | 0.0011145 | 0.041743 | 7267 | 3.8614 | 0.12037 | No | 1
15.2833 | -0.62885 | 0.0010836 | 0.040656 | 7116 | 3.8522 | 0.11808 | No | 1
15.3 | -0.62145 | 0.0010709 | 0.039592 | 6968 | 3.8431 | 0.1152 | No | 1
15.3167 | -0.59742 | 0.0010295 | 0.038554 | 6823 | 3.834 | 0.11281 | No | 1
15.3333 | -0.5952 | 0.0010256 | 0.037534 | 6682 | 3.8249 | 0.11123 | No | 1
15.35 | -0.57987 | 0.00099921 | 0.036537 | 6543 | 3.8158 | 0.10803 | No | 1
15.3667 | -0.56072 | 0.00096621 | 0.035561 | 6408 | 3.8067 | 0.10655 | No | 1
15.3833 | -0.56354 | 0.00097107 | 0.034597 | 6275 | 3.7976 | 0.10566 | No | 1
15.4 | -0.55064 | 0.00094885 | 0.033654 | 6145 | 3.7885 | 0.1022 | No | 1
15.4167 | -0.52661 | 0.00090744 | 0.032748 | 6018 | 3.7795 | 0.097368 | No | 1
15.4333 | -0.49922 | 0.00086024 | 0.03188 | 5894 | 3.7704 | 0.093927 | No | 1
15.45 | -0.48998 | 0.00084433 | 0.031033 | 5772 | 3.7613 | 0.092899 | No | 1
15.4667 | -0.48808 | 0.00084104 | 0.0302 | 5653 | 3.7523 | 0.090806 | No | 1
15.4833 | -0.4677 | 0.00080594 | 0.029395 | 5536 | 3.7432 | 0.086952 | No | 1
15.5 | -0.44733 | 0.00077083 | 0.028622 | 5422 | 3.7342 | 0.083468 | No | 1
15.5167 | -0.43093 | 0.00074256 | 0.027863 | 5310 | 3.7251 | 0.084097 | No | 1
15.5333 | -0.45389 | 0.00078213 | 0.027108 | 5200 | 3.716 | 0.082515 | No | 1
15.55 | -0.41429 | 0.0007139 | 0.026384 | 5093 | 3.707 | 0.077172 | No | 1
15.5667 | -0.39774 | 0.00068537 | 0.025692 | 4987 | 3.6978 | 0.075667 | No | 1
15.5833 | -0.39857 | 0.00068681 | 0.025003 | 4884 | 3.6888 | 0.076201 | No | 1
15.6 | -0.40353 | 0.00069536 | 0.024314 | 4783 | 3.6797 | 0.07586 | No | 1
15.6167 | -0.39521 | 0.00068102 | 0.023637 | 4685 | 3.6707 | 0.073485 | No | 1
15.6333 | -0.37881 | 0.00065276 | 0.022981 | 4588 | 3.6616 | 0.070961 | No | 1
15.65 | -0.36897 | 0.00063579 | 0.022348 | 4493 | 3.6525 | 0.068594 | No | 1
15.6667 | -0.35424 | 0.00061042 | 0.021731 | 4400 | 3.6435 | 0.067135 | No | 1
15.6833 | -0.35401 | 0.00061002 | 0.021125 | 4309 | 3.6344 | 0.066236 | No | 1
15.7 | -0.34523 | 0.0005949 | 0.020526 | 4219 | 3.6252 | 0.065621 | No | 1
15.7167 | -0.34806 | 0.00059976 | 0.019935 | 4132 | 3.6162 | 0.064209 | No | 1
15.7333 | -0.33089 | 0.00057018 | 0.019361 | 4046 | 3.607 | 0.061625 | No | 1
15.75 | -0.32135 | 0.00055374 | 0.018812 | 3962 | 3.5979 | 0.058725 | No | 1
15.7667 | -0.30083 | 0.00051838 | 0.018278 | 3880 | 3.5888 | 0.058271 | No | 1
15.7833 | -0.31723 | 0.00054664 | 0.017735 | 3799 | 3.5797 | 0.060514 | No | 1
15.8 | -0.32539 | 0.0005607 | 0.017181 | 3719 | 3.5704 | 0.060737 | No | 1
15.8167 | -0.32043 | 0.00055216 | 0.01663 | 3642 | 3.5613 | 0.059378 | No | 1
15.8333 | -0.31181 | 0.0005373 | 0.016097 | 3566 | 3.5522 | 0.056757 | No | 1
15.85 | -0.29342 | 0.00050561 | 0.015578 | 3491 | 3.5429 | 0.056153 | No | 1
15.8667 | -0.30631 | 0.00052783 | 0.015056 | 3418 | 3.5338 | 0.057343 | No | 1
15.8833 | -0.30715 | 0.00052927 | 0.014534 | 3346 | 3.5245 | 0.055833 | No | 1
15.9 | -0.2912 | 0.00050179 | 0.014031 | 3276 | 3.5153 | 0.053057 | No | 1
15.9167 | -0.27846 | 0.00047984 | 0.01355 | 3206 | 3.506 | 0.050953 | No | 1
15.9333 | -0.26969 | 0.00046472 | 0.013088 | 3139 | 3.4968 | 0.048682 | No | 1
15.95 | -0.25511 | 0.0004396 | 0.012643 | 3072 | 3.4874 | 0.047009 | No | 1
15.9667 | -0.25275 | 0.00043552 | 0.012204 | 3007 | 3.4781 | 0.047184 | No | 1
15.9833 | -0.25816 | 0.00044486 | 0.011769 | 2943 | 3.4688 | 0.046075 | No | 1
16 | -0.24191 | 0.00041685 | 0.011348 | 2880 | 3.4594 | 0.043801 | No | 1
16.0167 | -0.23466 | 0.00040436 | 0.010946 | 2819 | 3.4501 | 0.041898 | No | 1
16.0333 | -0.22238 | 0.00038319 | 0.010553 | 2758 | 3.4406 | 0.041604 | No | 1
16.05 | -0.23267 | 0.00040094 | 0.010155 | 2699 | 3.4312 | 0.042809 | No | 1
16.0667 | -0.23687 | 0.00040817 | 0.009755 | 2641 | 3.4218 | 0.041756 | No | 1
16.0833 | -0.22245 | 0.00038332 | 0.0093676 | 2584 | 3.4123 | 0.039916 | No | 1
16.1 | -0.21794 | 0.00037556 | 0.0089944 | 2528 | 3.4028 | 0.038509 | No | 1
16.1167 | -0.20825 | 0.00035886 | 0.0086392 | 2473 | 3.3932 | 0.035898 | No | 1
16.1333 | -0.19032 | 0.00032796 | 0.0082994 | 2419 | 3.3836 | 0.035038 | No | 1
16.15 | -0.20001 | 0.00034466 | 0.0079596 | 2366 | 3.374 | 0.035668 | No | 1
16.1667 | -0.19871 | 0.00034242 | 0.0076158 | 2314 | 3.3644 | 0.035609 | No | 1
16.1833 | -0.20077 | 0.00034597 | 0.0072741 | 2263 | 3.3547 | 0.035005 | No | 1
16.2 | -0.19337 | 0.00033321 | 0.006948 | 2213 | 3.345 | 0.032118 | No | 1
16.2167 | -0.16964 | 0.00029232 | 0.0066437 | 2164 | 3.3353 | 0.030272 | No | 1
16.2333 | -0.17384 | 0.00029955 | 0.0063495 | 2116 | 3.3255 | 0.029816 | No | 1
16.25 | -0.16582 | 0.00028574 | 0.0060645 | 2068 | 3.3156 | 0.028159 | No | 1
16.2667 | -0.15629 | 0.00026931 | 0.0057966 | 2022 | 3.3058 | 0.026127 | No | 1
16.2833 | -0.14385 | 0.00024788 | 0.0055437 | 1976 | 3.2958 | 0.024889 | No | 1
16.3 | -0.14331 | 0.00024695 | 0.0052962 | 1931 | 3.2858 | 0.024804 | No | 1
16.3167 | -0.14415 | 0.0002484 | 0.0050496 | 1887 | 3.2758 | 0.024481 | No | 1
16.3333 | -0.14087 | 0.00024274 | 0.0048055 | 1844 | 3.2658 | 0.024105 | No | 1
16.35 | -0.1411 | 0.00024314 | 0.0045646 | 1802 | 3.2558 | 0.023587 | No | 1
16.3667 | -0.13614 | 0.00023459 | 0.0043342 | 1760 | 3.2455 | 0.02183 | No | 1
16.3833 | -0.12172 | 0.00020974 | 0.0041236 | 1719 | 3.2353 | 0.019471 | No | 1
16.4 | -0.10943 | 0.00018857 | 0.0039224 | 1679 | 3.2251 | 0.01978 | No | 1
16.4167 | -0.1266 | 0.00021815 | 0.0037101 | 1640 | 3.2148 | 0.021431 | No | 1
16.4333 | -0.13049 | 0.00022485 | 0.003496 | 1601 | 3.2044 | 0.019899 | No | 1
16.45 | -0.1095 | 0.00018869 | 0.0033007 | 1563 | 3.194 | 0.0176 | No | 1
16.4667 | -0.10393 | 0.00017909 | 0.0031205 | 1526 | 3.1836 | 0.016813 | No | 1
16.4833 | -0.10111 | 0.00017423 | 0.0029457 | 1489 | 3.1729 | 0.016381 | No | 1
16.5 | -0.09981 | 0.00017199 | 0.0027735 | 1453 | 3.1623 | 0.016125 | No | 1
16.5167 | -0.099122 | 0.00017081 | 0.0026034 | 1418 | 3.1517 | 0.015795 | No | 1
16.5333 | -0.096908 | 0.00016699 | 0.0024338 | 1384 | 3.1411 | 0.015834 | No | 1
16.55 | -0.1008 | 0.00017369 | 0.002257 | 1350 | 3.1303 | 0.016951 | No | 1
16.5667 | -0.11216 | 0.00019328 | 0.0020706 | 1316 | 3.1193 | 0.017388 | No | 1
16.5833 | -0.10766 | 0.00018552 | 0.001879 | 1284 | 3.1086 | 0.017684 | No | 1
16.6 | -0.11735 | 0.00020221 | 0.0016873 | 1252 | 3.0976 | 0.017188 | No | 1
16.6167 | -0.10278 | 0.0001771 | 0.0015015 | 1220 | 3.0864 | 0.016388 | No | 1
16.6333 | -0.1085 | 0.00018696 | 0.0013188 | 1189 | 3.0752 | 0.016419 | No | 1
16.65 | -0.1046 | 0.00018025 | 0.0011336 | 1159 | 3.0641 | 0.016587 | No | 1
16.6667 | -0.11216 | 0.00019327 | 0.00095083 | 1129 | 3.0527 | 0.015788 | No | 1
16.6833 | -0.0956 | 0.00016473 | 0.00078049 | 1100 | 3.0414 | 0.014168 | No | 1
16.7 | -0.092165 | 0.00015882 | 0.0006239 | 1071 | 3.0298 | 0.013176 | No | 1
16.7167 | -0.083695 | 0.00014422 | 0.00048176 | 1043 | 3.0183 | 0.011468 | No | 1
16.7333 | -0.070495 | 0.00012148 | 0.00035106 | 1016 | 3.0069 | 0.011024 | No | 1
16.75 | -0.07881 | 0.0001358 | 0.00021661 | 989 | 2.9952 | 0.011937 | No | 1
16.7667 | -0.084073 | 0.00014487 | 7.3233e-05 | 962 | 2.9832 | 0.012368 | No | 1