## Sample Details
Administrative Information
Export date | 10 December 2024 09:42:15
Culture name | en-GB
Decimal separator | .
Workspace name | November 2024
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\2024\November 2024\
File name | ICF_04_12_2024-0003.sample
Creation date | 05 December 2024 10:03:58
Created by | OBPC
Comments | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Software version | Agilent SEC Software - 2.1.9.34851
Sample Information
Sample name | C
Information
Sample type | Sample
Injection date | 05 December 2024
Vial number | None
Injection number | 1
Injection volume (µL) | 200
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 0
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Instrument name | Agilent DataStream
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV

## Raw Data
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV
Raw Data
RT (mins) | Response Trace 1
0 | 3.4784
0.016667 | 3.4873
0.033333 | 3.4876
0.05 | 3.4905
0.066667 | 3.4747
0.083333 | 3.4818
0.1 | 3.512
0.11667 | 3.4969
0.13333 | 3.4975
0.15 | 3.4872
0.16667 | 3.4962
0.18333 | 3.5204
0.2 | 3.5015
0.21667 | 3.4951
0.23333 | 3.4911
0.25 | 3.4809
0.26667 | 3.4873
0.28333 | 3.4725
0.3 | 3.4753
0.31667 | 3.4722
0.33333 | 3.4962
0.35 | 3.5032
0.36667 | 3.4896
0.38333 | 3.4927
0.4 | 3.5033
0.41667 | 3.5073
0.43333 | 3.5015
0.45 | 3.4876
0.46667 | 3.4914
0.48333 | 3.4818
0.5 | 3.5058
0.51667 | 3.5059
0.53333 | 3.5081
0.55 | 3.4911
0.56667 | 3.4982
0.58333 | 3.4928
0.6 | 3.4899
0.61667 | 3.4884
0.63333 | 3.4629
0.65 | 3.435
0.66667 | 3.4312
0.68333 | 3.4336
0.7 | 3.4258
0.71667 | 3.4245
0.73333 | 3.4241
0.75 | 3.4068
0.76667 | 3.4167
0.78333 | 3.4332
0.8 | 3.4303
0.81667 | 3.4275
0.83333 | 3.4351
0.85 | 3.4361
0.86667 | 3.4332
0.88333 | 3.424
0.9 | 3.4446
0.91667 | 3.4332
0.93333 | 3.4354
0.95 | 3.4325
0.96667 | 3.4411
0.98333 | 3.4411
1 | 3.4376
1.0167 | 3.4266
1.0333 | 3.4266
1.05 | 3.4303
1.0667 | 3.4147
1.0833 | 3.4202
1.1 | 3.4188
1.1167 | 3.4177
1.1333 | 3.4093
1.15 | 3.4168
1.1667 | 3.4264
1.1833 | 3.4249
1.2 | 3.4287
1.2167 | 3.4396
1.2333 | 3.4383
1.25 | 3.4246
1.2667 | 3.4267
1.2833 | 3.4209
1.3 | 3.4092
1.3167 | 3.4083
1.3333 | 3.4206
1.35 | 3.4205
1.3667 | 3.4113
1.3833 | 3.4106
1.4 | 3.4196
1.4167 | 3.4106
1.4333 | 3.4202
1.45 | 3.3987
1.4667 | 3.3927
1.4833 | 3.3952
1.5 | 3.3959
1.5167 | 3.3781
1.5333 | 3.3831
1.55 | 3.3836
1.5667 | 3.401
1.5833 | 3.3764
1.6 | 3.3865
1.6167 | 3.3973
1.6333 | 3.393
1.65 | 3.388
1.6667 | 3.3782
1.6833 | 3.3675
1.7 | 3.3718
1.7167 | 3.3622
1.7333 | 3.3581
1.75 | 3.3633
1.7667 | 3.3697
1.7833 | 3.3692
1.8 | 3.373
1.8167 | 3.362
1.8333 | 3.3778
1.85 | 3.3776
1.8667 | 3.3634
1.8833 | 3.368
1.9 | 3.366
1.9167 | 3.3762
1.9333 | 3.3744
1.95 | 3.3784
1.9667 | 3.3714
1.9833 | 3.3863
2 | 3.3932
2.0167 | 3.3886
2.0333 | 3.386
2.05 | 3.3805
2.0667 | 3.3721
2.0833 | 3.364
2.1 | 3.3599
2.1167 | 3.363
2.1333 | 3.3845
2.15 | 3.381
2.1667 | 3.3767
2.1833 | 3.3793
2.2 | 3.3715
2.2167 | 3.3552
2.2333 | 3.3524
2.25 | 3.3584
2.2667 | 3.3344
2.2833 | 3.3343
2.3 | 3.3248
2.3167 | 3.3312
2.3333 | 3.344
2.35 | 3.3656
2.3667 | 3.3605
2.3833 | 3.345
2.4 | 3.3427
2.4167 | 3.3472
2.4333 | 3.3532
2.45 | 3.3494
2.4667 | 3.353
2.4833 | 3.3599
2.5 | 3.3517
2.5167 | 3.3529
2.5333 | 3.3607
2.55 | 3.3631
2.5667 | 3.3488
2.5833 | 3.359
2.6 | 3.3649
2.6167 | 3.3573
2.6333 | 3.357
2.65 | 3.3724
2.6667 | 3.3596
2.6833 | 3.3558
2.7 | 3.3677
2.7167 | 3.3686
2.7333 | 3.3686
2.75 | 3.3631
2.7667 | 3.3569
2.7833 | 3.3585
2.8 | 3.3617
2.8167 | 3.3523
2.8333 | 3.3479
2.85 | 3.3483
2.8667 | 3.3576
2.8833 | 3.3469
2.9 | 3.3439
2.9167 | 3.339
2.9333 | 3.3425
2.95 | 3.3421
2.9667 | 3.3398
2.9833 | 3.3422
3 | 3.3462
3.0167 | 3.354
3.0333 | 3.3474
3.05 | 3.355
3.0667 | 3.341
3.0833 | 3.3326
3.1 | 3.3297
3.1167 | 3.3317
3.1333 | 3.3302
3.15 | 3.3225
3.1667 | 3.3321
3.1833 | 3.3421
3.2 | 3.3511
3.2167 | 3.3445
3.2333 | 3.3282
3.25 | 3.3418
3.2667 | 3.3492
3.2833 | 3.3416
3.3 | 3.337
3.3167 | 3.3324
3.3333 | 3.3379
3.35 | 3.3353
3.3667 | 3.3428
3.3833 | 3.3503
3.4 | 3.3314
3.4167 | 3.339
3.4333 | 3.3489
3.45 | 3.3523
3.4667 | 3.3523
3.4833 | 3.3504
3.5 | 3.3614
3.5167 | 3.3538
3.5333 | 3.3466
3.55 | 3.3404
3.5667 | 3.3385
3.5833 | 3.3378
3.6 | 3.3369
3.6167 | 3.3389
3.6333 | 3.3495
3.65 | 3.355
3.6667 | 3.3346
3.6833 | 3.3257
3.7 | 3.337
3.7167 | 3.3407
3.7333 | 3.3257
3.75 | 3.3178
3.7667 | 3.3234
3.7833 | 3.3201
3.8 | 3.3266
3.8167 | 3.3099
3.8333 | 3.3154
3.85 | 3.3176
3.8667 | 3.2909
3.8833 | 3.2961
3.9 | 3.3077
3.9167 | 3.3175
3.9333 | 3.3131
3.95 | 3.3193
3.9667 | 3.3334
3.9833 | 3.3298
4 | 3.327
4.0167 | 3.3427
4.0333 | 3.332
4.05 | 3.3169
4.0667 | 3.3176
4.0833 | 3.3134
4.1 | 3.328
4.1167 | 3.3533
4.1333 | 3.3421
4.15 | 3.3344
4.1667 | 3.3233
4.1833 | 3.3181
4.2 | 3.3085
4.2167 | 3.3006
4.2333 | 3.3224
4.25 | 3.3126
4.2667 | 3.3022
4.2833 | 3.316
4.3 | 3.323
4.3167 | 3.3273
4.3333 | 3.3163
4.35 | 3.3253
4.3667 | 3.337
4.3833 | 3.344
4.4 | 3.3346
4.4167 | 3.3326
4.4333 | 3.3393
4.45 | 3.3416
4.4667 | 3.3337
4.4833 | 3.3355
4.5 | 3.3445
4.5167 | 3.3498
4.5333 | 3.3399
4.55 | 3.3436
4.5667 | 3.3422
4.5833 | 3.3445
4.6 | 3.3546
4.6167 | 3.345
4.6333 | 3.344
4.65 | 3.341
4.6667 | 3.3376
4.6833 | 3.3378
4.7 | 3.3279
4.7167 | 3.334
4.7333 | 3.3332
4.75 | 3.323
4.7667 | 3.3411
4.7833 | 3.3477
4.8 | 3.3433
4.8167 | 3.3347
4.8333 | 3.317
4.85 | 3.3309
4.8667 | 3.348
4.8833 | 3.3303
4.9 | 3.3135
4.9167 | 3.3118
4.9333 | 3.3178
4.95 | 3.3121
4.9667 | 3.3306
4.9833 | 3.3224
5 | 3.3234
5.0167 | 3.3349
5.0333 | 3.3372
5.05 | 3.3253
5.0667 | 3.3289
5.0833 | 3.3389
5.1 | 3.3245
5.1167 | 3.3179
5.1333 | 3.3205
5.15 | 3.3147
5.1667 | 3.3048
5.1833 | 3.3254
5.2 | 3.325
5.2167 | 3.3202
5.2333 | 3.3196
5.25 | 3.3178
5.2667 | 3.3096
5.2833 | 3.3048
5.3 | 3.2873
5.3167 | 3.2969
5.3333 | 3.2996
5.35 | 3.289
5.3667 | 3.2917
5.3833 | 3.2905
5.4 | 3.3016
5.4167 | 3.2999
5.4333 | 3.2964
5.45 | 3.298
5.4667 | 3.3047
5.4833 | 3.3163
5.5 | 3.2992
5.5167 | 3.292
5.5333 | 3.297
5.55 | 3.2914
5.5667 | 3.2836
5.5833 | 3.2999
5.6 | 3.2917
5.6167 | 3.2839
5.6333 | 3.2829
5.65 | 3.2981
5.6667 | 3.2937
5.6833 | 3.2983
5.7 | 3.3021
5.7167 | 3.3073
5.7333 | 3.3031
5.75 | 3.2902
5.7667 | 3.2743
5.7833 | 3.2793
5.8 | 3.2871
5.8167 | 3.2786
5.8333 | 3.2833
5.85 | 3.2986
5.8667 | 3.2932
5.8833 | 3.2984
5.9 | 3.3047
5.9167 | 3.2987
5.9333 | 3.2952
5.95 | 3.2993
5.9667 | 3.3018
5.9833 | 3.3147
6 | 3.3239
6.0167 | 3.321
6.0333 | 3.2949
6.05 | 3.2887
6.0667 | 3.2999
6.0833 | 3.2844
6.1 | 3.2839
6.1167 | 3.2806
6.1333 | 3.2862
6.15 | 3.2815
6.1667 | 3.283
6.1833 | 3.2725
6.2 | 3.2821
6.2167 | 3.2867
6.2333 | 3.2888
6.25 | 3.2711
6.2667 | 3.2743
6.2833 | 3.2771
6.3 | 3.2821
6.3167 | 3.2609
6.3333 | 3.2706
6.35 | 3.2719
6.3667 | 3.2812
6.3833 | 3.2642
6.4 | 3.274
6.4167 | 3.3006
6.4333 | 3.283
6.45 | 3.2778
6.4667 | 3.2616
6.4833 | 3.2691
6.5 | 3.2783
6.5167 | 3.2839
6.5333 | 3.2783
6.55 | 3.2661
6.5667 | 3.272
6.5833 | 3.2781
6.6 | 3.2722
6.6167 | 3.2879
6.6333 | 3.2815
6.65 | 3.298
6.6667 | 3.2775
6.6833 | 3.2767
6.7 | 3.2751
6.7167 | 3.2613
6.7333 | 3.2681
6.75 | 3.272
6.7667 | 3.2639
6.7833 | 3.2601
6.8 | 3.2571
6.8167 | 3.2658
6.8333 | 3.2491
6.85 | 3.263
6.8667 | 3.2677
6.8833 | 3.2703
6.9 | 3.2655
6.9167 | 3.2568
6.9333 | 3.2623
6.95 | 3.2523
6.9667 | 3.2629
6.9833 | 3.2766
7 | 3.2789
7.0167 | 3.2816
7.0333 | 3.2629
7.05 | 3.2604
7.0667 | 3.2679
7.0833 | 3.2758
7.1 | 3.272
7.1167 | 3.2754
7.1333 | 3.2638
7.15 | 3.2513
7.1667 | 3.2606
7.1833 | 3.2577
7.2 | 3.2456
7.2167 | 3.2609
7.2333 | 3.2456
7.25 | 3.2476
7.2667 | 3.2432
7.2833 | 3.2301
7.3 | 3.2432
7.3167 | 3.2275
7.3333 | 3.2369
7.35 | 3.2502
7.3667 | 3.2514
7.3833 | 3.2603
7.4 | 3.2487
7.4167 | 3.2542
7.4333 | 3.2374
7.45 | 3.2485
7.4667 | 3.2516
7.4833 | 3.2438
7.5 | 3.2603
7.5167 | 3.263
7.5333 | 3.2568
7.55 | 3.2659
7.5667 | 3.2655
7.5833 | 3.2555
7.6 | 3.2632
7.6167 | 3.2609
7.6333 | 3.2285
7.65 | 3.2401
7.6667 | 3.2331
7.6833 | 3.231
7.7 | 3.2203
7.7167 | 3.2088
7.7333 | 3.2157
7.75 | 3.2174
7.7667 | 3.2178
7.7833 | 3.2044
7.8 | 3.204
7.8167 | 3.2114
7.8333 | 3.2247
7.85 | 3.2154
7.8667 | 3.2021
7.8833 | 3.2038
7.9 | 3.2215
7.9167 | 3.2207
7.9333 | 3.2079
7.95 | 3.2134
7.9667 | 3.2224
7.9833 | 3.2345
8 | 3.2137
8.0167 | 3.2008
8.0333 | 3.218
8.05 | 3.2011
8.0667 | 3.2322
8.0833 | 3.2232
8.1 | 3.2421
8.1167 | 3.2432
8.1333 | 3.2259
8.15 | 3.2261
8.1667 | 3.2188
8.1833 | 3.2317
8.2 | 3.2388
8.2167 | 3.2484
8.2333 | 3.2259
8.25 | 3.2258
8.2667 | 3.2351
8.2833 | 3.2323
8.3 | 3.2229
8.3167 | 3.2241
8.3333 | 3.2302
8.35 | 3.2183
8.3667 | 3.2143
8.3833 | 3.2024
8.4 | 3.2108
8.4167 | 3.2137
8.4333 | 3.2171
8.45 | 3.2186
8.4667 | 3.2218
8.4833 | 3.2078
8.5 | 3.2284
8.5167 | 3.2194
8.5333 | 3.2339
8.55 | 3.2304
8.5667 | 3.22
8.5833 | 3.2142
8.6 | 3.205
8.6167 | 3.2357
8.6333 | 3.225
8.65 | 3.2139
8.6667 | 3.2159
8.6833 | 3.2136
8.7 | 3.218
8.7167 | 3.2069
8.7333 | 3.2276
8.75 | 3.2288
8.7667 | 3.2258
8.7833 | 3.2095
8.8 | 3.2101
8.8167 | 3.2194
8.8333 | 3.2137
8.85 | 3.2201
8.8667 | 3.2272
8.8833 | 3.2215
8.9 | 3.2323
8.9167 | 3.2299
8.9333 | 3.227
8.95 | 3.2156
8.9667 | 3.2207
8.9833 | 3.2331
9 | 3.2207
9.0167 | 3.1915
9.0333 | 3.2119
9.05 | 3.2121
9.0667 | 3.1936
9.0833 | 3.1858
9.1 | 3.2037
9.1167 | 3.2137
9.1333 | 3.1948
9.15 | 3.2001
9.1667 | 3.1815
9.1833 | 3.1916
9.2 | 3.1741
9.2167 | 3.1924
9.2333 | 3.1884
9.25 | 3.2014
9.2667 | 3.2073
9.2833 | 3.2061
9.3 | 3.1957
9.3167 | 3.2047
9.3333 | 3.2088
9.35 | 3.2078
9.3667 | 3.185
9.3833 | 3.1834
9.4 | 3.1875
9.4167 | 3.1985
9.4333 | 3.1771
9.45 | 3.1771
9.4667 | 3.1873
9.4833 | 3.1956
9.5 | 3.1966
9.5167 | 3.1799
9.5333 | 3.1808
9.55 | 3.1971
9.5667 | 3.1881
9.5833 | 3.1898
9.6 | 3.1876
9.6167 | 3.1905
9.6333 | 3.1832
9.65 | 3.1857
9.6667 | 3.1788
9.6833 | 3.1631
9.7 | 3.1561
9.7167 | 3.1501
9.7333 | 3.1698
9.75 | 3.1693
9.7667 | 3.1655
9.7833 | 3.1721
9.8 | 3.1738
9.8167 | 3.1763
9.8333 | 3.1736
9.85 | 3.1637
9.8667 | 3.1652
9.8833 | 3.1545
9.9 | 3.1669
9.9167 | 3.1919
9.9333 | 3.1928
9.95 | 3.1841
9.9667 | 3.1615
9.9833 | 3.175
10 | 3.1863
10.0167 | 3.177
10.0333 | 3.1756
10.05 | 3.1768
10.0667 | 3.178
10.0833 | 3.1731
10.1 | 3.1823
10.1167 | 3.1831
10.1333 | 3.1782
10.15 | 3.1838
10.1667 | 3.158
10.1833 | 3.153
10.2 | 3.1683
10.2167 | 3.1763
10.2333 | 3.1724
10.25 | 3.1692
10.2667 | 3.1687
10.2833 | 3.1669
10.3 | 3.1634
10.3167 | 3.1673
10.3333 | 3.1689
10.35 | 3.169
10.3667 | 3.1619
10.3833 | 3.1628
10.4 | 3.1626
10.4167 | 3.1641
10.4333 | 3.1664
10.45 | 3.1644
10.4667 | 3.1615
10.4833 | 3.1573
10.5 | 3.1672
10.5167 | 3.1782
10.5333 | 3.1713
10.55 | 3.1635
10.5667 | 3.1643
10.5833 | 3.1571
10.6 | 3.1362
10.6167 | 3.1286
10.6333 | 3.1382
10.65 | 3.139
10.6667 | 3.1373
10.6833 | 3.1342
10.7 | 3.1414
10.7167 | 3.1266
10.7333 | 3.1141
10.75 | 3.1333
10.7667 | 3.1228
10.7833 | 3.117
10.8 | 3.1243
10.8167 | 3.1091
10.8333 | 3.1013
10.85 | 3.088
10.8667 | 3.0872
10.8833 | 3.0779
10.9 | 3.0692
10.9167 | 3.0619
10.9333 | 3.0482
10.95 | 3.0654
10.9667 | 3.0582
10.9833 | 3.0566
11 | 3.0488
11.0167 | 3.0309
11.0333 | 3.0354
11.05 | 3.0145
11.0667 | 3.0027
11.0833 | 3.0146
11.1 | 3.008
11.1167 | 3.0029
11.1333 | 3.0056
11.15 | 2.9952
11.1667 | 2.9704
11.1833 | 2.9646
11.2 | 2.98
11.2167 | 2.9687
11.2333 | 2.9585
11.25 | 2.9366
11.2667 | 2.9171
11.2833 | 2.8962
11.3 | 2.879
11.3167 | 2.8698
11.3333 | 2.871
11.35 | 2.8538
11.3667 | 2.8394
11.3833 | 2.8193
11.4 | 2.8066
11.4167 | 2.8004
11.4333 | 2.768
11.45 | 2.7447
11.4667 | 2.7238
11.4833 | 2.7033
11.5 | 2.6867
11.5167 | 2.6568
11.5333 | 2.6389
11.55 | 2.6107
11.5667 | 2.6008
11.5833 | 2.5651
11.6 | 2.5468
11.6167 | 2.514
11.6333 | 2.4923
11.65 | 2.4644
11.6667 | 2.4374
11.6833 | 2.4129
11.7 | 2.3855
11.7167 | 2.3333
11.7333 | 2.3078
11.75 | 2.2585
11.7667 | 2.243
11.7833 | 2.223
11.8 | 2.179
11.8167 | 2.1371
11.8333 | 2.1156
11.85 | 2.0878
11.8667 | 2.0493
11.8833 | 2.0254
11.9 | 1.9866
11.9167 | 1.9561
11.9333 | 1.9265
11.95 | 1.8916
11.9667 | 1.8357
11.9833 | 1.7887
12 | 1.7565
12.0167 | 1.72
12.0333 | 1.6958
12.05 | 1.6253
12.0667 | 1.5888
12.0833 | 1.535
12.1 | 1.4977
12.1167 | 1.4503
12.1333 | 1.3952
12.15 | 1.3537
12.1667 | 1.3213
12.1833 | 1.2594
12.2 | 1.2269
12.2167 | 1.1752
12.2333 | 1.1427
12.25 | 1.1016
12.2667 | 1.0664
12.2833 | 1.0165
12.3 | 0.96977
12.3167 | 0.92552
12.3333 | 0.86449
12.35 | 0.83138
12.3667 | 0.78499
12.3833 | 0.73616
12.4 | 0.6913
12.4167 | 0.64659
12.4333 | 0.59944
12.45 | 0.55321
12.4667 | 0.52727
12.4833 | 0.47661
12.5 | 0.43877
12.5167 | 0.40398
12.5333 | 0.39085
12.55 | 0.3466
12.5667 | 0.31364
12.5833 | 0.28313
12.6 | 0.25093
12.6167 | 0.22026
12.6333 | 0.19386
12.65 | 0.14717
12.6667 | 0.13618
12.6833 | 0.11879
12.7 | 0.095291
12.7167 | 0.066605
12.7333 | 0.042343
12.75 | 0.031815
12.7667 | 0.006485
12.7833 | -0.013657
12.8 | -0.041885
12.8167 | -0.025864
12.8333 | -0.055313
12.85 | -0.068436
12.8667 | -0.070572
12.8833 | -0.077438
12.9 | -0.076523
12.9167 | -0.077896
12.9333 | -0.099716
12.95 | -0.10399
12.9667 | -0.1049
12.9833 | -0.10185
13 | -0.082779
13.0167 | -0.067673
13.0333 | -0.061111
13.05 | -0.057602
13.0667 | -0.036087
13.0833 | -0.027542
13.1 | -0.016556
13.1167 | -0.0078583
13.1333 | 0.015793
13.15 | 0.048752
13.1667 | 0.042496
13.1833 | 0.049515
13.2 | 0.069351
13.2167 | 0.09758
13.2333 | 0.13298
13.25 | 0.14503
13.2667 | 0.17052
13.2833 | 0.18486
13.3 | 0.20378
13.3167 | 0.2372
13.3333 | 0.25597
13.35 | 0.29076
13.3667 | 0.32219
13.3833 | 0.35347
13.4 | 0.38994
13.4167 | 0.41527
13.4333 | 0.42625
13.45 | 0.4554
13.4667 | 0.48592
13.4833 | 0.50255
13.5 | 0.52574
13.5167 | 0.55275
13.5333 | 0.57976
13.55 | 0.60753
13.5667 | 0.6031
13.5833 | 0.64842
13.6 | 0.68031
13.6167 | 0.69588
13.6333 | 0.73128
13.65 | 0.76454
13.6667 | 0.79735
13.6833 | 0.81596
13.7 | 0.84206
13.7167 | 0.85182
13.7333 | 0.895
13.75 | 0.91667
13.7667 | 0.97206
13.7833 | 0.99495
13.8 | 1.0136
13.8167 | 1.0717
13.8333 | 1.103
13.85 | 1.1126
13.8667 | 1.146
13.8833 | 1.1689
13.9 | 1.1904
13.9167 | 1.2029
13.9333 | 1.2627
13.95 | 1.2902
13.9667 | 1.3247
13.9833 | 1.3441
14 | 1.368
14.0167 | 1.3947
14.0333 | 1.4295
14.05 | 1.4614
14.0667 | 1.484
14.0833 | 1.5054
14.1 | 1.5314
14.1167 | 1.552
14.1333 | 1.5862
14.15 | 1.6319
14.1667 | 1.6444
14.1833 | 1.6599
14.2 | 1.6961
14.2167 | 1.7443
14.2333 | 1.7796
14.25 | 1.8015
14.2667 | 1.8209
14.2833 | 1.8334
14.3 | 1.8702
14.3167 | 1.8969
14.3333 | 1.9215
14.35 | 1.9411
14.3667 | 1.9637
14.3833 | 1.9921
14.4 | 2.0245
14.4167 | 2.0415
14.4333 | 2.0727
14.45 | 2.0846
14.4667 | 2.096
14.4833 | 2.1297
14.5 | 2.1619
14.5167 | 2.1667
14.5333 | 2.1758
14.55 | 2.2073
14.5667 | 2.2483
14.5833 | 2.264
14.6 | 2.2727
14.6167 | 2.2923
14.6333 | 2.2977
14.65 | 2.3167
14.6667 | 2.3383
14.6833 | 2.3559
14.7 | 2.3679
14.7167 | 2.3949
14.7333 | 2.416
14.75 | 2.4218
14.7667 | 2.4189
14.7833 | 2.4299
14.8 | 2.4406
14.8167 | 2.4543
14.8333 | 2.4561
14.85 | 2.4641
14.8667 | 2.4876
14.8833 | 2.5105
14.9 | 2.5233
14.9167 | 2.535
14.9333 | 2.5555
14.95 | 2.5597
14.9667 | 2.5744
14.9833 | 2.5889
15 | 2.5857
15.0167 | 2.5941
15.0333 | 2.6154
15.05 | 2.6176
15.0667 | 2.6011
15.0833 | 2.6104
15.1 | 2.6165
15.1167 | 2.6246
15.1333 | 2.6432
15.15 | 2.664
15.1667 | 2.691
15.1833 | 2.6904
15.2 | 2.7033
15.2167 | 2.709
15.2333 | 2.7271
15.25 | 2.7407
15.2667 | 2.7409
15.2833 | 2.7476
15.3 | 2.7662
15.3167 | 2.7764
15.3333 | 2.7792
15.35 | 2.7798
15.3667 | 2.8085
15.3833 | 2.8161
15.4 | 2.8164
15.4167 | 2.8222
15.4333 | 2.8236
15.45 | 2.8176
15.4667 | 2.8448
15.4833 | 2.8541
15.5 | 2.8643
15.5167 | 2.8725
15.5333 | 2.8677
15.55 | 2.8756
15.5667 | 2.8851
15.5833 | 2.8828
15.6 | 2.9098
15.6167 | 2.9113
15.6333 | 2.9122
15.65 | 2.9263
15.6667 | 2.9455
15.6833 | 2.9333
15.7 | 2.9331
15.7167 | 2.9465
15.7333 | 2.9488
15.75 | 2.9665
15.7667 | 2.9868
15.7833 | 2.9803
15.8 | 2.9679
15.8167 | 2.9824
15.8333 | 2.9922
15.85 | 2.9809
15.8667 | 2.9687
15.8833 | 2.9737
15.9 | 2.9856
15.9167 | 2.9891
15.9333 | 2.985
15.95 | 2.9879
15.9667 | 3.0004
15.9833 | 3.0183
16 | 3.005
16.0167 | 3.0274
16.0333 | 3.0413
16.05 | 3.0323
16.0667 | 3.0524
16.0833 | 3.0367
16.1 | 3.0462
16.1167 | 3.0656
16.1333 | 3.0631
16.15 | 3.0639
16.1667 | 3.0705
16.1833 | 3.0666
16.2 | 3.0593
16.2167 | 3.0669
16.2333 | 3.0805
16.25 | 3.0531
16.2667 | 3.0474
16.2833 | 3.0497
16.3 | 3.0618
16.3167 | 3.0665
16.3333 | 3.0776
16.35 | 3.0701
16.3667 | 3.0732
16.3833 | 3.0824
16.4 | 3.0813
16.4167 | 3.0773
16.4333 | 3.075
16.45 | 3.0747
16.4667 | 3.0839
16.4833 | 3.0798
16.5 | 3.0711
16.5167 | 3.0753
16.5333 | 3.0846
16.55 | 3.0746
16.5667 | 3.0712
16.5833 | 3.0834
16.6 | 3.0758
16.6167 | 3.084
16.6333 | 3.0996
16.65 | 3.0949
16.6667 | 3.0968
16.6833 | 3.0979
16.7 | 3.113
16.7167 | 3.0978
16.7333 | 3.106
16.75 | 3.1055
16.7667 | 3.1007
16.7833 | 3.1068
16.8 | 3.1293
16.8167 | 3.103
16.8333 | 3.0869
16.85 | 3.0903
16.8667 | 3.1142
16.8833 | 3.1149
16.9 | 3.1033
16.9167 | 3.1062
16.9333 | 3.1063
16.95 | 3.1144
16.9667 | 3.1017
16.9833 | 3.106
17 | 3.1144
17.0167 | 3.1124
17.0333 | 3.1136
17.05 | 3.0929
17.0667 | 3.0927
17.0833 | 3.0988
17.1 | 3.0979
17.1167 | 3.1031
17.1333 | 3.113
17.15 | 3.1174
17.1667 | 3.1199
17.1833 | 3.1042
17.2 | 3.1094
17.2167 | 3.0885
17.2333 | 3.102
17.25 | 3.1171
17.2667 | 3.1153
17.2833 | 3.1103
17.3 | 3.1258
17.3167 | 3.1486
17.3333 | 3.1445
17.35 | 3.1495
17.3667 | 3.1364
17.3833 | 3.1382
17.4 | 3.1347
17.4167 | 3.1435
17.4333 | 3.1406
17.45 | 3.1478
17.4667 | 3.1377
17.4833 | 3.1457
17.5 | 3.1797
17.5167 | 3.1736
17.5333 | 3.1676
17.55 | 3.1487
17.5667 | 3.1464
17.5833 | 3.1533
17.6 | 3.1647
17.6167 | 3.1652
17.6333 | 3.1597
17.65 | 3.1561
17.6667 | 3.1709
17.6833 | 3.1615
17.7 | 3.1719
17.7167 | 3.162
17.7333 | 3.1556
17.75 | 3.1635
17.7667 | 3.1617
17.7833 | 3.1432
17.8 | 3.1391
17.8167 | 3.1541
17.8333 | 3.16
17.85 | 3.1556
17.8667 | 3.1466
17.8833 | 3.1467
17.9 | 3.1608
17.9167 | 3.1718
17.9333 | 3.1742
17.95 | 3.1486
17.9667 | 3.1341
17.9833 | 3.129
18 | 3.1301
18.0167 | 3.1329
18.0333 | 3.1307
18.05 | 3.1271
18.0667 | 3.1264
18.0833 | 3.1394
18.1 | 3.1306
18.1167 | 3.1271
18.1333 | 3.1385
18.15 | 3.1229
18.1667 | 3.1342
18.1833 | 3.139
18.2 | 3.135
18.2167 | 3.1246
18.2333 | 3.1364
18.25 | 3.126
18.2667 | 3.1309
18.2833 | 3.1426
18.3 | 3.1309
18.3167 | 3.1307
18.3333 | 3.1472
18.35 | 3.1504
18.3667 | 3.1445
18.3833 | 3.1501
18.4 | 3.1509
18.4167 | 3.1573
18.4333 | 3.1759
18.45 | 3.1817
18.4667 | 3.1911
18.4833 | 3.178
18.5 | 3.1843
18.5167 | 3.1933
18.5333 | 3.1882
18.55 | 3.2027
18.5667 | 3.191
18.5833 | 3.1753
18.6 | 3.1791
18.6167 | 3.1915
18.6333 | 3.18
18.65 | 3.1901
18.6667 | 3.1988
18.6833 | 3.2067
18.7 | 3.2188
18.7167 | 3.1985
18.7333 | 3.1824
18.75 | 3.2018
18.7667 | 3.2084
18.7833 | 3.1991
18.8 | 3.1921
18.8167 | 3.1983
18.8333 | 3.2092
18.85 | 3.2136
18.8667 | 3.2151
18.8833 | 3.2117
18.9 | 3.2325
18.9167 | 3.2352
18.9333 | 3.2407
18.95 | 3.2554
18.9667 | 3.2801
18.9833 | 3.2887
19 | 3.279
19.0167 | 3.3002
19.0333 | 3.3012
19.05 | 3.3059
19.0667 | 3.3208
19.0833 | 3.3183
19.1 | 3.3315
19.1167 | 3.3288
19.1333 | 3.3323
19.15 | 3.3385
19.1667 | 3.3311
19.1833 | 3.3263
19.2 | 3.3451
19.2167 | 3.3442
19.2333 | 3.3477
19.25 | 3.3485
19.2667 | 3.3428
19.2833 | 3.3529
19.3 | 3.3596
19.3167 | 3.3437
19.3333 | 3.352
19.35 | 3.3724
19.3667 | 3.3834
19.3833 | 3.3775
19.4 | 3.3807
19.4167 | 3.4031
19.4333 | 3.4121
19.45 | 3.4211
19.4667 | 3.4502
19.4833 | 3.4785
19.5 | 3.5027
19.5167 | 3.5374
19.5333 | 3.581
19.55 | 3.6266
19.5667 | 3.6784
19.5833 | 3.7577
19.6 | 3.8251
19.6167 | 3.8888
19.6333 | 3.9503
19.65 | 4.0279
19.6667 | 4.1132
19.6833 | 4.1821
19.7 | 4.2313
19.7167 | 4.297
19.7333 | 4.3571
19.75 | 4.4038
19.7667 | 4.4494
19.7833 | 4.4721
19.8 | 4.4657
19.8167 | 4.4736
19.8333 | 4.4575
19.85 | 4.4238
19.8667 | 4.3903
19.8833 | 4.3674
19.9 | 4.3153
19.9167 | 4.2527
19.9333 | 4.1874
19.95 | 4.1433
19.9667 | 4.0734
19.9833 | 4.0218
20 | 3.9855
20.0167 | 3.9167
20.0333 | 3.8723
20.05 | 3.8216
20.0667 | 3.7717
20.0833 | 3.7339
20.1 | 3.7003
20.1167 | 3.6567
20.1333 | 3.6103
20.15 | 3.5538
20.1667 | 3.4844
20.1833 | 3.4293
20.2 | 3.3758
20.2167 | 3.2832
20.2333 | 3.1925
20.25 | 3.0854
20.2667 | 2.963
20.2833 | 2.7871
20.3 | 2.6234
20.3167 | 2.4081
20.3333 | 2.1706
20.35 | 1.8722
20.3667 | 1.5269
20.3833 | 1.1553
20.4 | 0.72716
20.4167 | 0.27275
20.4333 | -0.2375
20.45 | -0.79521
20.4667 | -1.3799
20.4833 | -1.9804
20.5 | -2.6168
20.5167 | -3.2604
20.5333 | -3.9092
20.55 | -4.5315
20.5667 | -5.1467
20.5833 | -5.7047
20.6 | -6.2403
20.6167 | -6.7013
20.6333 | -7.094
20.65 | -7.4374
20.6667 | -7.7096
20.6833 | -7.9079
20.7 | -8.0222
20.7167 | -8.0595
20.7333 | -8.0367
20.75 | -7.9758
20.7667 | -7.8414
20.7833 | -7.6666
20.8 | -7.432
20.8167 | -7.172
20.8333 | -6.9015
20.85 | -6.6228
20.8667 | -6.3372
20.8833 | -6.0394
20.9 | -5.756
20.9167 | -5.4835
20.9333 | -5.2241
20.95 | -4.9613
20.9667 | -4.7048
20.9833 | -4.461
21 | -4.2175
21.0167 | -3.9724
21.0333 | -3.7455
21.05 | -3.5001
21.0667 | -3.2896
21.0833 | -3.0872
21.1 | -2.8574
21.1167 | -2.6473
21.1333 | -2.4525
21.15 | -2.2083
21.1667 | -1.9901
21.1833 | -1.7811
21.2 | -1.5626
21.2167 | -1.3451
21.2333 | -1.1315
21.25 | -0.93941
21.2667 | -0.73387
21.2833 | -0.53368
21.3 | -0.32539
21.3167 | -0.14229
21.3333 | 0.0069427
21.35 | 0.14732
21.3667 | 0.30098
21.3833 | 0.44441
21.4 | 0.56633
21.4167 | 0.7061
21.4333 | 0.83641
21.45 | 0.9333
21.4667 | 1.048
21.4833 | 1.15
21.5 | 1.242
21.5167 | 1.3361
21.5333 | 1.4252
21.55 | 1.4741
21.5667 | 1.5455
21.5833 | 1.6322
21.6 | 1.711
21.6167 | 1.7556
21.6333 | 1.8157
21.65 | 1.8647
21.6667 | 1.9088
21.6833 | 1.9486
21.7 | 2.011
21.7167 | 2.0434
21.7333 | 2.0867
21.75 | 2.1265
21.7667 | 2.1575
21.7833 | 2.2039
21.8 | 2.2396
21.8167 | 2.2547
21.8333 | 2.2912
21.85 | 2.3293
21.8667 | 2.337
21.8833 | 2.3675
21.9 | 2.392
21.9167 | 2.4163
21.9333 | 2.4226
21.95 | 2.4558
21.9667 | 2.4709
21.9833 | 2.483
22 | 2.4976
22.0167 | 2.5295
22.0333 | 2.5529
22.05 | 2.5829
22.0667 | 2.5849
22.0833 | 2.6112
22.1 | 2.6148
22.1167 | 2.6217
22.1333 | 2.6267
22.15 | 2.6504
22.1667 | 2.6659
22.1833 | 2.6778
22.2 | 2.6711
22.2167 | 2.6792
22.2333 | 2.6841
22.25 | 2.7018
22.2667 | 2.7
22.2833 | 2.719
22.3 | 2.7433
22.3167 | 2.7448
22.3333 | 2.7482
22.35 | 2.7561
22.3667 | 2.7601
22.3833 | 2.7833
22.4 | 2.7972
22.4167 | 2.806
22.4333 | 2.8251
22.45 | 2.8179
22.4667 | 2.8326
22.4833 | 2.8213
22.5 | 2.8339
22.5167 | 2.8469
22.5333 | 2.8495
22.55 | 2.8442
22.5667 | 2.8649
22.5833 | 2.8707
22.6 | 2.882
22.6167 | 2.8794
22.6333 | 2.888
22.65 | 2.8826
22.6667 | 2.8835
22.6833 | 2.909
22.7 | 2.8992
22.7167 | 2.9044
22.7333 | 2.92
22.75 | 2.9412
22.7667 | 2.9324
22.7833 | 2.9308
22.8 | 2.9487
22.8167 | 2.9522
22.8333 | 2.9626
22.85 | 2.9662
22.8667 | 2.9536
22.8833 | 2.9438
22.9 | 2.9563
22.9167 | 2.9798
22.9333 | 2.9818
22.95 | 2.9667
22.9667 | 2.9742
22.9833 | 2.9745
23 | 2.9766
23.0167 | 2.9762
23.0333 | 3.0006
23.05 | 2.9929
23.0667 | 2.9762
23.0833 | 3.0006
23.1 | 2.9935
23.1167 | 2.999
23.1333 | 2.9975
23.15 | 2.9906
23.1667 | 3.008
23.1833 | 3.0117
23.2 | 3.0009
23.2167 | 3.0119
23.2333 | 3.0088
23.25 | 2.996
23.2667 | 3.0122
23.2833 | 3.0074
23.3 | 3.0112
23.3167 | 3.0154
23.3333 | 3.0265
23.35 | 3.0444
23.3667 | 3.0392
23.3833 | 3.032
23.4 | 3.0276
23.4167 | 3.0209
23.4333 | 3.0244
23.45 | 3.0428
23.4667 | 3.05
23.4833 | 3.0488
23.5 | 3.0447
23.5167 | 3.0325
23.5333 | 3.057
23.55 | 3.0585
23.5667 | 3.0616
23.5833 | 3.0616
23.6 | 3.0584
23.6167 | 3.0618
23.6333 | 3.0564
23.65 | 3.045
23.6667 | 3.0509
23.6833 | 3.0473
23.7 | 3.0491
23.7167 | 3.064
23.7333 | 3.0454
23.75 | 3.0656
23.7667 | 3.0575
23.7833 | 3.0448
23.8 | 3.0582
23.8167 | 3.0657
23.8333 | 3.0708
23.85 | 3.0695
23.8667 | 3.0575
23.8833 | 3.0595
23.9 | 3.0587
23.9167 | 3.0486
23.9333 | 3.0524
23.95 | 3.0589
23.9667 | 3.0656
23.9833 | 3.0645
24 | 3.0694
24.0167 | 3.0759
24.0333 | 3.0671
24.05 | 3.0875
24.0667 | 3.0749
24.0833 | 3.0616
24.1 | 3.0839
24.1167 | 3.0653
24.1333 | 3.064
24.15 | 3.0711
24.1667 | 3.0883
24.1833 | 3.0863
24.2 | 3.0758
24.2167 | 3.0619
24.2333 | 3.0546
24.25 | 3.0677
24.2667 | 3.0955
24.2833 | 3.0857
24.3 | 3.0732
24.3167 | 3.0875
24.3333 | 3.1007
24.35 | 3.0903
24.3667 | 3.0941
24.3833 | 3.0968
24.4 | 3.0917
24.4167 | 3.099
24.4333 | 3.0979
24.45 | 3.0984
24.4667 | 3.1011
24.4833 | 3.1016
24.5 | 3.1055
24.5167 | 3.11
24.5333 | 3.1152
24.55 | 3.1078
24.5667 | 3.113
24.5833 | 3.1145
24.6 | 3.1121
24.6167 | 3.1092
24.6333 | 3.122
24.65 | 3.1298
24.6667 | 3.1313
24.6833 | 3.1232
24.7 | 3.1173
24.7167 | 3.1176
24.7333 | 3.1028
24.75 | 3.1216
24.7667 | 3.121
24.7833 | 3.1245
24.8 | 3.142
24.8167 | 3.131
24.8333 | 3.1211
24.85 | 3.131
24.8667 | 3.133
24.8833 | 3.1342
24.9 | 3.1272
24.9167 | 3.1231
24.9333 | 3.1234
24.95 | 3.1113
24.9667 | 3.1234
24.9833 | 3.1202
25 | 3.1043
25.0167 | 3.1025
25.0333 | 3.104
25.05 | 3.0958
25.0667 | 3.082
25.0833 | 3.0819
25.1 | 3.0869
25.1167 | 3.1055
25.1333 | 3.0987
25.15 | 3.0984
25.1667 | 3.0894
25.1833 | 3.1007
25.2 | 3.1132
25.2167 | 3.0927
25.2333 | 3.0967
25.25 | 3.0904
25.2667 | 3.0785
25.2833 | 3.097
25.3 | 3.0965
25.3167 | 3.1028
25.3333 | 3.0952
25.35 | 3.0813
25.3667 | 3.101
25.3833 | 3.095
25.4 | 3.1045
25.4167 | 3.0968
25.4333 | 3.1031
25.45 | 3.1002
25.4667 | 3.1062
25.4833 | 3.1147
25.5 | 3.1132
25.5167 | 3.1214
25.5333 | 3.1306
25.55 | 3.1049
25.5667 | 3.1257
25.5833 | 3.1251
25.6 | 3.1081
25.6167 | 3.1109
25.6333 | 3.1342
25.65 | 3.1293
25.6667 | 3.1292
25.6833 | 3.1429
25.7 | 3.1326
25.7167 | 3.1275
25.7333 | 3.1306
25.75 | 3.115
25.7667 | 3.13
25.7833 | 3.1448
25.8 | 3.1405
25.8167 | 3.1432
25.8333 | 3.1335
25.85 | 3.1336
25.8667 | 3.1194
25.8833 | 3.121
25.9 | 3.1286
25.9167 | 3.1307
25.9333 | 3.1313
25.95 | 3.1399
25.9667 | 3.1332
25.9833 | 3.142
26 | 3.1417
26.0167 | 3.1542
26.0333 | 3.1576
26.05 | 3.1475
26.0667 | 3.1327
26.0833 | 3.1426
26.1 | 3.1368
26.1167 | 3.1301
26.1333 | 3.1275
26.15 | 3.1426
26.1667 | 3.138
26.1833 | 3.1278
26.2 | 3.1277
26.2167 | 3.1205
26.2333 | 3.1142
26.25 | 3.1226
26.2667 | 3.1289
26.2833 | 3.1397
26.3 | 3.1368
26.3167 | 3.1403
26.3333 | 3.1344
26.35 | 3.1434
26.3667 | 3.149
26.3833 | 3.1597
26.4 | 3.1585
26.4167 | 3.1423
26.4333 | 3.1298
26.45 | 3.1561
26.4667 | 3.1599
26.4833 | 3.1692
26.5 | 3.1695
26.5167 | 3.1564
26.5333 | 3.1593
26.55 | 3.1574
26.5667 | 3.1675
26.5833 | 3.1532
26.6 | 3.1553
26.6167 | 3.1695
26.6333 | 3.1747
26.65 | 3.162
26.6667 | 3.1596
26.6833 | 3.1733
26.7 | 3.1855
26.7167 | 3.1644
26.7333 | 3.169
26.75 | 3.1646
26.7667 | 3.1713
26.7833 | 3.1835
26.8 | 3.18
26.8167 | 3.1959
26.8333 | 3.187
26.85 | 3.2001
26.8667 | 3.2061
26.8833 | 3.2047
26.9 | 3.2003
26.9167 | 3.2
26.9333 | 3.2096
26.95 | 3.2371
26.9667 | 3.2459
26.9833 | 3.2368
27 | 3.2632
27.0167 | 3.2555
27.0333 | 3.2658
27.05 | 3.3031
27.0667 | 3.3285
27.0833 | 3.3364
27.1 | 3.3622
27.1167 | 3.3866
27.1333 | 3.4208
27.15 | 3.4597
27.1667 | 3.518
27.1833 | 3.5563
27.2 | 3.5937
27.2167 | 3.6504
27.2333 | 3.7231
27.25 | 3.7775
27.2667 | 3.8531
27.2833 | 3.9123
27.3 | 3.9877
27.3167 | 4.0636
27.3333 | 4.1535
27.35 | 4.2266
27.3667 | 4.3029
27.3833 | 4.3732
27.4 | 4.466
27.4167 | 4.5614
27.4333 | 4.6502
27.45 | 4.7428
27.4667 | 4.8173
27.4833 | 4.9082
27.5 | 4.9769
27.5167 | 5.044
27.5333 | 5.1208
27.55 | 5.1981
27.5667 | 5.2596
27.5833 | 5.2972
27.6 | 5.3687
27.6167 | 5.424
27.6333 | 5.463
27.65 | 5.4871
27.6667 | 5.5145
27.6833 | 5.5393
27.7 | 5.5582
27.7167 | 5.5636
27.7333 | 5.5593
27.75 | 5.552
27.7667 | 5.5483
27.7833 | 5.5343
27.8 | 5.5093
27.8167 | 5.4758
27.8333 | 5.4609
27.85 | 5.4118
27.8667 | 5.3617
27.8833 | 5.34
27.9 | 5.2828
27.9167 | 5.2608
27.9333 | 5.1994
27.95 | 5.1374
27.9667 | 5.0948
27.9833 | 5.0529
28 | 4.9902
28.0167 | 4.9343
28.0333 | 4.88
28.05 | 4.8182
28.0667 | 4.766
28.0833 | 4.7079
28.1 | 4.6696
28.1167 | 4.6143
28.1333 | 4.5721
28.15 | 4.5142
28.1667 | 4.4654
28.1833 | 4.4306
28.2 | 4.4024
28.2167 | 4.3731
28.2333 | 4.3153
28.25 | 4.2631
28.2667 | 4.2435
28.2833 | 4.1958
28.3 | 4.1509
28.3167 | 4.129
28.3333 | 4.0955
28.35 | 4.0595
28.3667 | 4.0148
28.3833 | 3.9954
28.4 | 3.9687
28.4167 | 3.9652
28.4333 | 3.9491
28.45 | 3.9016
28.4667 | 3.8755
28.4833 | 3.8726
28.5 | 3.8592
28.5167 | 3.8213
28.5333 | 3.8074
28.55 | 3.796
28.5667 | 3.7754
28.5833 | 3.7762
28.6 | 3.7574
28.6167 | 3.7339
28.6333 | 3.7336
28.65 | 3.7159
28.6667 | 3.6985
28.6833 | 3.6996
28.7 | 3.6918
28.7167 | 3.6764
28.7333 | 3.66
28.75 | 3.651
28.7667 | 3.6419
28.7833 | 3.6265
28.8 | 3.61
28.8167 | 3.6083
28.8333 | 3.6103
28.85 | 3.5999
28.8667 | 3.5755
28.8833 | 3.5537
28.9 | 3.5406
28.9167 | 3.5303
28.9333 | 3.5398
28.95 | 3.5275
28.9667 | 3.5365
28.9833 | 3.5137
29 | 3.5021
29.0167 | 3.4902
29.0333 | 3.4808
29.05 | 3.4861
29.0667 | 3.4786
29.0833 | 3.4702
29.1 | 3.4609
29.1167 | 3.457
29.1333 | 3.4502
29.15 | 3.4478
29.1667 | 3.4518
29.1833 | 3.4362
29.2 | 3.4309
29.2167 | 3.4274
29.2333 | 3.4272
29.25 | 3.4197
29.2667 | 3.4026
29.2833 | 3.4142
29.3 | 3.413
29.3167 | 3.4097
29.3333 | 3.3974
29.35 | 3.4066
29.3667 | 3.4113
29.3833 | 3.4002
29.4 | 3.3921
29.4167 | 3.381
29.4333 | 3.3695
29.45 | 3.3735
29.4667 | 3.3805
29.4833 | 3.3781
29.5 | 3.3677
29.5167 | 3.355
29.5333 | 3.3475
29.55 | 3.3463
29.5667 | 3.3495
29.5833 | 3.3486
29.6 | 3.3489
29.6167 | 3.3356
29.6333 | 3.3384
29.65 | 3.3411
29.6667 | 3.3373
29.6833 | 3.3292
29.7 | 3.3408
29.7167 | 3.3163
29.7333 | 3.316
29.75 | 3.3257
29.7667 | 3.3134
29.7833 | 3.3332
29.8 | 3.3463
29.8167 | 3.345
29.8333 | 3.3462
29.85 | 3.341
29.8667 | 3.3202
29.8833 | 3.3187
29.9 | 3.316
29.9167 | 3.3108
29.9333 | 3.3193
29.95 | 3.3491
29.9667 | 3.336
29.9833 | 3.3392
30 | 3.3118

## MW Results
Administrative Information
File name | ICF_04_12_2024-0003.sample
Analysed by | OBPC
Date of analysis | 06 December 2024 14:00:45
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 180805 | 44330 | 282064 | 949245 | 1988460 | 825162 | 6.3628
Sample Parameters
Injection volume (µL) | 200
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 6.8167 | 8.3167
Baseline region 2 | 17.8333 | 18.1333
Peaks | Start (mins) | End (mins)
Peak 1 | 10.5167 | 16.4
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| RI | 12.9667 | 441.2033 | -3.294
Flowrate region | Start (mins) | End (mins)
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | OBPC
Last modified date | 06 December 2024 14:00:45
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | OBPC
Creation date | 29 October 2024 11:18:00
Last modified by | OBPC
Last modified date | 29 October 2024 11:18:00
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name
FRM RT (mins) | 0
FRCF | 1
Column Calibration
Name | 2024-10-29-001
Created By | OBPC
Creation Date | 29/10/2024 16:43:21
Last Modified By | OBPC
Last Modified | 29/10/2024 16:46:00
High Limit RT (mins) | 10.3167
Low Limit RT (mins) | 17.05
High Limit MW | 6542896
Low Limit MW | 585
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name
Calibration Flow Marker RT (mins) | 0
Calibration Comments | GPC Column Calibration created 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC
Calibration Type | GPC Narrow Standard
Curve Fit Type | Polynomial
Order Of Curve Fit | 5
Number Of Points | 11
Curve Fit Equation | y = - 0.0006266x^5 + 0.04142x^4 - 1.085x^3 + 14.06x^2 - 90.8x + 242.2
Coeff a | 242.1862
Coeff b | -90.7983
Coeff c | 14.0588
Coeff d | -1.0846
Coeff e | 0.041423
Coeff f | -0.00062657
Residual Sum Of Squares | 0.00058182
Corrected Sum Of Squares | 18.6999
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.010787
Linear Correlation Coefficient | -0.99987

## Slice Table
Slice Table
RT (mins) | RI | Norm Ht | Cum Ht | Mw (g/mol) | logM | dwdlogM | Outside Calib | Peak
10.5167 | -0.034778 | 7.8815e-05 | 0.99996 | 4990736 | 6.6982 | 0.0089587 | No | 1
10.5333 | -0.041482 | 9.4008e-05 | 0.99986 | 4881221 | 6.6885 | 0.010665 | No | 1
10.55 | -0.049102 | 0.00011128 | 0.99976 | 4774335 | 6.6789 | 0.011477 | No | 1
10.5667 | -0.048176 | 0.00010918 | 0.99964 | 4670001 | 6.6693 | 0.012219 | No | 1
10.5833 | -0.055186 | 0.00012506 | 0.99951 | 4568143 | 6.6597 | 0.015529 | No | 1
10.6 | -0.075928 | 0.00017207 | 0.99934 | 4468690 | 6.6502 | 0.018904 | No | 1
10.6167 | -0.083395 | 0.00018899 | 0.99917 | 4371571 | 6.6406 | 0.018663 | No | 1
10.6333 | -0.07362 | 0.00016684 | 0.99899 | 4276720 | 6.6311 | 0.017419 | No | 1
10.65 | -0.072695 | 0.00016474 | 0.99883 | 4184073 | 6.6216 | 0.017516 | No | 1
10.6667 | -0.074211 | 0.00016818 | 0.99866 | 4093567 | 6.6121 | 0.018068 | No | 1
10.6833 | -0.0771 | 0.00017473 | 0.99849 | 4005142 | 6.6026 | 0.017561 | No | 1
10.7 | -0.069766 | 0.00015811 | 0.99832 | 3918740 | 6.5931 | 0.018458 | No | 1
10.7167 | -0.084405 | 0.00019128 | 0.99813 | 3834305 | 6.5837 | 0.021716 | No | 1
10.7333 | -0.096755 | 0.00021927 | 0.99793 | 3751785 | 6.5742 | 0.020895 | No | 1
10.75 | -0.077367 | 0.00017533 | 0.99774 | 3671126 | 6.5648 | 0.019833 | No | 1
10.7667 | -0.087733 | 0.00019883 | 0.99754 | 3592279 | 6.5554 | 0.021776 | No | 1
10.7833 | -0.093369 | 0.0002116 | 0.99733 | 3515195 | 6.5459 | 0.021573 | No | 1
10.8 | -0.085883 | 0.00019463 | 0.99713 | 3439827 | 6.5365 | 0.022506 | No | 1
10.8167 | -0.10098 | 0.00022884 | 0.9969 | 3366131 | 6.5271 | 0.025261 | No | 1
10.8333 | -0.1086 | 0.00024611 | 0.99665 | 3294063 | 6.5177 | 0.027777 | No | 1
10.85 | -0.12171 | 0.00027583 | 0.99638 | 3223580 | 6.5083 | 0.029448 | No | 1
10.8667 | -0.12231 | 0.00027719 | 0.9961 | 3154641 | 6.4989 | 0.03064 | No | 1
10.8833 | -0.13146 | 0.00029792 | 0.99581 | 3087208 | 6.4896 | 0.032789 | No | 1
10.9 | -0.13999 | 0.00031726 | 0.99549 | 3021243 | 6.4802 | 0.034697 | No | 1
10.9167 | -0.14716 | 0.00033349 | 0.99515 | 2956707 | 6.4708 | 0.037213 | No | 1
10.9333 | -0.16073 | 0.00036424 | 0.9948 | 2893567 | 6.4614 | 0.036758 | No | 1
10.95 | -0.14332 | 0.0003248 | 0.99447 | 2831786 | 6.4521 | 0.035507 | No | 1
10.9667 | -0.15033 | 0.00034069 | 0.99413 | 2771333 | 6.4427 | 0.036542 | No | 1
10.9833 | -0.15185 | 0.00034412 | 0.99378 | 2712173 | 6.4333 | 0.037648 | No | 1
11 | -0.15947 | 0.00036139 | 0.99341 | 2654277 | 6.4239 | 0.040707 | No | 1
11.0167 | -0.17716 | 0.00040148 | 0.99302 | 2597613 | 6.4146 | 0.042288 | No | 1
11.0333 | -0.17257 | 0.00039109 | 0.99262 | 2542153 | 6.4052 | 0.044235 | No | 1
11.05 | -0.19331 | 0.00043809 | 0.99219 | 2487868 | 6.3958 | 0.048134 | No | 1
11.0667 | -0.2049 | 0.00046435 | 0.99174 | 2434729 | 6.3865 | 0.048064 | No | 1
11.0833 | -0.19283 | 0.00043701 | 0.99129 | 2382711 | 6.3771 | 0.047365 | No | 1
11.1 | -0.19923 | 0.00045151 | 0.99084 | 2331787 | 6.3677 | 0.048727 | No | 1
11.1167 | -0.20426 | 0.0004629 | 0.99038 | 2281933 | 6.3583 | 0.048962 | No | 1
11.1333 | -0.20135 | 0.00045631 | 0.98991 | 2233122 | 6.3489 | 0.049821 | No | 1
11.15 | -0.21156 | 0.00047946 | 0.98943 | 2185333 | 6.3395 | 0.054007 | No | 1
11.1667 | -0.23627 | 0.00053546 | 0.9889 | 2138541 | 6.3301 | 0.057634 | No | 1
11.1833 | -0.24191 | 0.00054823 | 0.98837 | 2092725 | 6.3207 | 0.056402 | No | 1
11.2 | -0.22634 | 0.00051293 | 0.98784 | 2047862 | 6.3113 | 0.05583 | No | 1
11.2167 | -0.23747 | 0.00053816 | 0.9873 | 2003932 | 6.3019 | 0.05834 | No | 1
11.2333 | -0.24753 | 0.00056096 | 0.98673 | 1960914 | 6.2925 | 0.062109 | No | 1
11.25 | -0.26918 | 0.00061004 | 0.98612 | 1918787 | 6.283 | 0.066989 | No | 1
11.2667 | -0.28855 | 0.00065393 | 0.98547 | 1877533 | 6.2736 | 0.071747 | No | 1
11.2833 | -0.3093 | 0.00070094 | 0.98477 | 1837132 | 6.2641 | 0.076221 | No | 1
11.3 | -0.32638 | 0.00073965 | 0.98403 | 1797566 | 6.2547 | 0.079276 | No | 1
11.3167 | -0.33537 | 0.00076003 | 0.98328 | 1758818 | 6.2452 | 0.080114 | No | 1
11.3333 | -0.33399 | 0.0007569 | 0.98251 | 1720869 | 6.2357 | 0.081913 | No | 1
11.35 | -0.35107 | 0.0007956 | 0.98172 | 1683703 | 6.2263 | 0.085566 | No | 1
11.3667 | -0.36525 | 0.00082774 | 0.98089 | 1647303 | 6.2168 | 0.089554 | No | 1
11.3833 | -0.38523 | 0.00087302 | 0.98002 | 1611653 | 6.2073 | 0.093331 | No | 1
11.4 | -0.39773 | 0.00090135 | 0.97912 | 1576738 | 6.1978 | 0.095444 | No | 1
11.4167 | -0.40382 | 0.00091516 | 0.97819 | 1542542 | 6.1882 | 0.099891 | No | 1
11.4333 | -0.43601 | 0.00098811 | 0.97721 | 1509050 | 6.1787 | 0.10635 | No | 1
11.45 | -0.45919 | 0.0010406 | 0.97617 | 1476247 | 6.1692 | 0.11144 | No | 1
11.4667 | -0.47994 | 0.0010877 | 0.97508 | 1444121 | 6.1596 | 0.11617 | No | 1
11.4833 | -0.50022 | 0.0011336 | 0.97395 | 1412655 | 6.15 | 0.12038 | No | 1
11.5 | -0.51669 | 0.0011709 | 0.97277 | 1381838 | 6.1405 | 0.1257 | No | 1
11.5167 | -0.54643 | 0.0012384 | 0.97154 | 1351656 | 6.1309 | 0.13114 | No | 1
11.5333 | -0.56412 | 0.0012784 | 0.97025 | 1322097 | 6.1213 | 0.13637 | No | 1
11.55 | -0.59219 | 0.0013421 | 0.96892 | 1293146 | 6.1116 | 0.14065 | No | 1
11.5667 | -0.60195 | 0.0013642 | 0.96754 | 1264793 | 6.102 | 0.14579 | No | 1
11.5833 | -0.63749 | 0.0014447 | 0.96611 | 1237025 | 6.0924 | 0.1519 | No | 1
11.6 | -0.65564 | 0.0014858 | 0.96461 | 1209831 | 6.0827 | 0.15766 | No | 1
11.6167 | -0.68828 | 0.0015598 | 0.96306 | 1183199 | 6.0731 | 0.16378 | No | 1
11.6333 | -0.70979 | 0.0016086 | 0.96145 | 1157118 | 6.0634 | 0.16932 | No | 1
11.65 | -0.73755 | 0.0016715 | 0.95978 | 1131576 | 6.0537 | 0.17547 | No | 1
11.6667 | -0.7644 | 0.0017323 | 0.95805 | 1106564 | 6.044 | 0.18118 | No | 1
11.6833 | -0.78865 | 0.0017873 | 0.95626 | 1082071 | 6.0343 | 0.18693 | No | 1
11.7 | -0.81595 | 0.0018491 | 0.95439 | 1058087 | 6.0245 | 0.1959 | No | 1
11.7167 | -0.86797 | 0.001967 | 0.95244 | 1034600 | 6.0148 | 0.2046 | No | 1
11.7333 | -0.89329 | 0.0020244 | 0.9504 | 1011603 | 6.005 | 0.21294 | No | 1
11.75 | -0.94242 | 0.0021358 | 0.94829 | 989085 | 5.9952 | 0.22011 | No | 1
11.7667 | -0.95782 | 0.0021707 | 0.94611 | 967036 | 5.9854 | 0.22386 | No | 1
11.7833 | -0.97765 | 0.0022156 | 0.94388 | 945448 | 5.9756 | 0.23088 | No | 1
11.8 | -1.0214 | 0.0023148 | 0.94157 | 924311 | 5.9658 | 0.24042 | No | 1
11.8167 | -1.0632 | 0.0024095 | 0.93917 | 903617 | 5.956 | 0.24734 | No | 1
11.8333 | -1.0846 | 0.0024579 | 0.93671 | 883357 | 5.9461 | 0.25261 | No | 1
11.85 | -1.1122 | 0.0025205 | 0.93418 | 863523 | 5.9363 | 0.2598 | No | 1
11.8667 | -1.1505 | 0.0026073 | 0.93158 | 844105 | 5.9264 | 0.26654 | No | 1
11.8833 | -1.1743 | 0.0026612 | 0.92891 | 825097 | 5.9165 | 0.27329 | No | 1
11.9 | -1.2129 | 0.0027487 | 0.92617 | 806490 | 5.9066 | 0.28077 | No | 1
11.9167 | -1.2432 | 0.0028175 | 0.92335 | 788276 | 5.8967 | 0.28719 | No | 1
11.9333 | -1.2727 | 0.0028842 | 0.92046 | 770447 | 5.8867 | 0.29409 | No | 1
11.95 | -1.3074 | 0.002963 | 0.91749 | 752997 | 5.8768 | 0.30395 | No | 1
11.9667 | -1.3631 | 0.0030892 | 0.9144 | 735917 | 5.8668 | 0.31516 | No | 1
11.9833 | -1.41 | 0.0031953 | 0.91122 | 719201 | 5.8569 | 0.32365 | No | 1
12 | -1.442 | 0.0032679 | 0.90795 | 702841 | 5.8469 | 0.33093 | No | 1
12.0167 | -1.4783 | 0.0033502 | 0.9046 | 686830 | 5.8368 | 0.33729 | No | 1
12.0333 | -1.5024 | 0.0034048 | 0.90117 | 671161 | 5.8268 | 0.34748 | No | 1
12.05 | -1.5727 | 0.0035642 | 0.89763 | 655829 | 5.8168 | 0.35901 | No | 1
12.0667 | -1.609 | 0.0036465 | 0.89397 | 640825 | 5.8067 | 0.36865 | No | 1
12.0833 | -1.6627 | 0.0037682 | 0.89021 | 626145 | 5.7967 | 0.37834 | No | 1
12.1 | -1.6998 | 0.0038522 | 0.88635 | 611781 | 5.7866 | 0.38729 | No | 1
12.1167 | -1.7471 | 0.0039594 | 0.88239 | 597726 | 5.7765 | 0.39822 | No | 1
12.1333 | -1.802 | 0.0040838 | 0.87831 | 583976 | 5.7664 | 0.40846 | No | 1
12.15 | -1.8434 | 0.0041775 | 0.87414 | 570524 | 5.7563 | 0.41612 | No | 1
12.1667 | -1.8756 | 0.0042505 | 0.86987 | 557364 | 5.7461 | 0.42606 | No | 1
12.1833 | -1.9373 | 0.0043905 | 0.8655 | 544491 | 5.736 | 0.43599 | No | 1
12.2 | -1.9697 | 0.0044638 | 0.86102 | 531898 | 5.7258 | 0.44476 | No | 1
12.2167 | -2.0212 | 0.0045806 | 0.85645 | 519580 | 5.7157 | 0.45351 | No | 1
12.2333 | -2.0536 | 0.0046539 | 0.85179 | 507532 | 5.7055 | 0.46106 | No | 1
12.25 | -2.0945 | 0.0047466 | 0.84705 | 495748 | 5.6953 | 0.4689 | No | 1
12.2667 | -2.1296 | 0.0048261 | 0.84221 | 484223 | 5.685 | 0.4777 | No | 1
12.2833 | -2.1793 | 0.0049388 | 0.83727 | 472952 | 5.6748 | 0.48776 | No | 1
12.3 | -2.2258 | 0.0050443 | 0.83223 | 461930 | 5.6646 | 0.49717 | No | 1
12.3167 | -2.2699 | 0.0051442 | 0.82708 | 451151 | 5.6543 | 0.50816 | No | 1
12.3333 | -2.3308 | 0.0052821 | 0.82181 | 440611 | 5.6441 | 0.51789 | No | 1
12.35 | -2.3637 | 0.0053568 | 0.81644 | 430305 | 5.6338 | 0.526 | No | 1
12.3667 | -2.41 | 0.0054616 | 0.81098 | 420229 | 5.6235 | 0.53582 | No | 1
12.3833 | -2.4586 | 0.0055718 | 0.80541 | 410377 | 5.6132 | 0.54546 | No | 1
12.4 | -2.5033 | 0.0056731 | 0.79974 | 400745 | 5.6029 | 0.55464 | No | 1
12.4167 | -2.5479 | 0.0057741 | 0.79396 | 391328 | 5.5925 | 0.56406 | No | 1
12.4333 | -2.5949 | 0.0058806 | 0.78808 | 382123 | 5.5822 | 0.57363 | No | 1
12.45 | -2.6409 | 0.005985 | 0.78211 | 373124 | 5.5719 | 0.58087 | No | 1
12.4667 | -2.6667 | 0.0060434 | 0.77605 | 364328 | 5.5615 | 0.58859 | No | 1
12.4833 | -2.7172 | 0.0061578 | 0.7699 | 355731 | 5.5511 | 0.59761 | No | 1
12.5 | -2.7549 | 0.0062432 | 0.76365 | 347328 | 5.5407 | 0.60489 | No | 1
12.5167 | -2.7895 | 0.0063217 | 0.75734 | 339115 | 5.5303 | 0.60947 | No | 1
12.5333 | -2.8025 | 0.0063511 | 0.75097 | 331088 | 5.5199 | 0.61508 | No | 1
12.55 | -2.8466 | 0.006451 | 0.74453 | 323244 | 5.5095 | 0.62286 | No | 1
12.5667 | -2.8794 | 0.0065253 | 0.738 | 315579 | 5.4991 | 0.62914 | No | 1
12.5833 | -2.9097 | 0.0065941 | 0.73141 | 308088 | 5.4887 | 0.63534 | No | 1
12.6 | -2.9417 | 0.0066667 | 0.72474 | 300769 | 5.4782 | 0.64156 | No | 1
12.6167 | -2.9722 | 0.0067359 | 0.71801 | 293617 | 5.4678 | 0.64715 | No | 1
12.6333 | -2.9985 | 0.0067953 | 0.7112 | 286630 | 5.4573 | 0.65448 | No | 1
12.65 | -3.045 | 0.0069008 | 0.70432 | 279803 | 5.4469 | 0.66015 | No | 1
12.6667 | -3.0558 | 0.0069253 | 0.69739 | 273134 | 5.4364 | 0.66266 | No | 1
12.6833 | -3.0731 | 0.0069643 | 0.69042 | 266618 | 5.4259 | 0.66653 | No | 1
12.7 | -3.0964 | 0.0070172 | 0.6834 | 260253 | 5.4154 | 0.67163 | No | 1
12.7167 | -3.1249 | 0.0070819 | 0.67632 | 254036 | 5.4049 | 0.67682 | No | 1
12.7333 | -3.149 | 0.0071365 | 0.66919 | 247963 | 5.3944 | 0.68006 | No | 1
12.75 | -3.1594 | 0.00716 | 0.66202 | 242030 | 5.3839 | 0.68343 | No | 1
12.7667 | -3.1846 | 0.007217 | 0.6548 | 236237 | 5.3733 | 0.68784 | No | 1
12.7833 | -3.2045 | 0.0072623 | 0.64754 | 230578 | 5.3628 | 0.69258 | No | 1
12.8 | -3.2326 | 0.0073259 | 0.64024 | 225051 | 5.3523 | 0.69345 | No | 1
12.8167 | -3.2164 | 0.0072892 | 0.63292 | 219654 | 5.3417 | 0.69446 | No | 1
12.8333 | -3.2457 | 0.0073556 | 0.62557 | 214383 | 5.3312 | 0.69862 | No | 1
12.85 | -3.2587 | 0.007385 | 0.61819 | 209236 | 5.3206 | 0.69985 | No | 1
12.8667 | -3.2606 | 0.0073894 | 0.6108 | 204210 | 5.3101 | 0.70044 | No | 1
12.8833 | -3.2674 | 0.0074046 | 0.6034 | 199303 | 5.2995 | 0.70071 | No | 1
12.9 | -3.2663 | 0.0074022 | 0.59599 | 194511 | 5.2889 | 0.70042 | No | 1
12.9167 | -3.2675 | 0.0074049 | 0.58858 | 189832 | 5.2784 | 0.70258 | No | 1
12.9333 | -3.2891 | 0.007454 | 0.58113 | 185264 | 5.2678 | 0.70507 | No | 1
12.95 | -3.2933 | 0.0074633 | 0.57367 | 180805 | 5.2572 | 0.70533 | No | 1
12.9667 | -3.294 | 0.007465 | 0.56621 | 176451 | 5.2466 | 0.70483 | No | 1
12.9833 | -3.2908 | 0.0074578 | 0.55876 | 172201 | 5.236 | 0.70222 | No | 1
13 | -3.2716 | 0.0074142 | 0.55134 | 168052 | 5.2254 | 0.69833 | No | 1
13.0167 | -3.2563 | 0.0073796 | 0.54395 | 164002 | 5.2148 | 0.6958 | No | 1
13.0333 | -3.2496 | 0.0073643 | 0.53659 | 160048 | 5.2043 | 0.69453 | No | 1
13.05 | -3.2459 | 0.007356 | 0.52924 | 156189 | 5.1937 | 0.69169 | No | 1
13.0667 | -3.2242 | 0.0073069 | 0.52192 | 152423 | 5.1831 | 0.68832 | No | 1
13.0833 | -3.2155 | 0.0072871 | 0.51464 | 148746 | 5.1724 | 0.6861 | No | 1
13.1 | -3.2044 | 0.0072619 | 0.50737 | 145158 | 5.1618 | 0.68389 | No | 1
13.1167 | -3.1955 | 0.0072418 | 0.50014 | 141656 | 5.1512 | 0.68034 | No | 1
13.1333 | -3.1717 | 0.0071878 | 0.49296 | 138239 | 5.1406 | 0.67421 | No | 1
13.15 | -3.1386 | 0.0071128 | 0.48582 | 134903 | 5.13 | 0.67131 | No | 1
13.1667 | -3.1447 | 0.0071266 | 0.4787 | 131649 | 5.1194 | 0.67119 | No | 1
13.1833 | -3.1375 | 0.0071103 | 0.4716 | 128472 | 5.1088 | 0.6683 | No | 1
13.2 | -3.1175 | 0.007065 | 0.46454 | 125373 | 5.0982 | 0.66317 | No | 1
13.2167 | -3.0891 | 0.0070006 | 0.45754 | 122348 | 5.0876 | 0.65639 | No | 1
13.2333 | -3.0535 | 0.00692 | 0.4506 | 119397 | 5.077 | 0.65136 | No | 1
13.25 | -3.0413 | 0.0068924 | 0.44372 | 116517 | 5.0664 | 0.6474 | No | 1
13.2667 | -3.0157 | 0.0068342 | 0.43688 | 113707 | 5.0558 | 0.64322 | No | 1
13.2833 | -3.0012 | 0.0068014 | 0.43008 | 110965 | 5.0452 | 0.63976 | No | 1
13.3 | -2.9821 | 0.0067581 | 0.42333 | 108290 | 5.0346 | 0.63427 | No | 1
13.3167 | -2.9485 | 0.006682 | 0.41664 | 105681 | 5.024 | 0.62881 | No | 1
13.3333 | -2.9296 | 0.0066391 | 0.41 | 103134 | 5.0134 | 0.62322 | No | 1
13.35 | -2.8946 | 0.0065599 | 0.40344 | 100650 | 5.0028 | 0.61629 | No | 1
13.3667 | -2.863 | 0.0064883 | 0.39695 | 98226 | 4.9922 | 0.60975 | No | 1
13.3833 | -2.8316 | 0.0064171 | 0.39054 | 95862 | 4.9816 | 0.60268 | No | 1
13.4 | -2.7949 | 0.006334 | 0.3842 | 93555 | 4.9711 | 0.59626 | No | 1
13.4167 | -2.7695 | 0.0062763 | 0.37791 | 91305 | 4.9605 | 0.59258 | No | 1
13.4333 | -2.7583 | 0.006251 | 0.37167 | 89110 | 4.9499 | 0.58851 | No | 1
13.45 | -2.729 | 0.0061846 | 0.36549 | 86968 | 4.9394 | 0.58235 | No | 1
13.4667 | -2.6983 | 0.0061151 | 0.35936 | 84879 | 4.9288 | 0.57755 | No | 1
13.4833 | -2.6815 | 0.006077 | 0.35329 | 82842 | 4.9183 | 0.57354 | No | 1
13.5 | -2.6582 | 0.0060241 | 0.34726 | 80854 | 4.9077 | 0.56844 | No | 1
13.5167 | -2.631 | 0.0059625 | 0.3413 | 78915 | 4.8972 | 0.56293 | No | 1
13.5333 | -2.6038 | 0.0059009 | 0.3354 | 77024 | 4.8866 | 0.55734 | No | 1
13.55 | -2.5759 | 0.0058376 | 0.32954 | 75179 | 4.8761 | 0.55515 | No | 1
13.5667 | -2.5802 | 0.0058473 | 0.32372 | 73379 | 4.8656 | 0.55108 | No | 1
13.5833 | -2.5347 | 0.0057442 | 0.31797 | 71624 | 4.8551 | 0.54311 | No | 1
13.6 | -2.5026 | 0.0056716 | 0.31229 | 69912 | 4.8446 | 0.53834 | No | 1
13.6167 | -2.4869 | 0.0056359 | 0.30666 | 68242 | 4.8341 | 0.53321 | No | 1
13.6333 | -2.4513 | 0.0055553 | 0.30111 | 66613 | 4.8236 | 0.52617 | No | 1
13.65 | -2.4179 | 0.0054796 | 0.29563 | 65025 | 4.8131 | 0.51941 | No | 1
13.6667 | -2.3849 | 0.0054049 | 0.29021 | 63475 | 4.8026 | 0.51424 | No | 1
13.6833 | -2.3662 | 0.0053623 | 0.28485 | 61964 | 4.7921 | 0.5098 | No | 1
13.7 | -2.3399 | 0.0053028 | 0.27954 | 60489 | 4.7817 | 0.50632 | No | 1
13.7167 | -2.33 | 0.0052803 | 0.27428 | 59052 | 4.7712 | 0.501 | No | 1
13.7333 | -2.2866 | 0.0051821 | 0.26908 | 57649 | 4.7608 | 0.49439 | No | 1
13.75 | -2.2648 | 0.0051326 | 0.26397 | 56282 | 4.7504 | 0.48645 | No | 1
13.7667 | -2.2093 | 0.0050067 | 0.25894 | 54948 | 4.74 | 0.47837 | No | 1
13.7833 | -2.1862 | 0.0049545 | 0.25399 | 53646 | 4.7295 | 0.47429 | No | 1
13.8 | -2.1674 | 0.0049119 | 0.2491 | 52377 | 4.7191 | 0.46638 | No | 1
13.8167 | -2.1091 | 0.0047798 | 0.2443 | 51140 | 4.7088 | 0.45707 | No | 1
13.8333 | -2.0777 | 0.0047085 | 0.23958 | 49932 | 4.6984 | 0.45306 | No | 1
13.85 | -2.0679 | 0.0046864 | 0.23491 | 48755 | 4.688 | 0.44882 | No | 1
13.8667 | -2.0343 | 0.0046103 | 0.23029 | 47606 | 4.6777 | 0.44312 | No | 1
13.8833 | -2.0113 | 0.0045581 | 0.22573 | 46486 | 4.6673 | 0.43872 | No | 1
13.9 | -1.9896 | 0.0045089 | 0.22122 | 45394 | 4.657 | 0.43547 | No | 1
13.9167 | -1.9769 | 0.0044802 | 0.21676 | 44328 | 4.6467 | 0.428 | No | 1
13.9333 | -1.9169 | 0.0043443 | 0.2124 | 43289 | 4.6364 | 0.41888 | No | 1
13.95 | -1.8893 | 0.0042817 | 0.20812 | 42275 | 4.6261 | 0.41254 | No | 1
13.9667 | -1.8547 | 0.0042032 | 0.20391 | 41286 | 4.6158 | 0.40708 | No | 1
13.9833 | -1.8351 | 0.0041589 | 0.19975 | 40322 | 4.6055 | 0.40278 | No | 1
14 | -1.811 | 0.0041042 | 0.19565 | 39381 | 4.5953 | 0.39767 | No | 1
14.0167 | -1.7841 | 0.0040433 | 0.19161 | 38464 | 4.5851 | 0.39135 | No | 1
14.0333 | -1.7492 | 0.0039641 | 0.18764 | 37569 | 4.5748 | 0.38444 | No | 1
14.05 | -1.7171 | 0.0038915 | 0.18375 | 36696 | 4.5646 | 0.37888 | No | 1
14.0667 | -1.6944 | 0.0038399 | 0.1799 | 35844 | 4.5544 | 0.37448 | No | 1
14.0833 | -1.6729 | 0.0037911 | 0.17612 | 35013 | 4.5442 | 0.36968 | No | 1
14.1 | -1.6466 | 0.0037316 | 0.17238 | 34203 | 4.5341 | 0.36497 | No | 1
14.1167 | -1.6259 | 0.0036846 | 0.1687 | 33413 | 4.5239 | 0.35934 | No | 1
14.1333 | -1.5915 | 0.0036068 | 0.1651 | 32642 | 4.5138 | 0.3509 | No | 1
14.15 | -1.5457 | 0.003503 | 0.16158 | 31889 | 4.5036 | 0.34487 | No | 1
14.1667 | -1.5331 | 0.0034743 | 0.15811 | 31156 | 4.4935 | 0.3422 | No | 1
14.1833 | -1.5173 | 0.0034386 | 0.15468 | 30440 | 4.4834 | 0.33686 | No | 1
14.2 | -1.481 | 0.0033563 | 0.15133 | 29742 | 4.4734 | 0.32785 | No | 1
14.2167 | -1.4326 | 0.0032467 | 0.14808 | 29060 | 4.4633 | 0.31891 | No | 1
14.2333 | -1.3972 | 0.0031664 | 0.1449 | 28396 | 4.4533 | 0.31291 | No | 1
14.25 | -1.3751 | 0.0031163 | 0.14178 | 27747 | 4.4432 | 0.30869 | No | 1
14.2667 | -1.3555 | 0.003072 | 0.13871 | 27115 | 4.4332 | 0.30553 | No | 1
14.2833 | -1.3429 | 0.0030433 | 0.13568 | 26497 | 4.4232 | 0.30039 | No | 1
14.3 | -1.3059 | 0.0029596 | 0.13271 | 25895 | 4.4132 | 0.29363 | No | 1
14.3167 | -1.2791 | 0.0028987 | 0.12981 | 25307 | 4.4032 | 0.28824 | No | 1
14.3333 | -1.2543 | 0.0028426 | 0.12697 | 24734 | 4.3933 | 0.28363 | No | 1
14.35 | -1.2345 | 0.0027977 | 0.12417 | 24175 | 4.3834 | 0.27923 | No | 1
14.3667 | -1.2117 | 0.0027461 | 0.12143 | 23629 | 4.3734 | 0.27383 | No | 1
14.3833 | -1.1832 | 0.0026814 | 0.11875 | 23096 | 4.3635 | 0.26729 | No | 1
14.4 | -1.1507 | 0.0026077 | 0.11613 | 22576 | 4.3536 | 0.26203 | No | 1
14.4167 | -1.1334 | 0.0025686 | 0.11357 | 22069 | 4.3438 | 0.2569 | No | 1
14.4333 | -1.1021 | 0.0024977 | 0.11106 | 21574 | 4.3339 | 0.25234 | No | 1
14.45 | -1.0901 | 0.0024704 | 0.10859 | 21091 | 4.3241 | 0.25004 | No | 1
14.4667 | -1.0785 | 0.0024441 | 0.10616 | 20619 | 4.3143 | 0.24521 | No | 1
14.4833 | -1.0446 | 0.0023673 | 0.10379 | 20159 | 4.3045 | 0.23797 | No | 1
14.5 | -1.0122 | 0.002294 | 0.10148 | 19710 | 4.2947 | 0.23406 | No | 1
14.5167 | -1.0073 | 0.0022829 | 0.099198 | 19271 | 4.2849 | 0.23281 | No | 1
14.5333 | -0.99802 | 0.0022618 | 0.096949 | 18843 | 4.2752 | 0.22846 | No | 1
14.55 | -0.96643 | 0.0021902 | 0.094764 | 18425 | 4.2654 | 0.22037 | No | 1
14.5667 | -0.92522 | 0.0020968 | 0.092652 | 18018 | 4.2557 | 0.21409 | No | 1
14.5833 | -0.90934 | 0.0020608 | 0.090587 | 17620 | 4.246 | 0.21157 | No | 1
14.6 | -0.90048 | 0.0020407 | 0.088552 | 17231 | 4.2363 | 0.20859 | No | 1
14.6167 | -0.88078 | 0.0019961 | 0.086548 | 16852 | 4.2267 | 0.20598 | No | 1
14.6333 | -0.87513 | 0.0019833 | 0.084572 | 16481 | 4.217 | 0.20343 | No | 1
14.65 | -0.85605 | 0.00194 | 0.082634 | 16120 | 4.2074 | 0.19896 | No | 1
14.6667 | -0.83422 | 0.0018905 | 0.08074 | 15766 | 4.1977 | 0.19464 | No | 1
14.6833 | -0.81651 | 0.0018504 | 0.078887 | 15422 | 4.1881 | 0.19145 | No | 1
14.7 | -0.80429 | 0.0018227 | 0.077072 | 15085 | 4.1785 | 0.18711 | No | 1
14.7167 | -0.77712 | 0.0017611 | 0.075307 | 14756 | 4.169 | 0.1817 | No | 1
14.7333 | -0.7559 | 0.0017131 | 0.073586 | 14435 | 4.1594 | 0.17878 | No | 1
14.75 | -0.74994 | 0.0016995 | 0.071881 | 14122 | 4.1499 | 0.1787 | No | 1
14.7667 | -0.75268 | 0.0017058 | 0.070183 | 13815 | 4.1404 | 0.178 | No | 1
14.7833 | -0.74153 | 0.0016805 | 0.068502 | 13516 | 4.1308 | 0.17568 | No | 1
14.8 | -0.73068 | 0.0016559 | 0.066848 | 13224 | 4.1214 | 0.17301 | No | 1
14.8167 | -0.71679 | 0.0016244 | 0.065216 | 12939 | 4.1119 | 0.1714 | No | 1
14.8333 | -0.7148 | 0.0016199 | 0.063599 | 12660 | 4.1024 | 0.17047 | No | 1
14.85 | -0.7067 | 0.0016016 | 0.062007 | 12388 | 4.093 | 0.16693 | No | 1
14.8667 | -0.68304 | 0.0015479 | 0.060458 | 12122 | 4.0836 | 0.16158 | No | 1
14.8833 | -0.65999 | 0.0014957 | 0.058957 | 11862 | 4.0742 | 0.1575 | No | 1
14.9 | -0.64701 | 0.0014663 | 0.057489 | 11608 | 4.0648 | 0.15475 | No | 1
14.9167 | -0.6351 | 0.0014393 | 0.056055 | 11360 | 4.0554 | 0.15106 | No | 1
14.9333 | -0.61449 | 0.0013926 | 0.054653 | 11118 | 4.046 | 0.14826 | No | 1
14.95 | -0.61005 | 0.0013825 | 0.053276 | 10881 | 4.0367 | 0.14615 | No | 1
14.9667 | -0.59524 | 0.001349 | 0.051927 | 10649 | 4.0273 | 0.14279 | No | 1
14.9833 | -0.58058 | 0.0013157 | 0.050601 | 10423 | 4.018 | 0.14159 | No | 1
15 | -0.58363 | 0.0013226 | 0.049285 | 10202 | 4.0087 | 0.14113 | No | 1
15.0167 | -0.57507 | 0.0013033 | 0.047989 | 9986 | 3.9994 | 0.13766 | No | 1
15.0333 | -0.55355 | 0.0012545 | 0.046723 | 9775 | 3.9901 | 0.13495 | No | 1
15.05 | -0.55125 | 0.0012493 | 0.045463 | 9568 | 3.9808 | 0.13685 | No | 1
15.0667 | -0.56757 | 0.0012862 | 0.044191 | 9366 | 3.9716 | 0.13787 | No | 1
15.0833 | -0.5581 | 0.0012648 | 0.042925 | 9169 | 3.9623 | 0.13613 | No | 1
15.1 | -0.55183 | 0.0012506 | 0.041675 | 8976 | 3.9531 | 0.13452 | No | 1
15.1167 | -0.54358 | 0.0012319 | 0.040449 | 8788 | 3.9439 | 0.13137 | No | 1
15.1333 | -0.5248 | 0.0011893 | 0.039261 | 8603 | 3.9346 | 0.12664 | No | 1
15.15 | -0.50389 | 0.0011419 | 0.038122 | 8423 | 3.9255 | 0.12086 | No | 1
15.1667 | -0.47672 | 0.0010804 | 0.037026 | 8246 | 3.9162 | 0.11771 | No | 1
15.1833 | -0.47717 | 0.0010814 | 0.035952 | 8074 | 3.9071 | 0.11627 | No | 1
15.2 | -0.46403 | 0.0010516 | 0.034896 | 7905 | 3.8979 | 0.11405 | No | 1
15.2167 | -0.45823 | 0.0010385 | 0.033865 | 7740 | 3.8887 | 0.11119 | No | 1
15.2333 | -0.43991 | 0.00099694 | 0.032865 | 7579 | 3.8796 | 0.10732 | No | 1
15.25 | -0.42616 | 0.00096579 | 0.031892 | 7421 | 3.8705 | 0.10568 | No | 1
15.2667 | -0.42585 | 0.00096508 | 0.03093 | 7267 | 3.8614 | 0.10488 | No | 1
15.2833 | -0.41897 | 0.00094949 | 0.029987 | 7116 | 3.8522 | 0.10179 | No | 1
15.3 | -0.40019 | 0.00090694 | 0.029075 | 6968 | 3.8431 | 0.098243 | No | 1
15.3167 | -0.38981 | 0.0008834 | 0.028188 | 6823 | 3.834 | 0.096664 | No | 1
15.3333 | -0.3869 | 0.00087681 | 0.02731 | 6682 | 3.8249 | 0.096274 | No | 1
15.35 | -0.38613 | 0.00087506 | 0.02645 | 6543 | 3.8158 | 0.092646 | No | 1
15.3667 | -0.35728 | 0.00080968 | 0.025629 | 6408 | 3.8067 | 0.088134 | No | 1
15.3833 | -0.34949 | 0.00079202 | 0.024832 | 6275 | 3.7976 | 0.087152 | No | 1
15.4 | -0.34902 | 0.00079096 | 0.024044 | 6145 | 3.7885 | 0.086393 | No | 1
15.4167 | -0.34306 | 0.00077746 | 0.023264 | 6018 | 3.7795 | 0.085495 | No | 1
15.4333 | -0.34152 | 0.00077398 | 0.022486 | 5894 | 3.7704 | 0.086059 | No | 1
15.45 | -0.34731 | 0.00078709 | 0.021718 | 5772 | 3.7613 | 0.083395 | No | 1
15.4667 | -0.31999 | 0.00072517 | 0.020982 | 5653 | 3.7523 | 0.078817 | No | 1
15.4833 | -0.31052 | 0.00070371 | 0.020279 | 5536 | 3.7432 | 0.07635 | No | 1
15.5 | -0.30013 | 0.00068018 | 0.019598 | 5422 | 3.7342 | 0.07401 | No | 1
15.5167 | -0.29173 | 0.00066113 | 0.018929 | 5310 | 3.7251 | 0.073554 | No | 1
15.5333 | -0.29645 | 0.00067183 | 0.018264 | 5200 | 3.716 | 0.073132 | No | 1
15.55 | -0.28835 | 0.00065348 | 0.017612 | 5093 | 3.707 | 0.07091 | No | 1
15.5667 | -0.27873 | 0.00063168 | 0.016973 | 4987 | 3.6978 | 0.069963 | No | 1
15.5833 | -0.28086 | 0.00063649 | 0.016353 | 4884 | 3.6888 | 0.066817 | No | 1
15.6 | -0.25369 | 0.00057492 | 0.015764 | 4783 | 3.6797 | 0.063191 | No | 1
15.6167 | -0.252 | 0.00057109 | 0.015192 | 4685 | 3.6707 | 0.062822 | No | 1
15.6333 | -0.25092 | 0.00056865 | 0.014631 | 4588 | 3.6616 | 0.060887 | No | 1
15.65 | -0.23672 | 0.00053647 | 0.014097 | 4493 | 3.6525 | 0.056663 | No | 1
15.6667 | -0.21733 | 0.00049253 | 0.013587 | 4400 | 3.6435 | 0.055713 | No | 1
15.6833 | -0.22938 | 0.00051983 | 0.013074 | 4309 | 3.6344 | 0.057175 | No | 1
15.7 | -0.22937 | 0.00051981 | 0.012562 | 4219 | 3.6252 | 0.055437 | No | 1
15.7167 | -0.21578 | 0.00048901 | 0.012066 | 4132 | 3.6162 | 0.053394 | No | 1
15.7333 | -0.21333 | 0.00048345 | 0.011592 | 4046 | 3.607 | 0.050819 | No | 1
15.75 | -0.19546 | 0.00044297 | 0.01115 | 3962 | 3.5979 | 0.046008 | No | 1
15.7667 | -0.17501 | 0.00039661 | 0.010738 | 3880 | 3.5888 | 0.044213 | No | 1
15.7833 | -0.18141 | 0.00041111 | 0.010324 | 3799 | 3.5797 | 0.046464 | No | 1
15.8 | -0.1936 | 0.00043876 | 0.0099002 | 3719 | 3.5704 | 0.0461 | No | 1
15.8167 | -0.17895 | 0.00040554 | 0.0094919 | 3642 | 3.5613 | 0.042998 | No | 1
15.8333 | -0.16902 | 0.00038304 | 0.0090969 | 3566 | 3.5522 | 0.043083 | No | 1
15.85 | -0.18015 | 0.00040826 | 0.0086881 | 3491 | 3.5429 | 0.04587 | No | 1
15.8667 | -0.19219 | 0.00043556 | 0.0082622 | 3418 | 3.5338 | 0.046636 | No | 1
15.8833 | -0.18699 | 0.00042378 | 0.0078423 | 3346 | 3.5245 | 0.044435 | No | 1
15.9 | -0.17493 | 0.00039644 | 0.007441 | 3276 | 3.5153 | 0.042424 | No | 1
15.9167 | -0.17126 | 0.00038812 | 0.0070486 | 3206 | 3.506 | 0.042376 | No | 1
15.9333 | -0.17522 | 0.00039708 | 0.0066554 | 3139 | 3.4968 | 0.042398 | No | 1
15.95 | -0.17216 | 0.00039015 | 0.0062707 | 3072 | 3.4874 | 0.04039 | No | 1
15.9667 | -0.15948 | 0.00036142 | 0.0059122 | 3007 | 3.4781 | 0.036569 | No | 1
15.9833 | -0.14147 | 0.0003206 | 0.0055739 | 2943 | 3.4688 | 0.035889 | No | 1
16 | -0.15458 | 0.00035031 | 0.0052438 | 2880 | 3.4594 | 0.034654 | No | 1
16.0167 | -0.13199 | 0.00029911 | 0.0049398 | 2819 | 3.4501 | 0.030145 | No | 1
16.0333 | -0.11794 | 0.00026728 | 0.0046595 | 2758 | 3.4406 | 0.029438 | No | 1
16.05 | -0.12678 | 0.00028731 | 0.0043887 | 2699 | 3.4312 | 0.027981 | No | 1
16.0667 | -0.10647 | 0.0002413 | 0.0041271 | 2641 | 3.4218 | 0.027332 | No | 1
16.0833 | -0.12203 | 0.00027655 | 0.0038647 | 2584 | 3.4123 | 0.027957 | No | 1
16.1 | -0.11241 | 0.00025474 | 0.0036156 | 2528 | 3.4028 | 0.024403 | No | 1
16.1167 | -0.092865 | 0.00021046 | 0.0033927 | 2473 | 3.3932 | 0.022279 | No | 1
16.1333 | -0.095144 | 0.00021562 | 0.0031789 | 2419 | 3.3836 | 0.022365 | No | 1
16.15 | -0.094219 | 0.00021352 | 0.0029687 | 2366 | 3.374 | 0.021388 | No | 1
16.1667 | -0.087496 | 0.00019829 | 0.0027645 | 2314 | 3.3644 | 0.020952 | No | 1
16.1833 | -0.091148 | 0.00020656 | 0.0025559 | 2263 | 3.3547 | 0.022139 | No | 1
16.2 | -0.09831 | 0.00022279 | 0.0023415 | 2213 | 3.345 | 0.021982 | No | 1
16.2167 | -0.090518 | 0.00020514 | 0.0021397 | 2164 | 3.3353 | 0.0194 | No | 1
16.2333 | -0.076776 | 0.00017399 | 0.0019425 | 2116 | 3.3255 | 0.020888 | No | 1
16.25 | -0.10408 | 0.00023587 | 0.0017189 | 2068 | 3.3156 | 0.024574 | No | 1
16.2667 | -0.10956 | 0.0002483 | 0.0014751 | 2022 | 3.3058 | 0.024817 | No | 1
16.2833 | -0.10711 | 0.00024274 | 0.0012379 | 1976 | 3.2958 | 0.023037 | No | 1
16.3 | -0.094895 | 0.00021506 | 0.0010186 | 1931 | 3.2858 | 0.020992 | No | 1
16.3167 | -0.090003 | 0.00020397 | 0.00081827 | 1887 | 3.2758 | 0.019066 | No | 1
16.3333 | -0.078701 | 0.00017836 | 0.00062934 | 1844 | 3.2658 | 0.018528 | No | 1
16.35 | -0.086016 | 0.00019493 | 0.00044035 | 1802 | 3.2558 | 0.018898 | No | 1
16.3667 | -0.082802 | 0.00018765 | 0.00025614 | 1760 | 3.2455 | 0.017409 | No | 1
16.3833 | -0.073484 | 0.00016653 | 8.379e-05 | 1719 | 3.2353 | 0.01639 | No | 1