## Sample Details
Administrative Information
Export date | 10 December 2024 09:42:07
Culture name | en-GB
Decimal separator | .
Workspace name | November 2024
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\2024\November 2024\
File name | ICF_04_12_2024-0002.sample
Creation date | 05 December 2024 09:29:25
Created by | OBPC
Comments | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Software version | Agilent SEC Software - 2.1.9.34851
Sample Information
Sample name | B
Information
Sample type | Sample
Injection date | 05 December 2024
Vial number | None
Injection number | 1
Injection volume (µL) | 200
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 0
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Instrument name | Agilent DataStream
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV

## Raw Data
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV
Raw Data
RT (mins) | Response Trace 1
0 | 3.5838
0.016667 | 3.5072
0.033333 | 3.4901
0.05 | 3.5058
0.066667 | 3.5007
0.083333 | 3.5102
0.1 | 3.5139
0.11667 | 3.5099
0.13333 | 3.5447
0.15 | 3.5406
0.16667 | 3.5224
0.18333 | 3.5276
0.2 | 3.532
0.21667 | 3.5293
0.23333 | 3.5198
0.25 | 3.5336
0.26667 | 3.5447
0.28333 | 3.5589
0.3 | 3.5412
0.31667 | 3.5493
0.33333 | 3.5624
0.35 | 3.5577
0.36667 | 3.5604
0.38333 | 3.5572
0.4 | 3.5635
0.41667 | 3.5671
0.43333 | 3.5728
0.45 | 3.5706
0.46667 | 3.5612
0.48333 | 3.5496
0.5 | 3.5607
0.51667 | 3.5711
0.53333 | 3.5671
0.55 | 3.5667
0.56667 | 3.5659
0.58333 | 3.5712
0.6 | 3.5607
0.61667 | 3.5616
0.63333 | 3.5419
0.65 | 3.5123
0.66667 | 3.5081
0.68333 | 3.5006
0.7 | 3.5087
0.71667 | 3.4968
0.73333 | 3.5094
0.75 | 3.5128
0.76667 | 3.5143
0.78333 | 3.4858
0.8 | 3.4777
0.81667 | 3.5009
0.83333 | 3.505
0.85 | 3.5041
0.86667 | 3.507
0.88333 | 3.5046
0.9 | 3.5033
0.91667 | 3.5273
0.93333 | 3.5215
0.95 | 3.5264
0.96667 | 3.5171
0.98333 | 3.5131
1 | 3.5145
1.0167 | 3.5177
1.0333 | 3.5213
1.05 | 3.5236
1.0667 | 3.5137
1.0833 | 3.5014
1.1 | 3.5044
1.1167 | 3.5098
1.1333 | 3.5284
1.15 | 3.5241
1.1667 | 3.5172
1.1833 | 3.5273
1.2 | 3.5108
1.2167 | 3.5209
1.2333 | 3.5278
1.25 | 3.5279
1.2667 | 3.5329
1.2833 | 3.5423
1.3 | 3.5378
1.3167 | 3.5284
1.3333 | 3.5293
1.35 | 3.5322
1.3667 | 3.5368
1.3833 | 3.5279
1.4 | 3.5284
1.4167 | 3.531
1.4333 | 3.5273
1.45 | 3.5528
1.4667 | 3.5418
1.4833 | 3.527
1.5 | 3.5326
1.5167 | 3.5369
1.5333 | 3.5491
1.55 | 3.5758
1.5667 | 3.5787
1.5833 | 3.5525
1.6 | 3.5398
1.6167 | 3.5494
1.6333 | 3.5645
1.65 | 3.5593
1.6667 | 3.5686
1.6833 | 3.5686
1.7 | 3.5545
1.7167 | 3.5571
1.7333 | 3.5584
1.75 | 3.5743
1.7667 | 3.5569
1.7833 | 3.5622
1.8 | 3.5621
1.8167 | 3.565
1.8333 | 3.5519
1.85 | 3.5552
1.8667 | 3.5516
1.8833 | 3.5618
1.9 | 3.5728
1.9167 | 3.5827
1.9333 | 3.5827
1.95 | 3.5879
1.9667 | 3.581
1.9833 | 3.588
2 | 3.5857
2.0167 | 3.6047
2.0333 | 3.5871
2.05 | 3.5886
2.0667 | 3.5918
2.0833 | 3.5856
2.1 | 3.5752
2.1167 | 3.576
2.1333 | 3.5851
2.15 | 3.5848
2.1667 | 3.5989
2.1833 | 3.5995
2.2 | 3.5932
2.2167 | 3.5812
2.2333 | 3.5867
2.25 | 3.6022
2.2667 | 3.595
2.2833 | 3.5889
2.3 | 3.579
2.3167 | 3.577
2.3333 | 3.5731
2.35 | 3.5931
2.3667 | 3.6126
2.3833 | 3.6146
2.4 | 3.6333
2.4167 | 3.6262
2.4333 | 3.6288
2.45 | 3.6117
2.4667 | 3.6103
2.4833 | 3.612
2.5 | 3.6245
2.5167 | 3.603
2.5333 | 3.5885
2.55 | 3.5908
2.5667 | 3.6144
2.5833 | 3.6111
2.6 | 3.5958
2.6167 | 3.6146
2.6333 | 3.6248
2.65 | 3.6237
2.6667 | 3.608
2.6833 | 3.6097
2.7 | 3.626
2.7167 | 3.6259
2.7333 | 3.6292
2.75 | 3.63
2.7667 | 3.6184
2.7833 | 3.6192
2.8 | 3.6265
2.8167 | 3.6248
2.8333 | 3.619
2.85 | 3.6329
2.8667 | 3.6246
2.8833 | 3.6269
2.9 | 3.6346
2.9167 | 3.635
2.9333 | 3.6292
2.95 | 3.6178
2.9667 | 3.6285
2.9833 | 3.6059
3 | 3.6141
3.0167 | 3.6102
3.0333 | 3.6149
3.05 | 3.6228
3.0667 | 3.6098
3.0833 | 3.6263
3.1 | 3.6295
3.1167 | 3.6303
3.1333 | 3.6274
3.15 | 3.6282
3.1667 | 3.6419
3.1833 | 3.6201
3.2 | 3.6309
3.2167 | 3.6344
3.2333 | 3.6323
3.25 | 3.6308
3.2667 | 3.6248
3.2833 | 3.6098
3.3 | 3.6005
3.3167 | 3.6185
3.3333 | 3.6079
3.35 | 3.6092
3.3667 | 3.5992
3.3833 | 3.5912
3.4 | 3.6161
3.4167 | 3.6286
3.4333 | 3.6379
3.45 | 3.6245
3.4667 | 3.6437
3.4833 | 3.6468
3.5 | 3.6401
3.5167 | 3.6474
3.5333 | 3.6362
3.55 | 3.6338
3.5667 | 3.6303
3.5833 | 3.635
3.6 | 3.6379
3.6167 | 3.643
3.6333 | 3.6317
3.65 | 3.6361
3.6667 | 3.6327
3.6833 | 3.6439
3.7 | 3.6459
3.7167 | 3.6304
3.7333 | 3.6179
3.75 | 3.6303
3.7667 | 3.6332
3.7833 | 3.6433
3.8 | 3.6327
3.8167 | 3.6448
3.8333 | 3.632
3.85 | 3.633
3.8667 | 3.635
3.8833 | 3.6405
3.9 | 3.6356
3.9167 | 3.6404
3.9333 | 3.6395
3.95 | 3.6559
3.9667 | 3.6597
3.9833 | 3.6492
4 | 3.6559
4.0167 | 3.6422
4.0333 | 3.6323
4.05 | 3.6219
4.0667 | 3.6185
4.0833 | 3.6248
4.1 | 3.6193
4.1167 | 3.6332
4.1333 | 3.6272
4.15 | 3.6297
4.1667 | 3.6263
4.1833 | 3.6329
4.2 | 3.6225
4.2167 | 3.6237
4.2333 | 3.6146
4.25 | 3.6129
4.2667 | 3.6192
4.2833 | 3.6265
4.3 | 3.6213
4.3167 | 3.6213
4.3333 | 3.6153
4.35 | 3.6021
4.3667 | 3.6097
4.3833 | 3.6309
4.4 | 3.6333
4.4167 | 3.6391
4.4333 | 3.6321
4.45 | 3.6214
4.4667 | 3.6198
4.4833 | 3.6277
4.5 | 3.6378
4.5167 | 3.644
4.5333 | 3.6378
4.55 | 3.6326
4.5667 | 3.6066
4.5833 | 3.6317
4.6 | 3.6283
4.6167 | 3.6124
4.6333 | 3.6109
4.65 | 3.605
4.6667 | 3.6129
4.6833 | 3.6289
4.7 | 3.6323
4.7167 | 3.6243
4.7333 | 3.624
4.75 | 3.6246
4.7667 | 3.6211
4.7833 | 3.63
4.8 | 3.6187
4.8167 | 3.6205
4.8333 | 3.6408
4.85 | 3.6286
4.8667 | 3.6372
4.8833 | 3.6201
4.9 | 3.6153
4.9167 | 3.6312
4.9333 | 3.6361
4.95 | 3.6164
4.9667 | 3.6219
4.9833 | 3.6303
5 | 3.6169
5.0167 | 3.603
5.0333 | 3.6037
5.05 | 3.6036
5.0667 | 3.6025
5.0833 | 3.616
5.1 | 3.6124
5.1167 | 3.6204
5.1333 | 3.6315
5.15 | 3.614
5.1667 | 3.6098
5.1833 | 3.6089
5.2 | 3.6114
5.2167 | 3.619
5.2333 | 3.6233
5.25 | 3.6097
5.2667 | 3.596
5.2833 | 3.6027
5.3 | 3.6106
5.3167 | 3.6195
5.3333 | 3.6126
5.35 | 3.6228
5.3667 | 3.6115
5.3833 | 3.5944
5.4 | 3.597
5.4167 | 3.6094
5.4333 | 3.5886
5.45 | 3.5915
5.4667 | 3.605
5.4833 | 3.5979
5.5 | 3.5976
5.5167 | 3.6074
5.5333 | 3.5908
5.55 | 3.5802
5.5667 | 3.5847
5.5833 | 3.5847
5.6 | 3.5908
5.6167 | 3.5918
5.6333 | 3.5955
5.65 | 3.5925
5.6667 | 3.5851
5.6833 | 3.6037
5.7 | 3.5889
5.7167 | 3.5654
5.7333 | 3.587
5.75 | 3.5752
5.7667 | 3.5673
5.7833 | 3.5789
5.8 | 3.5978
5.8167 | 3.5986
5.8333 | 3.5964
5.85 | 3.5854
5.8667 | 3.5825
5.8833 | 3.5957
5.9 | 3.5844
5.9167 | 3.606
5.9333 | 3.5996
5.95 | 3.5757
5.9667 | 3.5897
5.9833 | 3.5882
6 | 3.5896
6.0167 | 3.5859
6.0333 | 3.5941
6.05 | 3.5934
6.0667 | 3.5831
6.0833 | 3.587
6.1 | 3.5683
6.1167 | 3.5528
6.1333 | 3.5596
6.15 | 3.5683
6.1667 | 3.579
6.1833 | 3.5709
6.2 | 3.5812
6.2167 | 3.5944
6.2333 | 3.5821
6.25 | 3.5831
6.2667 | 3.5871
6.2833 | 3.5715
6.3 | 3.5752
6.3167 | 3.5705
6.3333 | 3.556
6.35 | 3.5696
6.3667 | 3.572
6.3833 | 3.5879
6.4 | 3.5761
6.4167 | 3.5537
6.4333 | 3.5668
6.45 | 3.5998
6.4667 | 3.583
6.4833 | 3.5877
6.5 | 3.5816
6.5167 | 3.5801
6.5333 | 3.5773
6.55 | 3.5596
6.5667 | 3.5658
6.5833 | 3.5801
6.6 | 3.579
6.6167 | 3.5871
6.6333 | 3.5819
6.65 | 3.583
6.6667 | 3.568
6.6833 | 3.5705
6.7 | 3.5593
6.7167 | 3.5688
6.7333 | 3.5854
6.75 | 3.5891
6.7667 | 3.5627
6.7833 | 3.5658
6.8 | 3.5627
6.8167 | 3.5777
6.8333 | 3.5702
6.85 | 3.5604
6.8667 | 3.5517
6.8833 | 3.5598
6.9 | 3.5744
6.9167 | 3.5538
6.9333 | 3.5601
6.95 | 3.5621
6.9667 | 3.5725
6.9833 | 3.5648
7 | 3.5534
7.0167 | 3.5766
7.0333 | 3.558
7.05 | 3.5554
7.0667 | 3.5438
7.0833 | 3.5348
7.1 | 3.5587
7.1167 | 3.5415
7.1333 | 3.5328
7.15 | 3.538
7.1667 | 3.5316
7.1833 | 3.5339
7.2 | 3.5337
7.2167 | 3.5487
7.2333 | 3.5421
7.25 | 3.5537
7.2667 | 3.545
7.2833 | 3.5384
7.3 | 3.5308
7.3167 | 3.5395
7.3333 | 3.5284
7.35 | 3.5323
7.3667 | 3.5261
7.3833 | 3.5328
7.4 | 3.5534
7.4167 | 3.5523
7.4333 | 3.5465
7.45 | 3.5297
7.4667 | 3.5336
7.4833 | 3.5322
7.5 | 3.5329
7.5167 | 3.5322
7.5333 | 3.5323
7.55 | 3.5233
7.5667 | 3.5371
7.5833 | 3.5374
7.6 | 3.5328
7.6167 | 3.5363
7.6333 | 3.5435
7.65 | 3.5404
7.6667 | 3.5354
7.6833 | 3.5435
7.7 | 3.5418
7.7167 | 3.5398
7.7333 | 3.5421
7.75 | 3.5357
7.7667 | 3.5343
7.7833 | 3.5332
7.8 | 3.5165
7.8167 | 3.4942
7.8333 | 3.5191
7.85 | 3.5198
7.8667 | 3.5232
7.8833 | 3.5273
7.9 | 3.5142
7.9167 | 3.4953
7.9333 | 3.4988
7.95 | 3.5102
7.9667 | 3.5098
7.9833 | 3.5172
8 | 3.4998
8.0167 | 3.5142
8.0333 | 3.5268
8.05 | 3.5311
8.0667 | 3.5285
8.0833 | 3.5171
8.1 | 3.5133
8.1167 | 3.5101
8.1333 | 3.5265
8.15 | 3.5133
8.1667 | 3.5186
8.1833 | 3.513
8.2 | 3.5169
8.2167 | 3.5317
8.2333 | 3.5445
8.25 | 3.5302
8.2667 | 3.5416
8.2833 | 3.5401
8.3 | 3.5334
8.3167 | 3.5479
8.3333 | 3.5496
8.35 | 3.5467
8.3667 | 3.5389
8.3833 | 3.5282
8.4 | 3.5084
8.4167 | 3.5218
8.4333 | 3.5093
8.45 | 3.5123
8.4667 | 3.5157
8.4833 | 3.5116
8.5 | 3.5259
8.5167 | 3.5044
8.5333 | 3.5078
8.55 | 3.5018
8.5667 | 3.5105
8.5833 | 3.5105
8.6 | 3.5113
8.6167 | 3.5192
8.6333 | 3.5177
8.65 | 3.5192
8.6667 | 3.4991
8.6833 | 3.4988
8.7 | 3.5072
8.7167 | 3.493
8.7333 | 3.503
8.75 | 3.5027
8.7667 | 3.4821
8.7833 | 3.4847
8.8 | 3.5009
8.8167 | 3.4978
8.8333 | 3.4937
8.85 | 3.4914
8.8667 | 3.485
8.8833 | 3.4806
8.9 | 3.4786
8.9167 | 3.4762
8.9333 | 3.5009
8.95 | 3.4893
8.9667 | 3.4931
8.9833 | 3.4965
9 | 3.4789
9.0167 | 3.4882
9.0333 | 3.4911
9.05 | 3.4759
9.0667 | 3.4768
9.0833 | 3.4866
9.1 | 3.4748
9.1167 | 3.4563
9.1333 | 3.4583
9.15 | 3.4676
9.1667 | 3.4673
9.1833 | 3.4658
9.2 | 3.4667
9.2167 | 3.4617
9.2333 | 3.4521
9.25 | 3.4701
9.2667 | 3.4646
9.2833 | 3.4646
9.3 | 3.46
9.3167 | 3.4565
9.3333 | 3.4591
9.35 | 3.4562
9.3667 | 3.4594
9.3833 | 3.4696
9.4 | 3.4602
9.4167 | 3.4472
9.4333 | 3.4417
9.45 | 3.4547
9.4667 | 3.4599
9.4833 | 3.4577
9.5 | 3.4603
9.5167 | 3.4588
9.5333 | 3.4695
9.55 | 3.4812
9.5667 | 3.4812
9.5833 | 3.4655
9.6 | 3.4617
9.6167 | 3.4641
9.6333 | 3.4673
9.65 | 3.4579
9.6667 | 3.4527
9.6833 | 3.4505
9.7 | 3.4638
9.7167 | 3.4657
9.7333 | 3.4635
9.75 | 3.4698
9.7667 | 3.4521
9.7833 | 3.4643
9.8 | 3.4711
9.8167 | 3.4721
9.8333 | 3.4814
9.85 | 3.4647
9.8667 | 3.4811
9.8833 | 3.4699
9.9 | 3.4682
9.9167 | 3.4673
9.9333 | 3.4795
9.95 | 3.4698
9.9667 | 3.4611
9.9833 | 3.4635
10 | 3.465
10.0167 | 3.4686
10.0333 | 3.4591
10.05 | 3.4486
10.0667 | 3.428
10.0833 | 3.435
10.1 | 3.4249
10.1167 | 3.4182
10.1333 | 3.4316
10.15 | 3.4583
10.1667 | 3.4559
10.1833 | 3.4544
10.2 | 3.4515
10.2167 | 3.451
10.2333 | 3.4397
10.25 | 3.4359
10.2667 | 3.4348
10.2833 | 3.4385
10.3 | 3.4409
10.3167 | 3.4315
10.3333 | 3.3891
10.35 | 3.3947
10.3667 | 3.4077
10.3833 | 3.4045
10.4 | 3.3909
10.4167 | 3.397
10.4333 | 3.4019
10.45 | 3.4007
10.4667 | 3.4017
10.4833 | 3.392
10.5 | 3.4072
10.5167 | 3.4039
10.5333 | 3.4074
10.55 | 3.4119
10.5667 | 3.4243
10.5833 | 3.4266
10.6 | 3.4168
10.6167 | 3.4077
10.6333 | 3.4124
10.65 | 3.4064
10.6667 | 3.4089
10.6833 | 3.4177
10.7 | 3.3968
10.7167 | 3.3868
10.7333 | 3.3892
10.75 | 3.3775
10.7667 | 3.386
10.7833 | 3.3878
10.8 | 3.3828
10.8167 | 3.3683
10.8333 | 3.3504
10.85 | 3.3358
10.8667 | 3.3352
10.8833 | 3.3367
10.9 | 3.3375
10.9167 | 3.3115
10.9333 | 3.3056
10.95 | 3.3077
10.9667 | 3.2899
10.9833 | 3.2919
11 | 3.2894
11.0167 | 3.2905
11.0333 | 3.2903
11.05 | 3.2743
11.0667 | 3.2597
11.0833 | 3.2337
11.1 | 3.216
11.1167 | 3.2269
11.1333 | 3.2438
11.15 | 3.2157
11.1667 | 3.2102
11.1833 | 3.2046
11.2 | 3.184
11.2167 | 3.1705
11.2333 | 3.1799
11.25 | 3.1654
11.2667 | 3.1425
11.2833 | 3.1353
11.3 | 3.1065
11.3167 | 3.0956
11.3333 | 3.0965
11.35 | 3.0718
11.3667 | 3.0444
11.3833 | 3.0332
11.4 | 3.0134
11.4167 | 2.9887
11.4333 | 2.9736
11.45 | 2.9519
11.4667 | 2.9464
11.4833 | 2.9232
11.5 | 2.8989
11.5167 | 2.8617
11.5333 | 2.8376
11.55 | 2.8068
11.5667 | 2.7991
11.5833 | 2.7752
11.6 | 2.7404
11.6167 | 2.7094
11.6333 | 2.6818
11.65 | 2.6348
11.6667 | 2.6008
11.6833 | 2.597
11.7 | 2.5704
11.7167 | 2.5397
11.7333 | 2.4926
11.75 | 2.4554
11.7667 | 2.4415
11.7833 | 2.4094
11.8 | 2.3638
11.8167 | 2.3215
11.8333 | 2.2956
11.85 | 2.2439
11.8667 | 2.2163
11.8833 | 2.1902
11.9 | 2.1722
11.9167 | 2.1252
11.9333 | 2.0777
11.95 | 2.0498
11.9667 | 2.0225
11.9833 | 1.9675
12 | 1.9187
12.0167 | 1.8778
12.0333 | 1.838
12.05 | 1.8079
12.0667 | 1.7625
12.0833 | 1.7117
12.1 | 1.6702
12.1167 | 1.6286
12.1333 | 1.5887
12.15 | 1.5462
12.1667 | 1.516
12.1833 | 1.4896
12.2 | 1.4347
12.2167 | 1.3847
12.2333 | 1.3422
12.25 | 1.3125
12.2667 | 1.2676
12.2833 | 1.1889
12.3 | 1.1564
12.3167 | 1.1207
12.3333 | 1.0775
12.35 | 1.0514
12.3667 | 1.005
12.3833 | 0.95497
12.4 | 0.9095
12.4167 | 0.86571
12.4333 | 0.81871
12.45 | 0.76347
12.4667 | 0.72884
12.4833 | 0.68535
12.5 | 0.62416
12.5167 | 0.597
12.5333 | 0.56023
12.55 | 0.51476
12.5667 | 0.48241
12.5833 | 0.44914
12.6 | 0.39497
12.6167 | 0.35698
12.6333 | 0.30815
12.65 | 0.28328
12.6667 | 0.25261
12.6833 | 0.22621
12.7 | 0.20439
12.7167 | 0.18013
12.7333 | 0.14534
12.75 | 0.1252
12.7667 | 0.089035
12.7833 | 0.070877
12.8 | 0.055771
12.8167 | 0.025101
12.8333 | 0.0072479
12.85 | 0.0058746
12.8667 | -0.0096893
12.8833 | -0.029678
12.9 | -0.024948
12.9167 | -0.032883
12.9333 | -0.057144
12.95 | -0.070267
12.9667 | -0.092697
12.9833 | -0.087967
13 | -0.089798
13.0167 | -0.088425
13.0333 | -0.084915
13.05 | -0.089035
13.0667 | -0.087662
13.0833 | -0.077744
13.1 | -0.084915
13.1167 | -0.073013
13.1333 | -0.057449
13.15 | -0.056686
13.1667 | -0.055923
13.1833 | -0.031815
13.2 | -0.019913
13.2167 | -0.0074005
13.2333 | 0.022354
13.25 | 0.03624
13.2667 | 0.060959
13.2833 | 0.079269
13.3 | 0.099258
13.3167 | 0.12062
13.3333 | 0.1429
13.35 | 0.14107
13.3667 | 0.1667
13.3833 | 0.20927
13.4 | 0.23598
13.4167 | 0.25658
13.4333 | 0.28664
13.45 | 0.29976
13.4667 | 0.32326
13.4833 | 0.35255
13.5 | 0.36476
13.5167 | 0.39925
13.5333 | 0.41252
13.55 | 0.44182
13.5667 | 0.4673
13.5833 | 0.47752
13.6 | 0.50499
13.6167 | 0.51964
13.6333 | 0.5558
13.65 | 0.59517
13.6667 | 0.60081
13.6833 | 0.62874
13.7 | 0.65788
13.7167 | 0.68214
13.7333 | 0.71541
13.75 | 0.76118
13.7667 | 0.79674
13.7833 | 0.81322
13.8 | 0.8448
13.8167 | 0.87364
13.8333 | 0.93025
13.85 | 0.95436
13.8667 | 0.98885
13.8833 | 1.0368
13.9 | 1.0799
13.9167 | 1.1077
13.9333 | 1.1463
13.95 | 1.177
13.9667 | 1.2035
13.9833 | 1.2243
14 | 1.265
14.0167 | 1.2923
14.0333 | 1.3261
14.05 | 1.3624
14.0667 | 1.3998
14.0833 | 1.4361
14.1 | 1.4666
14.1167 | 1.5035
14.1333 | 1.5374
14.15 | 1.569
14.1667 | 1.6146
14.1833 | 1.6373
14.2 | 1.6662
14.2167 | 1.7007
14.2333 | 1.7228
14.25 | 1.7469
14.2667 | 1.7989
14.2833 | 1.8319
14.3 | 1.8479
14.3167 | 1.8896
14.3333 | 1.9204
14.35 | 1.9524
14.3667 | 1.9678
14.3833 | 1.9991
14.4 | 2.0376
14.4167 | 2.0535
14.4333 | 2.0777
14.45 | 2.1201
14.4667 | 2.1508
14.4833 | 2.1932
14.5 | 2.2109
14.5167 | 2.2407
14.5333 | 2.2475
14.55 | 2.2894
14.5667 | 2.3119
14.5833 | 2.3215
14.6 | 2.3542
14.6167 | 2.3579
14.6333 | 2.3756
14.65 | 2.4073
14.6667 | 2.4241
14.6833 | 2.4471
14.7 | 2.4578
14.7167 | 2.4793
14.7333 | 2.5071
14.75 | 2.5216
14.7667 | 2.5332
14.7833 | 2.5507
14.8 | 2.5668
14.8167 | 2.5884
14.8333 | 2.6041
14.85 | 2.6214
14.8667 | 2.6426
14.8833 | 2.6394
14.9 | 2.6579
14.9167 | 2.6768
14.9333 | 2.6858
14.95 | 2.6914
14.9667 | 2.7201
14.9833 | 2.7158
15 | 2.729
15.0167 | 2.7532
15.0333 | 2.7729
15.05 | 2.7689
15.0667 | 2.8043
15.0833 | 2.8127
15.1 | 2.8199
15.1167 | 2.8211
15.1333 | 2.8434
15.15 | 2.8562
15.1667 | 2.8602
15.1833 | 2.8594
15.2 | 2.8725
15.2167 | 2.8838
15.2333 | 2.9009
15.25 | 2.9208
15.2667 | 2.9066
15.2833 | 2.9067
15.3 | 2.911
15.3167 | 2.9287
15.3333 | 2.9446
15.35 | 2.9464
15.3667 | 2.9569
15.3833 | 2.9623
15.4 | 2.9937
15.4167 | 2.9905
15.4333 | 3.0167
15.45 | 3.0347
15.4667 | 3.0293
15.4833 | 3.0618
15.5 | 3.0662
15.5167 | 3.0761
15.5333 | 3.075
15.55 | 3.0648
15.5667 | 3.0819
15.5833 | 3.0915
15.6 | 3.0877
15.6167 | 3.0788
15.6333 | 3.092
15.65 | 3.1062
15.6667 | 3.1184
15.6833 | 3.122
15.7 | 3.1289
15.7167 | 3.1309
15.7333 | 3.1388
15.75 | 3.1536
15.7667 | 3.1467
15.7833 | 3.149
15.8 | 3.1651
15.8167 | 3.1586
15.8333 | 3.16
15.85 | 3.1716
15.8667 | 3.1666
15.8833 | 3.1893
15.9 | 3.1892
15.9167 | 3.1992
15.9333 | 3.1991
15.95 | 3.2005
15.9667 | 3.1829
15.9833 | 3.2011
16 | 3.2079
16.0167 | 3.2143
16.0333 | 3.2145
16.05 | 3.2244
16.0667 | 3.2296
16.0833 | 3.2533
16.1 | 3.2552
16.1167 | 3.2522
16.1333 | 3.2389
16.15 | 3.2523
16.1667 | 3.2577
16.1833 | 3.2438
16.2 | 3.2366
16.2167 | 3.2383
16.2333 | 3.2514
16.25 | 3.2603
16.2667 | 3.2635
16.2833 | 3.2618
16.3 | 3.269
16.3167 | 3.2705
16.3333 | 3.2609
16.35 | 3.2613
16.3667 | 3.2761
16.3833 | 3.2783
16.4 | 3.2899
16.4167 | 3.2867
16.4333 | 3.2944
16.45 | 3.3015
16.4667 | 3.283
16.4833 | 3.2861
16.5 | 3.3036
16.5167 | 3.3057
16.5333 | 3.2859
16.55 | 3.2992
16.5667 | 3.2983
16.5833 | 3.3077
16.6 | 3.3033
16.6167 | 3.3079
16.6333 | 3.3077
16.65 | 3.3224
16.6667 | 3.2999
16.6833 | 3.3044
16.7 | 3.3111
16.7167 | 3.3051
16.7333 | 3.315
16.75 | 3.3204
16.7667 | 3.3198
16.7833 | 3.3309
16.8 | 3.3212
16.8167 | 3.3114
16.8333 | 3.3128
16.85 | 3.3146
16.8667 | 3.3079
16.8833 | 3.306
16.9 | 3.314
16.9167 | 3.3021
16.9333 | 3.3192
16.95 | 3.3212
16.9667 | 3.3163
16.9833 | 3.3106
17 | 3.3196
17.0167 | 3.3219
17.0333 | 3.3271
17.05 | 3.3128
17.0667 | 3.3152
17.0833 | 3.3186
17.1 | 3.3378
17.1167 | 3.3321
17.1333 | 3.3199
17.15 | 3.3125
17.1667 | 3.3186
17.1833 | 3.3131
17.2 | 3.3144
17.2167 | 3.3118
17.2333 | 3.3094
17.25 | 3.3004
17.2667 | 3.3201
17.2833 | 3.3047
17.3 | 3.2877
17.3167 | 3.2958
17.3333 | 3.2989
17.35 | 3.2977
17.3667 | 3.2856
17.3833 | 3.2973
17.4 | 3.3007
17.4167 | 3.2949
17.4333 | 3.3118
17.45 | 3.3025
17.4667 | 3.3054
17.4833 | 3.2955
17.5 | 3.2847
17.5167 | 3.301
17.5333 | 3.2908
17.55 | 3.2983
17.5667 | 3.3031
17.5833 | 3.2931
17.6 | 3.2922
17.6167 | 3.2819
17.6333 | 3.2894
17.65 | 3.2778
17.6667 | 3.283
17.6833 | 3.2783
17.7 | 3.2944
17.7167 | 3.2993
17.7333 | 3.299
17.75 | 3.2977
17.7667 | 3.3094
17.7833 | 3.3199
17.8 | 3.3277
17.8167 | 3.3047
17.8333 | 3.2981
17.85 | 3.2981
17.8667 | 3.2912
17.8833 | 3.3056
17.9 | 3.3088
17.9167 | 3.2929
17.9333 | 3.2967
17.95 | 3.2887
17.9667 | 3.2931
17.9833 | 3.2868
18 | 3.2922
18.0167 | 3.2816
18.0333 | 3.2835
18.05 | 3.2847
18.0667 | 3.2938
18.0833 | 3.2766
18.1 | 3.2725
18.1167 | 3.2787
18.1333 | 3.2909
18.15 | 3.2943
18.1667 | 3.2859
18.1833 | 3.2876
18.2 | 3.2871
18.2167 | 3.2951
18.2333 | 3.2856
18.25 | 3.2937
18.2667 | 3.2876
18.2833 | 3.2833
18.3 | 3.2897
18.3167 | 3.3117
18.3333 | 3.3196
18.35 | 3.3213
18.3667 | 3.3093
18.3833 | 3.3131
18.4 | 3.321
18.4167 | 3.3018
18.4333 | 3.3108
18.45 | 3.3157
18.4667 | 3.3184
18.4833 | 3.3094
18.5 | 3.3213
18.5167 | 3.3334
18.5333 | 3.3356
18.55 | 3.3233
18.5667 | 3.3141
18.5833 | 3.3202
18.6 | 3.3234
18.6167 | 3.3425
18.6333 | 3.3407
18.65 | 3.3442
18.6667 | 3.3294
18.6833 | 3.3434
18.7 | 3.3595
18.7167 | 3.3566
18.7333 | 3.3553
18.75 | 3.3636
18.7667 | 3.3643
18.7833 | 3.3721
18.8 | 3.3747
18.8167 | 3.3894
18.8333 | 3.3961
18.85 | 3.3996
18.8667 | 3.4083
18.8833 | 3.4197
18.9 | 3.437
18.9167 | 3.4574
18.9333 | 3.458
18.95 | 3.4631
18.9667 | 3.4736
18.9833 | 3.483
19 | 3.4959
19.0167 | 3.4933
19.0333 | 3.5073
19.05 | 3.5394
19.0667 | 3.5436
19.0833 | 3.5514
19.1 | 3.5459
19.1167 | 3.5519
19.1333 | 3.5638
19.15 | 3.5717
19.1667 | 3.5622
19.1833 | 3.5764
19.2 | 3.5645
19.2167 | 3.5758
19.2333 | 3.5807
19.25 | 3.5934
19.2667 | 3.5926
19.2833 | 3.5879
19.3 | 3.5842
19.3167 | 3.5932
19.3333 | 3.5926
19.35 | 3.6025
19.3667 | 3.6355
19.3833 | 3.648
19.4 | 3.6694
19.4167 | 3.6747
19.4333 | 3.699
19.45 | 3.7228
19.4667 | 3.7656
19.4833 | 3.8032
19.5 | 3.8593
19.5167 | 3.8969
19.5333 | 3.9533
19.55 | 4.0444
19.5667 | 4.1058
19.5833 | 4.1912
19.6 | 4.2835
19.6167 | 4.3894
19.6333 | 4.5
19.65 | 4.6082
19.6667 | 4.7054
19.6833 | 4.7926
19.7 | 4.8949
19.7167 | 4.9953
19.7333 | 5.07
19.75 | 5.1345
19.7667 | 5.178
19.7833 | 5.2041
19.8 | 5.2012
19.8167 | 5.2079
19.8333 | 5.1817
19.85 | 5.145
19.8667 | 5.1061
19.8833 | 5.0401
19.9 | 4.9871
19.9167 | 4.9001
19.9333 | 4.8237
19.95 | 4.7436
19.9667 | 4.6552
19.9833 | 4.5773
20 | 4.5078
20.0167 | 4.4181
20.0333 | 4.3473
20.05 | 4.2887
20.0667 | 4.2245
20.0833 | 4.1624
20.1 | 4.094
20.1167 | 4.0517
20.1333 | 3.9855
20.15 | 3.9271
20.1667 | 3.8503
20.1833 | 3.7728
20.2 | 3.7081
20.2167 | 3.646
20.2333 | 3.5389
20.25 | 3.4193
20.2667 | 3.2787
20.2833 | 3.1321
20.3 | 2.9259
20.3167 | 2.72
20.3333 | 2.4506
20.35 | 2.1528
20.3667 | 1.8259
20.3833 | 1.4413
20.4 | 1.0151
20.4167 | 0.56725
20.4333 | 0.0634
20.45 | -0.49355
20.4667 | -1.0987
20.4833 | -1.7133
20.5 | -2.3351
20.5167 | -2.96
20.5333 | -3.5847
20.55 | -4.2063
20.5667 | -4.829
20.5833 | -5.3803
20.6 | -5.8808
20.6167 | -6.3403
20.6333 | -6.73
20.65 | -7.0562
20.6667 | -7.3251
20.6833 | -7.5193
20.7 | -7.6322
20.7167 | -7.672
20.7333 | -7.6481
20.75 | -7.5626
20.7667 | -7.4445
20.7833 | -7.2552
20.8 | -7.0177
20.8167 | -6.7794
20.8333 | -6.5156
20.85 | -6.2492
20.8667 | -5.9702
20.8833 | -5.6867
20.9 | -5.4101
20.9167 | -5.1089
20.9333 | -4.8307
20.95 | -4.5673
20.9667 | -4.3205
20.9833 | -4.0766
21 | -3.8406
21.0167 | -3.6115
21.0333 | -3.3845
21.05 | -3.1593
21.0667 | -2.9545
21.0833 | -2.7216
21.1 | -2.5047
21.1167 | -2.291
21.1333 | -2.0785
21.15 | -1.8653
21.1667 | -1.6483
21.1833 | -1.4321
21.2 | -1.2212
21.2167 | -1.0212
21.2333 | -0.80452
21.25 | -0.60371
21.2667 | -0.41222
21.2833 | -0.2224
21.3 | -0.055618
21.3167 | 0.12779
21.3333 | 0.27779
21.35 | 0.45189
21.3667 | 0.59944
21.3833 | 0.73448
21.4 | 0.86281
21.4167 | 0.9771
21.4333 | 1.1115
21.45 | 1.2234
21.4667 | 1.3381
21.4833 | 1.4399
21.5 | 1.5237
21.5167 | 1.5916
21.5333 | 1.6964
21.55 | 1.7663
21.5667 | 1.8256
21.5833 | 1.8842
21.6 | 1.9788
21.6167 | 2.0443
21.6333 | 2.0742
21.65 | 2.129
21.6667 | 2.1778
21.6833 | 2.2323
21.7 | 2.2717
21.7167 | 2.3202
21.7333 | 2.3505
21.75 | 2.3746
21.7667 | 2.4136
21.7833 | 2.4482
21.8 | 2.4651
21.8167 | 2.5021
21.8333 | 2.5362
21.85 | 2.5381
21.8667 | 2.5727
21.8833 | 2.6026
21.9 | 2.6331
21.9167 | 2.665
21.9333 | 2.6652
21.95 | 2.6783
21.9667 | 2.6984
21.9833 | 2.7203
22 | 2.7447
22.0167 | 2.7663
22.0333 | 2.7697
22.05 | 2.7755
22.0667 | 2.8181
22.0833 | 2.8445
22.1 | 2.8477
22.1167 | 2.8535
22.1333 | 2.8617
22.15 | 2.8654
22.1667 | 2.8834
22.1833 | 2.8977
22.2 | 2.9183
22.2167 | 2.9366
22.2333 | 2.9351
22.25 | 2.9234
22.2667 | 2.9487
22.2833 | 2.9491
22.3 | 2.9733
22.3167 | 2.9734
22.3333 | 2.9913
22.35 | 2.999
22.3667 | 3.0102
22.3833 | 3.0103
22.4 | 3.0111
22.4167 | 3.0207
22.4333 | 3.0335
22.45 | 3.0453
22.4667 | 3.045
22.4833 | 3.0457
22.5 | 3.0505
22.5167 | 3.0482
22.5333 | 3.0531
22.55 | 3.0688
22.5667 | 3.0848
22.5833 | 3.0686
22.6 | 3.0837
22.6167 | 3.0859
22.6333 | 3.0889
22.65 | 3.0956
22.6667 | 3.0973
22.6833 | 3.106
22.7 | 3.0952
22.7167 | 3.1127
22.7333 | 3.1152
22.75 | 3.1208
22.7667 | 3.1187
22.7833 | 3.1249
22.8 | 3.1385
22.8167 | 3.1419
22.8333 | 3.1353
22.85 | 3.1472
22.8667 | 3.1556
22.8833 | 3.1673
22.9 | 3.1605
22.9167 | 3.1673
22.9333 | 3.1866
22.95 | 3.2027
22.9667 | 3.1902
22.9833 | 3.1887
23 | 3.1928
23.0167 | 3.1989
23.0333 | 3.2023
23.05 | 3.1991
23.0667 | 3.2018
23.0833 | 3.2046
23.1 | 3.1968
23.1167 | 3.2035
23.1333 | 3.1979
23.15 | 3.2116
23.1667 | 3.2349
23.1833 | 3.2354
23.2 | 3.2221
23.2167 | 3.2255
23.2333 | 3.2328
23.25 | 3.2291
23.2667 | 3.2261
23.2833 | 3.2305
23.3 | 3.2392
23.3167 | 3.2363
23.3333 | 3.261
23.35 | 3.2595
23.3667 | 3.2746
23.3833 | 3.279
23.4 | 3.281
23.4167 | 3.2879
23.4333 | 3.3013
23.45 | 3.2853
23.4667 | 3.2793
23.4833 | 3.2873
23.5 | 3.2795
23.5167 | 3.2906
23.5333 | 3.2821
23.55 | 3.289
23.5667 | 3.294
23.5833 | 3.288
23.6 | 3.2795
23.6167 | 3.2777
23.6333 | 3.2819
23.65 | 3.2912
23.6667 | 3.2938
23.6833 | 3.3123
23.7 | 3.3344
23.7167 | 3.3411
23.7333 | 3.3135
23.75 | 3.3305
23.7667 | 3.3268
23.7833 | 3.3105
23.8 | 3.3213
23.8167 | 3.3331
23.8333 | 3.3474
23.85 | 3.3405
23.8667 | 3.3273
23.8833 | 3.3173
23.9 | 3.3154
23.9167 | 3.3199
23.9333 | 3.3219
23.95 | 3.3219
23.9667 | 3.3318
23.9833 | 3.3356
24 | 3.3321
24.0167 | 3.3364
24.0333 | 3.336
24.05 | 3.3337
24.0667 | 3.3274
24.0833 | 3.3361
24.1 | 3.3543
24.1167 | 3.3639
24.1333 | 3.3677
24.15 | 3.3494
24.1667 | 3.3535
24.1833 | 3.37
24.2 | 3.352
24.2167 | 3.3451
24.2333 | 3.352
24.25 | 3.3622
24.2667 | 3.3695
24.2833 | 3.3633
24.3 | 3.364
24.3167 | 3.3628
24.3333 | 3.3627
24.35 | 3.3704
24.3667 | 3.3723
24.3833 | 3.3726
24.4 | 3.3892
24.4167 | 3.3869
24.4333 | 3.3772
24.45 | 3.3828
24.4667 | 3.39
24.4833 | 3.3837
24.5 | 3.3855
24.5167 | 3.3797
24.5333 | 3.3807
24.55 | 3.3759
24.5667 | 3.3772
24.5833 | 3.3845
24.6 | 3.3791
24.6167 | 3.3994
24.6333 | 3.3904
24.65 | 3.3752
24.6667 | 3.3755
24.6833 | 3.3759
24.7 | 3.3848
24.7167 | 3.3781
24.7333 | 3.3848
24.75 | 3.3822
24.7667 | 3.3724
24.7833 | 3.3599
24.8 | 3.3672
24.8167 | 3.3778
24.8333 | 3.3755
24.85 | 3.3804
24.8667 | 3.381
24.8833 | 3.3874
24.9 | 3.3738
24.9167 | 3.3724
24.9333 | 3.372
24.95 | 3.3729
24.9667 | 3.3887
24.9833 | 3.386
25 | 3.3822
25.0167 | 3.3944
25.0333 | 3.3884
25.05 | 3.3926
25.0667 | 3.3923
25.0833 | 3.3993
25.1 | 3.3906
25.1167 | 3.3819
25.1333 | 3.3918
25.15 | 3.4068
25.1667 | 3.3978
25.1833 | 3.3869
25.2 | 3.3944
25.2167 | 3.3913
25.2333 | 3.4063
25.25 | 3.3988
25.2667 | 3.3915
25.2833 | 3.3892
25.3 | 3.3918
25.3167 | 3.3855
25.3333 | 3.3942
25.35 | 3.3979
25.3667 | 3.4026
25.3833 | 3.397
25.4 | 3.4052
25.4167 | 3.4148
25.4333 | 3.4151
25.45 | 3.4211
25.4667 | 3.4234
25.4833 | 3.4226
25.5 | 3.3987
25.5167 | 3.4171
25.5333 | 3.4028
25.55 | 3.408
25.5667 | 3.3947
25.5833 | 3.41
25.6 | 3.4208
25.6167 | 3.409
25.6333 | 3.4283
25.65 | 3.4228
25.6667 | 3.4055
25.6833 | 3.4245
25.7 | 3.4364
25.7167 | 3.4327
25.7333 | 3.4342
25.75 | 3.4316
25.7667 | 3.4365
25.7833 | 3.4486
25.8 | 3.464
25.8167 | 3.4452
25.8333 | 3.4513
25.85 | 3.4304
25.8667 | 3.4345
25.8833 | 3.4255
25.9 | 3.4158
25.9167 | 3.4226
25.9333 | 3.4385
25.95 | 3.4235
25.9667 | 3.3941
25.9833 | 3.4165
26 | 3.4093
26.0167 | 3.3939
26.0333 | 3.3825
26.05 | 3.3926
26.0667 | 3.4002
26.0833 | 3.4039
26.1 | 3.3984
26.1167 | 3.3991
26.1333 | 3.3973
26.15 | 3.3883
26.1667 | 3.4031
26.1833 | 3.404
26.2 | 3.3851
26.2167 | 3.3773
26.2333 | 3.3807
26.25 | 3.3872
26.2667 | 3.4071
26.2833 | 3.4209
26.3 | 3.4118
26.3167 | 3.3956
26.3333 | 3.3868
26.35 | 3.3927
26.3667 | 3.3976
26.3833 | 3.401
26.4 | 3.4097
26.4167 | 3.3941
26.4333 | 3.402
26.45 | 3.4093
26.4667 | 3.419
26.4833 | 3.4167
26.5 | 3.3942
26.5167 | 3.3907
26.5333 | 3.3842
26.55 | 3.4026
26.5667 | 3.4052
26.5833 | 3.4058
26.6 | 3.4212
26.6167 | 3.3826
26.6333 | 3.4095
26.65 | 3.418
26.6667 | 3.4008
26.6833 | 3.4237
26.7 | 3.402
26.7167 | 3.404
26.7333 | 3.3929
26.75 | 3.393
26.7667 | 3.4095
26.7833 | 3.4136
26.8 | 3.4104
26.8167 | 3.4087
26.8333 | 3.408
26.85 | 3.4167
26.8667 | 3.4306
26.8833 | 3.4377
26.9 | 3.4313
26.9167 | 3.4447
26.9333 | 3.4565
26.95 | 3.4557
26.9667 | 3.4704
26.9833 | 3.4858
27 | 3.5047
27.0167 | 3.5479
27.0333 | 3.5487
27.05 | 3.5398
27.0667 | 3.5798
27.0833 | 3.6102
27.1 | 3.6402
27.1167 | 3.6623
27.1333 | 3.717
27.15 | 3.7357
27.1667 | 3.7637
27.1833 | 3.8134
27.2 | 3.8657
27.2167 | 3.9301
27.2333 | 3.9664
27.25 | 4.042
27.2667 | 4.1088
27.2833 | 4.1811
27.3 | 4.2673
27.3167 | 4.3417
27.3333 | 4.4126
27.35 | 4.5055
27.3667 | 4.5916
27.3833 | 4.665
27.4 | 4.7648
27.4167 | 4.8501
27.4333 | 4.9334
27.45 | 5.0198
27.4667 | 5.1077
27.4833 | 5.194
27.5 | 5.2718
27.5167 | 5.342
27.5333 | 5.4151
27.55 | 5.4763
27.5667 | 5.5457
27.5833 | 5.6239
27.6 | 5.6802
27.6167 | 5.7407
27.6333 | 5.7713
27.65 | 5.8083
27.6667 | 5.8234
27.6833 | 5.8526
27.7 | 5.8746
27.7167 | 5.8845
27.7333 | 5.8875
27.75 | 5.8892
27.7667 | 5.8593
27.7833 | 5.8489
27.8 | 5.827
27.8167 | 5.7967
27.8333 | 5.7732
27.85 | 5.7183
27.8667 | 5.6794
27.8833 | 5.6463
27.9 | 5.5987
27.9167 | 5.5555
27.9333 | 5.5004
27.95 | 5.4389
27.9667 | 5.3799
27.9833 | 5.3132
28 | 5.2718
28.0167 | 5.2012
28.0333 | 5.1473
28.05 | 5.1014
28.0667 | 5.0498
28.0833 | 4.9992
28.1 | 4.9534
28.1167 | 4.9084
28.1333 | 4.8681
28.15 | 4.8267
28.1667 | 4.7715
28.1833 | 4.7245
28.2 | 4.6694
28.2167 | 4.6416
28.2333 | 4.5959
28.25 | 4.5591
28.2667 | 4.5322
28.2833 | 4.4671
28.3 | 4.463
28.3167 | 4.4367
28.3333 | 4.3981
28.35 | 4.362
28.3667 | 4.3299
28.3833 | 4.3064
28.4 | 4.2912
28.4167 | 4.2704
28.4333 | 4.2542
28.45 | 4.2191
28.4667 | 4.2149
28.4833 | 4.186
28.5 | 4.164
28.5167 | 4.1392
28.5333 | 4.1178
28.55 | 4.0955
28.5667 | 4.0772
28.5833 | 4.0739
28.6 | 4.0447
28.6167 | 4.0165
28.6333 | 4.0173
28.65 | 4.0134
28.6667 | 3.9983
28.6833 | 3.9668
28.7 | 3.9512
28.7167 | 3.9486
28.7333 | 3.9368
28.75 | 3.9175
28.7667 | 3.9091
28.7833 | 3.9169
28.8 | 3.9068
28.8167 | 3.885
28.8333 | 3.8784
28.85 | 3.8676
28.8667 | 3.8737
28.8833 | 3.8641
28.9 | 3.8407
28.9167 | 3.8342
28.9333 | 3.8572
28.95 | 3.847
28.9667 | 3.8287
28.9833 | 3.8107
29 | 3.7936
29.0167 | 3.7896
29.0333 | 3.7876
29.05 | 3.7733
29.0667 | 3.7626
29.0833 | 3.7621
29.1 | 3.7528
29.1167 | 3.7432
29.1333 | 3.747
29.15 | 3.7251
29.1667 | 3.728
29.1833 | 3.7135
29.2 | 3.7038
29.2167 | 3.6864
29.2333 | 3.6906
29.25 | 3.6983
29.2667 | 3.6843
29.2833 | 3.6764
29.3 | 3.6858
29.3167 | 3.67
29.3333 | 3.6655
29.35 | 3.6721
29.3667 | 3.6848
29.3833 | 3.6739
29.4 | 3.6689
29.4167 | 3.6492
29.4333 | 3.6449
29.45 | 3.6665
29.4667 | 3.6486
29.4833 | 3.6431
29.5 | 3.6372
29.5167 | 3.6228
29.5333 | 3.6176
29.55 | 3.6384
29.5667 | 3.6312
29.5833 | 3.63
29.6 | 3.6262
29.6167 | 3.61
29.6333 | 3.606
29.65 | 3.6138
29.6667 | 3.6051
29.6833 | 3.601
29.7 | 3.6004
29.7167 | 3.5964
29.7333 | 3.5987
29.75 | 3.5914
29.7667 | 3.5847
29.7833 | 3.5815
29.8 | 3.5889
29.8167 | 3.5772
29.8333 | 3.583
29.85 | 3.5961
29.8667 | 3.5813
29.8833 | 3.578
29.9 | 3.588
29.9167 | 3.5928
29.9333 | 3.5908
29.95 | 3.5789
29.9667 | 3.5705
29.9833 | 3.5612
30 | 3.5589

## MW Results
Administrative Information
File name | ICF_04_12_2024-0002.sample
Analysed by | OBPC
Date of analysis | 06 December 2024 14:01:36
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 176451 | 46672 | 275349 | 987302 | 2212582 | 848790 | 5.8997
Sample Parameters
Injection volume (µL) | 200
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 7.5167 | 9.0167
Baseline region 2 | 17.7333 | 17.9833
Peaks | Start (mins) | End (mins)
Peak 1 | 10.4167 | 16.25
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| RI | 12.9667 | 478.1839 | -3.5031
Flowrate region | Start (mins) | End (mins)
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | OBPC
Last modified date | 06 December 2024 14:01:36
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | OBPC
Creation date | 29 October 2024 11:18:00
Last modified by | OBPC
Last modified date | 29 October 2024 11:18:00
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name
FRM RT (mins) | 0
FRCF | 1
Column Calibration
Name | 2024-10-29-001
Created By | OBPC
Creation Date | 29/10/2024 16:43:21
Last Modified By | OBPC
Last Modified | 29/10/2024 16:46:00
High Limit RT (mins) | 10.3167
Low Limit RT (mins) | 17.05
High Limit MW | 6542896
Low Limit MW | 585
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name
Calibration Flow Marker RT (mins) | 0
Calibration Comments | GPC Column Calibration created 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC
Calibration Type | GPC Narrow Standard
Curve Fit Type | Polynomial
Order Of Curve Fit | 5
Number Of Points | 11
Curve Fit Equation | y = - 0.0006266x^5 + 0.04142x^4 - 1.085x^3 + 14.06x^2 - 90.8x + 242.2
Coeff a | 242.1862
Coeff b | -90.7983
Coeff c | 14.0588
Coeff d | -1.0846
Coeff e | 0.041423
Coeff f | -0.00062657
Residual Sum Of Squares | 0.00058182
Corrected Sum Of Squares | 18.6999
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.010787
Linear Correlation Coefficient | -0.99987

## Slice Table
Slice Table
RT (mins) | RI | Norm Ht | Cum Ht | Mw (g/mol) | logM | dwdlogM | Outside Calib | Peak
10.4167 | -0.070795 | 0.00014803 | 0.99993 | 5707795 | 6.7565 | 0.014555 | No | 1
10.4333 | -0.065537 | 0.00013703 | 0.99979 | 5580692 | 6.7467 | 0.014123 | No | 1
10.45 | -0.066382 | 0.0001388 | 0.99965 | 5456753 | 6.7369 | 0.014097 | No | 1
10.4667 | -0.064939 | 0.00013578 | 0.99951 | 5335880 | 6.7272 | 0.014988 | No | 1
10.4833 | -0.07433 | 0.00015542 | 0.99937 | 5217980 | 6.7175 | 0.014352 | No | 1
10.5 | -0.058696 | 0.00012273 | 0.99923 | 5102961 | 6.7078 | 0.013018 | No | 1
10.5167 | -0.061678 | 0.00012896 | 0.99911 | 4990736 | 6.6982 | 0.01295 | No | 1
10.5333 | -0.057793 | 0.00012084 | 0.99899 | 4881221 | 6.6885 | 0.012018 | No | 1
10.55 | -0.05284 | 0.00011049 | 0.99888 | 4774335 | 6.6789 | 0.010118 | No | 1
10.5667 | -0.040106 | 8.3858e-05 | 0.99879 | 4670001 | 6.6693 | 0.0084583 | No | 1
10.5833 | -0.037442 | 7.8288e-05 | 0.99871 | 4568143 | 6.6597 | 0.0092095 | No | 1
10.6 | -0.046832 | 9.7923e-05 | 0.99861 | 4468690 | 6.6502 | 0.011216 | No | 1
10.6167 | -0.055613 | 0.00011628 | 0.9985 | 4371571 | 6.6406 | 0.011638 | No | 1
10.6333 | -0.050507 | 0.00010561 | 0.99839 | 4276720 | 6.6311 | 0.011708 | No | 1
10.65 | -0.056083 | 0.00011727 | 0.99828 | 4184073 | 6.6216 | 0.01203 | No | 1
10.6667 | -0.053267 | 0.00011138 | 0.99817 | 4093567 | 6.6121 | 0.010721 | No | 1
10.6833 | -0.044041 | 9.2087e-05 | 0.99806 | 4005142 | 6.6026 | 0.011983 | No | 1
10.7 | -0.064571 | 0.00013501 | 0.99793 | 3918740 | 6.5931 | 0.015337 | No | 1
10.7167 | -0.074267 | 0.00015529 | 0.99778 | 3834305 | 6.5837 | 0.016116 | No | 1
10.7333 | -0.07145 | 0.0001494 | 0.99763 | 3751785 | 6.5742 | 0.017082 | No | 1
10.75 | -0.082824 | 0.00017318 | 0.99746 | 3671126 | 6.5648 | 0.017371 | No | 1
10.7667 | -0.073904 | 0.00015453 | 0.99731 | 3592279 | 6.5554 | 0.016154 | No | 1
10.7833 | -0.071698 | 0.00014992 | 0.99715 | 3515195 | 6.5459 | 0.01644 | No | 1
10.8 | -0.076358 | 0.00015966 | 0.99699 | 3439827 | 6.5365 | 0.018541 | No | 1
10.8167 | -0.090479 | 0.00018919 | 0.9968 | 3366131 | 6.5271 | 0.022068 | No | 1
10.8333 | -0.10796 | 0.00022573 | 0.99657 | 3294063 | 6.5177 | 0.025616 | No | 1
10.85 | -0.12223 | 0.00025557 | 0.99633 | 3223580 | 6.5083 | 0.027246 | No | 1
10.8667 | -0.12247 | 0.00025607 | 0.99607 | 3154641 | 6.4989 | 0.027074 | No | 1
10.8833 | -0.12056 | 0.00025209 | 0.99582 | 3087208 | 6.4896 | 0.026747 | No | 1
10.9 | -0.11943 | 0.00024971 | 0.99555 | 3021243 | 6.4802 | 0.02948 | No | 1
10.9167 | -0.14499 | 0.00030317 | 0.99526 | 2956707 | 6.4708 | 0.032961 | No | 1
10.9333 | -0.15057 | 0.00031482 | 0.99495 | 2893567 | 6.4614 | 0.033311 | No | 1
10.95 | -0.14806 | 0.00030957 | 0.99463 | 2831786 | 6.4521 | 0.034986 | No | 1
10.9667 | -0.16553 | 0.00034612 | 0.99429 | 2771333 | 6.4427 | 0.036676 | No | 1
10.9833 | -0.16317 | 0.00034119 | 0.99395 | 2712173 | 6.4333 | 0.036644 | No | 1
11 | -0.16524 | 0.00034551 | 0.99361 | 2654277 | 6.4239 | 0.036713 | No | 1
11.0167 | -0.1638 | 0.00034249 | 0.99326 | 2597613 | 6.4146 | 0.036524 | No | 1
11.0333 | -0.16358 | 0.00034202 | 0.99291 | 2542153 | 6.4052 | 0.038239 | No | 1
11.05 | -0.17922 | 0.00037474 | 0.99254 | 2487868 | 6.3958 | 0.041568 | No | 1
11.0667 | -0.1935 | 0.00040458 | 0.99213 | 2434729 | 6.3865 | 0.046 | No | 1
11.0833 | -0.21906 | 0.00045804 | 0.99168 | 2382711 | 6.3771 | 0.050766 | No | 1
11.1 | -0.23639 | 0.00049426 | 0.9912 | 2331787 | 6.3677 | 0.051429 | No | 1
11.1167 | -0.22518 | 0.00047083 | 0.99073 | 2281933 | 6.3583 | 0.048231 | No | 1
11.1333 | -0.20786 | 0.00043463 | 0.99027 | 2233122 | 6.3489 | 0.049365 | No | 1
11.15 | -0.23557 | 0.00049255 | 0.98979 | 2185333 | 6.3395 | 0.052991 | No | 1
11.1667 | -0.24068 | 0.00050325 | 0.98929 | 2138541 | 6.3301 | 0.054117 | No | 1
11.1833 | -0.24595 | 0.00051427 | 0.98876 | 2092725 | 6.3207 | 0.056917 | No | 1
11.2 | -0.26618 | 0.00055656 | 0.98821 | 2047862 | 6.3113 | 0.060576 | No | 1
11.2167 | -0.27923 | 0.00058385 | 0.98764 | 2003932 | 6.3019 | 0.060908 | No | 1
11.2333 | -0.26955 | 0.0005636 | 0.98706 | 1960914 | 6.2925 | 0.061355 | No | 1
11.25 | -0.28367 | 0.00059313 | 0.98646 | 1918787 | 6.283 | 0.065367 | No | 1
11.2667 | -0.30618 | 0.0006402 | 0.98583 | 1877533 | 6.2736 | 0.068558 | No | 1
11.2833 | -0.31298 | 0.00065441 | 0.98517 | 1837132 | 6.2641 | 0.072401 | No | 1
11.3 | -0.34144 | 0.00071393 | 0.98446 | 1797566 | 6.2547 | 0.076638 | No | 1
11.3167 | -0.3519 | 0.0007358 | 0.98373 | 1758818 | 6.2452 | 0.077579 | No | 1
11.3333 | -0.35061 | 0.0007331 | 0.98299 | 1720869 | 6.2357 | 0.080048 | No | 1
11.35 | -0.37495 | 0.000784 | 0.9822 | 1683703 | 6.2263 | 0.085637 | No | 1
11.3667 | -0.40205 | 0.00084065 | 0.98137 | 1647303 | 6.2168 | 0.089717 | No | 1
11.3833 | -0.41281 | 0.00086315 | 0.9805 | 1611653 | 6.2073 | 0.092946 | No | 1
11.4 | -0.43227 | 0.00090385 | 0.97959 | 1576738 | 6.1978 | 0.097658 | No | 1
11.4167 | -0.45661 | 0.00095475 | 0.97864 | 1542542 | 6.1882 | 0.10184 | No | 1
11.4333 | -0.47135 | 0.00098555 | 0.97765 | 1509050 | 6.1787 | 0.10567 | No | 1
11.45 | -0.49264 | 0.0010301 | 0.97663 | 1476247 | 6.1692 | 0.10844 | No | 1
11.4667 | -0.49776 | 0.0010408 | 0.97558 | 1444121 | 6.1596 | 0.11136 | No | 1
11.4833 | -0.52057 | 0.0010885 | 0.97449 | 1412655 | 6.15 | 0.11633 | No | 1
11.5 | -0.54446 | 0.0011384 | 0.97335 | 1381838 | 6.1405 | 0.12281 | No | 1
11.5167 | -0.58132 | 0.0012155 | 0.97214 | 1351656 | 6.1309 | 0.12926 | No | 1
11.5333 | -0.60505 | 0.0012651 | 0.97087 | 1322097 | 6.1213 | 0.13499 | No | 1
11.55 | -0.6355 | 0.0013288 | 0.96955 | 1293146 | 6.1116 | 0.13891 | No | 1
11.5667 | -0.64275 | 0.0013439 | 0.9682 | 1264793 | 6.102 | 0.14207 | No | 1
11.5833 | -0.66633 | 0.0013933 | 0.9668 | 1237025 | 6.0924 | 0.14817 | No | 1
11.6 | -0.70075 | 0.0014652 | 0.96534 | 1209831 | 6.0827 | 0.15501 | No | 1
11.6167 | -0.73135 | 0.0015292 | 0.96381 | 1183199 | 6.0731 | 0.16105 | No | 1
11.6333 | -0.75859 | 0.0015862 | 0.96221 | 1157118 | 6.0634 | 0.1688 | No | 1
11.65 | -0.80521 | 0.0016836 | 0.96054 | 1131576 | 6.0537 | 0.17722 | No | 1
11.6667 | -0.83887 | 0.001754 | 0.9588 | 1106564 | 6.044 | 0.18096 | No | 1
11.6833 | -0.84231 | 0.0017612 | 0.95703 | 1082071 | 6.0343 | 0.18389 | No | 1
11.7 | -0.86848 | 0.0018159 | 0.95521 | 1058087 | 6.0245 | 0.18969 | No | 1
11.7167 | -0.89878 | 0.0018793 | 0.95332 | 1034600 | 6.0148 | 0.19768 | No | 1
11.7333 | -0.94555 | 0.0019771 | 0.95135 | 1011603 | 6.005 | 0.20635 | No | 1
11.75 | -0.98241 | 0.0020541 | 0.9493 | 989085 | 5.9952 | 0.21143 | No | 1
11.7667 | -0.99592 | 0.0020824 | 0.94721 | 967036 | 5.9854 | 0.21595 | No | 1
11.7833 | -1.0276 | 0.0021486 | 0.94506 | 945448 | 5.9756 | 0.22383 | No | 1
11.8 | -1.0728 | 0.0022432 | 0.94281 | 924311 | 5.9658 | 0.23277 | No | 1
11.8167 | -1.1147 | 0.0023308 | 0.94049 | 903617 | 5.956 | 0.2396 | No | 1
11.8333 | -1.1403 | 0.0023843 | 0.93809 | 883357 | 5.9461 | 0.24741 | No | 1
11.85 | -1.1916 | 0.0024916 | 0.93561 | 863523 | 5.9363 | 0.25537 | No | 1
11.8667 | -1.2189 | 0.0025486 | 0.93307 | 844105 | 5.9264 | 0.2606 | No | 1
11.8833 | -1.2446 | 0.0026024 | 0.93047 | 825097 | 5.9165 | 0.2648 | No | 1
11.9 | -1.2622 | 0.0026392 | 0.92781 | 806490 | 5.9066 | 0.27119 | No | 1
11.9167 | -1.3089 | 0.0027367 | 0.92508 | 788276 | 5.8967 | 0.28066 | No | 1
11.9333 | -1.3559 | 0.0028352 | 0.92225 | 770447 | 5.8867 | 0.2881 | No | 1
11.95 | -1.3835 | 0.0028928 | 0.91936 | 752997 | 5.8768 | 0.2934 | No | 1
11.9667 | -1.4104 | 0.0029491 | 0.91639 | 735917 | 5.8668 | 0.30152 | No | 1
11.9833 | -1.465 | 0.0030632 | 0.91333 | 719201 | 5.8569 | 0.31187 | No | 1
12 | -1.5134 | 0.0031645 | 0.91017 | 702841 | 5.8469 | 0.32072 | No | 1
12.0167 | -1.554 | 0.0032492 | 0.90692 | 686830 | 5.8368 | 0.3286 | No | 1
12.0333 | -1.5934 | 0.0033317 | 0.9036 | 671161 | 5.8268 | 0.33534 | No | 1
12.05 | -1.6231 | 0.0033938 | 0.90019 | 655829 | 5.8168 | 0.34265 | No | 1
12.0667 | -1.6682 | 0.003488 | 0.8967 | 640825 | 5.8067 | 0.35209 | No | 1
12.0833 | -1.7186 | 0.0035935 | 0.89311 | 626145 | 5.7967 | 0.3611 | No | 1
12.1 | -1.7597 | 0.0036795 | 0.88943 | 611781 | 5.7866 | 0.36913 | No | 1
12.1167 | -1.8009 | 0.0037655 | 0.88567 | 597726 | 5.7765 | 0.37697 | No | 1
12.1333 | -1.8405 | 0.0038483 | 0.88182 | 583976 | 5.7664 | 0.38489 | No | 1
12.15 | -1.8825 | 0.0039362 | 0.87789 | 570524 | 5.7563 | 0.39179 | No | 1
12.1667 | -1.9124 | 0.0039986 | 0.87389 | 557364 | 5.7461 | 0.39701 | No | 1
12.1833 | -1.9384 | 0.004053 | 0.86982 | 544491 | 5.736 | 0.40478 | No | 1
12.2 | -1.9929 | 0.0041671 | 0.86566 | 531898 | 5.7258 | 0.41495 | No | 1
12.2167 | -2.0426 | 0.004271 | 0.86139 | 519580 | 5.7157 | 0.42383 | No | 1
12.2333 | -2.0847 | 0.0043589 | 0.85704 | 507532 | 5.7055 | 0.4306 | No | 1
12.25 | -2.114 | 0.0044203 | 0.85261 | 495748 | 5.6953 | 0.43761 | No | 1
12.2667 | -2.1585 | 0.0045133 | 0.84807 | 484223 | 5.685 | 0.44961 | No | 1
12.2833 | -2.2369 | 0.0046772 | 0.84342 | 472952 | 5.6748 | 0.46034 | No | 1
12.3 | -2.269 | 0.0047443 | 0.83867 | 461930 | 5.6646 | 0.46665 | No | 1
12.3167 | -2.3043 | 0.0048182 | 0.83385 | 451151 | 5.6543 | 0.47403 | No | 1
12.3333 | -2.3471 | 0.0049077 | 0.82895 | 440611 | 5.6441 | 0.48044 | No | 1
12.35 | -2.3729 | 0.0049615 | 0.82398 | 430305 | 5.6338 | 0.48715 | No | 1
12.3667 | -2.4189 | 0.0050577 | 0.81892 | 420229 | 5.6235 | 0.4963 | No | 1
12.3833 | -2.4686 | 0.0051616 | 0.81376 | 410377 | 5.6132 | 0.50533 | No | 1
12.4 | -2.5136 | 0.0052558 | 0.8085 | 400745 | 5.6029 | 0.51372 | No | 1
12.4167 | -2.5571 | 0.0053466 | 0.80315 | 391328 | 5.5925 | 0.52226 | No | 1
12.4333 | -2.6037 | 0.0054441 | 0.7977 | 382123 | 5.5822 | 0.53194 | No | 1
12.45 | -2.6585 | 0.0055588 | 0.79216 | 373124 | 5.5719 | 0.54037 | No | 1
12.4667 | -2.6928 | 0.0056305 | 0.78652 | 364328 | 5.5615 | 0.5476 | No | 1
12.4833 | -2.7359 | 0.0057206 | 0.78079 | 355731 | 5.5511 | 0.5575 | No | 1
12.5 | -2.7967 | 0.0058478 | 0.77496 | 347328 | 5.5407 | 0.56575 | No | 1
12.5167 | -2.8235 | 0.0059038 | 0.76905 | 339115 | 5.5303 | 0.57153 | No | 1
12.5333 | -2.8599 | 0.0059799 | 0.76306 | 331088 | 5.5199 | 0.57916 | No | 1
12.55 | -2.905 | 0.0060742 | 0.75699 | 323244 | 5.5095 | 0.58634 | No | 1
12.5667 | -2.937 | 0.006141 | 0.75085 | 315579 | 5.4991 | 0.5923 | No | 1
12.5833 | -2.9699 | 0.0062098 | 0.74463 | 308088 | 5.4887 | 0.60044 | No | 1
12.6 | -3.0237 | 0.0063223 | 0.73832 | 300769 | 5.4782 | 0.60905 | No | 1
12.6167 | -3.0613 | 0.0064009 | 0.73191 | 293617 | 5.4678 | 0.61713 | No | 1
12.6333 | -3.1097 | 0.0065022 | 0.72542 | 286630 | 5.4573 | 0.6239 | No | 1
12.65 | -3.1342 | 0.0065535 | 0.71886 | 279803 | 5.4469 | 0.62886 | No | 1
12.6667 | -3.1645 | 0.0066168 | 0.71224 | 273134 | 5.4364 | 0.63398 | No | 1
12.6833 | -3.1906 | 0.0066712 | 0.70557 | 266618 | 5.4259 | 0.63822 | No | 1
12.7 | -3.212 | 0.0067161 | 0.69886 | 260253 | 5.4154 | 0.64225 | No | 1
12.7167 | -3.2359 | 0.006766 | 0.69208 | 254036 | 5.4049 | 0.64759 | No | 1
12.7333 | -3.2703 | 0.006838 | 0.68525 | 247963 | 5.3944 | 0.65253 | No | 1
12.75 | -3.2901 | 0.0068793 | 0.67836 | 242030 | 5.3839 | 0.65761 | No | 1
12.7667 | -3.3259 | 0.0069541 | 0.67142 | 236237 | 5.3733 | 0.6625 | No | 1
12.7833 | -3.3436 | 0.0069913 | 0.66443 | 230578 | 5.3628 | 0.66532 | No | 1
12.8 | -3.3584 | 0.0070221 | 0.6574 | 225051 | 5.3523 | 0.66939 | No | 1
12.8167 | -3.3887 | 0.0070855 | 0.65032 | 219654 | 5.3417 | 0.67374 | No | 1
12.8333 | -3.4061 | 0.007122 | 0.6432 | 214383 | 5.3312 | 0.6752 | No | 1
12.85 | -3.4071 | 0.0071241 | 0.63607 | 209236 | 5.3206 | 0.67645 | No | 1
12.8667 | -3.4223 | 0.0071558 | 0.62891 | 204210 | 5.3101 | 0.67956 | No | 1
12.8833 | -3.4419 | 0.0071969 | 0.62172 | 199303 | 5.2995 | 0.68068 | No | 1
12.9 | -3.4368 | 0.0071862 | 0.61453 | 194511 | 5.2889 | 0.68062 | No | 1
12.9167 | -3.4444 | 0.007202 | 0.60732 | 189832 | 5.2784 | 0.68345 | No | 1
12.9333 | -3.4683 | 0.0072519 | 0.60007 | 185264 | 5.2678 | 0.6868 | No | 1
12.95 | -3.481 | 0.0072786 | 0.59279 | 180805 | 5.2572 | 0.68999 | No | 1
12.9667 | -3.5031 | 0.0073247 | 0.58548 | 176451 | 5.2466 | 0.69144 | No | 1
12.9833 | -3.498 | 0.007314 | 0.57816 | 172201 | 5.236 | 0.69087 | No | 1
13 | -3.4994 | 0.0073171 | 0.57084 | 168052 | 5.2254 | 0.69064 | No | 1
13.0167 | -3.4977 | 0.0073134 | 0.56353 | 164002 | 5.2148 | 0.68991 | No | 1
13.0333 | -3.4938 | 0.0073053 | 0.55622 | 160048 | 5.2043 | 0.68974 | No | 1
13.05 | -3.4976 | 0.0073131 | 0.54891 | 156189 | 5.1937 | 0.68981 | No | 1
13.0667 | -3.4958 | 0.0073095 | 0.5416 | 152423 | 5.1831 | 0.6885 | No | 1
13.0833 | -3.4855 | 0.0072879 | 0.5343 | 148746 | 5.1724 | 0.68806 | No | 1
13.1 | -3.4923 | 0.0073022 | 0.52701 | 145158 | 5.1618 | 0.68744 | No | 1
13.1167 | -3.48 | 0.0072765 | 0.51973 | 141656 | 5.1512 | 0.6846 | No | 1
13.1333 | -3.4641 | 0.0072432 | 0.51248 | 138239 | 5.1406 | 0.68288 | No | 1
13.15 | -3.463 | 0.0072408 | 0.50524 | 134903 | 5.13 | 0.68263 | No | 1
13.1667 | -3.4618 | 0.0072384 | 0.49801 | 131649 | 5.1194 | 0.68011 | No | 1
13.1833 | -3.4373 | 0.0071872 | 0.49082 | 128472 | 5.1088 | 0.6765 | No | 1
13.2 | -3.4251 | 0.0071615 | 0.48365 | 125373 | 5.0982 | 0.67406 | No | 1
13.2167 | -3.4122 | 0.0071346 | 0.47653 | 122348 | 5.0876 | 0.66987 | No | 1
13.2333 | -3.382 | 0.0070716 | 0.46945 | 119397 | 5.077 | 0.66557 | No | 1
13.25 | -3.3678 | 0.0070418 | 0.46241 | 116517 | 5.0664 | 0.66178 | No | 1
13.2667 | -3.3427 | 0.0069893 | 0.45542 | 113707 | 5.0558 | 0.65758 | No | 1
13.2833 | -3.324 | 0.0069502 | 0.44846 | 110965 | 5.0452 | 0.65385 | No | 1
13.3 | -3.3036 | 0.0069076 | 0.44156 | 108290 | 5.0346 | 0.64985 | No | 1
13.3167 | -3.2819 | 0.0068622 | 0.43469 | 105681 | 5.024 | 0.64563 | No | 1
13.3333 | -3.2592 | 0.0068148 | 0.42787 | 103134 | 5.0134 | 0.64372 | No | 1
13.35 | -3.2607 | 0.0068179 | 0.42106 | 100650 | 5.0028 | 0.64149 | No | 1
13.3667 | -3.2347 | 0.0067635 | 0.41431 | 98226 | 4.9922 | 0.63489 | No | 1
13.3833 | -3.1917 | 0.0066737 | 0.40762 | 95862 | 4.9816 | 0.62821 | No | 1
13.4 | -3.1647 | 0.0066171 | 0.401 | 93555 | 4.9711 | 0.6237 | No | 1
13.4167 | -3.1437 | 0.0065732 | 0.39443 | 91305 | 4.9605 | 0.61888 | No | 1
13.4333 | -3.1133 | 0.0065096 | 0.38791 | 89110 | 4.9499 | 0.61481 | No | 1
13.45 | -3.0998 | 0.0064814 | 0.38144 | 86968 | 4.9394 | 0.6114 | No | 1
13.4667 | -3.0759 | 0.0064314 | 0.37501 | 84879 | 4.9288 | 0.60641 | No | 1
13.4833 | -3.0462 | 0.0063694 | 0.36863 | 82842 | 4.9183 | 0.60254 | No | 1
13.5 | -3.0336 | 0.0063431 | 0.36229 | 80854 | 4.9077 | 0.59818 | No | 1
13.5167 | -2.9988 | 0.0062702 | 0.35601 | 78915 | 4.8972 | 0.59371 | No | 1
13.5333 | -2.9851 | 0.0062417 | 0.34978 | 77024 | 4.8866 | 0.58978 | No | 1
13.55 | -2.9554 | 0.0061796 | 0.3436 | 75179 | 4.8761 | 0.58464 | No | 1
13.5667 | -2.9296 | 0.0061256 | 0.33746 | 73379 | 4.8656 | 0.58141 | No | 1
13.5833 | -2.919 | 0.0061034 | 0.33137 | 71624 | 4.8551 | 0.57799 | No | 1
13.6 | -2.8912 | 0.0060452 | 0.32531 | 69912 | 4.8446 | 0.57414 | No | 1
13.6167 | -2.8761 | 0.0060138 | 0.31931 | 68242 | 4.8341 | 0.56943 | No | 1
13.6333 | -2.8396 | 0.0059374 | 0.31337 | 66613 | 4.8236 | 0.56227 | No | 1
13.65 | -2.7998 | 0.0058543 | 0.3075 | 65025 | 4.8131 | 0.55815 | No | 1
13.6667 | -2.7938 | 0.0058417 | 0.30167 | 63475 | 4.8026 | 0.55518 | No | 1
13.6833 | -2.7655 | 0.0057825 | 0.29589 | 61964 | 4.7921 | 0.54988 | No | 1
13.7 | -2.736 | 0.0057208 | 0.29016 | 60489 | 4.7817 | 0.54495 | No | 1
13.7167 | -2.7114 | 0.0056693 | 0.2845 | 59052 | 4.7712 | 0.5396 | No | 1
13.7333 | -2.6777 | 0.0055989 | 0.2789 | 57649 | 4.7608 | 0.53211 | No | 1
13.75 | -2.6316 | 0.0055024 | 0.27339 | 56282 | 4.7504 | 0.52438 | No | 1
13.7667 | -2.5957 | 0.0054273 | 0.26796 | 54948 | 4.74 | 0.5196 | No | 1
13.7833 | -2.5788 | 0.0053921 | 0.26257 | 53646 | 4.7295 | 0.51522 | No | 1
13.8 | -2.5468 | 0.0053252 | 0.25724 | 52377 | 4.7191 | 0.50959 | No | 1
13.8167 | -2.5176 | 0.0052642 | 0.25199 | 51140 | 4.7088 | 0.50145 | No | 1
13.8333 | -2.4606 | 0.005145 | 0.24683 | 49932 | 4.6984 | 0.49377 | No | 1
13.85 | -2.4362 | 0.0050938 | 0.24174 | 48755 | 4.688 | 0.48833 | No | 1
13.8667 | -2.4013 | 0.0050209 | 0.23673 | 47606 | 4.6777 | 0.48047 | No | 1
13.8833 | -2.353 | 0.00492 | 0.2318 | 46486 | 4.6673 | 0.47173 | No | 1
13.9 | -2.3094 | 0.0048289 | 0.22697 | 45394 | 4.657 | 0.46502 | No | 1
13.9167 | -2.2813 | 0.00477 | 0.2222 | 44328 | 4.6467 | 0.45877 | No | 1
13.9333 | -2.2423 | 0.0046885 | 0.21751 | 43289 | 4.6364 | 0.45222 | No | 1
13.95 | -2.2113 | 0.0046236 | 0.21288 | 42275 | 4.6261 | 0.44688 | No | 1
13.9667 | -2.1844 | 0.0045673 | 0.20831 | 41286 | 4.6158 | 0.44256 | No | 1
13.9833 | -2.1632 | 0.0045231 | 0.2038 | 40322 | 4.6055 | 0.43678 | No | 1
14 | -2.1221 | 0.0044372 | 0.19935 | 39381 | 4.5953 | 0.43033 | No | 1
14.0167 | -2.0944 | 0.0043793 | 0.19497 | 38464 | 4.5851 | 0.42458 | No | 1
14.0333 | -2.0603 | 0.004308 | 0.19067 | 37569 | 4.5748 | 0.41791 | No | 1
14.05 | -2.0236 | 0.0042313 | 0.18644 | 36696 | 4.5646 | 0.41085 | No | 1
14.0667 | -1.9859 | 0.0041523 | 0.18228 | 35844 | 4.5544 | 0.40378 | No | 1
14.0833 | -1.9492 | 0.0040756 | 0.1782 | 35013 | 4.5442 | 0.3974 | No | 1
14.1 | -1.9183 | 0.004011 | 0.1742 | 34203 | 4.5341 | 0.39095 | No | 1
14.1167 | -1.881 | 0.003933 | 0.17026 | 33413 | 4.5239 | 0.38414 | No | 1
14.1333 | -1.8467 | 0.0038614 | 0.1664 | 32642 | 4.5138 | 0.37787 | No | 1
14.15 | -1.8148 | 0.0037946 | 0.16261 | 31889 | 4.5036 | 0.37037 | No | 1
14.1667 | -1.7688 | 0.0036984 | 0.1589 | 31156 | 4.4935 | 0.36377 | No | 1
14.1833 | -1.7457 | 0.0036501 | 0.15525 | 30440 | 4.4834 | 0.35889 | No | 1
14.2 | -1.7165 | 0.003589 | 0.15166 | 29742 | 4.4734 | 0.35279 | No | 1
14.2167 | -1.6816 | 0.0035161 | 0.14814 | 29060 | 4.4633 | 0.34737 | No | 1
14.2333 | -1.6591 | 0.003469 | 0.14467 | 28396 | 4.4533 | 0.34301 | No | 1
14.25 | -1.6346 | 0.0034178 | 0.14127 | 27747 | 4.4432 | 0.33553 | No | 1
14.2667 | -1.5822 | 0.0033083 | 0.13795 | 27115 | 4.4332 | 0.3271 | No | 1
14.2833 | -1.5489 | 0.0032386 | 0.1347 | 26497 | 4.4232 | 0.32242 | No | 1
14.3 | -1.5325 | 0.0032043 | 0.13151 | 25895 | 4.4132 | 0.31682 | No | 1
14.3167 | -1.4904 | 0.0031164 | 0.12839 | 25307 | 4.4032 | 0.30965 | No | 1
14.3333 | -1.4592 | 0.0030512 | 0.12534 | 24734 | 4.3933 | 0.30346 | No | 1
14.35 | -1.4268 | 0.0029834 | 0.12234 | 24175 | 4.3834 | 0.29888 | No | 1
14.3667 | -1.411 | 0.0029504 | 0.1194 | 23629 | 4.3734 | 0.29437 | No | 1
14.3833 | -1.3794 | 0.0028842 | 0.11652 | 23096 | 4.3635 | 0.28742 | No | 1
14.4 | -1.3406 | 0.002803 | 0.11371 | 22576 | 4.3536 | 0.28207 | No | 1
14.4167 | -1.3243 | 0.002769 | 0.11094 | 22069 | 4.3438 | 0.27821 | No | 1
14.4333 | -1.2997 | 0.0027175 | 0.10823 | 21574 | 4.3339 | 0.27152 | No | 1
14.45 | -1.2569 | 0.002628 | 0.1056 | 21091 | 4.3241 | 0.26413 | No | 1
14.4667 | -1.2258 | 0.0025631 | 0.10304 | 20619 | 4.3143 | 0.25671 | No | 1
14.4833 | -1.183 | 0.0024736 | 0.10055 | 20159 | 4.3045 | 0.25065 | No | 1
14.5 | -1.165 | 0.0024359 | 0.098124 | 19710 | 4.2947 | 0.24592 | No | 1
14.5167 | -1.1348 | 0.0023729 | 0.095738 | 19271 | 4.2849 | 0.24234 | No | 1
14.5333 | -1.1276 | 0.0023577 | 0.093399 | 18843 | 4.2752 | 0.23746 | No | 1
14.55 | -1.0854 | 0.0022695 | 0.091119 | 18425 | 4.2654 | 0.23087 | No | 1
14.5667 | -1.0625 | 0.0022215 | 0.08889 | 18018 | 4.2557 | 0.22772 | No | 1
14.5833 | -1.0525 | 0.0022006 | 0.086701 | 17620 | 4.246 | 0.22347 | No | 1
14.6 | -1.0194 | 0.0021316 | 0.084554 | 17231 | 4.2363 | 0.21986 | No | 1
14.6167 | -1.0154 | 0.0021231 | 0.082438 | 16852 | 4.2267 | 0.21784 | No | 1
14.6333 | -0.99732 | 0.0020853 | 0.08036 | 16481 | 4.217 | 0.21278 | No | 1
14.65 | -0.96521 | 0.0020182 | 0.078333 | 16120 | 4.2074 | 0.2078 | No | 1
14.6667 | -0.94805 | 0.0019823 | 0.076354 | 15766 | 4.1977 | 0.20374 | No | 1
14.6833 | -0.92463 | 0.0019333 | 0.074414 | 15422 | 4.1881 | 0.20033 | No | 1
14.7 | -0.91358 | 0.0019102 | 0.072509 | 15085 | 4.1785 | 0.19708 | No | 1
14.7167 | -0.89169 | 0.0018644 | 0.070648 | 14756 | 4.169 | 0.19195 | No | 1
14.7333 | -0.86354 | 0.0018056 | 0.068835 | 14435 | 4.1594 | 0.18756 | No | 1
14.75 | -0.84867 | 0.0017745 | 0.067059 | 14122 | 4.1499 | 0.18494 | No | 1
14.7667 | -0.8367 | 0.0017495 | 0.065312 | 13815 | 4.1404 | 0.18196 | No | 1
14.7833 | -0.81877 | 0.001712 | 0.063599 | 13516 | 4.1308 | 0.17849 | No | 1
14.8 | -0.80238 | 0.0016777 | 0.061924 | 13224 | 4.1214 | 0.17455 | No | 1
14.8167 | -0.78034 | 0.0016316 | 0.060289 | 12939 | 4.1119 | 0.17063 | No | 1
14.8333 | -0.76424 | 0.001598 | 0.058692 | 12660 | 4.1024 | 0.16718 | No | 1
14.85 | -0.74663 | 0.0015611 | 0.057132 | 12388 | 4.093 | 0.1631 | No | 1
14.8667 | -0.72504 | 0.001516 | 0.055603 | 12122 | 4.0836 | 0.16129 | No | 1
14.8833 | -0.72787 | 0.0015219 | 0.054092 | 11862 | 4.0742 | 0.15976 | No | 1
14.9 | -0.70903 | 0.0014825 | 0.05261 | 11608 | 4.0648 | 0.15577 | No | 1
14.9167 | -0.68974 | 0.0014422 | 0.051162 | 11360 | 4.0554 | 0.15282 | No | 1
14.9333 | -0.68036 | 0.0014226 | 0.049738 | 11118 | 4.046 | 0.15133 | No | 1
14.95 | -0.67434 | 0.00141 | 0.04834 | 10881 | 4.0367 | 0.14764 | No | 1
14.9667 | -0.64528 | 0.0013492 | 0.046973 | 10649 | 4.0273 | 0.14504 | No | 1
14.9833 | -0.64917 | 0.0013574 | 0.045624 | 10423 | 4.018 | 0.14418 | No | 1
15 | -0.63568 | 0.0013292 | 0.044301 | 10202 | 4.0087 | 0.14011 | No | 1
15.0167 | -0.61104 | 0.0012776 | 0.043021 | 9986 | 3.9994 | 0.13528 | No | 1
15.0333 | -0.59098 | 0.0012357 | 0.041772 | 9775 | 3.9901 | 0.13361 | No | 1
15.05 | -0.59457 | 0.0012432 | 0.04055 | 9568 | 3.9808 | 0.13017 | No | 1
15.0667 | -0.5588 | 0.0011684 | 0.039367 | 9366 | 3.9716 | 0.12531 | No | 1
15.0833 | -0.55003 | 0.0011501 | 0.038216 | 9169 | 3.9623 | 0.12363 | No | 1
15.1 | -0.54248 | 0.0011343 | 0.037078 | 8976 | 3.9531 | 0.12275 | No | 1
15.1167 | -0.54089 | 0.001131 | 0.035958 | 8788 | 3.9439 | 0.12016 | No | 1
15.1333 | -0.51823 | 0.0010836 | 0.03487 | 8603 | 3.9346 | 0.11623 | No | 1
15.15 | -0.50504 | 0.001056 | 0.033809 | 8423 | 3.9255 | 0.11438 | No | 1
15.1667 | -0.5007 | 0.0010469 | 0.032759 | 8246 | 3.9162 | 0.11406 | No | 1
15.1833 | -0.50109 | 0.0010477 | 0.031719 | 8074 | 3.9071 | 0.11269 | No | 1
15.2 | -0.48759 | 0.0010195 | 0.030698 | 7905 | 3.8979 | 0.10994 | No | 1
15.2167 | -0.47592 | 0.00099512 | 0.029706 | 7740 | 3.8887 | 0.10673 | No | 1
15.2333 | -0.45846 | 0.0009586 | 0.028748 | 7579 | 3.8796 | 0.10253 | No | 1
15.25 | -0.43825 | 0.00091634 | 0.027814 | 7421 | 3.8705 | 0.10189 | No | 1
15.2667 | -0.45206 | 0.00094523 | 0.026876 | 7267 | 3.8614 | 0.10351 | No | 1
15.2833 | -0.45153 | 0.00094412 | 0.025934 | 7116 | 3.8522 | 0.103 | No | 1
15.3 | -0.44689 | 0.00093441 | 0.025007 | 6968 | 3.8431 | 0.10048 | No | 1
15.3167 | -0.42881 | 0.00089661 | 0.024109 | 6823 | 3.834 | 0.096614 | No | 1
15.3333 | -0.41257 | 0.00086265 | 0.023239 | 6682 | 3.8249 | 0.094563 | No | 1
15.35 | -0.41036 | 0.00085803 | 0.022385 | 6543 | 3.8158 | 0.093118 | No | 1
15.3667 | -0.39946 | 0.00083524 | 0.021547 | 6408 | 3.8067 | 0.091263 | No | 1
15.3833 | -0.39374 | 0.00082328 | 0.020737 | 6275 | 3.7976 | 0.086993 | No | 1
15.4 | -0.36193 | 0.00075678 | 0.019962 | 6145 | 3.7885 | 0.083699 | No | 1
15.4167 | -0.36476 | 0.00076269 | 0.019215 | 6018 | 3.7795 | 0.080994 | No | 1
15.4333 | -0.33814 | 0.00070703 | 0.018503 | 5894 | 3.7704 | 0.075838 | No | 1
15.45 | -0.31976 | 0.0006686 | 0.017822 | 5772 | 3.7613 | 0.074333 | No | 1
15.4667 | -0.32488 | 0.0006793 | 0.017163 | 5653 | 3.7523 | 0.07115 | No | 1
15.4833 | -0.292 | 0.00061056 | 0.016538 | 5536 | 3.7432 | 0.066818 | No | 1
15.5 | -0.2872 | 0.00060052 | 0.01594 | 5422 | 3.7342 | 0.065085 | No | 1
15.5167 | -0.27691 | 0.000579 | 0.015355 | 5310 | 3.7251 | 0.063981 | No | 1
15.5333 | -0.2776 | 0.00058045 | 0.01477 | 5200 | 3.716 | 0.065197 | No | 1
15.55 | -0.28745 | 0.00060104 | 0.014183 | 5093 | 3.707 | 0.064314 | No | 1
15.5667 | -0.26999 | 0.00056452 | 0.013614 | 4987 | 3.6978 | 0.061137 | No | 1
15.5833 | -0.26 | 0.00054364 | 0.013064 | 4884 | 3.6888 | 0.060369 | No | 1
15.6 | -0.26344 | 0.00055083 | 0.01251 | 4783 | 3.6797 | 0.061725 | No | 1
15.6167 | -0.27191 | 0.00056855 | 0.011953 | 4685 | 3.6707 | 0.061123 | No | 1
15.6333 | -0.25842 | 0.00054033 | 0.011413 | 4588 | 3.6616 | 0.057863 | No | 1
15.65 | -0.24385 | 0.00050987 | 0.010902 | 4493 | 3.6525 | 0.054707 | No | 1
15.6667 | -0.23127 | 0.00048356 | 0.010414 | 4400 | 3.6435 | 0.052761 | No | 1
15.6833 | -0.22723 | 0.00047512 | 0.0099404 | 4309 | 3.6344 | 0.051428 | No | 1
15.7 | -0.21999 | 0.00045998 | 0.0094778 | 4219 | 3.6252 | 0.050285 | No | 1
15.7167 | -0.21763 | 0.00045505 | 0.0090258 | 4132 | 3.6162 | 0.049018 | No | 1
15.7333 | -0.20932 | 0.00043767 | 0.0085917 | 4046 | 3.607 | 0.046278 | No | 1
15.75 | -0.19414 | 0.00040594 | 0.0081743 | 3962 | 3.5979 | 0.045236 | No | 1
15.7667 | -0.20064 | 0.00041952 | 0.0077596 | 3880 | 3.5888 | 0.045623 | No | 1
15.7833 | -0.19797 | 0.00041395 | 0.0073527 | 3799 | 3.5797 | 0.04339 | No | 1
15.8 | -0.18158 | 0.00037966 | 0.0069613 | 3719 | 3.5704 | 0.042151 | No | 1
15.8167 | -0.18761 | 0.00039228 | 0.006573 | 3642 | 3.5613 | 0.042581 | No | 1
15.8333 | -0.18586 | 0.00038862 | 0.0061897 | 3566 | 3.5522 | 0.040956 | No | 1
15.85 | -0.17389 | 0.00036359 | 0.0058173 | 3491 | 3.5429 | 0.040061 | No | 1
15.8667 | -0.17855 | 0.00037333 | 0.0054585 | 3418 | 3.5338 | 0.0379 | No | 1
15.8833 | -0.15544 | 0.00032501 | 0.0051214 | 3346 | 3.5245 | 0.03519 | No | 1
15.9 | -0.15522 | 0.00032455 | 0.0048022 | 3276 | 3.5153 | 0.033919 | No | 1
15.9167 | -0.14477 | 0.0003027 | 0.0044941 | 3206 | 3.506 | 0.032649 | No | 1
15.9333 | -0.14455 | 0.00030224 | 0.0041926 | 3139 | 3.4968 | 0.032359 | No | 1
15.95 | -0.1428 | 0.00029858 | 0.0038841 | 3072 | 3.4874 | 0.034023 | No | 1
15.9667 | -0.15997 | 0.00033449 | 0.0035682 | 3007 | 3.4781 | 0.033793 | No | 1
15.9833 | -0.14144 | 0.00029574 | 0.0032665 | 2943 | 3.4688 | 0.030831 | No | 1
16 | -0.1342 | 0.0002806 | 0.0029856 | 2880 | 3.4594 | 0.02919 | No | 1
16.0167 | -0.12741 | 0.00026641 | 0.0027159 | 2819 | 3.4501 | 0.028301 | No | 1
16.0333 | -0.12689 | 0.00026531 | 0.0024557 | 2758 | 3.4406 | 0.027024 | No | 1
16.05 | -0.11659 | 0.00024379 | 0.0022094 | 2699 | 3.4312 | 0.025194 | No | 1
16.0667 | -0.11103 | 0.00023215 | 0.0019868 | 2641 | 3.4218 | 0.021855 | No | 1
16.0833 | -0.087003 | 0.00018192 | 0.0017936 | 2584 | 3.4123 | 0.018887 | No | 1
16.1 | -0.084645 | 0.00017699 | 0.0016139 | 2528 | 3.4028 | 0.018863 | No | 1
16.1167 | -0.087321 | 0.00018258 | 0.001426 | 2473 | 3.3932 | 0.020505 | No | 1
16.1333 | -0.10022 | 0.00020956 | 0.0012303 | 2419 | 3.3836 | 0.020339 | No | 1
16.15 | -0.086419 | 0.00018069 | 0.0010454 | 2366 | 3.374 | 0.018149 | No | 1
16.1667 | -0.080703 | 0.00016874 | 0.00086656 | 2314 | 3.3644 | 0.018928 | No | 1
16.1833 | -0.094213 | 0.00019699 | 0.00067305 | 2263 | 3.3547 | 0.021048 | No | 1
16.2 | -0.10101 | 0.0002112 | 0.00046644 | 2213 | 3.345 | 0.021478 | No | 1
16.2167 | -0.098956 | 0.00020691 | 0.00026548 | 2164 | 3.3353 | 0.019731 | No | 1
16.2333 | -0.085459 | 0.00017869 | 8.4534e-05 | 2116 | 3.3255 | 0.017231 | No | 1