## Sample Details
Administrative Information
Export date | 10 December 2024 09:41:59
Culture name | en-GB
Decimal separator | .
Workspace name | November 2024
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\2024\November 2024\
File name | ICF_04_12_2024-0001.sample
Creation date | 05 December 2024 08:54:50
Created by | OBPC
Comments | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Software version | Agilent SEC Software - 2.1.9.34851
Sample Information
Sample name | A
Information
Sample type | Sample
Injection date | 05 December 2024
Vial number | None
Injection number | 1
Injection volume (µL) | 200
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 0
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Instrument name | Agilent DataStream
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV

## Raw Data
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV
Raw Data
RT (mins) | Response Trace 1
0 | 3.5324
0.016667 | 3.5117
0.033333 | 3.4887
0.05 | 3.4834
0.066667 | 3.4879
0.083333 | 3.5098
0.1 | 3.5207
0.11667 | 3.5296
0.13333 | 3.5432
0.15 | 3.5371
0.16667 | 3.5307
0.18333 | 3.5447
0.2 | 3.5404
0.21667 | 3.5442
0.23333 | 3.5503
0.25 | 3.5516
0.26667 | 3.5506
0.28333 | 3.5703
0.3 | 3.5636
0.31667 | 3.5722
0.33333 | 3.5664
0.35 | 3.5664
0.36667 | 3.577
0.38333 | 3.5844
0.4 | 3.5815
0.41667 | 3.5841
0.43333 | 3.605
0.45 | 3.5972
0.46667 | 3.5758
0.48333 | 3.5842
0.5 | 3.5854
0.51667 | 3.5793
0.53333 | 3.5766
0.55 | 3.5783
0.56667 | 3.5854
0.58333 | 3.5885
0.6 | 3.6007
0.61667 | 3.5966
0.63333 | 3.5719
0.65 | 3.5619
0.66667 | 3.5494
0.68333 | 3.5355
0.7 | 3.5288
0.71667 | 3.5531
0.73333 | 3.5551
0.75 | 3.5528
0.76667 | 3.5673
0.78333 | 3.5651
0.8 | 3.5712
0.81667 | 3.5726
0.83333 | 3.578
0.85 | 3.5883
0.86667 | 3.5911
0.88333 | 3.5853
0.9 | 3.6066
0.91667 | 3.5921
0.93333 | 3.6021
0.95 | 3.6131
0.96667 | 3.6144
0.98333 | 3.6063
1 | 3.6004
1.0167 | 3.5992
1.0333 | 3.6063
1.05 | 3.626
1.0667 | 3.617
1.0833 | 3.6123
1.1 | 3.626
1.1167 | 3.6448
1.1333 | 3.6408
1.15 | 3.6625
1.1667 | 3.6716
1.1833 | 3.65
1.2 | 3.652
1.2167 | 3.6565
1.2333 | 3.6565
1.25 | 3.6677
1.2667 | 3.662
1.2833 | 3.6585
1.3 | 3.6596
1.3167 | 3.6497
1.3333 | 3.6625
1.35 | 3.6514
1.3667 | 3.6573
1.3833 | 3.6529
1.4 | 3.6648
1.4167 | 3.6428
1.4333 | 3.6489
1.45 | 3.6343
1.4667 | 3.6597
1.4833 | 3.6669
1.5 | 3.6883
1.5167 | 3.6901
1.5333 | 3.6797
1.55 | 3.6881
1.5667 | 3.68
1.5833 | 3.6861
1.6 | 3.6835
1.6167 | 3.6846
1.6333 | 3.6988
1.65 | 3.6955
1.6667 | 3.6924
1.6833 | 3.7066
1.7 | 3.7113
1.7167 | 3.7139
1.7333 | 3.7099
1.75 | 3.7083
1.7667 | 3.7273
1.7833 | 3.7234
1.8 | 3.7258
1.8167 | 3.7159
1.8333 | 3.7019
1.85 | 3.7168
1.8667 | 3.7251
1.8833 | 3.7217
1.9 | 3.7171
1.9167 | 3.7228
1.9333 | 3.7376
1.95 | 3.7315
1.9667 | 3.7249
1.9833 | 3.7344
2 | 3.7287
2.0167 | 3.7203
2.0333 | 3.7165
2.05 | 3.717
2.0667 | 3.7409
2.0833 | 3.7489
2.1 | 3.7461
2.1167 | 3.7473
2.1333 | 3.7315
2.15 | 3.7429
2.1667 | 3.744
2.1833 | 3.7614
2.2 | 3.7621
2.2167 | 3.7693
2.2333 | 3.7711
2.25 | 3.7701
2.2667 | 3.7843
2.2833 | 3.7847
2.3 | 3.8029
2.3167 | 3.7844
2.3333 | 3.7858
2.35 | 3.7936
2.3667 | 3.7827
2.3833 | 3.8015
2.4 | 3.7948
2.4167 | 3.8183
2.4333 | 3.8221
2.45 | 3.8166
2.4667 | 3.816
2.4833 | 3.8236
2.5 | 3.8265
2.5167 | 3.827
2.5333 | 3.8209
2.55 | 3.8433
2.5667 | 3.8493
2.5833 | 3.8328
2.6 | 3.8384
2.6167 | 3.8245
2.6333 | 3.8264
2.65 | 3.8367
2.6667 | 3.8361
2.6833 | 3.8291
2.7 | 3.865
2.7167 | 3.8548
2.7333 | 3.8464
2.75 | 3.8361
2.7667 | 3.8367
2.7833 | 3.8322
2.8 | 3.8438
2.8167 | 3.8505
2.8333 | 3.8332
2.85 | 3.8401
2.8667 | 3.8718
2.8833 | 3.8583
2.9 | 3.8454
2.9167 | 3.8619
2.9333 | 3.8683
2.95 | 3.8464
2.9667 | 3.8537
2.9833 | 3.8564
3 | 3.8502
3.0167 | 3.8471
3.0333 | 3.854
3.05 | 3.8447
3.0667 | 3.8607
3.0833 | 3.866
3.1 | 3.861
3.1167 | 3.8663
3.1333 | 3.8905
3.15 | 3.8818
3.1667 | 3.8781
3.1833 | 3.8703
3.2 | 3.8796
3.2167 | 3.8943
3.2333 | 3.8866
3.25 | 3.8853
3.2667 | 3.8908
3.2833 | 3.8908
3.3 | 3.8857
3.3167 | 3.8779
3.3333 | 3.8729
3.35 | 3.8796
3.3667 | 3.8642
3.3833 | 3.883
3.4 | 3.8633
3.4167 | 3.8538
3.4333 | 3.85
3.45 | 3.8447
3.4667 | 3.861
3.4833 | 3.8699
3.5 | 3.8648
3.5167 | 3.8718
3.5333 | 3.8731
3.55 | 3.8772
3.5667 | 3.8676
3.5833 | 3.8813
3.6 | 3.8895
3.6167 | 3.8929
3.6333 | 3.879
3.65 | 3.8869
3.6667 | 3.8837
3.6833 | 3.8842
3.7 | 3.8909
3.7167 | 3.881
3.7333 | 3.8805
3.75 | 3.8805
3.7667 | 3.8795
3.7833 | 3.8772
3.8 | 3.875
3.8167 | 3.8877
3.8333 | 3.8793
3.85 | 3.8775
3.8667 | 3.8851
3.8833 | 3.8897
3.9 | 3.8845
3.9167 | 3.9059
3.9333 | 3.8859
3.95 | 3.8772
3.9667 | 3.8729
3.9833 | 3.8746
4 | 3.8697
4.0167 | 3.8567
4.0333 | 3.8662
4.05 | 3.8601
4.0667 | 3.8631
4.0833 | 3.8674
4.1 | 3.8503
4.1167 | 3.8561
4.1333 | 3.8607
4.15 | 3.8633
4.1667 | 3.8546
4.1833 | 3.8381
4.2 | 3.8529
4.2167 | 3.8517
4.2333 | 3.8526
4.25 | 3.8522
4.2667 | 3.8474
4.2833 | 3.8448
4.3 | 3.8337
4.3167 | 3.8247
4.3333 | 3.8285
4.35 | 3.834
4.3667 | 3.8404
4.3833 | 3.8309
4.4 | 3.8186
4.4167 | 3.8168
4.4333 | 3.8361
4.45 | 3.8287
4.4667 | 3.8261
4.4833 | 3.8261
4.5 | 3.8099
4.5167 | 3.8247
4.5333 | 3.8151
4.55 | 3.8023
4.5667 | 3.8061
4.5833 | 3.8239
4.6 | 3.8117
4.6167 | 3.8085
4.6333 | 3.7984
4.65 | 3.8209
4.6667 | 3.8226
4.6833 | 3.8058
4.7 | 3.8125
4.7167 | 3.7911
4.7333 | 3.8047
4.75 | 3.8107
4.7667 | 3.8001
4.7833 | 3.7942
4.8 | 3.7867
4.8167 | 3.7814
4.8333 | 3.7751
4.85 | 3.7862
4.8667 | 3.8068
4.8833 | 3.7907
4.9 | 3.794
4.9167 | 3.7702
4.9333 | 3.7769
4.95 | 3.7859
4.9667 | 3.7916
4.9833 | 3.789
5 | 3.7801
5.0167 | 3.7864
5.0333 | 3.7893
5.05 | 3.7775
5.0667 | 3.7688
5.0833 | 3.7769
5.1 | 3.7707
5.1167 | 3.7653
5.1333 | 3.7597
5.15 | 3.7566
5.1667 | 3.7542
5.1833 | 3.7579
5.2 | 3.7455
5.2167 | 3.7373
5.2333 | 3.7394
5.25 | 3.7428
5.2667 | 3.7432
5.2833 | 3.7368
5.3 | 3.7298
5.3167 | 3.7305
5.3333 | 3.7418
5.35 | 3.7351
5.3667 | 3.733
5.3833 | 3.7373
5.4 | 3.7205
5.4167 | 3.7246
5.4333 | 3.7122
5.45 | 3.7185
5.4667 | 3.72
5.4833 | 3.7127
5.5 | 3.7031
5.5167 | 3.689
5.5333 | 3.7002
5.55 | 3.7106
5.5667 | 3.7019
5.5833 | 3.699
5.6 | 3.6968
5.6167 | 3.6782
5.6333 | 3.6919
5.65 | 3.6806
5.6667 | 3.6747
5.6833 | 3.6591
5.7 | 3.6485
5.7167 | 3.6616
5.7333 | 3.6529
5.75 | 3.6526
5.7667 | 3.6584
5.7833 | 3.6617
5.8 | 3.6689
5.8167 | 3.6764
5.8333 | 3.6517
5.85 | 3.6526
5.8667 | 3.639
5.8833 | 3.6387
5.9 | 3.6398
5.9167 | 3.6381
5.9333 | 3.6423
5.95 | 3.6367
5.9667 | 3.625
5.9833 | 3.633
6 | 3.6135
6.0167 | 3.6034
6.0333 | 3.6216
6.05 | 3.6173
6.0667 | 3.6198
6.0833 | 3.6089
6.1 | 3.61
6.1167 | 3.6069
6.1333 | 3.6071
6.15 | 3.592
6.1667 | 3.5944
6.1833 | 3.601
6.2 | 3.5987
6.2167 | 3.5961
6.2333 | 3.6018
6.25 | 3.6059
6.2667 | 3.5929
6.2833 | 3.6016
6.3 | 3.6118
6.3167 | 3.606
6.3333 | 3.5966
6.35 | 3.5921
6.3667 | 3.5963
6.3833 | 3.6021
6.4 | 3.5799
6.4167 | 3.5757
6.4333 | 3.5828
6.45 | 3.5818
6.4667 | 3.5725
6.4833 | 3.5609
6.5 | 3.5664
6.5167 | 3.5798
6.5333 | 3.5863
6.55 | 3.603
6.5667 | 3.5961
6.5833 | 3.5979
6.6 | 3.6021
6.6167 | 3.6042
6.6333 | 3.5886
6.65 | 3.5908
6.6667 | 3.5949
6.6833 | 3.5937
6.7 | 3.5883
6.7167 | 3.5854
6.7333 | 3.5696
6.75 | 3.5667
6.7667 | 3.5639
6.7833 | 3.5638
6.8 | 3.5609
6.8167 | 3.5674
6.8333 | 3.563
6.85 | 3.5558
6.8667 | 3.5456
6.8833 | 3.5671
6.9 | 3.5442
6.9167 | 3.5613
6.9333 | 3.5671
6.95 | 3.5569
6.9667 | 3.5371
6.9833 | 3.5456
7 | 3.5363
7.0167 | 3.552
7.0333 | 3.5403
7.05 | 3.5537
7.0667 | 3.5368
7.0833 | 3.5413
7.1 | 3.5386
7.1167 | 3.5575
7.1333 | 3.5473
7.15 | 3.5386
7.1667 | 3.5453
7.1833 | 3.5571
7.2 | 3.5554
7.2167 | 3.5514
7.2333 | 3.5574
7.25 | 3.5485
7.2667 | 3.5346
7.2833 | 3.5461
7.3 | 3.5371
7.3167 | 3.5317
7.3333 | 3.5464
7.35 | 3.5361
7.3667 | 3.5305
7.3833 | 3.5186
7.4 | 3.5276
7.4167 | 3.5395
7.4333 | 3.5481
7.45 | 3.5453
7.4667 | 3.5607
7.4833 | 3.5688
7.5 | 3.5639
7.5167 | 3.5574
7.5333 | 3.5503
7.55 | 3.5465
7.5667 | 3.5558
7.5833 | 3.5564
7.6 | 3.5381
7.6167 | 3.5412
7.6333 | 3.5224
7.65 | 3.5426
7.6667 | 3.5397
7.6833 | 3.5294
7.7 | 3.5238
7.7167 | 3.5355
7.7333 | 3.5241
7.75 | 3.5398
7.7667 | 3.539
7.7833 | 3.5575
7.8 | 3.5474
7.8167 | 3.5484
7.8333 | 3.5715
7.85 | 3.5592
7.8667 | 3.5613
7.8833 | 3.5674
7.9 | 3.569
7.9167 | 3.5644
7.9333 | 3.579
7.95 | 3.5709
7.9667 | 3.5665
7.9833 | 3.5761
8 | 3.585
8.0167 | 3.5912
8.0333 | 3.5819
8.05 | 3.568
8.0667 | 3.5703
8.0833 | 3.5892
8.1 | 3.5859
8.1167 | 3.586
8.1333 | 3.5729
8.15 | 3.5522
8.1667 | 3.5717
8.1833 | 3.5821
8.2 | 3.5838
8.2167 | 3.5738
8.2333 | 3.5841
8.25 | 3.5731
8.2667 | 3.5755
8.2833 | 3.5865
8.3 | 3.5807
8.3167 | 3.5903
8.3333 | 3.5876
8.35 | 3.5813
8.3667 | 3.6004
8.3833 | 3.5993
8.4 | 3.6059
8.4167 | 3.6169
8.4333 | 3.6095
8.45 | 3.6047
8.4667 | 3.6001
8.4833 | 3.6044
8.5 | 3.5978
8.5167 | 3.6039
8.5333 | 3.6254
8.55 | 3.6277
8.5667 | 3.6236
8.5833 | 3.6256
8.6 | 3.624
8.6167 | 3.6298
8.6333 | 3.6225
8.65 | 3.625
8.6667 | 3.6251
8.6833 | 3.6359
8.7 | 3.6433
8.7167 | 3.6279
8.7333 | 3.6414
8.75 | 3.661
8.7667 | 3.6381
8.7833 | 3.648
8.8 | 3.6422
8.8167 | 3.6507
8.8333 | 3.6527
8.85 | 3.641
8.8667 | 3.6333
8.8833 | 3.6294
8.9 | 3.6326
8.9167 | 3.6382
8.9333 | 3.6327
8.95 | 3.6369
8.9667 | 3.646
8.9833 | 3.6543
9 | 3.6611
9.0167 | 3.6407
9.0333 | 3.6547
9.05 | 3.6593
9.0667 | 3.6666
9.0833 | 3.6593
9.1 | 3.6703
9.1167 | 3.6785
9.1333 | 3.6596
9.15 | 3.6549
9.1667 | 3.6597
9.1833 | 3.6489
9.2 | 3.6671
9.2167 | 3.6526
9.2333 | 3.6619
9.25 | 3.6707
9.2667 | 3.6854
9.2833 | 3.6738
9.3 | 3.6861
9.3167 | 3.6834
9.3333 | 3.6782
9.35 | 3.6781
9.3667 | 3.6892
9.3833 | 3.6877
9.4 | 3.6886
9.4167 | 3.681
9.4333 | 3.6764
9.45 | 3.6723
9.4667 | 3.6875
9.4833 | 3.6918
9.5 | 3.7066
9.5167 | 3.7135
9.5333 | 3.7148
9.55 | 3.7087
9.5667 | 3.7016
9.5833 | 3.7254
9.6 | 3.7203
9.6167 | 3.711
9.6333 | 3.716
9.65 | 3.7199
9.6667 | 3.7153
9.6833 | 3.7154
9.7 | 3.7057
9.7167 | 3.7168
9.7333 | 3.7283
9.75 | 3.7371
9.7667 | 3.7298
9.7833 | 3.7276
9.8 | 3.7214
9.8167 | 3.7266
9.8333 | 3.7368
9.85 | 3.7417
9.8667 | 3.7569
9.8833 | 3.7484
9.9 | 3.7551
9.9167 | 3.7513
9.9333 | 3.7554
9.95 | 3.7447
9.9667 | 3.7475
9.9833 | 3.7643
10 | 3.7826
10.0167 | 3.776
10.0333 | 3.7804
10.05 | 3.7875
10.0667 | 3.7925
10.0833 | 3.8
10.1 | 3.7984
10.1167 | 3.7849
10.1333 | 3.7887
10.15 | 3.8055
10.1667 | 3.8036
10.1833 | 3.8085
10.2 | 3.8158
10.2167 | 3.8064
10.2333 | 3.7977
10.25 | 3.8003
10.2667 | 3.801
10.2833 | 3.8059
10.3 | 3.7969
10.3167 | 3.8061
10.3333 | 3.8052
10.35 | 3.8017
10.3667 | 3.7945
10.3833 | 3.7913
10.4 | 3.8062
10.4167 | 3.8039
10.4333 | 3.8013
10.45 | 3.8163
10.4667 | 3.812
10.4833 | 3.8046
10.5 | 3.8052
10.5167 | 3.7995
10.5333 | 3.8068
10.55 | 3.8131
10.5667 | 3.8038
10.5833 | 3.8094
10.6 | 3.8033
10.6167 | 3.7843
10.6333 | 3.794
10.65 | 3.8009
10.6667 | 3.8068
10.6833 | 3.8021
10.7 | 3.7949
10.7167 | 3.8129
10.7333 | 3.8223
10.75 | 3.8126
10.7667 | 3.7988
10.7833 | 3.802
10.8 | 3.807
10.8167 | 3.7933
10.8333 | 3.7991
10.85 | 3.7885
10.8667 | 3.7919
10.8833 | 3.7695
10.9 | 3.7634
10.9167 | 3.7798
10.9333 | 3.7637
10.95 | 3.7577
10.9667 | 3.7688
10.9833 | 3.7551
11 | 3.746
11.0167 | 3.7373
11.0333 | 3.7341
11.05 | 3.7269
11.0667 | 3.7347
11.0833 | 3.7269
11.1 | 3.7353
11.1167 | 3.7382
11.1333 | 3.7196
11.15 | 3.7074
11.1667 | 3.707
11.1833 | 3.6962
11.2 | 3.6967
11.2167 | 3.7023
11.2333 | 3.6883
11.25 | 3.6758
11.2667 | 3.6607
11.2833 | 3.6494
11.3 | 3.655
11.3167 | 3.6431
11.3333 | 3.6471
11.35 | 3.6291
11.3667 | 3.617
11.3833 | 3.6092
11.4 | 3.5944
11.4167 | 3.5915
11.4333 | 3.5749
11.45 | 3.5715
11.4667 | 3.5545
11.4833 | 3.5404
11.5 | 3.5346
11.5167 | 3.5217
11.5333 | 3.5085
11.55 | 3.4858
11.5667 | 3.4856
11.5833 | 3.4595
11.6 | 3.4402
11.6167 | 3.4295
11.6333 | 3.4026
11.65 | 3.3813
11.6667 | 3.3677
11.6833 | 3.3396
11.7 | 3.332
11.7167 | 3.3146
11.7333 | 3.2969
11.75 | 3.2706
11.7667 | 3.2543
11.7833 | 3.2459
11.8 | 3.2218
11.8167 | 3.185
11.8333 | 3.1638
11.85 | 3.1388
11.8667 | 3.1255
11.8833 | 3.1052
11.9 | 3.073
11.9167 | 3.0718
11.9333 | 3.0495
11.95 | 3.0384
11.9667 | 3.0065
11.9833 | 2.9801
12 | 2.9707
12.0167 | 2.9369
12.0333 | 2.8858
12.05 | 2.8602
12.0667 | 2.8492
12.0833 | 2.8382
12.1 | 2.806
12.1167 | 2.7757
12.1333 | 2.7517
12.15 | 2.7262
12.1667 | 2.6977
12.1833 | 2.6522
12.2 | 2.6185
12.2167 | 2.6
12.2333 | 2.5677
12.25 | 2.5343
12.2667 | 2.5057
12.2833 | 2.4853
12.3 | 2.4548
12.3167 | 2.421
12.3333 | 2.3823
12.35 | 2.3695
12.3667 | 2.3396
12.3833 | 2.3083
12.4 | 2.2752
12.4167 | 2.2364
12.4333 | 2.212
12.45 | 2.1836
12.4667 | 2.1725
12.4833 | 2.1461
12.5 | 2.1246
12.5167 | 2.0893
12.5333 | 2.0736
12.55 | 2.0515
12.5667 | 2.0205
12.5833 | 2.009
12.6 | 1.9721
12.6167 | 1.9372
12.6333 | 1.9212
12.65 | 1.8832
12.6667 | 1.8578
12.6833 | 1.8359
12.7 | 1.8111
12.7167 | 1.7985
12.7333 | 1.7937
12.75 | 1.784
12.7667 | 1.7785
12.7833 | 1.7579
12.8 | 1.7316
12.8167 | 1.7019
12.8333 | 1.6825
12.85 | 1.6705
12.8667 | 1.661
12.8833 | 1.641
12.9 | 1.6328
12.9167 | 1.6203
12.9333 | 1.6209
12.95 | 1.6113
12.9667 | 1.5939
12.9833 | 1.5908
13 | 1.581
13.0167 | 1.5762
13.0333 | 1.5629
13.05 | 1.5614
13.0667 | 1.5597
13.0833 | 1.5427
13.1 | 1.5525
13.1167 | 1.5565
13.1333 | 1.5536
13.15 | 1.5562
13.1667 | 1.5673
13.1833 | 1.5748
13.2 | 1.5922
13.2167 | 1.5931
13.2333 | 1.5865
13.25 | 1.6065
13.2667 | 1.6129
13.2833 | 1.6169
13.3 | 1.6387
13.3167 | 1.6392
13.3333 | 1.6407
13.35 | 1.6468
13.3667 | 1.6653
13.3833 | 1.655
13.4 | 1.6856
13.4167 | 1.6831
13.4333 | 1.6969
13.45 | 1.7237
13.4667 | 1.7245
13.4833 | 1.7275
13.5 | 1.749
13.5167 | 1.7643
13.5333 | 1.7832
13.55 | 1.7992
13.5667 | 1.8067
13.5833 | 1.8134
13.6 | 1.8389
13.6167 | 1.8577
13.6333 | 1.8671
13.65 | 1.8711
13.6667 | 1.8964
13.6833 | 1.9105
13.7 | 1.9349
13.7167 | 1.9375
13.7333 | 1.9361
13.75 | 1.9663
13.7667 | 1.9752
13.7833 | 1.9736
13.8 | 2.0028
13.8167 | 2.0376
13.8333 | 2.0489
13.85 | 2.0715
13.8667 | 2.0953
13.8833 | 2.1122
13.9 | 2.1297
13.9167 | 2.1548
13.9333 | 2.1848
13.95 | 2.1943
13.9667 | 2.2227
13.9833 | 2.2239
14 | 2.2453
14.0167 | 2.2491
14.0333 | 2.2721
14.05 | 2.2964
14.0667 | 2.3133
14.0833 | 2.3365
14.1 | 2.3576
14.1167 | 2.3774
14.1333 | 2.4137
14.15 | 2.4224
14.1667 | 2.4262
14.1833 | 2.45
14.2 | 2.465
14.2167 | 2.4757
14.2333 | 2.4899
14.25 | 2.5178
14.2667 | 2.5431
14.2833 | 2.5695
14.3 | 2.5558
14.3167 | 2.5916
14.3333 | 2.6122
14.35 | 2.6197
14.3667 | 2.638
14.3833 | 2.658
14.4 | 2.6881
14.4167 | 2.6991
14.4333 | 2.7262
14.45 | 2.7485
14.4667 | 2.7586
14.4833 | 2.7782
14.5 | 2.7827
14.5167 | 2.7943
14.5333 | 2.8069
14.55 | 2.81
14.5667 | 2.8266
14.5833 | 2.8419
14.6 | 2.8577
14.6167 | 2.8841
14.6333 | 2.8962
14.65 | 2.9177
14.6667 | 2.9159
14.6833 | 2.9363
14.7 | 2.9394
14.7167 | 2.9351
14.7333 | 2.9366
14.75 | 2.9461
14.7667 | 2.9559
14.7833 | 2.9917
14.8 | 3.0042
14.8167 | 3.0061
14.8333 | 3.001
14.85 | 3.027
14.8667 | 3.0262
14.8833 | 3.0456
14.9 | 3.056
14.9167 | 3.0747
14.9333 | 3.0778
14.95 | 3.0909
14.9667 | 3.0929
14.9833 | 3.1083
15 | 3.1037
15.0167 | 3.1121
15.0333 | 3.1077
15.05 | 3.1293
15.0667 | 3.1397
15.0833 | 3.1207
15.1 | 3.1255
15.1167 | 3.138
15.1333 | 3.1576
15.15 | 3.1754
15.1667 | 3.1818
15.1833 | 3.1957
15.2 | 3.2006
15.2167 | 3.2064
15.2333 | 3.2185
15.25 | 3.2218
15.2667 | 3.2241
15.2833 | 3.2206
15.3 | 3.2285
15.3167 | 3.2365
15.3333 | 3.2513
15.35 | 3.2435
15.3667 | 3.2412
15.3833 | 3.2577
15.4 | 3.26
15.4167 | 3.2845
15.4333 | 3.2819
15.45 | 3.26
15.4667 | 3.2777
15.4833 | 3.29
15.5 | 3.3067
15.5167 | 3.281
15.5333 | 3.2896
15.55 | 3.2879
15.5667 | 3.2951
15.5833 | 3.3062
15.6 | 3.3085
15.6167 | 3.316
15.6333 | 3.3271
15.65 | 3.3329
15.6667 | 3.3451
15.6833 | 3.3489
15.7 | 3.3524
15.7167 | 3.3535
15.7333 | 3.3573
15.75 | 3.3649
15.7667 | 3.3566
15.7833 | 3.3602
15.8 | 3.3707
15.8167 | 3.3607
15.8333 | 3.3764
15.85 | 3.3718
15.8667 | 3.3862
15.8833 | 3.3863
15.9 | 3.3799
15.9167 | 3.3886
15.9333 | 3.395
15.95 | 3.4057
15.9667 | 3.4228
15.9833 | 3.4058
16 | 3.4081
16.0167 | 3.4074
16.0333 | 3.4043
16.05 | 3.4147
16.0667 | 3.41
16.0833 | 3.4255
16.1 | 3.4234
16.1167 | 3.4275
16.1333 | 3.4295
16.15 | 3.4345
16.1667 | 3.4269
16.1833 | 3.4414
16.2 | 3.4374
16.2167 | 3.4354
16.2333 | 3.435
16.25 | 3.4432
16.2667 | 3.4591
16.2833 | 3.4566
16.3 | 3.4565
16.3167 | 3.4583
16.3333 | 3.4776
16.35 | 3.4647
16.3667 | 3.466
16.3833 | 3.4734
16.4 | 3.4841
16.4167 | 3.4768
16.4333 | 3.4631
16.45 | 3.4905
16.4667 | 3.4921
16.4833 | 3.4855
16.5 | 3.4777
16.5167 | 3.4824
16.5333 | 3.4901
16.55 | 3.4855
16.5667 | 3.4878
16.5833 | 3.4925
16.6 | 3.4826
16.6167 | 3.4939
16.6333 | 3.4989
16.65 | 3.5033
16.6667 | 3.4899
16.6833 | 3.4884
16.7 | 3.5171
16.7167 | 3.5148
16.7333 | 3.513
16.75 | 3.5143
16.7667 | 3.5224
16.7833 | 3.5256
16.8 | 3.5334
16.8167 | 3.5268
16.8333 | 3.5197
16.85 | 3.5332
16.8667 | 3.5384
16.8833 | 3.5326
16.9 | 3.5395
16.9167 | 3.5172
16.9333 | 3.5215
16.95 | 3.5314
16.9667 | 3.543
16.9833 | 3.5467
17 | 3.5287
17.0167 | 3.5404
17.0333 | 3.5484
17.05 | 3.5453
17.0667 | 3.5502
17.0833 | 3.5442
17.1 | 3.5584
17.1167 | 3.5595
17.1333 | 3.5522
17.15 | 3.5481
17.1667 | 3.5429
17.1833 | 3.5279
17.2 | 3.5386
17.2167 | 3.5464
17.2333 | 3.5423
17.25 | 3.5464
17.2667 | 3.5458
17.2833 | 3.5368
17.3 | 3.532
17.3167 | 3.5267
17.3333 | 3.5317
17.35 | 3.5435
17.3667 | 3.547
17.3833 | 3.5441
17.4 | 3.5593
17.4167 | 3.5545
17.4333 | 3.5488
17.45 | 3.5581
17.4667 | 3.5598
17.4833 | 3.5574
17.5 | 3.5625
17.5167 | 3.5596
17.5333 | 3.5647
17.55 | 3.5621
17.5667 | 3.5751
17.5833 | 3.5764
17.6 | 3.5766
17.6167 | 3.5979
17.6333 | 3.579
17.65 | 3.5812
17.6667 | 3.5917
17.6833 | 3.6094
17.7 | 3.5964
17.7167 | 3.5955
17.7333 | 3.6036
17.75 | 3.6069
17.7667 | 3.6237
17.7833 | 3.6208
17.8 | 3.6237
17.8167 | 3.6092
17.8333 | 3.6092
17.85 | 3.623
17.8667 | 3.6138
17.8833 | 3.61
17.9 | 3.6195
17.9167 | 3.6155
17.9333 | 3.6063
17.95 | 3.6196
17.9667 | 3.6213
17.9833 | 3.6279
18 | 3.6185
18.0167 | 3.6184
18.0333 | 3.635
18.05 | 3.6173
18.0667 | 3.6274
18.0833 | 3.6321
18.1 | 3.6512
18.1167 | 3.6332
18.1333 | 3.6474
18.15 | 3.6373
18.1667 | 3.6367
18.1833 | 3.6465
18.2 | 3.6393
18.2167 | 3.648
18.2333 | 3.6564
18.25 | 3.6417
18.2667 | 3.6483
18.2833 | 3.6549
18.3 | 3.6463
18.3167 | 3.6449
18.3333 | 3.6323
18.35 | 3.6236
18.3667 | 3.6411
18.3833 | 3.643
18.4 | 3.6459
18.4167 | 3.6335
18.4333 | 3.6292
18.45 | 3.6323
18.4667 | 3.6341
18.4833 | 3.6376
18.5 | 3.6346
18.5167 | 3.6263
18.5333 | 3.6306
18.55 | 3.6373
18.5667 | 3.6361
18.5833 | 3.651
18.6 | 3.6631
18.6167 | 3.655
18.6333 | 3.642
18.65 | 3.6414
18.6667 | 3.6405
18.6833 | 3.6462
18.7 | 3.6483
18.7167 | 3.6541
18.7333 | 3.671
18.75 | 3.6448
18.7667 | 3.6485
18.7833 | 3.6695
18.8 | 3.6721
18.8167 | 3.6791
18.8333 | 3.6808
18.85 | 3.6689
18.8667 | 3.6756
18.8833 | 3.6811
18.9 | 3.6843
18.9167 | 3.6808
18.9333 | 3.6851
18.95 | 3.7029
18.9667 | 3.6935
18.9833 | 3.7103
19 | 3.713
19.0167 | 3.7084
19.0333 | 3.716
19.05 | 3.7072
19.0667 | 3.7122
19.0833 | 3.7208
19.1 | 3.733
19.1167 | 3.7084
19.1333 | 3.7177
19.15 | 3.7342
19.1667 | 3.7212
19.1833 | 3.7197
19.2 | 3.718
19.2167 | 3.7135
19.2333 | 3.7026
19.25 | 3.7162
19.2667 | 3.7366
19.2833 | 3.7391
19.3 | 3.7397
19.3167 | 3.7395
19.3333 | 3.7385
19.35 | 3.7394
19.3667 | 3.7693
19.3833 | 3.792
19.4 | 3.8126
19.4167 | 3.8226
19.4333 | 3.8416
19.45 | 3.8874
19.4667 | 3.9204
19.4833 | 3.9635
19.5 | 4.0134
19.5167 | 4.0553
19.5333 | 4.123
19.55 | 4.1799
19.5667 | 4.2585
19.5833 | 4.3546
19.6 | 4.4479
19.6167 | 4.5324
19.6333 | 4.6296
19.65 | 4.7269
19.6667 | 4.8067
19.6833 | 4.9102
19.7 | 4.9975
19.7167 | 5.0835
19.7333 | 5.1513
19.75 | 5.1974
19.7667 | 5.2402
19.7833 | 5.2587
19.8 | 5.2728
19.8167 | 5.2735
19.8333 | 5.2552
19.85 | 5.2158
19.8667 | 5.1827
19.8833 | 5.1362
19.9 | 5.066
19.9167 | 4.9953
19.9333 | 4.9198
19.95 | 4.8489
19.9667 | 4.7851
19.9833 | 4.7085
20 | 4.6256
20.0167 | 4.5522
20.0333 | 4.4984
20.05 | 4.4418
20.0667 | 4.3728
20.0833 | 4.3079
20.1 | 4.2385
20.1167 | 4.1845
20.1333 | 4.116
20.15 | 4.0684
20.1667 | 3.9898
20.1833 | 3.9057
20.2 | 3.8317
20.2167 | 3.7397
20.2333 | 3.6526
20.25 | 3.5363
20.2667 | 3.4068
20.2833 | 3.2476
20.3 | 3.0489
20.3167 | 2.8259
20.3333 | 2.5684
20.35 | 2.2628
20.3667 | 1.9086
20.3833 | 1.5231
20.4 | 1.101
20.4167 | 0.61195
20.4333 | 0.073166
20.45 | -0.47615
20.4667 | -1.0807
20.4833 | -1.6927
20.5 | -2.324
20.5167 | -2.9803
20.5333 | -3.6146
20.55 | -4.2583
20.5667 | -4.8431
20.5833 | -5.4066
20.6 | -5.9303
20.6167 | -6.3705
20.6333 | -6.7754
20.65 | -7.1044
20.6667 | -7.3594
20.6833 | -7.5384
20.7 | -7.6418
20.7167 | -7.6736
20.7333 | -7.6392
20.75 | -7.5529
20.7667 | -7.4197
20.7833 | -7.2401
20.8 | -7.004
20.8167 | -6.7426
20.8333 | -6.4637
20.85 | -6.193
20.8667 | -5.9101
20.8833 | -5.6048
20.9 | -5.3111
20.9167 | -5.0379
20.9333 | -4.7703
20.95 | -4.4912
20.9667 | -4.2468
20.9833 | -3.9915
21 | -3.7507
21.0167 | -3.5227
21.0333 | -3.2973
21.05 | -3.0761
21.0667 | -2.8484
21.0833 | -2.6255
21.1 | -2.4108
21.1167 | -2.1867
21.1333 | -1.952
21.15 | -1.7342
21.1667 | -1.5484
21.1833 | -1.3253
21.2 | -1.1161
21.2167 | -0.92125
21.2333 | -0.70534
21.25 | -0.51231
21.2667 | -0.31609
21.2833 | -0.11665
21.3 | 0.074387
21.3167 | 0.25871
21.3333 | 0.41481
21.35 | 0.56831
21.3667 | 0.72044
21.3833 | 0.87059
21.4 | 1.0011
21.4167 | 1.1352
21.4333 | 1.2463
21.45 | 1.3409
21.4667 | 1.457
21.4833 | 1.5389
21.5 | 1.6193
21.5167 | 1.7171
21.5333 | 1.8046
21.55 | 1.8871
21.5667 | 1.9712
21.5833 | 2.0287
21.6 | 2.0637
21.6167 | 2.1236
21.6333 | 2.1886
21.65 | 2.2498
21.6667 | 2.2848
21.6833 | 2.3167
21.7 | 2.3821
21.7167 | 2.409
21.7333 | 2.4444
21.75 | 2.4902
21.7667 | 2.5141
21.7833 | 2.5388
21.8 | 2.573
21.8167 | 2.6292
21.8333 | 2.64
21.85 | 2.6672
21.8667 | 2.6809
21.8833 | 2.6994
21.9 | 2.7172
21.9167 | 2.7236
21.9333 | 2.7624
21.95 | 2.7775
21.9667 | 2.7866
21.9833 | 2.8135
22 | 2.8333
22.0167 | 2.8378
22.0333 | 2.8611
22.05 | 2.8843
22.0667 | 2.8814
22.0833 | 2.8927
22.1 | 2.8967
22.1167 | 2.9165
22.1333 | 2.9403
22.15 | 2.9452
22.1667 | 2.9607
22.1833 | 2.9671
22.2 | 2.9687
22.2167 | 2.9826
22.2333 | 2.978
22.25 | 2.99
22.2667 | 3.003
22.2833 | 3.0039
22.3 | 3.0137
22.3167 | 3.014
22.3333 | 3.0358
22.35 | 3.0427
22.3667 | 3.0433
22.3833 | 3.0637
22.4 | 3.0659
22.4167 | 3.0694
22.4333 | 3.0726
22.45 | 3.0811
22.4667 | 3.0955
22.4833 | 3.0973
22.5 | 3.1109
22.5167 | 3.0959
22.5333 | 3.1042
22.55 | 3.1055
22.5667 | 3.1121
22.5833 | 3.1197
22.6 | 3.1196
22.6167 | 3.1303
22.6333 | 3.1513
22.65 | 3.1753
22.6667 | 3.1672
22.6833 | 3.1789
22.7 | 3.1789
22.7167 | 3.1846
22.7333 | 3.1777
22.75 | 3.1911
22.7667 | 3.1936
22.7833 | 3.2011
22.8 | 3.2117
22.8167 | 3.2142
22.8333 | 3.2235
22.85 | 3.2356
22.8667 | 3.2333
22.8833 | 3.2449
22.9 | 3.2412
22.9167 | 3.2278
22.9333 | 3.2369
22.95 | 3.2412
22.9667 | 3.2433
22.9833 | 3.2502
23 | 3.2345
23.0167 | 3.2276
23.0333 | 3.2478
23.05 | 3.2613
23.0667 | 3.2545
23.0833 | 3.2548
23.1 | 3.2639
23.1167 | 3.27
23.1333 | 3.2595
23.15 | 3.271
23.1667 | 3.2897
23.1833 | 3.2818
23.2 | 3.2821
23.2167 | 3.2896
23.2333 | 3.2771
23.25 | 3.2992
23.2667 | 3.2941
23.2833 | 3.2874
23.3 | 3.2919
23.3167 | 3.3033
23.3333 | 3.3309
23.35 | 3.3402
23.3667 | 3.3154
23.3833 | 3.3237
23.4 | 3.3315
23.4167 | 3.336
23.4333 | 3.336
23.45 | 3.33
23.4667 | 3.341
23.4833 | 3.3297
23.5 | 3.337
23.5167 | 3.3337
23.5333 | 3.3483
23.55 | 3.3543
23.5667 | 3.3598
23.5833 | 3.3703
23.6 | 3.3643
23.6167 | 3.3714
23.6333 | 3.3651
23.65 | 3.3767
23.6667 | 3.3849
23.6833 | 3.3668
23.7 | 3.3558
23.7167 | 3.3625
23.7333 | 3.3701
23.75 | 3.3561
23.7667 | 3.3613
23.7833 | 3.3858
23.8 | 3.39
23.8167 | 3.3781
23.8333 | 3.3797
23.85 | 3.393
23.8667 | 3.3962
23.8833 | 3.3854
23.9 | 3.3916
23.9167 | 3.4019
23.9333 | 3.4155
23.95 | 3.4132
23.9667 | 3.4068
23.9833 | 3.4194
24 | 3.426
24.0167 | 3.4339
24.0333 | 3.4266
24.05 | 3.4156
24.0667 | 3.4187
24.0833 | 3.4315
24.1 | 3.4354
24.1167 | 3.4342
24.1333 | 3.4379
24.15 | 3.4376
24.1667 | 3.4388
24.1833 | 3.4441
24.2 | 3.4405
24.2167 | 3.4476
24.2333 | 3.4469
24.25 | 3.4412
24.2667 | 3.4385
24.2833 | 3.4553
24.3 | 3.4672
24.3167 | 3.4664
24.3333 | 3.4776
24.35 | 3.4834
24.3667 | 3.4733
24.3833 | 3.489
24.4 | 3.4878
24.4167 | 3.48
24.4333 | 3.4997
24.45 | 3.4736
24.4667 | 3.4698
24.4833 | 3.4933
24.5 | 3.5041
24.5167 | 3.4946
24.5333 | 3.5154
24.55 | 3.5198
24.5667 | 3.5152
24.5833 | 3.5168
24.6 | 3.5165
24.6167 | 3.5145
24.6333 | 3.5099
24.65 | 3.5275
24.6667 | 3.5421
24.6833 | 3.5241
24.7 | 3.5357
24.7167 | 3.5419
24.7333 | 3.5384
24.75 | 3.5349
24.7667 | 3.5445
24.7833 | 3.5383
24.8 | 3.5319
24.8167 | 3.5253
24.8333 | 3.5436
24.85 | 3.5421
24.8667 | 3.5542
24.8833 | 3.5308
24.9 | 3.5427
24.9167 | 3.5406
24.9333 | 3.54
24.95 | 3.5485
24.9667 | 3.5412
24.9833 | 3.5392
25 | 3.534
25.0167 | 3.545
25.0333 | 3.536
25.05 | 3.5383
25.0667 | 3.5635
25.0833 | 3.5564
25.1 | 3.5502
25.1167 | 3.5677
25.1333 | 3.5581
25.15 | 3.5607
25.1667 | 3.5497
25.1833 | 3.5622
25.2 | 3.5717
25.2167 | 3.5603
25.2333 | 3.5618
25.25 | 3.5697
25.2667 | 3.5796
25.2833 | 3.5741
25.3 | 3.5674
25.3167 | 3.5656
25.3333 | 3.576
25.35 | 3.5862
25.3667 | 3.5821
25.3833 | 3.5775
25.4 | 3.577
25.4167 | 3.5722
25.4333 | 3.5744
25.45 | 3.5854
25.4667 | 3.5955
25.4833 | 3.5833
25.5 | 3.5819
25.5167 | 3.5868
25.5333 | 3.5835
25.55 | 3.5773
25.5667 | 3.5908
25.5833 | 3.6027
25.6 | 3.5981
25.6167 | 3.6185
25.6333 | 3.6115
25.65 | 3.6134
25.6667 | 3.608
25.6833 | 3.6077
25.7 | 3.6086
25.7167 | 3.6201
25.7333 | 3.623
25.75 | 3.6066
25.7667 | 3.6086
25.7833 | 3.6039
25.8 | 3.6019
25.8167 | 3.6056
25.8333 | 3.603
25.85 | 3.5885
25.8667 | 3.601
25.8833 | 3.6033
25.9 | 3.5874
25.9167 | 3.6091
25.9333 | 3.6156
25.95 | 3.6243
25.9667 | 3.6308
25.9833 | 3.6109
26 | 3.6117
26.0167 | 3.6309
26.0333 | 3.6294
26.05 | 3.6216
26.0667 | 3.6208
26.0833 | 3.626
26.1 | 3.6225
26.1167 | 3.6343
26.1333 | 3.6221
26.15 | 3.6279
26.1667 | 3.6237
26.1833 | 3.6312
26.2 | 3.6237
26.2167 | 3.6425
26.2333 | 3.6308
26.25 | 3.6362
26.2667 | 3.6427
26.2833 | 3.6454
26.3 | 3.6515
26.3167 | 3.6532
26.3333 | 3.6411
26.35 | 3.639
26.3667 | 3.648
26.3833 | 3.6501
26.4 | 3.6456
26.4167 | 3.6509
26.4333 | 3.6707
26.45 | 3.6515
26.4667 | 3.6462
26.4833 | 3.643
26.5 | 3.6411
26.5167 | 3.6398
26.5333 | 3.6457
26.55 | 3.6388
26.5667 | 3.6283
26.5833 | 3.6103
26.6 | 3.6129
26.6167 | 3.6079
26.6333 | 3.6253
26.65 | 3.6289
26.6667 | 3.6132
26.6833 | 3.6147
26.7 | 3.6391
26.7167 | 3.644
26.7333 | 3.6364
26.75 | 3.6362
26.7667 | 3.659
26.7833 | 3.6614
26.8 | 3.6559
26.8167 | 3.6526
26.8333 | 3.6491
26.85 | 3.6546
26.8667 | 3.6671
26.8833 | 3.6694
26.9 | 3.6802
26.9167 | 3.6904
26.9333 | 3.7005
26.95 | 3.7008
26.9667 | 3.7106
26.9833 | 3.7292
27 | 3.7356
27.0167 | 3.7692
27.0333 | 3.7954
27.05 | 3.8003
27.0667 | 3.829
27.0833 | 3.8598
27.1 | 3.8868
27.1167 | 3.9312
27.1333 | 3.951
27.15 | 3.9895
27.1667 | 4.0199
27.1833 | 4.0534
27.2 | 4.118
27.2167 | 4.1804
27.2333 | 4.2326
27.25 | 4.2974
27.2667 | 4.3635
27.2833 | 4.4324
27.3 | 4.5045
27.3167 | 4.5695
27.3333 | 4.6453
27.35 | 4.7256
27.3667 | 4.8244
27.3833 | 4.9212
27.4 | 5.0004
27.4167 | 5.0846
27.4333 | 5.1604
27.45 | 5.2537
27.4667 | 5.3574
27.4833 | 5.4479
27.5 | 5.5209
27.5167 | 5.5856
27.5333 | 5.6724
27.55 | 5.7446
27.5667 | 5.8076
27.5833 | 5.8596
27.6 | 5.9255
27.6167 | 5.955
27.6333 | 5.9942
27.65 | 6.0387
27.6667 | 6.0685
27.6833 | 6.0815
27.7 | 6.0877
27.7167 | 6.0966
27.7333 | 6.097
27.75 | 6.0998
27.7667 | 6.0795
27.7833 | 6.0725
27.8 | 6.0415
27.8167 | 6.009
27.8333 | 5.9896
27.85 | 5.9461
27.8667 | 5.9071
27.8833 | 5.8657
27.9 | 5.8334
27.9167 | 5.7786
27.9333 | 5.7348
27.95 | 5.677
27.9667 | 5.6164
27.9833 | 5.5527
28 | 5.5006
28.0167 | 5.452
28.0333 | 5.3919
28.05 | 5.3411
28.0667 | 5.2889
28.0833 | 5.236
28.1 | 5.1815
28.1167 | 5.1592
28.1333 | 5.1043
28.15 | 5.0558
28.1667 | 5.0134
28.1833 | 4.9636
28.2 | 4.9125
28.2167 | 4.8592
28.2333 | 4.8267
28.25 | 4.8069
28.2667 | 4.763
28.2833 | 4.7115
28.3 | 4.6909
28.3167 | 4.6604
28.3333 | 4.6302
28.35 | 4.5971
28.3667 | 4.5473
28.3833 | 4.521
28.4 | 4.4935
28.4167 | 4.4703
28.4333 | 4.4584
28.45 | 4.4404
28.4667 | 4.4094
28.4833 | 4.3848
28.5 | 4.3616
28.5167 | 4.3488
28.5333 | 4.3276
28.55 | 4.3072
28.5667 | 4.2791
28.5833 | 4.2568
28.6 | 4.2432
28.6167 | 4.2202
28.6333 | 4.2126
28.65 | 4.1972
28.6667 | 4.1875
28.6833 | 4.1781
28.7 | 4.1683
28.7167 | 4.1491
28.7333 | 4.1251
28.75 | 4.1077
28.7667 | 4.0954
28.7833 | 4.0963
28.8 | 4.092
28.8167 | 4.0818
28.8333 | 4.0571
28.85 | 4.065
28.8667 | 4.0505
28.8833 | 4.0473
28.9 | 4.0293
28.9167 | 4.0189
28.9333 | 3.9977
28.95 | 3.9887
28.9667 | 3.9947
28.9833 | 3.9779
29 | 3.9777
29.0167 | 3.9759
29.0333 | 3.9687
29.05 | 3.9643
29.0667 | 3.9481
29.0833 | 3.9252
29.1 | 3.9373
29.1167 | 3.9259
29.1333 | 3.9306
29.15 | 3.9254
29.1667 | 3.9025
29.1833 | 3.9068
29.2 | 3.9123
29.2167 | 3.9149
29.2333 | 3.9111
29.25 | 3.9048
29.2667 | 3.8871
29.2833 | 3.8758
29.3 | 3.8783
29.3167 | 3.8709
29.3333 | 3.8541
29.35 | 3.8451
29.3667 | 3.8403
29.3833 | 3.8375
29.4 | 3.8297
29.4167 | 3.8548
29.4333 | 3.8541
29.45 | 3.8371
29.4667 | 3.841
29.4833 | 3.8497
29.5 | 3.8256
29.5167 | 3.8316
29.5333 | 3.8223
29.55 | 3.8136
29.5667 | 3.8076
29.5833 | 3.8047
29.6 | 3.8094
29.6167 | 3.7977
29.6333 | 3.7843
29.65 | 3.7907
29.6667 | 3.7933
29.6833 | 3.7849
29.7 | 3.7783
29.7167 | 3.7714
29.7333 | 3.7766
29.75 | 3.7717
29.7667 | 3.7649
29.7833 | 3.7534
29.8 | 3.7603
29.8167 | 3.7603
29.8333 | 3.7525
29.85 | 3.7447
29.8667 | 3.763
29.8833 | 3.7539
29.9 | 3.7722
29.9167 | 3.7606
29.9333 | 3.7457
29.95 | 3.7551
29.9667 | 3.7366
29.9833 | 3.7283
30 | 3.7125

## MW Results
Administrative Information
File name | ICF_04_12_2024-0001.sample
Analysed by | OBPC
Date of analysis | 06 December 2024 14:01:26
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 148746 | 24877 | 199594 | 566013 | 970559 | 510744 | 8.0232
Sample Parameters
Injection volume (µL) | 200
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 9.85 | 10.2333
Baseline region 2 | 17.5 | 17.8333
Peaks | Start (mins) | End (mins)
Peak 1 | 10.8167 | 16.75
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| RI | 13.0833 | 308.3489 | -2.1614
Flowrate region | Start (mins) | End (mins)
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | OBPC
Last modified date | 06 December 2024 14:01:26
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | OBPC
Creation date | 29 October 2024 11:18:00
Last modified by | OBPC
Last modified date | 29 October 2024 11:18:00
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name
FRM RT (mins) | 0
FRCF | 1
Column Calibration
Name | 2024-10-29-001
Created By | OBPC
Creation Date | 29/10/2024 16:43:21
Last Modified By | OBPC
Last Modified | 29/10/2024 16:46:00
High Limit RT (mins) | 10.3167
Low Limit RT (mins) | 17.05
High Limit MW | 6542896
Low Limit MW | 585
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name
Calibration Flow Marker RT (mins) | 0
Calibration Comments | GPC Column Calibration created 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC
Calibration Type | GPC Narrow Standard
Curve Fit Type | Polynomial
Order Of Curve Fit | 5
Number Of Points | 11
Curve Fit Equation | y = - 0.0006266x^5 + 0.04142x^4 - 1.085x^3 + 14.06x^2 - 90.8x + 242.2
Coeff a | 242.1862
Coeff b | -90.7983
Coeff c | 14.0588
Coeff d | -1.0846
Coeff e | 0.041423
Coeff f | -0.00062657
Residual Sum Of Squares | 0.00058182
Corrected Sum Of Squares | 18.6999
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.010787
Linear Correlation Coefficient | -0.99987

## Slice Table
Slice Table
RT (mins) | RI | Norm Ht | Cum Ht | Mw (g/mol) | logM | dwdlogM | Outside Calib | Peak
10.8167 | 0.03386 | -0.00010986 | 1 | 3366131 | 6.5271 | 0 | No | 1
10.8333 | 0.040065 | -0.00013 | 1 | 3294063 | 6.5177 | 0 | No | 1
10.85 | 0.029943 | -9.7153e-05 | 1 | 3223580 | 6.5083 | 0 | No | 1
10.8667 | 0.033706 | -0.00010936 | 1 | 3154641 | 6.4989 | 0 | No | 1
10.8833 | 0.011682 | -3.7903e-05 | 1 | 3087208 | 6.4896 | 0 | No | 1
10.9 | 0.0059846 | -1.9418e-05 | 1 | 3021243 | 6.4802 | 0 | No | 1
10.9167 | 0.02287 | -7.4207e-05 | 1 | 2956707 | 6.4708 | 0 | No | 1
10.9333 | 0.0071025 | -2.3045e-05 | 1 | 2893567 | 6.4614 | 0 | No | 1
10.95 | 0.0015579 | -5.0548e-06 | 1 | 2831786 | 6.4521 | 0 | No | 1
10.9667 | 0.013103 | -4.2515e-05 | 1 | 2771333 | 6.4427 | 0 | No | 1
10.9833 | -0.00022343 | 7.2495e-07 | 0.99999 | 2712173 | 6.4333 | 0.0015912 | No | 1
11 | -0.0089724 | 2.9112e-05 | 0.99996 | 2654277 | 6.4239 | 0.0045396 | No | 1
11.0167 | -0.017264 | 5.6014e-05 | 0.99991 | 2597613 | 6.4146 | 0.0064579 | No | 1
11.0333 | -0.020062 | 6.5093e-05 | 0.99984 | 2542153 | 6.4052 | 0.0081113 | No | 1
11.05 | -0.026827 | 8.7044e-05 | 0.99977 | 2487868 | 6.3958 | 0.0078635 | No | 1
11.0667 | -0.018639 | 6.0476e-05 | 0.9997 | 2434729 | 6.3865 | 0.007721 | No | 1
11.0833 | -0.026014 | 8.4407e-05 | 0.99962 | 2382711 | 6.3771 | 0.0074726 | No | 1
11.1 | -0.017215 | 5.5858e-05 | 0.99956 | 2331787 | 6.3677 | 0.0053783 | No | 1
11.1167 | -0.01391 | 4.5133e-05 | 0.9995 | 2281933 | 6.3583 | 0.0079503 | No | 1
11.1333 | -0.032119 | 0.00010422 | 0.9994 | 2233122 | 6.3489 | 0.013128 | No | 1
11.15 | -0.04392 | 0.00014251 | 0.99927 | 2185333 | 6.3395 | 0.01514 | No | 1
11.1667 | -0.043819 | 0.00014218 | 0.99912 | 2138541 | 6.3301 | 0.016912 | No | 1
11.1833 | -0.054246 | 0.00017601 | 0.99895 | 2092725 | 6.3207 | 0.01855 | No | 1
11.2 | -0.053382 | 0.00017321 | 0.99878 | 2047862 | 6.3113 | 0.017346 | No | 1
11.2167 | -0.04733 | 0.00015357 | 0.99861 | 2003932 | 6.3019 | 0.018639 | No | 1
11.2333 | -0.060962 | 0.0001978 | 0.99842 | 1960914 | 6.2925 | 0.023052 | No | 1
11.25 | -0.073068 | 0.00023708 | 0.99818 | 1918787 | 6.283 | 0.027641 | No | 1
11.2667 | -0.087768 | 0.00028478 | 0.9979 | 1877533 | 6.2736 | 0.032011 | No | 1
11.2833 | -0.098653 | 0.00032009 | 0.99759 | 1837132 | 6.2641 | 0.032813 | No | 1
11.3 | -0.092601 | 0.00030046 | 0.99728 | 1797566 | 6.2547 | 0.033717 | No | 1
11.3167 | -0.1041 | 0.00033776 | 0.99695 | 1758818 | 6.2452 | 0.034905 | No | 1
11.3333 | -0.099723 | 0.00032357 | 0.99661 | 1720869 | 6.2357 | 0.037134 | No | 1
11.35 | -0.11732 | 0.00038067 | 0.99623 | 1683703 | 6.2263 | 0.042096 | No | 1
11.3667 | -0.12897 | 0.00041846 | 0.99582 | 1647303 | 6.2168 | 0.045301 | No | 1
11.3833 | -0.13635 | 0.00044239 | 0.99537 | 1611653 | 6.2073 | 0.048966 | No | 1
11.4 | -0.15074 | 0.0004891 | 0.99489 | 1576738 | 6.1978 | 0.05179 | No | 1
11.4167 | -0.15323 | 0.00049719 | 0.99439 | 1542542 | 6.1882 | 0.054918 | No | 1
11.4333 | -0.16946 | 0.00054983 | 0.99385 | 1509050 | 6.1787 | 0.058115 | No | 1
11.45 | -0.17241 | 0.00055941 | 0.99328 | 1476247 | 6.1692 | 0.061381 | No | 1
11.4667 | -0.18909 | 0.00061354 | 0.99267 | 1444121 | 6.1596 | 0.066449 | No | 1
11.4833 | -0.20272 | 0.00065777 | 0.99201 | 1412655 | 6.15 | 0.069591 | No | 1
11.5 | -0.20812 | 0.00067527 | 0.99133 | 1381838 | 6.1405 | 0.072542 | No | 1
11.5167 | -0.22068 | 0.00071603 | 0.99062 | 1351656 | 6.1309 | 0.076722 | No | 1
11.5333 | -0.2334 | 0.00075729 | 0.98985 | 1322097 | 6.1213 | 0.082538 | No | 1
11.55 | -0.25573 | 0.00082974 | 0.98904 | 1293146 | 6.1116 | 0.086151 | No | 1
11.5667 | -0.25547 | 0.00082892 | 0.98819 | 1264793 | 6.102 | 0.090318 | No | 1
11.5833 | -0.28116 | 0.00091226 | 0.98729 | 1237025 | 6.0924 | 0.097704 | No | 1
11.6 | -0.30013 | 0.00097382 | 0.98632 | 1209831 | 6.0827 | 0.10248 | No | 1
11.6167 | -0.31041 | 0.0010072 | 0.9853 | 1183199 | 6.0731 | 0.1085 | No | 1
11.6333 | -0.33685 | 0.001093 | 0.98421 | 1157118 | 6.0634 | 0.11628 | No | 1
11.65 | -0.35781 | 0.001161 | 0.98306 | 1131576 | 6.0537 | 0.12183 | No | 1
11.6667 | -0.37098 | 0.0012037 | 0.98184 | 1106564 | 6.044 | 0.12847 | No | 1
11.6833 | -0.39865 | 0.0012935 | 0.98057 | 1082071 | 6.0343 | 0.13411 | No | 1
11.7 | -0.40588 | 0.0013169 | 0.97924 | 1058087 | 6.0245 | 0.13795 | No | 1
11.7167 | -0.42287 | 0.0013721 | 0.97787 | 1034600 | 6.0148 | 0.14345 | No | 1
11.7333 | -0.44016 | 0.0014282 | 0.97644 | 1011603 | 6.005 | 0.1504 | No | 1
11.75 | -0.466 | 0.001512 | 0.97493 | 989085 | 5.9952 | 0.15711 | No | 1
11.7667 | -0.48192 | 0.0015637 | 0.97338 | 967036 | 5.9854 | 0.16084 | No | 1
11.7833 | -0.48991 | 0.0015896 | 0.97178 | 945448 | 5.9756 | 0.16584 | No | 1
11.8 | -0.51361 | 0.0016665 | 0.9701 | 924311 | 5.9658 | 0.17551 | No | 1
11.8167 | -0.54997 | 0.0017845 | 0.96833 | 903617 | 5.956 | 0.18467 | No | 1
11.8333 | -0.57078 | 0.001852 | 0.96647 | 883357 | 5.9461 | 0.19187 | No | 1
11.85 | -0.5954 | 0.0019319 | 0.96455 | 863523 | 5.9363 | 0.19775 | No | 1
11.8667 | -0.60827 | 0.0019736 | 0.96257 | 844105 | 5.9264 | 0.20284 | No | 1
11.8833 | -0.62815 | 0.0020381 | 0.96053 | 825097 | 5.9165 | 0.211 | No | 1
11.9 | -0.65994 | 0.0021413 | 0.95841 | 806490 | 5.9066 | 0.21603 | No | 1
11.9167 | -0.66076 | 0.0021439 | 0.95625 | 788276 | 5.8967 | 0.21942 | No | 1
11.9333 | -0.68263 | 0.0022149 | 0.95405 | 770447 | 5.8867 | 0.22441 | No | 1
11.95 | -0.69336 | 0.0022497 | 0.95178 | 752997 | 5.8768 | 0.23096 | No | 1
11.9667 | -0.72485 | 0.0023519 | 0.94944 | 735917 | 5.8668 | 0.23997 | No | 1
11.9833 | -0.75084 | 0.0024362 | 0.94701 | 719201 | 5.8569 | 0.24531 | No | 1
12 | -0.75989 | 0.0024656 | 0.94453 | 702841 | 5.8469 | 0.25183 | No | 1
12.0167 | -0.79321 | 0.0025737 | 0.94194 | 686830 | 5.8368 | 0.26507 | No | 1
12.0333 | -0.84392 | 0.0027382 | 0.93923 | 671161 | 5.8268 | 0.27697 | No | 1
12.05 | -0.86915 | 0.0028201 | 0.93642 | 655829 | 5.8168 | 0.28236 | No | 1
12.0667 | -0.87973 | 0.0028544 | 0.93357 | 640825 | 5.8067 | 0.28537 | No | 1
12.0833 | -0.89031 | 0.0028887 | 0.93066 | 626145 | 5.7967 | 0.29179 | No | 1
12.1 | -0.9221 | 0.0029919 | 0.92767 | 611781 | 5.7866 | 0.3013 | No | 1
12.1167 | -0.95205 | 0.0030891 | 0.92459 | 597726 | 5.7765 | 0.30948 | No | 1
12.1333 | -0.9756 | 0.0031655 | 0.92143 | 583976 | 5.7664 | 0.31684 | No | 1
12.15 | -1.0007 | 0.0032469 | 0.91818 | 570524 | 5.7563 | 0.32493 | No | 1
12.1667 | -1.0288 | 0.0033381 | 0.91483 | 557364 | 5.7461 | 0.33619 | No | 1
12.1833 | -1.0739 | 0.0034843 | 0.91136 | 544491 | 5.736 | 0.34825 | No | 1
12.2 | -1.1072 | 0.0035924 | 0.90778 | 531898 | 5.7258 | 0.35598 | No | 1
12.2167 | -1.1252 | 0.003651 | 0.90412 | 519580 | 5.7157 | 0.36347 | No | 1
12.2333 | -1.1572 | 0.0037547 | 0.90036 | 507532 | 5.7055 | 0.37333 | No | 1
12.25 | -1.1902 | 0.0038618 | 0.89651 | 495748 | 5.6953 | 0.38256 | No | 1
12.2667 | -1.2183 | 0.003953 | 0.89256 | 484223 | 5.685 | 0.38971 | No | 1
12.2833 | -1.2384 | 0.0040181 | 0.88854 | 472952 | 5.6748 | 0.39717 | No | 1
12.3 | -1.2685 | 0.0041158 | 0.88442 | 461930 | 5.6646 | 0.40671 | No | 1
12.3167 | -1.3018 | 0.0042239 | 0.8802 | 451151 | 5.6543 | 0.41754 | No | 1
12.3333 | -1.3401 | 0.0043483 | 0.87587 | 440611 | 5.6441 | 0.42504 | No | 1
12.35 | -1.3526 | 0.0043886 | 0.87147 | 430305 | 5.6338 | 0.43114 | No | 1
12.3667 | -1.3821 | 0.0044843 | 0.86699 | 420229 | 5.6235 | 0.44014 | No | 1
12.3833 | -1.4129 | 0.0045845 | 0.8624 | 410377 | 5.6132 | 0.44963 | No | 1
12.4 | -1.4456 | 0.0046906 | 0.85771 | 400745 | 5.6029 | 0.46028 | No | 1
12.4167 | -1.484 | 0.004815 | 0.85291 | 391328 | 5.5925 | 0.46955 | No | 1
12.4333 | -1.508 | 0.0048929 | 0.84802 | 382123 | 5.5822 | 0.47718 | No | 1
12.45 | -1.536 | 0.0049837 | 0.84305 | 373124 | 5.5719 | 0.48273 | No | 1
12.4667 | -1.5467 | 0.0050185 | 0.83802 | 364328 | 5.5615 | 0.48796 | No | 1
12.4833 | -1.5727 | 0.0051028 | 0.83292 | 355731 | 5.5511 | 0.49481 | No | 1
12.5 | -1.5938 | 0.0051713 | 0.82774 | 347328 | 5.5407 | 0.50304 | No | 1
12.5167 | -1.6286 | 0.0052844 | 0.82248 | 339115 | 5.5303 | 0.51036 | No | 1
12.5333 | -1.644 | 0.0053341 | 0.81714 | 331088 | 5.5199 | 0.51563 | No | 1
12.55 | -1.6657 | 0.0054045 | 0.81173 | 323244 | 5.5095 | 0.52327 | No | 1
12.5667 | -1.6962 | 0.0055037 | 0.80625 | 315579 | 5.4991 | 0.52925 | No | 1
12.5833 | -1.7073 | 0.0055395 | 0.80069 | 308088 | 5.4887 | 0.53616 | No | 1
12.6 | -1.7438 | 0.005658 | 0.79504 | 300769 | 5.4782 | 0.54671 | No | 1
12.6167 | -1.7783 | 0.0057701 | 0.78928 | 293617 | 5.4678 | 0.55401 | No | 1
12.6333 | -1.794 | 0.0058207 | 0.78345 | 286630 | 5.4573 | 0.56179 | No | 1
12.65 | -1.8315 | 0.0059427 | 0.77752 | 279803 | 5.4469 | 0.57101 | No | 1
12.6667 | -1.8565 | 0.0060236 | 0.7715 | 273134 | 5.4364 | 0.57774 | No | 1
12.6833 | -1.878 | 0.0060935 | 0.76541 | 266618 | 5.4259 | 0.58439 | No | 1
12.7 | -1.9023 | 0.0061724 | 0.75925 | 260253 | 5.4154 | 0.5896 | No | 1
12.7167 | -1.9146 | 0.0062122 | 0.75305 | 254036 | 5.4049 | 0.59173 | No | 1
12.7333 | -1.9189 | 0.0062262 | 0.74682 | 247963 | 5.3944 | 0.59343 | No | 1
12.75 | -1.9283 | 0.0062566 | 0.74057 | 242030 | 5.3839 | 0.59525 | No | 1
12.7667 | -1.9334 | 0.0062731 | 0.73429 | 236237 | 5.3733 | 0.59876 | No | 1
12.7833 | -1.9536 | 0.0063386 | 0.72795 | 230578 | 5.3628 | 0.60547 | No | 1
12.8 | -1.9794 | 0.0064225 | 0.72152 | 225051 | 5.3523 | 0.6136 | No | 1
12.8167 | -2.0087 | 0.0065177 | 0.71502 | 219654 | 5.3417 | 0.62068 | No | 1
12.8333 | -2.0277 | 0.0065793 | 0.70845 | 214383 | 5.3312 | 0.62505 | No | 1
12.85 | -2.0394 | 0.006617 | 0.70184 | 209236 | 5.3206 | 0.6279 | No | 1
12.8667 | -2.0484 | 0.0066464 | 0.69518 | 204210 | 5.3101 | 0.63199 | No | 1
12.8833 | -2.068 | 0.00671 | 0.68849 | 199303 | 5.2995 | 0.6359 | No | 1
12.9 | -2.0758 | 0.0067354 | 0.68175 | 194511 | 5.2889 | 0.63867 | No | 1
12.9167 | -2.0879 | 0.0067747 | 0.67499 | 189832 | 5.2784 | 0.64011 | No | 1
12.9333 | -2.0869 | 0.0067714 | 0.66821 | 185264 | 5.2678 | 0.64112 | No | 1
12.95 | -2.0961 | 0.0068012 | 0.66141 | 180805 | 5.2572 | 0.6449 | No | 1
12.9667 | -2.1131 | 0.0068564 | 0.65457 | 176451 | 5.2466 | 0.64769 | No | 1
12.9833 | -2.1158 | 0.0068649 | 0.6477 | 172201 | 5.236 | 0.64933 | No | 1
13 | -2.1251 | 0.0068953 | 0.64081 | 168052 | 5.2254 | 0.65127 | No | 1
13.0167 | -2.1296 | 0.0069098 | 0.6339 | 164002 | 5.2148 | 0.65376 | No | 1
13.0333 | -2.1425 | 0.0069516 | 0.62696 | 160048 | 5.2043 | 0.65575 | No | 1
13.05 | -2.1436 | 0.0069552 | 0.62001 | 156189 | 5.1937 | 0.65599 | No | 1
13.0667 | -2.1449 | 0.0069593 | 0.61304 | 152423 | 5.1831 | 0.6586 | No | 1
13.0833 | -2.1614 | 0.007013 | 0.60605 | 148746 | 5.1724 | 0.65948 | No | 1
13.1 | -2.1512 | 0.00698 | 0.59907 | 145158 | 5.1618 | 0.65718 | No | 1
13.1167 | -2.1469 | 0.0069658 | 0.5921 | 141656 | 5.1512 | 0.65684 | No | 1
13.1333 | -2.1493 | 0.0069739 | 0.58514 | 138239 | 5.1406 | 0.65672 | No | 1
13.15 | -2.1463 | 0.0069641 | 0.57818 | 134903 | 5.13 | 0.65448 | No | 1
13.1667 | -2.1348 | 0.0069267 | 0.57126 | 131649 | 5.1194 | 0.65151 | No | 1
13.1833 | -2.1269 | 0.0069011 | 0.56437 | 128472 | 5.1088 | 0.6476 | No | 1
13.2 | -2.1091 | 0.0068433 | 0.55751 | 125373 | 5.0982 | 0.64471 | No | 1
13.2167 | -2.1078 | 0.0068391 | 0.55067 | 122348 | 5.0876 | 0.6455 | No | 1
13.2333 | -2.1139 | 0.006859 | 0.54384 | 119397 | 5.077 | 0.6434 | No | 1
13.25 | -2.0936 | 0.0067928 | 0.53704 | 116517 | 5.0664 | 0.63933 | No | 1
13.2667 | -2.0867 | 0.0067707 | 0.53027 | 113707 | 5.0558 | 0.63772 | No | 1
13.2833 | -2.0824 | 0.0067565 | 0.52353 | 110965 | 5.0452 | 0.63378 | No | 1
13.3 | -2.0601 | 0.0066844 | 0.51683 | 108290 | 5.0346 | 0.63039 | No | 1
13.3167 | -2.0593 | 0.0066816 | 0.51015 | 105681 | 5.024 | 0.63012 | No | 1
13.3333 | -2.0573 | 0.0066754 | 0.50349 | 103134 | 5.0134 | 0.629 | No | 1
13.35 | -2.0508 | 0.0066542 | 0.49684 | 100650 | 5.0028 | 0.62531 | No | 1
13.3667 | -2.032 | 0.006593 | 0.49023 | 98226 | 4.9922 | 0.62413 | No | 1
13.3833 | -2.0418 | 0.0066249 | 0.48364 | 95862 | 4.9816 | 0.62113 | No | 1
13.4 | -2.0109 | 0.0065245 | 0.47709 | 93555 | 4.9711 | 0.61694 | No | 1
13.4167 | -2.0129 | 0.0065311 | 0.47058 | 91305 | 4.9605 | 0.61534 | No | 1
13.4333 | -1.9988 | 0.0064852 | 0.46411 | 89110 | 4.9499 | 0.60927 | No | 1
13.45 | -1.9715 | 0.0063968 | 0.45769 | 86968 | 4.9394 | 0.60519 | No | 1
13.4667 | -1.9703 | 0.006393 | 0.45131 | 84879 | 4.9288 | 0.60479 | No | 1
13.4833 | -1.9669 | 0.0063818 | 0.44494 | 82842 | 4.9183 | 0.60121 | No | 1
13.5 | -1.9449 | 0.0063107 | 0.43863 | 80854 | 4.9077 | 0.59576 | No | 1
13.5167 | -1.9293 | 0.0062598 | 0.43238 | 78915 | 4.8972 | 0.59073 | No | 1
13.5333 | -1.9099 | 0.0061971 | 0.42618 | 77024 | 4.8866 | 0.58559 | No | 1
13.55 | -1.8935 | 0.0061438 | 0.42003 | 75179 | 4.8761 | 0.58222 | No | 1
13.5667 | -1.8856 | 0.0061182 | 0.41392 | 73379 | 4.8656 | 0.58029 | No | 1
13.5833 | -1.8785 | 0.0060951 | 0.40784 | 71624 | 4.8551 | 0.57561 | No | 1
13.6 | -1.8526 | 0.0060111 | 0.40182 | 69912 | 4.8446 | 0.56906 | No | 1
13.6167 | -1.8335 | 0.0059489 | 0.39587 | 68242 | 4.8341 | 0.565 | No | 1
13.6333 | -1.8236 | 0.0059169 | 0.38995 | 66613 | 4.8236 | 0.56324 | No | 1
13.65 | -1.8192 | 0.0059027 | 0.38407 | 65025 | 4.8131 | 0.55903 | No | 1
13.6667 | -1.7935 | 0.0058192 | 0.37824 | 63475 | 4.8026 | 0.55327 | No | 1
13.6833 | -1.779 | 0.0057723 | 0.37248 | 61964 | 4.7921 | 0.54766 | No | 1
13.7 | -1.7542 | 0.0056918 | 0.36678 | 60489 | 4.7817 | 0.54382 | No | 1
13.7167 | -1.7512 | 0.0056821 | 0.36109 | 59052 | 4.7712 | 0.544 | No | 1
13.7333 | -1.7522 | 0.0056852 | 0.35544 | 57649 | 4.7608 | 0.5399 | No | 1
13.75 | -1.7216 | 0.0055859 | 0.34984 | 56282 | 4.7504 | 0.53421 | No | 1
13.7667 | -1.7123 | 0.0055558 | 0.34428 | 54948 | 4.74 | 0.53347 | No | 1
13.7833 | -1.7134 | 0.0055595 | 0.33874 | 53646 | 4.7295 | 0.52957 | No | 1
13.8 | -1.6839 | 0.0054636 | 0.33329 | 52377 | 4.7191 | 0.52002 | No | 1
13.8167 | -1.6487 | 0.0053494 | 0.32792 | 51140 | 4.7088 | 0.51324 | No | 1
13.8333 | -1.637 | 0.0053114 | 0.32262 | 49932 | 4.6984 | 0.50837 | No | 1
13.85 | -1.614 | 0.0052368 | 0.31739 | 48755 | 4.688 | 0.50154 | No | 1
13.8667 | -1.5898 | 0.0051583 | 0.31223 | 47606 | 4.6777 | 0.49559 | No | 1
13.8833 | -1.5724 | 0.005102 | 0.30713 | 46486 | 4.6673 | 0.49062 | No | 1
13.9 | -1.5545 | 0.0050438 | 0.30209 | 45394 | 4.657 | 0.48438 | No | 1
13.9167 | -1.529 | 0.0049612 | 0.29714 | 44328 | 4.6467 | 0.47617 | No | 1
13.9333 | -1.4986 | 0.0048624 | 0.29226 | 43289 | 4.6364 | 0.4704 | No | 1
13.95 | -1.4887 | 0.0048304 | 0.28745 | 42275 | 4.6261 | 0.46489 | No | 1
13.9667 | -1.4599 | 0.004737 | 0.28269 | 41286 | 4.6158 | 0.46067 | No | 1
13.9833 | -1.4583 | 0.0047317 | 0.27798 | 40322 | 4.6055 | 0.45757 | No | 1
14 | -1.4365 | 0.0046611 | 0.27331 | 39381 | 4.5953 | 0.45405 | No | 1
14.0167 | -1.4323 | 0.0046474 | 0.26868 | 38464 | 4.5851 | 0.45027 | No | 1
14.0333 | -1.4089 | 0.0045713 | 0.26411 | 37569 | 4.5748 | 0.44324 | No | 1
14.05 | -1.3842 | 0.0044912 | 0.25961 | 36696 | 4.5646 | 0.43716 | No | 1
14.0667 | -1.3669 | 0.004435 | 0.25519 | 35844 | 4.5544 | 0.43125 | No | 1
14.0833 | -1.3433 | 0.0043584 | 0.25083 | 35013 | 4.5442 | 0.42468 | No | 1
14.1 | -1.3218 | 0.0042888 | 0.24654 | 34203 | 4.5341 | 0.41863 | No | 1
14.1167 | -1.3015 | 0.0042231 | 0.24233 | 33413 | 4.5239 | 0.41013 | No | 1
14.1333 | -1.2648 | 0.0041039 | 0.23821 | 32642 | 4.5138 | 0.40339 | No | 1
14.15 | -1.2557 | 0.0040744 | 0.23413 | 31889 | 4.5036 | 0.40185 | No | 1
14.1667 | -1.2515 | 0.0040607 | 0.23009 | 31156 | 4.4935 | 0.39789 | No | 1
14.1833 | -1.2273 | 0.0039821 | 0.2261 | 30440 | 4.4834 | 0.39212 | No | 1
14.2 | -1.2119 | 0.0039323 | 0.22217 | 29742 | 4.4734 | 0.38846 | No | 1
14.2167 | -1.2008 | 0.0038963 | 0.21828 | 29060 | 4.4633 | 0.38492 | No | 1
14.2333 | -1.1862 | 0.003849 | 0.21444 | 28396 | 4.4533 | 0.37859 | No | 1
14.25 | -1.1579 | 0.003757 | 0.21068 | 27747 | 4.4432 | 0.37044 | No | 1
14.2667 | -1.1322 | 0.0036735 | 0.20701 | 27115 | 4.4332 | 0.36251 | No | 1
14.2833 | -1.1054 | 0.0035866 | 0.20339 | 26497 | 4.4232 | 0.3609 | No | 1
14.3 | -1.1187 | 0.0036298 | 0.19981 | 25895 | 4.4132 | 0.35776 | No | 1
14.3167 | -1.0824 | 0.0035121 | 0.19628 | 25307 | 4.4032 | 0.34901 | No | 1
14.3333 | -1.0614 | 0.003444 | 0.19283 | 24734 | 4.3933 | 0.34487 | No | 1
14.35 | -1.0535 | 0.0034184 | 0.18942 | 24175 | 4.3834 | 0.34109 | No | 1
14.3667 | -1.0348 | 0.0033577 | 0.18607 | 23629 | 4.3734 | 0.33526 | No | 1
14.3833 | -1.0144 | 0.0032915 | 0.18279 | 23096 | 4.3635 | 0.32748 | No | 1
14.4 | -0.98397 | 0.0031926 | 0.17958 | 22576 | 4.3536 | 0.32116 | No | 1
14.4167 | -0.97258 | 0.0031557 | 0.17644 | 22069 | 4.3438 | 0.3153 | No | 1
14.4333 | -0.94501 | 0.0030662 | 0.17337 | 21574 | 4.3339 | 0.30755 | No | 1
14.45 | -0.92233 | 0.0029926 | 0.17037 | 21091 | 4.3241 | 0.30261 | No | 1
14.4667 | -0.91185 | 0.0029586 | 0.16742 | 20619 | 4.3143 | 0.29807 | No | 1
14.4833 | -0.89176 | 0.0028935 | 0.16452 | 20159 | 4.3045 | 0.29445 | No | 1
14.5 | -0.88693 | 0.0028778 | 0.16164 | 19710 | 4.2947 | 0.29217 | No | 1
14.5167 | -0.87493 | 0.0028388 | 0.15881 | 19271 | 4.2849 | 0.28851 | No | 1
14.5333 | -0.86185 | 0.0027964 | 0.15601 | 18843 | 4.2752 | 0.28625 | No | 1
14.55 | -0.8584 | 0.0027852 | 0.15323 | 18425 | 4.2654 | 0.28333 | No | 1
14.5667 | -0.84136 | 0.0027299 | 0.1505 | 18018 | 4.2557 | 0.27836 | No | 1
14.5833 | -0.82569 | 0.0026791 | 0.14783 | 17620 | 4.246 | 0.2735 | No | 1
14.6 | -0.80942 | 0.0026263 | 0.14521 | 17231 | 4.2363 | 0.26676 | No | 1
14.6167 | -0.78261 | 0.0025393 | 0.14266 | 16852 | 4.2267 | 0.26063 | No | 1
14.6333 | -0.77015 | 0.0024989 | 0.14017 | 16481 | 4.217 | 0.2553 | No | 1
14.65 | -0.74823 | 0.0024278 | 0.13772 | 16120 | 4.2074 | 0.25229 | No | 1
14.6667 | -0.74966 | 0.0024324 | 0.13531 | 15766 | 4.1977 | 0.24944 | No | 1
14.6833 | -0.7288 | 0.0023647 | 0.13293 | 15422 | 4.1881 | 0.24577 | No | 1
14.7 | -0.72535 | 0.0023535 | 0.13057 | 15085 | 4.1785 | 0.24626 | No | 1
14.7167 | -0.72921 | 0.002366 | 0.12821 | 14756 | 4.169 | 0.24701 | No | 1
14.7333 | -0.72728 | 0.0023598 | 0.12586 | 14435 | 4.1594 | 0.24542 | No | 1
14.75 | -0.71741 | 0.0023278 | 0.12354 | 14122 | 4.1499 | 0.24243 | No | 1
14.7667 | -0.70724 | 0.0022947 | 0.12126 | 13815 | 4.1404 | 0.23492 | No | 1
14.7833 | -0.67098 | 0.0021771 | 0.11907 | 13516 | 4.1308 | 0.22692 | No | 1
14.8 | -0.65806 | 0.0021352 | 0.11693 | 13224 | 4.1214 | 0.22471 | No | 1
14.8167 | -0.65582 | 0.0021279 | 0.11479 | 12939 | 4.1119 | 0.22549 | No | 1
14.8333 | -0.66045 | 0.0021429 | 0.11268 | 12660 | 4.1024 | 0.22214 | No | 1
14.85 | -0.6341 | 0.0020574 | 0.1106 | 12388 | 4.093 | 0.21803 | No | 1
14.8667 | -0.63446 | 0.0020586 | 0.10856 | 12122 | 4.0836 | 0.21504 | No | 1
14.8833 | -0.61467 | 0.0019944 | 0.10656 | 11862 | 4.0742 | 0.21011 | No | 1
14.9 | -0.60389 | 0.0019594 | 0.1046 | 11608 | 4.0648 | 0.20527 | No | 1
14.9167 | -0.58472 | 0.0018972 | 0.1027 | 11360 | 4.0554 | 0.20168 | No | 1
14.9333 | -0.58126 | 0.001886 | 0.10082 | 11118 | 4.046 | 0.19905 | No | 1
14.95 | -0.56773 | 0.0018421 | 0.098968 | 10881 | 4.0367 | 0.19659 | No | 1
14.9667 | -0.56534 | 0.0018343 | 0.097146 | 10649 | 4.0273 | 0.19373 | No | 1
14.9833 | -0.54952 | 0.001783 | 0.095347 | 10423 | 4.018 | 0.19199 | No | 1
15 | -0.55369 | 0.0017965 | 0.093562 | 10202 | 4.0087 | 0.19146 | No | 1
15.0167 | -0.5449 | 0.001768 | 0.091785 | 9986 | 3.9994 | 0.1909 | No | 1
15.0333 | -0.54891 | 0.001781 | 0.090026 | 9775 | 3.9901 | 0.18801 | No | 1
15.05 | -0.52684 | 0.0017094 | 0.088308 | 9568 | 3.9808 | 0.18252 | No | 1
15.0667 | -0.51606 | 0.0016744 | 0.08661 | 9366 | 3.9716 | 0.18415 | No | 1
15.0833 | -0.53472 | 0.001735 | 0.084896 | 9169 | 3.9623 | 0.18674 | No | 1
15.1 | -0.52944 | 0.0017178 | 0.083185 | 8976 | 3.9531 | 0.18379 | No | 1
15.1167 | -0.51652 | 0.0016759 | 0.081516 | 8788 | 3.9439 | 0.17824 | No | 1
15.1333 | -0.49658 | 0.0016112 | 0.079904 | 8603 | 3.9346 | 0.17173 | No | 1
15.15 | -0.47832 | 0.001552 | 0.078343 | 8423 | 3.9255 | 0.16751 | No | 1
15.1667 | -0.47151 | 0.0015299 | 0.07682 | 8246 | 3.9162 | 0.16398 | No | 1
15.1833 | -0.45721 | 0.0014835 | 0.07533 | 8074 | 3.9071 | 0.1607 | No | 1
15.2 | -0.45192 | 0.0014663 | 0.073865 | 7905 | 3.8979 | 0.15884 | No | 1
15.2167 | -0.44572 | 0.0014462 | 0.072425 | 7740 | 3.8887 | 0.1557 | No | 1
15.2333 | -0.43326 | 0.0014058 | 0.071013 | 7579 | 3.8796 | 0.15298 | No | 1
15.25 | -0.4295 | 0.0013936 | 0.069619 | 7421 | 3.8705 | 0.15198 | No | 1
15.2667 | -0.4268 | 0.0013848 | 0.06823 | 7267 | 3.8614 | 0.15219 | No | 1
15.2833 | -0.4299 | 0.0013949 | 0.066845 | 7116 | 3.8522 | 0.15139 | No | 1
15.3 | -0.42156 | 0.0013678 | 0.065478 | 6968 | 3.8431 | 0.14854 | No | 1
15.3167 | -0.41322 | 0.0013408 | 0.064143 | 6823 | 3.834 | 0.14446 | No | 1
15.3333 | -0.39801 | 0.0012914 | 0.062834 | 6682 | 3.8249 | 0.14317 | No | 1
15.35 | -0.40539 | 0.0013154 | 0.061524 | 6543 | 3.8158 | 0.14491 | No | 1
15.3667 | -0.40727 | 0.0013215 | 0.060218 | 6408 | 3.8067 | 0.14232 | No | 1
15.3833 | -0.39039 | 0.0012667 | 0.058941 | 6275 | 3.7976 | 0.13891 | No | 1
15.4 | -0.38769 | 0.0012579 | 0.057702 | 6145 | 3.7885 | 0.13404 | No | 1
15.4167 | -0.36272 | 0.0011769 | 0.056503 | 6018 | 3.7795 | 0.13002 | No | 1
15.4333 | -0.36491 | 0.001184 | 0.055304 | 5894 | 3.7704 | 0.13432 | No | 1
15.45 | -0.38647 | 0.001254 | 0.054083 | 5772 | 3.7613 | 0.13498 | No | 1
15.4667 | -0.36837 | 0.0011952 | 0.052884 | 5653 | 3.7523 | 0.12949 | No | 1
15.4833 | -0.3556 | 0.0011538 | 0.051734 | 5536 | 3.7432 | 0.12419 | No | 1
15.5 | -0.33856 | 0.0010985 | 0.050602 | 5422 | 3.7342 | 0.12567 | No | 1
15.5167 | -0.36379 | 0.0011804 | 0.04945 | 5310 | 3.7251 | 0.12859 | No | 1
15.5333 | -0.35484 | 0.0011513 | 0.048291 | 5200 | 3.716 | 0.12721 | No | 1
15.55 | -0.35611 | 0.0011555 | 0.047143 | 5093 | 3.707 | 0.12607 | No | 1
15.5667 | -0.34853 | 0.0011309 | 0.046016 | 4987 | 3.6978 | 0.12263 | No | 1
15.5833 | -0.33699 | 0.0010934 | 0.044916 | 4884 | 3.6888 | 0.12006 | No | 1
15.6 | -0.33429 | 0.0010847 | 0.043836 | 4783 | 3.6797 | 0.11813 | No | 1
15.6167 | -0.32641 | 0.0010591 | 0.04278 | 4685 | 3.6707 | 0.11462 | No | 1
15.6333 | -0.31486 | 0.0010216 | 0.041755 | 4588 | 3.6616 | 0.1114 | No | 1
15.65 | -0.30866 | 0.0010015 | 0.040759 | 4493 | 3.6525 | 0.10798 | No | 1
15.6667 | -0.29605 | 0.00096057 | 0.039792 | 4400 | 3.6435 | 0.10491 | No | 1
15.6833 | -0.29183 | 0.00094687 | 0.038845 | 4309 | 3.6344 | 0.10339 | No | 1
15.7 | -0.28791 | 0.00093417 | 0.03791 | 4219 | 3.6252 | 0.10235 | No | 1
15.7167 | -0.28644 | 0.00092938 | 0.036983 | 4132 | 3.6162 | 0.10124 | No | 1
15.7333 | -0.28221 | 0.00091569 | 0.036071 | 4046 | 3.607 | 0.09897 | No | 1
15.75 | -0.27418 | 0.00088961 | 0.035169 | 3962 | 3.5979 | 0.098859 | No | 1
15.7667 | -0.28216 | 0.00091553 | 0.034263 | 3880 | 3.5888 | 0.099445 | No | 1
15.7833 | -0.2781 | 0.00090232 | 0.033367 | 3799 | 3.5797 | 0.096666 | No | 1
15.8 | -0.26716 | 0.00086684 | 0.032484 | 3719 | 3.5704 | 0.096316 | No | 1
15.8167 | -0.27683 | 0.0008982 | 0.031607 | 3642 | 3.5613 | 0.095041 | No | 1
15.8333 | -0.2607 | 0.00084589 | 0.030745 | 3566 | 3.5522 | 0.092791 | No | 1
15.85 | -0.26487 | 0.00085942 | 0.029902 | 3491 | 3.5429 | 0.090781 | No | 1
15.8667 | -0.25012 | 0.00081157 | 0.029079 | 3418 | 3.5338 | 0.087936 | No | 1
15.8833 | -0.24957 | 0.00080975 | 0.028264 | 3346 | 3.5245 | 0.088737 | No | 1
15.9 | -0.25557 | 0.00082923 | 0.027448 | 3276 | 3.5153 | 0.088028 | No | 1
15.9167 | -0.24646 | 0.00079969 | 0.026646 | 3206 | 3.506 | 0.08507 | No | 1
15.9333 | -0.23965 | 0.00077758 | 0.025873 | 3139 | 3.4968 | 0.081769 | No | 1
15.95 | -0.22856 | 0.0007416 | 0.025137 | 3072 | 3.4874 | 0.076611 | No | 1
15.9667 | -0.21107 | 0.00068483 | 0.024425 | 3007 | 3.4781 | 0.07627 | No | 1
15.9833 | -0.2276 | 0.00073847 | 0.023702 | 2943 | 3.4688 | 0.07849 | No | 1
16 | -0.2249 | 0.00072973 | 0.02297 | 2880 | 3.4594 | 0.077892 | No | 1
16.0167 | -0.22526 | 0.00073088 | 0.022238 | 2819 | 3.4501 | 0.078209 | No | 1
16.0333 | -0.2279 | 0.00073947 | 0.02151 | 2758 | 3.4406 | 0.0766 | No | 1
16.05 | -0.21712 | 0.00070448 | 0.020793 | 2699 | 3.4312 | 0.075278 | No | 1
16.0667 | -0.22144 | 0.00071851 | 0.020092 | 2641 | 3.4218 | 0.073067 | No | 1
16.0833 | -0.20547 | 0.00066669 | 0.019411 | 2584 | 3.4123 | 0.070418 | No | 1
16.1 | -0.2072 | 0.00067231 | 0.018744 | 2528 | 3.4028 | 0.069723 | No | 1
16.1167 | -0.20268 | 0.00065762 | 0.018085 | 2473 | 3.3932 | 0.068326 | No | 1
16.1333 | -0.20029 | 0.00064986 | 0.017438 | 2419 | 3.3836 | 0.066775 | No | 1
16.15 | -0.19485 | 0.00063221 | 0.016796 | 2366 | 3.374 | 0.066846 | No | 1
16.1667 | -0.20207 | 0.00065564 | 0.016158 | 2314 | 3.3644 | 0.06532 | No | 1
16.1833 | -0.18717 | 0.00060729 | 0.015536 | 2263 | 3.3547 | 0.063185 | No | 1
16.2 | -0.19073 | 0.00061885 | 0.014919 | 2213 | 3.345 | 0.063802 | No | 1
16.2167 | -0.19231 | 0.00062396 | 0.014297 | 2164 | 3.3353 | 0.063824 | No | 1
16.2333 | -0.19236 | 0.00062413 | 0.01368 | 2116 | 3.3255 | 0.062149 | No | 1
16.25 | -0.18371 | 0.00059608 | 0.013091 | 2068 | 3.3156 | 0.057792 | No | 1
16.2667 | -0.16744 | 0.00054327 | 0.012533 | 2022 | 3.3058 | 0.055214 | No | 1
16.2833 | -0.16947 | 0.00054987 | 0.011985 | 1976 | 3.2958 | 0.055265 | No | 1
16.3 | -0.16922 | 0.00054905 | 0.011438 | 1931 | 3.2858 | 0.054614 | No | 1
16.3167 | -0.16698 | 0.00054179 | 0.01091 | 1887 | 3.2758 | 0.050828 | No | 1
16.3333 | -0.14735 | 0.00047809 | 0.010407 | 1844 | 3.2658 | 0.049428 | No | 1
16.35 | -0.15976 | 0.00051836 | 0.0098998 | 1802 | 3.2558 | 0.050918 | No | 1
16.3667 | -0.15813 | 0.00051308 | 0.009392 | 1760 | 3.2455 | 0.049152 | No | 1
16.3833 | -0.15025 | 0.0004875 | 0.0089074 | 1719 | 3.2353 | 0.045896 | No | 1
16.4 | -0.13916 | 0.00045153 | 0.0084415 | 1679 | 3.2251 | 0.045003 | No | 1
16.4167 | -0.14608 | 0.00047397 | 0.0079625 | 1640 | 3.2148 | 0.047943 | No | 1
16.4333 | -0.1594 | 0.00051721 | 0.007479 | 1601 | 3.2044 | 0.045415 | No | 1
16.45 | -0.13153 | 0.00042678 | 0.0070314 | 1563 | 3.194 | 0.04054 | No | 1
16.4667 | -0.1296 | 0.00042051 | 0.0066045 | 1526 | 3.1836 | 0.040965 | No | 1
16.4833 | -0.13575 | 0.00044048 | 0.0061632 | 1489 | 3.1729 | 0.042808 | No | 1
16.5 | -0.14313 | 0.00046441 | 0.0057092 | 1453 | 3.1623 | 0.0429 | No | 1
16.5167 | -0.13799 | 0.00044774 | 0.005264 | 1418 | 3.1517 | 0.040647 | No | 1
16.5333 | -0.12996 | 0.00042167 | 0.0048327 | 1384 | 3.1411 | 0.039819 | No | 1
16.55 | -0.13413 | 0.0004352 | 0.0044032 | 1350 | 3.1303 | 0.039795 | No | 1
16.5667 | -0.13143 | 0.00042646 | 0.003979 | 1316 | 3.1193 | 0.038379 | No | 1
16.5833 | -0.1263 | 0.00040979 | 0.0035575 | 1284 | 3.1086 | 0.038782 | No | 1
16.6 | -0.13581 | 0.00044066 | 0.0031343 | 1252 | 3.0976 | 0.038209 | No | 1
16.6167 | -0.12411 | 0.0004027 | 0.0027267 | 1220 | 3.0864 | 0.035454 | No | 1
16.6333 | -0.11867 | 0.00038504 | 0.0023413 | 1189 | 3.0752 | 0.033726 | No | 1
16.65 | -0.11384 | 0.00036937 | 0.0019577 | 1159 | 3.0641 | 0.034676 | No | 1
16.6667 | -0.12686 | 0.00041162 | 0.0015559 | 1129 | 3.0527 | 0.036459 | No | 1
16.6833 | -0.12798 | 0.00041525 | 0.0011653 | 1100 | 3.0414 | 0.032229 | No | 1
16.7 | -0.098887 | 0.00032085 | 0.00081953 | 1071 | 3.0298 | 0.028161 | No | 1
16.7167 | -0.10077 | 0.00032696 | 0.00049309 | 1043 | 3.0183 | 0.028421 | No | 1
16.7333 | -0.10219 | 0.00033158 | 0.00016427 | 1016 | 3.0069 | 0.028163 | No | 1