## Sample Details
Administrative Information
Export date | 10 December 2024 09:43:12
Culture name | en-GB
Decimal separator | .
Workspace name | November 2024
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\2024\November 2024\
File name | ICF_04_12_2024-0010.sample
Creation date | 09 December 2024 12:08:36
Created by | OBPC
Comments | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Software version | Agilent SEC Software - 2.1.9.34851
Sample Information
Sample name | G
Information
Sample type | Sample
Injection date | 09 December 2024
Vial number | None
Injection number | 1
Injection volume (µL) | 200
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 0
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.1.9.34851
Instrument name | Agilent DataStream
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV

## Raw Data
Sample Collection Parameters
Collected by | OBPC
Number of channels | 1
Run length (mins) | 30.0167
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1801
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | RI | Trace0 | mV
Raw Data
RT (mins) | Response Trace 1
0 | -2.1619
0.016667 | -2.1786
0.033333 | -2.1951
0.05 | -2.1935
0.066667 | -2.1764
0.083333 | -2.1828
0.1 | -2.1819
0.11667 | -2.1896
0.13333 | -2.1671
0.15 | -2.1697
0.16667 | -2.1685
0.18333 | -2.1668
0.2 | -2.1664
0.21667 | -2.1735
0.23333 | -2.1862
0.25 | -2.1824
0.26667 | -2.156
0.28333 | -2.172
0.3 | -2.1655
0.31667 | -2.1752
0.33333 | -2.1912
0.35 | -2.1914
0.36667 | -2.1803
0.38333 | -2.1929
0.4 | -2.197
0.41667 | -2.2085
0.43333 | -2.1888
0.45 | -2.1861
0.46667 | -2.1886
0.48333 | -2.1812
0.5 | -2.1955
0.51667 | -2.2118
0.53333 | -2.2276
0.55 | -2.2337
0.56667 | -2.2251
0.58333 | -2.2044
0.6 | -2.2161
0.61667 | -2.2089
0.63333 | -2.2211
0.65 | -2.2381
0.66667 | -2.2445
0.68333 | -2.2715
0.7 | -2.2802
0.71667 | -2.2681
0.73333 | -2.2619
0.75 | -2.2602
0.76667 | -2.2585
0.78333 | -2.2465
0.8 | -2.2392
0.81667 | -2.2407
0.83333 | -2.2598
0.85 | -2.2375
0.86667 | -2.2285
0.88333 | -2.2387
0.9 | -2.2363
0.91667 | -2.2431
0.93333 | -2.2356
0.95 | -2.233
0.96667 | -2.2363
0.98333 | -2.2408
1 | -2.2414
1.0167 | -2.2327
1.0333 | -2.2303
1.05 | -2.2172
1.0667 | -2.2233
1.0833 | -2.2201
1.1 | -2.2274
1.1167 | -2.2404
1.1333 | -2.2347
1.15 | -2.2237
1.1667 | -2.233
1.1833 | -2.2329
1.2 | -2.2373
1.2167 | -2.2337
1.2333 | -2.2514
1.25 | -2.2439
1.2667 | -2.2608
1.2833 | -2.2576
1.3 | -2.2738
1.3167 | -2.2628
1.3333 | -2.272
1.35 | -2.2707
1.3667 | -2.2803
1.3833 | -2.2576
1.4 | -2.2744
1.4167 | -2.2753
1.4333 | -2.2807
1.45 | -2.2727
1.4667 | -2.2729
1.4833 | -2.2773
1.5 | -2.2619
1.5167 | -2.2671
1.5333 | -2.2742
1.55 | -2.2683
1.5667 | -2.2602
1.5833 | -2.2642
1.6 | -2.2717
1.6167 | -2.2665
1.6333 | -2.284
1.65 | -2.2857
1.6667 | -2.2811
1.6833 | -2.2875
1.7 | -2.2803
1.7167 | -2.2831
1.7333 | -2.2913
1.75 | -2.2819
1.7667 | -2.2887
1.7833 | -2.2828
1.8 | -2.2912
1.8167 | -2.2874
1.8333 | -2.289
1.85 | -2.3048
1.8667 | -2.2942
1.8833 | -2.3071
1.9 | -2.2857
1.9167 | -2.2794
1.9333 | -2.2823
1.95 | -2.3063
1.9667 | -2.3066
1.9833 | -2.3138
2 | -2.3136
2.0167 | -2.2926
2.0333 | -2.2813
2.05 | -2.2729
2.0667 | -2.2863
2.0833 | -2.2865
2.1 | -2.2843
2.1167 | -2.2791
2.1333 | -2.2781
2.15 | -2.2895
2.1667 | -2.2782
2.1833 | -2.2822
2.2 | -2.2845
2.2167 | -2.2811
2.2333 | -2.2912
2.25 | -2.2984
2.2667 | -2.3019
2.2833 | -2.2947
2.3 | -2.2906
2.3167 | -2.2887
2.3333 | -2.2909
2.35 | -2.2977
2.3667 | -2.2788
2.3833 | -2.2747
2.4 | -2.2707
2.4167 | -2.2906
2.4333 | -2.2849
2.45 | -2.2907
2.4667 | -2.2916
2.4833 | -2.2846
2.5 | -2.279
2.5167 | -2.2871
2.5333 | -2.2857
2.55 | -2.2694
2.5667 | -2.2935
2.5833 | -2.2913
2.6 | -2.3017
2.6167 | -2.2906
2.6333 | -2.286
2.65 | -2.2861
2.6667 | -2.2668
2.6833 | -2.2817
2.7 | -2.281
2.7167 | -2.3002
2.7333 | -2.2999
2.75 | -2.3183
2.7667 | -2.3086
2.7833 | -2.3125
2.8 | -2.3217
2.8167 | -2.306
2.8333 | -2.3222
2.85 | -2.3061
2.8667 | -2.2907
2.8833 | -2.2842
2.9 | -2.3074
2.9167 | -2.3054
2.9333 | -2.3052
2.95 | -2.3096
2.9667 | -2.3113
2.9833 | -2.2994
3 | -2.2843
3.0167 | -2.2871
3.0333 | -2.2938
3.05 | -2.2822
3.0667 | -2.2837
3.0833 | -2.2724
3.1 | -2.2869
3.1167 | -2.2849
3.1333 | -2.2768
3.15 | -2.2845
3.1667 | -2.2942
3.1833 | -2.2729
3.2 | -2.2855
3.2167 | -2.286
3.2333 | -2.2886
3.25 | -2.2942
3.2667 | -2.286
3.2833 | -2.2883
3.3 | -2.2961
3.3167 | -2.2929
3.3333 | -2.3022
3.35 | -2.2901
3.3667 | -2.2855
3.3833 | -2.2784
3.4 | -2.2865
3.4167 | -2.2903
3.4333 | -2.3002
3.45 | -2.3016
3.4667 | -2.2907
3.4833 | -2.2863
3.5 | -2.2941
3.5167 | -2.2973
3.5333 | -2.2952
3.55 | -2.3005
3.5667 | -2.3136
3.5833 | -2.2981
3.6 | -2.3197
3.6167 | -2.3115
3.6333 | -2.2944
3.65 | -2.3034
3.6667 | -2.3035
3.6833 | -2.3049
3.7 | -2.2912
3.7167 | -2.2843
3.7333 | -2.2855
3.75 | -2.2778
3.7667 | -2.29
3.7833 | -2.291
3.8 | -2.271
3.8167 | -2.2747
3.8333 | -2.291
3.85 | -2.2861
3.8667 | -2.2721
3.8833 | -2.2805
3.9 | -2.2997
3.9167 | -2.2929
3.9333 | -2.2828
3.95 | -2.2832
3.9667 | -2.2799
3.9833 | -2.2665
4 | -2.2521
4.0167 | -2.2688
4.0333 | -2.2651
4.05 | -2.2775
4.0667 | -2.2733
4.0833 | -2.2744
4.1 | -2.2782
4.1167 | -2.2709
4.1333 | -2.2681
4.15 | -2.2655
4.1667 | -2.279
4.1833 | -2.2585
4.2 | -2.2689
4.2167 | -2.2628
4.2333 | -2.2607
4.25 | -2.2567
4.2667 | -2.2585
4.2833 | -2.2598
4.3 | -2.2573
4.3167 | -2.2652
4.3333 | -2.268
4.35 | -2.2564
4.3667 | -2.266
4.3833 | -2.2576
4.4 | -2.2637
4.4167 | -2.2533
4.4333 | -2.2654
4.45 | -2.2691
4.4667 | -2.2707
4.4833 | -2.2691
4.5 | -2.2797
4.5167 | -2.2756
4.5333 | -2.263
4.55 | -2.2839
4.5667 | -2.2985
4.5833 | -2.2768
4.6 | -2.2837
4.6167 | -2.2703
4.6333 | -2.2758
4.65 | -2.2857
4.6667 | -2.297
4.6833 | -2.3063
4.7 | -2.3063
4.7167 | -2.3019
4.7333 | -2.2947
4.75 | -2.2828
4.7667 | -2.2909
4.7833 | -2.2855
4.8 | -2.3072
4.8167 | -2.3215
4.8333 | -2.2961
4.85 | -2.293
4.8667 | -2.3069
4.8833 | -2.2999
4.9 | -2.3032
4.9167 | -2.2901
4.9333 | -2.2688
4.95 | -2.2811
4.9667 | -2.2981
4.9833 | -2.2858
5 | -2.3148
5.0167 | -2.2848
5.0333 | -2.273
5.05 | -2.2775
5.0667 | -2.2834
5.0833 | -2.2852
5.1 | -2.2738
5.1167 | -2.2802
5.1333 | -2.2887
5.15 | -2.2965
5.1667 | -2.2973
5.1833 | -2.2895
5.2 | -2.275
5.2167 | -2.2753
5.2333 | -2.2849
5.25 | -2.2886
5.2667 | -2.2767
5.2833 | -2.2831
5.3 | -2.2836
5.3167 | -2.295
5.3333 | -2.3083
5.35 | -2.3006
5.3667 | -2.3034
5.3833 | -2.3006
5.4 | -2.2977
5.4167 | -2.3003
5.4333 | -2.2868
5.45 | -2.3031
5.4667 | -2.2955
5.4833 | -2.2947
5.5 | -2.3072
5.5167 | -2.3008
5.5333 | -2.304
5.55 | -2.2999
5.5667 | -2.2889
5.5833 | -2.291
5.6 | -2.2947
5.6167 | -2.2981
5.6333 | -2.3032
5.65 | -2.3086
5.6667 | -2.3212
5.6833 | -2.3078
5.7 | -2.2923
5.7167 | -2.3069
5.7333 | -2.324
5.75 | -2.3124
5.7667 | -2.3182
5.7833 | -2.3009
5.8 | -2.3084
5.8167 | -2.311
5.8333 | -2.2961
5.85 | -2.3208
5.8667 | -2.3118
5.8833 | -2.3183
5.9 | -2.3071
5.9167 | -2.3211
5.9333 | -2.3009
5.95 | -2.293
5.9667 | -2.3034
5.9833 | -2.3116
6 | -2.3237
6.0167 | -2.3066
6.0333 | -2.3028
6.05 | -2.3037
6.0667 | -2.317
6.0833 | -2.3173
6.1 | -2.3197
6.1167 | -2.3267
6.1333 | -2.3226
6.15 | -2.3058
6.1667 | -2.3075
6.1833 | -2.3121
6.2 | -2.3183
6.2167 | -2.3162
6.2333 | -2.3183
6.25 | -2.3231
6.2667 | -2.3186
6.2833 | -2.318
6.3 | -2.3136
6.3167 | -2.324
6.3333 | -2.3186
6.35 | -2.3277
6.3667 | -2.3269
6.3833 | -2.3161
6.4 | -2.3032
6.4167 | -2.3042
6.4333 | -2.3307
6.45 | -2.3286
6.4667 | -2.3087
6.4833 | -2.3277
6.5 | -2.3486
6.5167 | -2.3319
6.5333 | -2.3342
6.55 | -2.3362
6.5667 | -2.3421
6.5833 | -2.3438
6.6 | -2.3566
6.6167 | -2.3504
6.6333 | -2.3444
6.65 | -2.3237
6.6667 | -2.3409
6.6833 | -2.3389
6.7 | -2.3466
6.7167 | -2.336
6.7333 | -2.3252
6.75 | -2.3292
6.7667 | -2.3367
6.7833 | -2.3243
6.8 | -2.3327
6.8167 | -2.3409
6.8333 | -2.3191
6.85 | -2.3269
6.8667 | -2.3226
6.8833 | -2.3248
6.9 | -2.3269
6.9167 | -2.3212
6.9333 | -2.3257
6.95 | -2.3284
6.9667 | -2.346
6.9833 | -2.3496
7 | -2.3327
7.0167 | -2.3367
7.0333 | -2.3269
7.05 | -2.3182
7.0667 | -2.3196
7.0833 | -2.3244
7.1 | -2.3145
7.1167 | -2.3238
7.1333 | -2.319
7.15 | -2.3164
7.1667 | -2.3315
7.1833 | -2.3356
7.2 | -2.3434
7.2167 | -2.3403
7.2333 | -2.3335
7.25 | -2.3264
7.2667 | -2.3313
7.2833 | -2.3205
7.3 | -2.3226
7.3167 | -2.3278
7.3333 | -2.3309
7.35 | -2.34
7.3667 | -2.3396
7.3833 | -2.3255
7.4 | -2.3278
7.4167 | -2.3415
7.4333 | -2.3489
7.45 | -2.3388
7.4667 | -2.3504
7.4833 | -2.3457
7.5 | -2.3577
7.5167 | -2.336
7.5333 | -2.3502
7.55 | -2.3568
7.5667 | -2.3409
7.5833 | -2.3524
7.6 | -2.331
7.6167 | -2.344
7.6333 | -2.3495
7.65 | -2.3547
7.6667 | -2.3455
7.6833 | -2.3421
7.7 | -2.347
7.7167 | -2.3594
7.7333 | -2.3489
7.75 | -2.3548
7.7667 | -2.3493
7.7833 | -2.3434
7.8 | -2.3632
7.8167 | -2.3437
7.8333 | -2.3254
7.85 | -2.3237
7.8667 | -2.344
7.8833 | -2.3447
7.9 | -2.3464
7.9167 | -2.3475
7.9333 | -2.3321
7.95 | -2.3257
7.9667 | -2.3363
7.9833 | -2.3281
8 | -2.3249
8.0167 | -2.3174
8.0333 | -2.3121
8.05 | -2.327
8.0667 | -2.3191
8.0833 | -2.3284
8.1 | -2.3327
8.1167 | -2.3081
8.1333 | -2.3135
8.15 | -2.3455
8.1667 | -2.3402
8.1833 | -2.3273
8.2 | -2.3306
8.2167 | -2.3226
8.2333 | -2.3215
8.25 | -2.3222
8.2667 | -2.3139
8.2833 | -2.3275
8.3 | -2.3435
8.3167 | -2.3251
8.3333 | -2.3209
8.35 | -2.327
8.3667 | -2.3328
8.3833 | -2.3348
8.4 | -2.3446
8.4167 | -2.3339
8.4333 | -2.3434
8.45 | -2.3341
8.4667 | -2.3447
8.4833 | -2.3321
8.5 | -2.3203
8.5167 | -2.3151
8.5333 | -2.328
8.55 | -2.3304
8.5667 | -2.3351
8.5833 | -2.333
8.6 | -2.3246
8.6167 | -2.3447
8.6333 | -2.3437
8.65 | -2.3542
8.6667 | -2.3348
8.6833 | -2.3363
8.7 | -2.3249
8.7167 | -2.3446
8.7333 | -2.3469
8.75 | -2.3479
8.7667 | -2.3574
8.7833 | -2.3534
8.8 | -2.3521
8.8167 | -2.3597
8.8333 | -2.3551
8.85 | -2.3492
8.8667 | -2.3594
8.8833 | -2.3373
8.9 | -2.3402
8.9167 | -2.3273
8.9333 | -2.3457
8.95 | -2.3495
8.9667 | -2.3341
8.9833 | -2.3269
9 | -2.3298
9.0167 | -2.3406
9.0333 | -2.3341
9.05 | -2.356
9.0667 | -2.3425
9.0833 | -2.3431
9.1 | -2.3258
9.1167 | -2.3255
9.1333 | -2.319
9.15 | -2.3179
9.1667 | -2.3064
9.1833 | -2.3013
9.2 | -2.3122
9.2167 | -2.3093
9.2333 | -2.3121
9.25 | -2.32
9.2667 | -2.3281
9.2833 | -2.3074
9.3 | -2.3025
9.3167 | -2.3067
9.3333 | -2.3174
9.35 | -2.3399
9.3667 | -2.326
9.3833 | -2.3252
9.4 | -2.3162
9.4167 | -2.3185
9.4333 | -2.3254
9.45 | -2.3275
9.4667 | -2.3243
9.4833 | -2.3173
9.5 | -2.3357
9.5167 | -2.3345
9.5333 | -2.3249
9.55 | -2.3338
9.5667 | -2.337
9.5833 | -2.3335
9.6 | -2.3193
9.6167 | -2.3248
9.6333 | -2.3328
9.65 | -2.3457
9.6667 | -2.345
9.6833 | -2.3469
9.7 | -2.3421
9.7167 | -2.3336
9.7333 | -2.3394
9.75 | -2.3257
9.7667 | -2.331
9.7833 | -2.3438
9.8 | -2.3362
9.8167 | -2.3389
9.8333 | -2.3333
9.85 | -2.3385
9.8667 | -2.3417
9.8833 | -2.3463
9.9 | -2.3508
9.9167 | -2.3559
9.9333 | -2.3562
9.95 | -2.3626
9.9667 | -2.3534
9.9833 | -2.335
10 | -2.3498
10.0167 | -2.3499
10.0333 | -2.3556
10.05 | -2.3576
10.0667 | -2.3563
10.0833 | -2.3579
10.1 | -2.3699
10.1167 | -2.3597
10.1333 | -2.358
10.15 | -2.3598
10.1667 | -2.3583
10.1833 | -2.3438
10.2 | -2.3525
10.2167 | -2.3534
10.2333 | -2.3286
10.25 | -2.3457
10.2667 | -2.3661
10.2833 | -2.3614
10.3 | -2.3635
10.3167 | -2.3791
10.3333 | -2.3612
10.35 | -2.3614
10.3667 | -2.3646
10.3833 | -2.3701
10.4 | -2.3881
10.4167 | -2.3855
10.4333 | -2.383
10.45 | -2.4018
10.4667 | -2.3884
10.4833 | -2.3925
10.5 | -2.3946
10.5167 | -2.4183
10.5333 | -2.4
10.55 | -2.4033
10.5667 | -2.3858
10.5833 | -2.3988
10.6 | -2.3861
10.6167 | -2.4055
10.6333 | -2.4067
10.65 | -2.3995
10.6667 | -2.3878
10.6833 | -2.4207
10.7 | -2.4091
10.7167 | -2.3997
10.7333 | -2.4043
10.75 | -2.414
10.7667 | -2.4239
10.7833 | -2.4242
10.8 | -2.4258
10.8167 | -2.4349
10.8333 | -2.4305
10.85 | -2.4316
10.8667 | -2.4419
10.8833 | -2.445
10.9 | -2.4346
10.9167 | -2.4534
10.9333 | -2.4583
10.95 | -2.4642
10.9667 | -2.4599
10.9833 | -2.4612
11 | -2.4706
11.0167 | -2.4815
11.0333 | -2.4979
11.05 | -2.496
11.0667 | -2.5114
11.0833 | -2.5318
11.1 | -2.5445
11.1167 | -2.5459
11.1333 | -2.5579
11.15 | -2.5797
11.1667 | -2.5799
11.1833 | -2.5689
11.2 | -2.6032
11.2167 | -2.5967
11.2333 | -2.6141
11.25 | -2.6298
11.2667 | -2.6357
11.2833 | -2.6521
11.3 | -2.6745
11.3167 | -2.6859
11.3333 | -2.7166
11.35 | -2.7424
11.3667 | -2.7407
11.3833 | -2.7479
11.4 | -2.7648
11.4167 | -2.7872
11.4333 | -2.8011
11.45 | -2.8359
11.4667 | -2.8732
11.4833 | -2.9032
11.5 | -2.9406
11.5167 | -2.9694
11.5333 | -2.9853
11.55 | -3.036
11.5667 | -3.0659
11.5833 | -3.0978
11.6 | -3.1374
11.6167 | -3.1663
11.6333 | -3.2142
11.65 | -3.2397
11.6667 | -3.2888
11.6833 | -3.3361
11.7 | -3.3578
11.7167 | -3.3871
11.7333 | -3.4487
11.75 | -3.4902
11.7667 | -3.5314
11.7833 | -3.5778
11.8 | -3.6187
11.8167 | -3.6674
11.8333 | -3.7064
11.85 | -3.738
11.8667 | -3.7681
11.8833 | -3.8441
11.9 | -3.8784
11.9167 | -3.8947
11.9333 | -3.9568
11.95 | -3.9877
11.9667 | -4.0206
11.9833 | -4.0733
12 | -4.1082
12.0167 | -4.1491
12.0333 | -4.1941
12.05 | -4.2425
12.0667 | -4.271
12.0833 | -4.2988
12.1 | -4.3514
12.1167 | -4.3952
12.1333 | -4.4463
12.15 | -4.4935
12.1667 | -4.5214
12.1833 | -4.5724
12.2 | -4.6142
12.2167 | -4.6673
12.2333 | -4.7184
12.25 | -4.7501
12.2667 | -4.7855
12.2833 | -4.8368
12.3 | -4.8832
12.3167 | -4.945
12.3333 | -4.9866
12.35 | -5.0362
12.3667 | -5.0869
12.3833 | -5.1263
12.4 | -5.1748
12.4167 | -5.2404
12.4333 | -5.2851
12.45 | -5.3457
12.4667 | -5.3754
12.4833 | -5.4084
12.5 | -5.4685
12.5167 | -5.5064
12.5333 | -5.5383
12.55 | -5.5633
12.5667 | -5.6103
12.5833 | -5.6394
12.6 | -5.6786
12.6167 | -5.7125
12.6333 | -5.7517
12.65 | -5.7856
12.6667 | -5.8327
12.6833 | -5.8524
12.7 | -5.8807
12.7167 | -5.9078
12.7333 | -5.9418
12.75 | -5.948
12.7667 | -5.9663
12.7833 | -6.0055
12.8 | -6.0207
12.8167 | -6.0584
12.8333 | -6.0778
12.85 | -6.0894
12.8667 | -6.085
12.8833 | -6.1118
12.9 | -6.1298
12.9167 | -6.1279
12.9333 | -6.1495
12.95 | -6.1437
12.9667 | -6.1324
12.9833 | -6.1462
13 | -6.1289
13.0167 | -6.141
13.0333 | -6.1422
13.05 | -6.1439
13.0667 | -6.1407
13.0833 | -6.1279
13.1 | -6.1195
13.1167 | -6.1147
13.1333 | -6.1033
13.15 | -6.0931
13.1667 | -6.0694
13.1833 | -6.0505
13.2 | -6.0314
13.2167 | -6.021
13.2333 | -6.0053
13.25 | -5.9742
13.2667 | -5.9623
13.2833 | -5.9553
13.3 | -5.9336
13.3167 | -5.9093
13.3333 | -5.8918
13.35 | -5.8616
13.3667 | -5.8485
13.3833 | -5.8195
13.4 | -5.781
13.4167 | -5.756
13.4333 | -5.7354
13.45 | -5.7107
13.4667 | -5.6844
13.4833 | -5.6588
13.5 | -5.653
13.5167 | -5.626
13.5333 | -5.6071
13.55 | -5.5602
13.5667 | -5.532
13.5833 | -5.5065
13.6 | -5.4888
13.6167 | -5.4511
13.6333 | -5.4546
13.65 | -5.4259
13.6667 | -5.3962
13.6833 | -5.3681
13.7 | -5.3475
13.7167 | -5.3127
13.7333 | -5.2872
13.75 | -5.243
13.7667 | -5.2229
13.7833 | -5.2074
13.8 | -5.1812
13.8167 | -5.156
13.8333 | -5.122
13.85 | -5.0924
13.8667 | -5.0571
13.8833 | -5.0242
13.9 | -4.9839
13.9167 | -4.9517
13.9333 | -4.9241
13.95 | -4.8771
13.9667 | -4.8644
13.9833 | -4.8289
14 | -4.7913
14.0167 | -4.7472
14.0333 | -4.6923
14.05 | -4.6723
14.0667 | -4.6479
14.0833 | -4.5995
14.1 | -4.558
14.1167 | -4.5435
14.1333 | -4.5203
14.15 | -4.4923
14.1667 | -4.446
14.1833 | -4.4054
14.2 | -4.3635
14.2167 | -4.3403
14.2333 | -4.3069
14.25 | -4.2722
14.2667 | -4.2554
14.2833 | -4.2152
14.3 | -4.1912
14.3167 | -4.1759
14.3333 | -4.1233
14.35 | -4.0907
14.3667 | -4.0583
14.3833 | -4.0243
14.4 | -4.0078
14.4167 | -3.9741
14.4333 | -3.9533
14.45 | -3.9286
14.4667 | -3.8966
14.4833 | -3.8688
14.5 | -3.8232
14.5167 | -3.7757
14.5333 | -3.7551
14.55 | -3.7431
14.5667 | -3.7295
14.5833 | -3.695
14.6 | -3.6543
14.6167 | -3.6408
14.6333 | -3.612
14.65 | -3.5899
14.6667 | -3.5587
14.6833 | -3.5519
14.7 | -3.5181
14.7167 | -3.4937
14.7333 | -3.4638
14.75 | -3.4599
14.7667 | -3.447
14.7833 | -3.4075
14.8 | -3.3898
14.8167 | -3.3691
14.8333 | -3.35
14.85 | -3.3381
14.8667 | -3.3401
14.8833 | -3.3239
14.9 | -3.3012
14.9167 | -3.2644
14.9333 | -3.256
14.95 | -3.2348
14.9667 | -3.2053
14.9833 | -3.1944
15 | -3.1712
15.0167 | -3.1646
15.0333 | -3.1358
15.05 | -3.1116
15.0667 | -3.0991
15.0833 | -3.1081
15.1 | -3.082
15.1167 | -3.0599
15.1333 | -3.0392
15.15 | -3.0454
15.1667 | -3.0247
15.1833 | -2.9975
15.2 | -2.9867
15.2167 | -2.9723
15.2333 | -2.9574
15.25 | -2.9473
15.2667 | -2.9272
15.2833 | -2.9121
15.3 | -2.9191
15.3167 | -2.8963
15.3333 | -2.8933
15.35 | -2.8805
15.3667 | -2.8728
15.3833 | -2.866
15.4 | -2.8423
15.4167 | -2.8265
15.4333 | -2.8307
15.45 | -2.8106
15.4667 | -2.797
15.4833 | -2.7879
15.5 | -2.7821
15.5167 | -2.7578
15.5333 | -2.748
15.55 | -2.737
15.5667 | -2.728
15.5833 | -2.719
15.6 | -2.7129
15.6167 | -2.7079
15.6333 | -2.7032
15.65 | -2.6992
15.6667 | -2.7059
15.6833 | -2.7068
15.7 | -2.6871
15.7167 | -2.6827
15.7333 | -2.6818
15.75 | -2.6734
15.7667 | -2.6621
15.7833 | -2.6694
15.8 | -2.6557
15.8167 | -2.653
15.8333 | -2.6488
15.85 | -2.6408
15.8667 | -2.6249
15.8833 | -2.6209
15.9 | -2.5913
15.9167 | -2.5991
15.9333 | -2.6122
15.95 | -2.6118
15.9667 | -2.5893
15.9833 | -2.5864
16 | -2.5942
16.0167 | -2.5813
16.0333 | -2.5634
16.05 | -2.5703
16.0667 | -2.5697
16.0833 | -2.5637
16.1 | -2.5658
16.1167 | -2.5469
16.1333 | -2.5376
16.15 | -2.5141
16.1667 | -2.5195
16.1833 | -2.5179
16.2 | -2.5181
16.2167 | -2.5172
16.2333 | -2.4995
16.25 | -2.5121
16.2667 | -2.5002
16.2833 | -2.4964
16.3 | -2.5022
16.3167 | -2.4984
16.3333 | -2.4859
16.35 | -2.4879
16.3667 | -2.4946
16.3833 | -2.508
16.4 | -2.4979
16.4167 | -2.4929
16.4333 | -2.481
16.45 | -2.4682
16.4667 | -2.4784
16.4833 | -2.4691
16.5 | -2.4612
16.5167 | -2.4633
16.5333 | -2.4574
16.55 | -2.4519
16.5667 | -2.4406
16.5833 | -2.4456
16.6 | -2.4589
16.6167 | -2.4473
16.6333 | -2.4554
16.65 | -2.4413
16.6667 | -2.4287
16.6833 | -2.4366
16.7 | -2.4409
16.7167 | -2.4404
16.7333 | -2.4342
16.75 | -2.4464
16.7667 | -2.4361
16.7833 | -2.4233
16.8 | -2.4279
16.8167 | -2.4129
16.8333 | -2.414
16.85 | -2.4151
16.8667 | -2.421
16.8833 | -2.4229
16.9 | -2.4244
16.9167 | -2.4107
16.9333 | -2.4166
16.95 | -2.4171
16.9667 | -2.4126
16.9833 | -2.4223
17 | -2.4142
17.0167 | -2.416
17.0333 | -2.4158
17.05 | -2.4146
17.0667 | -2.4114
17.0833 | -2.3981
17.1 | -2.4056
17.1167 | -2.4033
17.1333 | -2.4084
17.15 | -2.4155
17.1667 | -2.4009
17.1833 | -2.4198
17.2 | -2.4221
17.2167 | -2.4242
17.2333 | -2.4174
17.25 | -2.4133
17.2667 | -2.4102
17.2833 | -2.4166
17.3 | -2.4238
17.3167 | -2.3992
17.3333 | -2.4021
17.35 | -2.4206
17.3667 | -2.3925
17.3833 | -2.3835
17.4 | -2.3853
17.4167 | -2.3853
17.4333 | -2.3797
17.45 | -2.3768
17.4667 | -2.3743
17.4833 | -2.374
17.5 | -2.3597
17.5167 | -2.3359
17.5333 | -2.358
17.55 | -2.3508
17.5667 | -2.3475
17.5833 | -2.358
17.6 | -2.3382
17.6167 | -2.3455
17.6333 | -2.3399
17.65 | -2.3312
17.6667 | -2.329
17.6833 | -2.3359
17.7 | -2.3388
17.7167 | -2.3551
17.7333 | -2.3463
17.75 | -2.3495
17.7667 | -2.3421
17.7833 | -2.3455
17.8 | -2.3576
17.8167 | -2.3496
17.8333 | -2.3223
17.85 | -2.3365
17.8667 | -2.3498
17.8833 | -2.3516
17.9 | -2.3597
17.9167 | -2.3775
17.9333 | -2.3685
17.95 | -2.384
17.9667 | -2.375
17.9833 | -2.3772
18 | -2.3818
18.0167 | -2.3916
18.0333 | -2.4015
18.05 | -2.4149
18.0667 | -2.4206
18.0833 | -2.4284
18.1 | -2.4355
18.1167 | -2.4264
18.1333 | -2.4277
18.15 | -2.4291
18.1667 | -2.4317
18.1833 | -2.4303
18.2 | -2.4082
18.2167 | -2.421
18.2333 | -2.4445
18.25 | -2.4334
18.2667 | -2.4282
18.2833 | -2.4239
18.3 | -2.4107
18.3167 | -2.4148
18.3333 | -2.418
18.35 | -2.3954
18.3667 | -2.3753
18.3833 | -2.3904
18.4 | -2.3672
18.4167 | -2.3777
18.4333 | -2.3856
18.45 | -2.3687
18.4667 | -2.3718
18.4833 | -2.3553
18.5 | -2.3417
18.5167 | -2.3666
18.5333 | -2.3524
18.55 | -2.355
18.5667 | -2.3499
18.5833 | -2.3695
18.6 | -2.3545
18.6167 | -2.3476
18.6333 | -2.3345
18.65 | -2.3185
18.6667 | -2.3228
18.6833 | -2.3257
18.7 | -2.3066
18.7167 | -2.2984
18.7333 | -2.3025
18.75 | -2.2767
18.7667 | -2.2753
18.7833 | -2.27
18.8 | -2.2709
18.8167 | -2.2588
18.8333 | -2.2414
18.85 | -2.2186
18.8667 | -2.208
18.8833 | -2.2088
18.9 | -2.2036
18.9167 | -2.1889
18.9333 | -2.167
18.95 | -2.1546
18.9667 | -2.1355
18.9833 | -2.1296
19 | -2.1362
19.0167 | -2.1124
19.0333 | -2.0971
19.05 | -2.0847
19.0667 | -2.0666
19.0833 | -2.0347
19.1 | -2.0377
19.1167 | -2.0423
19.1333 | -2.0341
19.15 | -2.0329
19.1667 | -2.0354
19.1833 | -2.0322
19.2 | -2.0316
19.2167 | -2.0214
19.2333 | -2.0237
19.25 | -2.0226
19.2667 | -1.9988
19.2833 | -1.9967
19.3 | -1.983
19.3167 | -1.9921
19.3333 | -1.9778
19.35 | -1.9662
19.3667 | -1.9494
19.3833 | -1.9302
19.4 | -1.9054
19.4167 | -1.8664
19.4333 | -1.8432
19.45 | -1.8037
19.4667 | -1.7907
19.4833 | -1.728
19.5 | -1.6601
19.5167 | -1.5687
19.5333 | -1.4919
19.55 | -1.4138
19.5667 | -1.296
19.5833 | -1.1887
19.6 | -1.0567
19.6167 | -0.93758
19.6333 | -0.81566
19.65 | -0.69756
19.6667 | -0.58678
19.6833 | -0.46608
19.7 | -0.36018
19.7167 | -0.27168
19.7333 | -0.2253
19.75 | -0.16777
19.7667 | -0.13237
19.7833 | -0.11971
19.8 | -0.13802
19.8167 | -0.1693
19.8333 | -0.21858
19.85 | -0.26726
19.8667 | -0.34584
19.8833 | -0.43037
19.9 | -0.53429
19.9167 | -0.62538
19.9333 | -0.7148
19.95 | -0.83458
19.9667 | -0.93956
19.9833 | -1.0409
20 | -1.1156
20.0167 | -1.1916
20.0333 | -1.2824
20.05 | -1.3593
20.0667 | -1.442
20.0833 | -1.518
20.1 | -1.5781
20.1167 | -1.6308
20.1333 | -1.6895
20.15 | -1.7706
20.1667 | -1.8505
20.1833 | -1.9363
20.2 | -2.0434
20.2167 | -2.1491
20.2333 | -2.2924
20.25 | -2.4453
20.2667 | -2.6185
20.2833 | -2.8074
20.3 | -3.063
20.3167 | -3.3361
20.3333 | -3.6404
20.35 | -3.9936
20.3667 | -4.3871
20.3833 | -4.8449
20.4 | -5.3425
20.4167 | -5.8726
20.4333 | -6.4582
20.45 | -7.0553
20.4667 | -7.6672
20.4833 | -8.2871
20.5 | -8.9368
20.5167 | -9.5789
20.5333 | -10.1798
20.55 | -10.7645
20.5667 | -11.3187
20.5833 | -11.8261
20.6 | -12.246
20.6167 | -12.5913
20.6333 | -12.886
20.65 | -13.1191
20.6667 | -13.2874
20.6833 | -13.3578
20.7 | -13.3521
20.7167 | -13.2862
20.7333 | -13.1628
20.75 | -12.9969
20.7667 | -12.8097
20.7833 | -12.5637
20.8 | -12.2836
20.8167 | -12.0083
20.8333 | -11.713
20.85 | -11.4201
20.8667 | -11.1114
20.8833 | -10.8242
20.9 | -10.5637
20.9167 | -10.2802
20.9333 | -10.0285
20.95 | -9.7814
20.9667 | -9.5341
20.9833 | -9.329
21 | -9.1042
21.0167 | -8.899
21.0333 | -8.68
21.05 | -8.4959
21.0667 | -8.2868
21.0833 | -8.0645
21.1 | -7.8684
21.1167 | -7.6795
21.1333 | -7.4689
21.15 | -7.2623
21.1667 | -7.0597
21.1833 | -6.8502
21.2 | -6.6512
21.2167 | -6.4521
21.2333 | -6.2679
21.25 | -6.0874
21.2667 | -5.8988
21.2833 | -5.7288
21.3 | -5.5642
21.3167 | -5.4011
21.3333 | -5.2476
21.35 | -5.1046
21.3667 | -4.9728
21.3833 | -4.8278
21.4 | -4.7131
21.4167 | -4.5928
21.4333 | -4.4836
21.45 | -4.3842
21.4667 | -4.2892
21.4833 | -4.208
21.5 | -4.1328
21.5167 | -4.06
21.5333 | -3.9896
21.55 | -3.9162
21.5667 | -3.8526
21.5833 | -3.7925
21.6 | -3.7371
21.6167 | -3.6689
21.6333 | -3.6475
21.65 | -3.6114
21.6667 | -3.5726
21.6833 | -3.5262
21.7 | -3.4757
21.7167 | -3.4235
21.7333 | -3.3939
21.75 | -3.3753
21.7667 | -3.3277
21.7833 | -3.2903
21.8 | -3.2673
21.8167 | -3.2504
21.8333 | -3.2214
21.85 | -3.1982
21.8667 | -3.153
21.8833 | -3.1345
21.9 | -3.1107
21.9167 | -3.086
21.9333 | -3.0619
21.95 | -3.0354
21.9667 | -3.0215
21.9833 | -3.0109
22 | -2.9865
22.0167 | -2.9455
22.0333 | -2.9427
22.05 | -2.9334
22.0667 | -2.9188
22.0833 | -2.9073
22.1 | -2.8941
22.1167 | -2.8768
22.1333 | -2.8678
22.15 | -2.8434
22.1667 | -2.8251
22.1833 | -2.817
22.2 | -2.8092
22.2167 | -2.8048
22.2333 | -2.8066
22.25 | -2.7885
22.2667 | -2.7793
22.2833 | -2.7648
22.3 | -2.7541
22.3167 | -2.7418
22.3333 | -2.7387
22.35 | -2.7242
22.3667 | -2.6971
22.3833 | -2.7006
22.4 | -2.6995
22.4167 | -2.6913
22.4333 | -2.6788
22.45 | -2.6839
22.4667 | -2.6746
22.4833 | -2.6649
22.5 | -2.6643
22.5167 | -2.6608
22.5333 | -2.6411
22.55 | -2.6511
22.5667 | -2.6464
22.5833 | -2.634
22.6 | -2.6263
22.6167 | -2.6139
22.6333 | -2.5944
22.65 | -2.5863
22.6667 | -2.5817
22.6833 | -2.5828
22.7 | -2.5829
22.7167 | -2.5808
22.7333 | -2.5697
22.75 | -2.564
22.7667 | -2.5526
22.7833 | -2.5353
22.8 | -2.537
22.8167 | -2.5344
22.8333 | -2.5329
22.85 | -2.5208
22.8667 | -2.5269
22.8833 | -2.5205
22.9 | -2.5202
22.9167 | -2.5027
22.9333 | -2.4943
22.95 | -2.4981
22.9667 | -2.5054
22.9833 | -2.5011
23 | -2.4999
23.0167 | -2.5036
23.0333 | -2.504
23.05 | -2.5022
23.0667 | -2.5018
23.0833 | -2.4914
23.1 | -2.4911
23.1167 | -2.4986
23.1333 | -2.4874
23.15 | -2.4902
23.1667 | -2.4802
23.1833 | -2.4866
23.2 | -2.4918
23.2167 | -2.4818
23.2333 | -2.4738
23.25 | -2.468
23.2667 | -2.4751
23.2833 | -2.4827
23.3 | -2.4691
23.3167 | -2.4574
23.3333 | -2.454
23.35 | -2.4703
23.3667 | -2.4653
23.3833 | -2.4638
23.4 | -2.4805
23.4167 | -2.4703
23.4333 | -2.4648
23.45 | -2.4728
23.4667 | -2.4651
23.4833 | -2.4627
23.5 | -2.4586
23.5167 | -2.4574
23.5333 | -2.4564
23.55 | -2.4506
23.5667 | -2.4633
23.5833 | -2.4737
23.6 | -2.4714
23.6167 | -2.4735
23.6333 | -2.4671
23.65 | -2.4813
23.6667 | -2.47
23.6833 | -2.4764
23.7 | -2.4857
23.7167 | -2.472
23.7333 | -2.4685
23.75 | -2.4612
23.7667 | -2.4642
23.7833 | -2.4574
23.8 | -2.4526
23.8167 | -2.4543
23.8333 | -2.4453
23.85 | -2.448
23.8667 | -2.4531
23.8833 | -2.4403
23.9 | -2.439
23.9167 | -2.4401
23.9333 | -2.4451
23.95 | -2.4635
23.9667 | -2.4496
23.9833 | -2.4477
24 | -2.4451
24.0167 | -2.425
24.0333 | -2.4279
24.05 | -2.4366
24.0667 | -2.4128
24.0833 | -2.4143
24.1 | -2.4267
24.1167 | -2.411
24.1333 | -2.4036
24.15 | -2.4047
24.1667 | -2.414
24.1833 | -2.4038
24.2 | -2.4119
24.2167 | -2.4239
24.2333 | -2.4215
24.25 | -2.4154
24.2667 | -2.4236
24.2833 | -2.4244
24.3 | -2.4175
24.3167 | -2.3974
24.3333 | -2.3853
24.35 | -2.4001
24.3667 | -2.3862
24.3833 | -2.389
24.4 | -2.3859
24.4167 | -2.3873
24.4333 | -2.3867
24.45 | -2.3884
24.4667 | -2.3775
24.4833 | -2.3718
24.5 | -2.3718
24.5167 | -2.3724
24.5333 | -2.373
24.55 | -2.3969
24.5667 | -2.3933
24.5833 | -2.3885
24.6 | -2.394
24.6167 | -2.3954
24.6333 | -2.4027
24.65 | -2.3952
24.6667 | -2.3719
24.6833 | -2.3734
24.7 | -2.3905
24.7167 | -2.378
24.7333 | -2.3809
24.75 | -2.3721
24.7667 | -2.382
24.7833 | -2.3759
24.8 | -2.3666
24.8167 | -2.3719
24.8333 | -2.3786
24.85 | -2.3954
24.8667 | -2.4018
24.8833 | -2.3789
24.9 | -2.3861
24.9167 | -2.3689
24.9333 | -2.3884
24.95 | -2.3856
24.9667 | -2.3708
24.9833 | -2.3775
25 | -2.3635
25.0167 | -2.3704
25.0333 | -2.3809
25.05 | -2.3937
25.0667 | -2.3891
25.0833 | -2.3838
25.1 | -2.3762
25.1167 | -2.3762
25.1333 | -2.3766
25.15 | -2.3867
25.1667 | -2.3835
25.1833 | -2.3629
25.2 | -2.3611
25.2167 | -2.356
25.2333 | -2.3666
25.25 | -2.3606
25.2667 | -2.3559
25.2833 | -2.3672
25.3 | -2.3794
25.3167 | -2.3872
25.3333 | -2.3804
25.35 | -2.3812
25.3667 | -2.3774
25.3833 | -2.3762
25.4 | -2.3693
25.4167 | -2.353
25.4333 | -2.3637
25.45 | -2.3592
25.4667 | -2.3579
25.4833 | -2.3699
25.5 | -2.3843
25.5167 | -2.3746
25.5333 | -2.3631
25.55 | -2.364
25.5667 | -2.3594
25.5833 | -2.3632
25.6 | -2.3734
25.6167 | -2.3815
25.6333 | -2.3902
25.65 | -2.3815
25.6667 | -2.3873
25.6833 | -2.3789
25.7 | -2.3864
25.7167 | -2.3768
25.7333 | -2.3611
25.75 | -2.36
25.7667 | -2.371
25.7833 | -2.3821
25.8 | -2.3577
25.8167 | -2.351
25.8333 | -2.3573
25.85 | -2.3542
25.8667 | -2.3501
25.8833 | -2.3533
25.9 | -2.3499
25.9167 | -2.355
25.9333 | -2.354
25.95 | -2.3396
25.9667 | -2.3569
25.9833 | -2.3527
26 | -2.3547
26.0167 | -2.3701
26.0333 | -2.3542
26.05 | -2.3592
26.0667 | -2.3627
26.0833 | -2.3362
26.1 | -2.3428
26.1167 | -2.3455
26.1333 | -2.3493
26.15 | -2.3423
26.1667 | -2.3495
26.1833 | -2.3507
26.2 | -2.3376
26.2167 | -2.3487
26.2333 | -2.3496
26.25 | -2.3539
26.2667 | -2.3476
26.2833 | -2.3446
26.3 | -2.3443
26.3167 | -2.3576
26.3333 | -2.3301
26.35 | -2.3248
26.3667 | -2.3362
26.3833 | -2.331
26.4 | -2.3373
26.4167 | -2.3363
26.4333 | -2.3278
26.45 | -2.3313
26.4667 | -2.3388
26.4833 | -2.3243
26.5 | -2.3397
26.5167 | -2.3269
26.5333 | -2.3257
26.55 | -2.3193
26.5667 | -2.3177
26.5833 | -2.3235
26.6 | -2.3324
26.6167 | -2.3214
26.6333 | -2.3293
26.65 | -2.3342
26.6667 | -2.3183
26.6833 | -2.329
26.7 | -2.3238
26.7167 | -2.3203
26.7333 | -2.3243
26.75 | -2.3197
26.7667 | -2.3138
26.7833 | -2.3078
26.8 | -2.2926
26.8167 | -2.2825
26.8333 | -2.2874
26.85 | -2.2695
26.8667 | -2.2588
26.8833 | -2.2477
26.9 | -2.2416
26.9167 | -2.2189
26.9333 | -2.2088
26.95 | -2.2012
26.9667 | -2.179
26.9833 | -2.1574
27 | -2.1255
27.0167 | -2.0933
27.0333 | -2.0658
27.05 | -2.0264
27.0667 | -1.9823
27.0833 | -1.9411
27.1 | -1.8743
27.1167 | -1.8198
27.1333 | -1.7597
27.15 | -1.6821
27.1667 | -1.6087
27.1833 | -1.5272
27.2 | -1.46
27.2167 | -1.3667
27.2333 | -1.284
27.25 | -1.1718
27.2667 | -1.0809
27.2833 | -0.989
27.3 | -0.86906
27.3167 | -0.77599
27.3333 | -0.67894
27.35 | -0.55061
27.3667 | -0.43617
27.3833 | -0.34096
27.4 | -0.21675
27.4167 | -0.096512
27.4333 | 0.010452
27.45 | 0.1281
27.4667 | 0.23003
27.4833 | 0.32433
27.5 | 0.41115
27.5167 | 0.50331
27.5333 | 0.60066
27.55 | 0.6678
27.5667 | 0.72914
27.5833 | 0.78911
27.6 | 0.84679
27.6167 | 0.88402
27.6333 | 0.91301
27.65 | 0.94276
27.6667 | 0.94887
27.6833 | 0.96642
27.7 | 0.95421
27.7167 | 0.92857
27.7333 | 0.89714
27.75 | 0.87013
27.7667 | 0.84129
27.7833 | 0.78194
27.8 | 0.73509
27.8167 | 0.68123
27.8333 | 0.61852
27.85 | 0.54985
27.8667 | 0.48302
27.8833 | 0.42946
27.9 | 0.35957
27.9167 | 0.27351
27.9333 | 0.1786
27.95 | 0.10521
27.9667 | 0.034103
27.9833 | -0.02449
28 | -0.10674
28.0167 | -0.18913
28.0333 | -0.26512
28.05 | -0.32433
28.0667 | -0.39818
28.0833 | -0.45753
28.1 | -0.52528
28.1167 | -0.60097
28.1333 | -0.65514
28.15 | -0.71358
28.1667 | -0.77965
28.1833 | -0.81993
28.2 | -0.85762
28.2167 | -0.89867
28.2333 | -0.94688
28.25 | -0.99129
28.2667 | -1.0278
28.2833 | -1.0766
28.3 | -1.1248
28.3167 | -1.1504
28.3333 | -1.1768
28.35 | -1.2049
28.3667 | -1.2611
28.3833 | -1.2655
28.4 | -1.2968
28.4167 | -1.3366
28.4333 | -1.3584
28.45 | -1.3888
28.4667 | -1.404
28.4833 | -1.4478
28.5 | -1.4684
28.5167 | -1.4722
28.5333 | -1.4816
28.55 | -1.5006
28.5667 | -1.5134
28.5833 | -1.542
28.6 | -1.549
28.6167 | -1.5797
28.6333 | -1.5945
28.65 | -1.6172
28.6667 | -1.6143
28.6833 | -1.6348
28.7 | -1.6459
28.7167 | -1.6497
28.7333 | -1.6584
28.75 | -1.6671
28.7667 | -1.6926
28.7833 | -1.7065
28.8 | -1.7104
28.8167 | -1.7297
28.8333 | -1.7327
28.85 | -1.7373
28.8667 | -1.7582
28.8833 | -1.7731
28.9 | -1.777
28.9167 | -1.7716
28.9333 | -1.7944
28.95 | -1.8041
28.9667 | -1.8066
28.9833 | -1.8116
29 | -1.8348
29.0167 | -1.8456
29.0333 | -1.8499
29.05 | -1.8674
29.0667 | -1.8575
29.0833 | -1.863
29.1 | -1.8581
29.1167 | -1.8716
29.1333 | -1.9036
29.15 | -1.9134
29.1667 | -1.8951
29.1833 | -1.8996
29.2 | -1.9132
29.2167 | -1.905
29.2333 | -1.9231
29.25 | -1.9103
29.2667 | -1.9201
29.2833 | -1.936
29.3 | -1.9361
29.3167 | -1.9387
29.3333 | -1.941
29.35 | -1.952
29.3667 | -1.9509
29.3833 | -1.9564
29.4 | -1.9474
29.4167 | -1.9704
29.4333 | -1.9868
29.45 | -1.9791
29.4667 | -1.9811
29.4833 | -2.0078
29.5 | -2.0165
29.5167 | -1.9964
29.5333 | -2.0066
29.55 | -2.0119
29.5667 | -2.0094
29.5833 | -2.0246
29.6 | -2.0191
29.6167 | -2.024
29.6333 | -2.0327
29.65 | -2.0466
29.6667 | -2.0562
29.6833 | -2.0576
29.7 | -2.0525
29.7167 | -2.0516
29.7333 | -2.0501
29.75 | -2.0611
29.7667 | -2.0631
29.7833 | -2.0798
29.8 | -2.0591
29.8167 | -2.0626
29.8333 | -2.0704
29.85 | -2.0815
29.8667 | -2.0919
29.8833 | -2.0852
29.9 | -2.0827
29.9167 | -2.091
29.9333 | -2.0959
29.95 | -2.102
29.9667 | -2.0921
29.9833 | -2.1035
30 | -2.095

## MW Results
Administrative Information
File name | ICF_04_12_2024-0010.sample
Analysed by | OBPC
Date of analysis | 09 December 2024 13:14:57
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 185264 | 40479 | 257627 | 834725 | 1763502 | 729815 | 6.3645
Sample Parameters
Injection volume (µL) | 200
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 5.9333 | 7.4333
Baseline region 2 | 23.4833 | 23.7667
Peaks | Start (mins) | End (mins)
Peak 1 | 10.4833 | 16.5833
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| RI | 12.9333 | 533.0174 | -3.7712
Flowrate region | Start (mins) | End (mins)
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | OBPC
Last modified date | 09 December 2024 13:14:57
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | OBPC
Creation date | 29 October 2024 11:18:00
Last modified by | OBPC
Last modified date | 29 October 2024 11:18:00
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name
FRM RT (mins) | 0
FRCF | 1
Column Calibration
Name | 2024-10-29-001
Created By | OBPC
Creation Date | 29/10/2024 16:43:21
Last Modified By | OBPC
Last Modified | 29/10/2024 16:46:00
High Limit RT (mins) | 10.3167
Low Limit RT (mins) | 17.05
High Limit MW | 6542896
Low Limit MW | 585
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name
Calibration Flow Marker RT (mins) | 0
Calibration Comments | GPC Column Calibration created 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC GPC Column Calibration amended 29 October 2024 by OBPC
Calibration Type | GPC Narrow Standard
Curve Fit Type | Polynomial
Order Of Curve Fit | 5
Number Of Points | 11
Curve Fit Equation | y = - 0.0006266x^5 + 0.04142x^4 - 1.085x^3 + 14.06x^2 - 90.8x + 242.2
Coeff a | 242.1862
Coeff b | -90.7983
Coeff c | 14.0588
Coeff d | -1.0846
Coeff e | 0.041423
Coeff f | -0.00062657
Residual Sum Of Squares | 0.00058182
Corrected Sum Of Squares | 18.6999
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.010787
Linear Correlation Coefficient | -0.99987

## Slice Table
Slice Table
RT (mins) | RI | Norm Ht | Cum Ht | Mw (g/mol) | logM | dwdlogM | Outside Calib | Peak
10.4833 | -0.034706 | 6.5108e-05 | 0.99997 | 5217980 | 6.7175 | 0.0069116 | No | 1
10.5 | -0.036703 | 6.8854e-05 | 0.99989 | 5102961 | 6.7078 | 0.0094029 | No | 1
10.5167 | -0.060214 | 0.00011296 | 0.99979 | 4990736 | 6.6982 | 0.0099165 | No | 1
10.5333 | -0.041764 | 7.8349e-05 | 0.99971 | 4881221 | 6.6885 | 0.0084537 | No | 1
10.55 | -0.044982 | 8.4385e-05 | 0.99963 | 4774335 | 6.6789 | 0.0070583 | No | 1
10.5667 | -0.027294 | 5.1204e-05 | 0.99957 | 4670001 | 6.6693 | 0.0065971 | No | 1
10.5833 | -0.040125 | 7.5274e-05 | 0.9995 | 4568143 | 6.6597 | 0.0066122 | No | 1
10.6 | -0.02732 | 5.1253e-05 | 0.99944 | 4468690 | 6.6502 | 0.0072562 | No | 1
10.6167 | -0.04656 | 8.7345e-05 | 0.99936 | 4371571 | 6.6406 | 0.0092679 | No | 1
10.6333 | -0.047641 | 8.9373e-05 | 0.99927 | 4276720 | 6.6311 | 0.0086691 | No | 1
10.65 | -0.040329 | 7.5658e-05 | 0.9992 | 4184073 | 6.6216 | 0.0067874 | No | 1
10.6667 | -0.028441 | 5.3354e-05 | 0.99912 | 4093567 | 6.6121 | 0.0088661 | No | 1
10.6833 | -0.06126 | 0.00011492 | 0.99903 | 4005142 | 6.6026 | 0.010965 | No | 1
10.7 | -0.049524 | 9.2906e-05 | 0.99894 | 3918740 | 6.5931 | 0.0088645 | No | 1
10.7167 | -0.039924 | 7.4896e-05 | 0.99885 | 3834305 | 6.5837 | 0.008363 | No | 1
10.7333 | -0.044362 | 8.3222e-05 | 0.99877 | 3751785 | 6.5742 | 0.0097693 | No | 1
10.75 | -0.053988 | 0.00010128 | 0.99867 | 3671126 | 6.5648 | 0.011709 | No | 1
10.7667 | -0.063767 | 0.00011963 | 0.99855 | 3592279 | 6.5554 | 0.01271 | No | 1
10.7833 | -0.063932 | 0.00011994 | 0.99843 | 3515195 | 6.5459 | 0.012876 | No | 1
10.8 | -0.065318 | 0.00012254 | 0.99831 | 3439827 | 6.5365 | 0.013923 | No | 1
10.8167 | -0.074334 | 0.00013945 | 0.99817 | 3366131 | 6.5271 | 0.014377 | No | 1
10.8333 | -0.06977 | 0.00013089 | 0.99804 | 3294063 | 6.5177 | 0.014023 | No | 1
10.85 | -0.070698 | 0.00013263 | 0.9979 | 3223580 | 6.5083 | 0.015147 | No | 1
10.8667 | -0.080934 | 0.00015183 | 0.99775 | 3154641 | 6.4989 | 0.016468 | No | 1
10.8833 | -0.083847 | 0.0001573 | 0.9976 | 3087208 | 6.4896 | 0.015715 | No | 1
10.9 | -0.073331 | 0.00013757 | 0.99745 | 3021243 | 6.4802 | 0.016532 | No | 1
10.9167 | -0.09196 | 0.00017252 | 0.99729 | 2956707 | 6.4708 | 0.018876 | No | 1
10.9333 | -0.096703 | 0.00018141 | 0.9971 | 2893567 | 6.4614 | 0.019936 | No | 1
10.95 | -0.10251 | 0.00019232 | 0.99692 | 2831786 | 6.4521 | 0.020079 | No | 1
10.9667 | -0.098102 | 0.00018404 | 0.99673 | 2771333 | 6.4427 | 0.019748 | No | 1
10.9833 | -0.099184 | 0.00018607 | 0.99654 | 2712173 | 6.4333 | 0.02079 | No | 1
11 | -0.1085 | 0.00020355 | 0.99634 | 2654277 | 6.4239 | 0.022793 | No | 1
11.0167 | -0.1192 | 0.00022361 | 0.99611 | 2597613 | 6.4146 | 0.025496 | No | 1
11.0333 | -0.13554 | 0.00025427 | 0.99586 | 2542153 | 6.4052 | 0.026916 | No | 1
11.05 | -0.13342 | 0.00025029 | 0.9956 | 2487868 | 6.3958 | 0.028226 | No | 1
11.0667 | -0.14869 | 0.00027893 | 0.99532 | 2434729 | 6.3865 | 0.031777 | No | 1
11.0833 | -0.16899 | 0.00031703 | 0.99501 | 2382711 | 6.3771 | 0.035051 | No | 1
11.1 | -0.18152 | 0.00034053 | 0.99467 | 2331787 | 6.3677 | 0.036413 | No | 1
11.1167 | -0.18275 | 0.00034284 | 0.99433 | 2281933 | 6.3583 | 0.037712 | No | 1
11.1333 | -0.19467 | 0.00036519 | 0.99396 | 2233122 | 6.3489 | 0.041049 | No | 1
11.15 | -0.21635 | 0.00040587 | 0.99356 | 2185333 | 6.3395 | 0.043194 | No | 1
11.1667 | -0.21636 | 0.00040589 | 0.99316 | 2138541 | 6.3301 | 0.042061 | No | 1
11.1833 | -0.20524 | 0.00038502 | 0.99275 | 2092725 | 6.3207 | 0.044335 | No | 1
11.2 | -0.23943 | 0.00044916 | 0.99232 | 2047862 | 6.3113 | 0.047045 | No | 1
11.2167 | -0.23273 | 0.00043659 | 0.99188 | 2003932 | 6.3019 | 0.048063 | No | 1
11.2333 | -0.24998 | 0.00046896 | 0.99141 | 1960914 | 6.2925 | 0.051295 | No | 1
11.25 | -0.26556 | 0.00049819 | 0.99091 | 1918787 | 6.283 | 0.053381 | No | 1
11.2667 | -0.27137 | 0.00050909 | 0.9904 | 1877533 | 6.2736 | 0.055523 | No | 1
11.2833 | -0.28756 | 0.00053946 | 0.98986 | 1837132 | 6.2641 | 0.059294 | No | 1
11.3 | -0.30985 | 0.00058127 | 0.98928 | 1797566 | 6.2547 | 0.062572 | No | 1
11.3167 | -0.32115 | 0.00060248 | 0.98867 | 1758818 | 6.2452 | 0.066659 | No | 1
11.3333 | -0.35168 | 0.00065976 | 0.98801 | 1720869 | 6.2357 | 0.072155 | No | 1
11.35 | -0.37733 | 0.00070787 | 0.98732 | 1683703 | 6.2263 | 0.074439 | No | 1
11.3667 | -0.37551 | 0.00070446 | 0.98661 | 1647303 | 6.2168 | 0.074878 | No | 1
11.3833 | -0.38255 | 0.00071765 | 0.98589 | 1611653 | 6.2073 | 0.07715 | No | 1
11.4 | -0.39934 | 0.00074916 | 0.98514 | 1576738 | 6.1978 | 0.080918 | No | 1
11.4167 | -0.42163 | 0.00079098 | 0.98435 | 1542542 | 6.1882 | 0.084376 | No | 1
11.4333 | -0.43538 | 0.00081677 | 0.98352 | 1509050 | 6.1787 | 0.089039 | No | 1
11.45 | -0.47003 | 0.00088177 | 0.98264 | 1476247 | 6.1692 | 0.095982 | No | 1
11.4667 | -0.50712 | 0.00095136 | 0.98169 | 1444121 | 6.1596 | 0.10244 | No | 1
11.4833 | -0.53704 | 0.0010075 | 0.98068 | 1412655 | 6.15 | 0.1089 | No | 1
11.5 | -0.57429 | 0.0010774 | 0.97961 | 1381838 | 6.1405 | 0.11522 | No | 1
11.5167 | -0.60299 | 0.0011312 | 0.97848 | 1351656 | 6.1309 | 0.11941 | No | 1
11.5333 | -0.61872 | 0.0011607 | 0.9773 | 1322097 | 6.1213 | 0.12573 | No | 1
11.55 | -0.66924 | 0.0012555 | 0.97606 | 1293146 | 6.1116 | 0.13339 | No | 1
11.5667 | -0.699 | 0.0013113 | 0.97475 | 1264793 | 6.102 | 0.13921 | No | 1
11.5833 | -0.73076 | 0.0013709 | 0.97337 | 1237025 | 6.0924 | 0.14595 | No | 1
11.6 | -0.77029 | 0.0014451 | 0.97193 | 1209831 | 6.0827 | 0.15238 | No | 1
11.6167 | -0.79899 | 0.0014989 | 0.97042 | 1183199 | 6.0731 | 0.15959 | No | 1
11.6333 | -0.84676 | 0.0015885 | 0.96885 | 1157118 | 6.0634 | 0.16645 | No | 1
11.65 | -0.8721 | 0.0016361 | 0.9672 | 1131576 | 6.0537 | 0.17341 | No | 1
11.6667 | -0.9211 | 0.001728 | 0.96547 | 1106564 | 6.044 | 0.18245 | No | 1
11.6833 | -0.96826 | 0.0018164 | 0.96367 | 1082071 | 6.0343 | 0.18882 | No | 1
11.7 | -0.98979 | 0.0018568 | 0.96181 | 1058087 | 6.0245 | 0.19343 | No | 1
11.7167 | -1.0189 | 0.0019115 | 0.95988 | 1034600 | 6.0148 | 0.20187 | No | 1
11.7333 | -1.0805 | 0.0020269 | 0.95786 | 1011603 | 6.005 | 0.21146 | No | 1
11.75 | -1.1218 | 0.0021045 | 0.95576 | 989085 | 5.9952 | 0.21905 | No | 1
11.7667 | -1.1629 | 0.0021815 | 0.95357 | 967036 | 5.9854 | 0.2271 | No | 1
11.7833 | -1.2091 | 0.0022683 | 0.95131 | 945448 | 5.9756 | 0.23508 | No | 1
11.8 | -1.2499 | 0.0023447 | 0.94896 | 924311 | 5.9658 | 0.24326 | No | 1
11.8167 | -1.2984 | 0.0024358 | 0.94653 | 903617 | 5.956 | 0.25124 | No | 1
11.8333 | -1.3373 | 0.0025088 | 0.94402 | 883357 | 5.9461 | 0.25757 | No | 1
11.85 | -1.3688 | 0.0025678 | 0.94145 | 863523 | 5.9363 | 0.26303 | No | 1
11.8667 | -1.3987 | 0.0026239 | 0.93881 | 844105 | 5.9264 | 0.27268 | No | 1
11.8833 | -1.4746 | 0.0027662 | 0.93606 | 825097 | 5.9165 | 0.28271 | No | 1
11.9 | -1.5087 | 0.0028304 | 0.93324 | 806490 | 5.9066 | 0.28706 | No | 1
11.9167 | -1.5249 | 0.0028607 | 0.93036 | 788276 | 5.8967 | 0.29402 | No | 1
11.9333 | -1.5869 | 0.002977 | 0.92739 | 770447 | 5.8867 | 0.30234 | No | 1
11.95 | -1.6176 | 0.0030346 | 0.92436 | 752997 | 5.8768 | 0.30788 | No | 1
11.9667 | -1.6504 | 0.0030961 | 0.92125 | 735917 | 5.8668 | 0.31546 | No | 1
11.9833 | -1.7029 | 0.0031946 | 0.91807 | 719201 | 5.8569 | 0.3232 | No | 1
12 | -1.7377 | 0.0032599 | 0.9148 | 702841 | 5.8469 | 0.32982 | No | 1
12.0167 | -1.7785 | 0.0033364 | 0.91147 | 686830 | 5.8368 | 0.33736 | No | 1
12.0333 | -1.8233 | 0.0034205 | 0.90804 | 671161 | 5.8268 | 0.34559 | No | 1
12.05 | -1.8716 | 0.003511 | 0.90454 | 655829 | 5.8168 | 0.35225 | No | 1
12.0667 | -1.9 | 0.0035643 | 0.90098 | 640825 | 5.8067 | 0.35698 | No | 1
12.0833 | -1.9276 | 0.0036161 | 0.89735 | 626145 | 5.7967 | 0.36394 | No | 1
12.1 | -1.9801 | 0.0037146 | 0.89364 | 611781 | 5.7866 | 0.37237 | No | 1
12.1167 | -2.0237 | 0.0037965 | 0.88984 | 597726 | 5.7765 | 0.38064 | No | 1
12.1333 | -2.0747 | 0.0038921 | 0.88595 | 583976 | 5.7664 | 0.38921 | No | 1
12.15 | -2.1217 | 0.0039803 | 0.88198 | 570524 | 5.7563 | 0.3956 | No | 1
12.1667 | -2.1495 | 0.0040325 | 0.87793 | 557364 | 5.7461 | 0.40234 | No | 1
12.1833 | -2.2003 | 0.0041278 | 0.87381 | 544491 | 5.736 | 0.41034 | No | 1
12.2 | -2.242 | 0.004206 | 0.8696 | 531898 | 5.7258 | 0.41852 | No | 1
12.2167 | -2.295 | 0.0043053 | 0.86529 | 519580 | 5.7157 | 0.42754 | No | 1
12.2333 | -2.3459 | 0.004401 | 0.8609 | 507532 | 5.7055 | 0.43458 | No | 1
12.25 | -2.3775 | 0.0044602 | 0.85644 | 495748 | 5.6953 | 0.44017 | No | 1
12.2667 | -2.4128 | 0.0045264 | 0.8519 | 484223 | 5.685 | 0.44753 | No | 1
12.2833 | -2.4639 | 0.0046223 | 0.84728 | 472952 | 5.6748 | 0.45589 | No | 1
12.3 | -2.5102 | 0.0047091 | 0.84257 | 461930 | 5.6646 | 0.4652 | No | 1
12.3167 | -2.5718 | 0.0048247 | 0.83775 | 451151 | 5.6543 | 0.47406 | No | 1
12.3333 | -2.6134 | 0.0049026 | 0.83284 | 440611 | 5.6441 | 0.4818 | No | 1
12.35 | -2.6628 | 0.0049954 | 0.82785 | 430305 | 5.6338 | 0.49034 | No | 1
12.3667 | -2.7133 | 0.0050902 | 0.82276 | 420229 | 5.6235 | 0.49794 | No | 1
12.3833 | -2.7526 | 0.0051638 | 0.81759 | 410377 | 5.6132 | 0.50533 | No | 1
12.4 | -2.8009 | 0.0052545 | 0.81233 | 400745 | 5.6029 | 0.51511 | No | 1
12.4167 | -2.8664 | 0.0053774 | 0.80696 | 391328 | 5.5925 | 0.52452 | No | 1
12.4333 | -2.911 | 0.005461 | 0.80149 | 382123 | 5.5822 | 0.53346 | No | 1
12.45 | -2.9714 | 0.0055743 | 0.79593 | 373124 | 5.5719 | 0.54104 | No | 1
12.4667 | -3.001 | 0.0056299 | 0.7903 | 364328 | 5.5615 | 0.54612 | No | 1
12.4833 | -3.0339 | 0.0056915 | 0.7846 | 355731 | 5.5511 | 0.55394 | No | 1
12.5 | -3.0938 | 0.005804 | 0.7788 | 347328 | 5.5407 | 0.56219 | No | 1
12.5167 | -3.1315 | 0.0058747 | 0.77293 | 339115 | 5.5303 | 0.56789 | No | 1
12.5333 | -3.1633 | 0.0059343 | 0.767 | 331088 | 5.5199 | 0.57244 | No | 1
12.55 | -3.1882 | 0.005981 | 0.76101 | 323244 | 5.5095 | 0.57835 | No | 1
12.5667 | -3.235 | 0.0060689 | 0.75495 | 315579 | 5.4991 | 0.58464 | No | 1
12.5833 | -3.264 | 0.0061233 | 0.74882 | 308088 | 5.4887 | 0.59022 | No | 1
12.6 | -3.3031 | 0.0061966 | 0.74262 | 300769 | 5.4782 | 0.59623 | No | 1
12.6167 | -3.3368 | 0.0062599 | 0.73636 | 293617 | 5.4678 | 0.60225 | No | 1
12.6333 | -3.3759 | 0.0063332 | 0.73003 | 286630 | 5.4573 | 0.60827 | No | 1
12.65 | -3.4097 | 0.0063965 | 0.72363 | 279803 | 5.4469 | 0.615 | No | 1
12.6667 | -3.4567 | 0.0064847 | 0.71716 | 273134 | 5.4364 | 0.62047 | No | 1
12.6833 | -3.4762 | 0.0065213 | 0.71063 | 266618 | 5.4259 | 0.62425 | No | 1
12.7 | -3.5043 | 0.006574 | 0.70406 | 260253 | 5.4154 | 0.6287 | No | 1
12.7167 | -3.5313 | 0.0066247 | 0.69743 | 254036 | 5.4049 | 0.63369 | No | 1
12.7333 | -3.5652 | 0.0066883 | 0.69075 | 247963 | 5.3944 | 0.6368 | No | 1
12.75 | -3.5712 | 0.0066995 | 0.68405 | 242030 | 5.3839 | 0.63852 | No | 1
12.7667 | -3.5893 | 0.0067336 | 0.6773 | 236237 | 5.3733 | 0.64321 | No | 1
12.7833 | -3.6284 | 0.0068069 | 0.67051 | 230578 | 5.3628 | 0.64763 | No | 1
12.8 | -3.6435 | 0.0068352 | 0.66366 | 225051 | 5.3523 | 0.65193 | No | 1
12.8167 | -3.6811 | 0.0069057 | 0.65676 | 219654 | 5.3417 | 0.65661 | No | 1
12.8333 | -3.7003 | 0.0069418 | 0.64982 | 214383 | 5.3312 | 0.65898 | No | 1
12.85 | -3.7118 | 0.0069633 | 0.64287 | 209236 | 5.3206 | 0.65925 | No | 1
12.8667 | -3.7072 | 0.0069547 | 0.6359 | 204210 | 5.3101 | 0.66089 | No | 1
12.8833 | -3.7339 | 0.0070048 | 0.6289 | 199303 | 5.2995 | 0.66454 | No | 1
12.9 | -3.7518 | 0.0070383 | 0.62187 | 194511 | 5.2889 | 0.66564 | No | 1
12.9167 | -3.7497 | 0.0070343 | 0.61482 | 189832 | 5.2784 | 0.66709 | No | 1
12.9333 | -3.7712 | 0.0070747 | 0.60776 | 185264 | 5.2678 | 0.66821 | No | 1
12.95 | -3.7653 | 0.0070636 | 0.6007 | 180805 | 5.2572 | 0.66643 | No | 1
12.9667 | -3.7538 | 0.0070421 | 0.59364 | 176451 | 5.2466 | 0.6664 | No | 1
12.9833 | -3.7674 | 0.0070676 | 0.58659 | 172201 | 5.236 | 0.66586 | No | 1
13 | -3.7501 | 0.007035 | 0.57954 | 168052 | 5.2254 | 0.66519 | No | 1
13.0167 | -3.762 | 0.0070574 | 0.57249 | 164002 | 5.2148 | 0.66617 | No | 1
13.0333 | -3.763 | 0.0070594 | 0.56543 | 160048 | 5.2043 | 0.66625 | No | 1
13.05 | -3.7646 | 0.0070623 | 0.55837 | 156189 | 5.1937 | 0.66596 | No | 1
13.0667 | -3.7612 | 0.007056 | 0.55132 | 152423 | 5.1831 | 0.66441 | No | 1
13.0833 | -3.7483 | 0.0070317 | 0.54428 | 148746 | 5.1724 | 0.66241 | No | 1
13.1 | -3.7398 | 0.0070157 | 0.53726 | 145158 | 5.1618 | 0.66115 | No | 1
13.1167 | -3.7349 | 0.0070066 | 0.53026 | 141656 | 5.1512 | 0.65964 | No | 1
13.1333 | -3.7233 | 0.0069849 | 0.52327 | 138239 | 5.1406 | 0.65766 | No | 1
13.15 | -3.7129 | 0.0069654 | 0.51631 | 134903 | 5.13 | 0.65462 | No | 1
13.1667 | -3.6891 | 0.0069208 | 0.50939 | 131649 | 5.1194 | 0.65083 | No | 1
13.1833 | -3.6701 | 0.006885 | 0.5025 | 128472 | 5.1088 | 0.64746 | No | 1
13.2 | -3.6509 | 0.006849 | 0.49565 | 125373 | 5.0982 | 0.64487 | No | 1
13.2167 | -3.6404 | 0.0068293 | 0.48882 | 122348 | 5.0876 | 0.64259 | No | 1
13.2333 | -3.6245 | 0.0067995 | 0.48203 | 119397 | 5.077 | 0.63849 | No | 1
13.25 | -3.5932 | 0.0067409 | 0.47528 | 116517 | 5.0664 | 0.63475 | No | 1
13.2667 | -3.5812 | 0.0067183 | 0.46856 | 113707 | 5.0558 | 0.63316 | No | 1
13.2833 | -3.574 | 0.0067048 | 0.46186 | 110965 | 5.0452 | 0.63072 | No | 1
13.3 | -3.5522 | 0.0066639 | 0.4552 | 108290 | 5.0346 | 0.62677 | No | 1
13.3167 | -3.5278 | 0.0066181 | 0.44858 | 105681 | 5.024 | 0.6232 | No | 1
13.3333 | -3.5101 | 0.006585 | 0.442 | 103134 | 5.0134 | 0.61912 | No | 1
13.35 | -3.4798 | 0.006528 | 0.43546 | 100650 | 5.0028 | 0.61545 | No | 1
13.3667 | -3.4665 | 0.0065031 | 0.42896 | 98226 | 4.9922 | 0.6119 | No | 1
13.3833 | -3.4374 | 0.0064485 | 0.42252 | 95862 | 4.9816 | 0.60612 | No | 1
13.4 | -3.3988 | 0.0063761 | 0.41614 | 93555 | 4.9711 | 0.6007 | No | 1
13.4167 | -3.3736 | 0.0063289 | 0.40981 | 91305 | 4.9605 | 0.59688 | No | 1
13.4333 | -3.3529 | 0.00629 | 0.40352 | 89110 | 4.9499 | 0.5931 | No | 1
13.45 | -3.328 | 0.0062434 | 0.39727 | 86968 | 4.9394 | 0.58883 | No | 1
13.4667 | -3.3017 | 0.0061939 | 0.39108 | 84879 | 4.9288 | 0.5845 | No | 1
13.4833 | -3.2759 | 0.0061455 | 0.38492 | 82842 | 4.9183 | 0.58199 | No | 1
13.5 | -3.2699 | 0.0061344 | 0.3788 | 80854 | 4.9077 | 0.57937 | No | 1
13.5167 | -3.2428 | 0.0060834 | 0.37271 | 78915 | 4.8972 | 0.5756 | No | 1
13.5333 | -3.2237 | 0.0060477 | 0.36668 | 77024 | 4.8866 | 0.57007 | No | 1
13.55 | -3.1767 | 0.0059595 | 0.36071 | 75179 | 4.8761 | 0.56372 | No | 1
13.5667 | -3.1484 | 0.0059063 | 0.3548 | 73379 | 4.8656 | 0.55928 | No | 1
13.5833 | -3.1228 | 0.0058583 | 0.34894 | 71624 | 4.8551 | 0.55579 | No | 1
13.6 | -3.1049 | 0.0058248 | 0.34312 | 69912 | 4.8446 | 0.55122 | No | 1
13.6167 | -3.0671 | 0.0057538 | 0.33735 | 68242 | 4.8341 | 0.54855 | No | 1
13.6333 | -3.0705 | 0.0057601 | 0.3316 | 66613 | 4.8236 | 0.5467 | No | 1
13.65 | -3.0416 | 0.0057061 | 0.3259 | 65025 | 4.8131 | 0.54188 | No | 1
13.6667 | -3.0117 | 0.00565 | 0.32025 | 63475 | 4.8026 | 0.53712 | No | 1
13.6833 | -2.9835 | 0.005597 | 0.31465 | 61964 | 4.7921 | 0.53319 | No | 1
13.7 | -2.9628 | 0.0055581 | 0.30909 | 60489 | 4.7817 | 0.52867 | No | 1
13.7167 | -2.9279 | 0.0054926 | 0.3036 | 59052 | 4.7712 | 0.52371 | No | 1
13.7333 | -2.9022 | 0.0054446 | 0.29816 | 57649 | 4.7608 | 0.5179 | No | 1
13.75 | -2.8578 | 0.0053613 | 0.29279 | 56282 | 4.7504 | 0.51257 | No | 1
13.7667 | -2.8376 | 0.0053232 | 0.28746 | 54948 | 4.74 | 0.50985 | No | 1
13.7833 | -2.822 | 0.0052941 | 0.28217 | 53646 | 4.7295 | 0.50658 | No | 1
13.8 | -2.7956 | 0.0052446 | 0.27693 | 52377 | 4.7191 | 0.50244 | No | 1
13.8167 | -2.7703 | 0.0051971 | 0.27173 | 51140 | 4.7088 | 0.49759 | No | 1
13.8333 | -2.7361 | 0.005133 | 0.2666 | 49932 | 4.6984 | 0.49235 | No | 1
13.85 | -2.7064 | 0.0050772 | 0.26152 | 48755 | 4.688 | 0.48699 | No | 1
13.8667 | -2.671 | 0.0050108 | 0.25651 | 47606 | 4.6777 | 0.48133 | No | 1
13.8833 | -2.6379 | 0.0049487 | 0.25157 | 46486 | 4.6673 | 0.47521 | No | 1
13.9 | -2.5975 | 0.0048729 | 0.24669 | 45394 | 4.657 | 0.46915 | No | 1
13.9167 | -2.5652 | 0.0048122 | 0.24187 | 44328 | 4.6467 | 0.46425 | No | 1
13.9333 | -2.5374 | 0.0047601 | 0.23712 | 43289 | 4.6364 | 0.45799 | No | 1
13.95 | -2.4903 | 0.0046717 | 0.23243 | 42275 | 4.6261 | 0.45309 | No | 1
13.9667 | -2.4775 | 0.0046477 | 0.2278 | 41286 | 4.6158 | 0.44923 | No | 1
13.9833 | -2.4418 | 0.0045807 | 0.22322 | 40322 | 4.6055 | 0.4431 | No | 1
14 | -2.4041 | 0.00451 | 0.21871 | 39381 | 4.5953 | 0.43618 | No | 1
14.0167 | -2.3599 | 0.0044271 | 0.21429 | 38464 | 4.5851 | 0.42765 | No | 1
14.0333 | -2.3048 | 0.0043237 | 0.20995 | 37569 | 4.5748 | 0.42132 | No | 1
14.05 | -2.2847 | 0.004286 | 0.20566 | 36696 | 4.5646 | 0.41779 | No | 1
14.0667 | -2.2601 | 0.0042399 | 0.20143 | 35844 | 4.5544 | 0.41164 | No | 1
14.0833 | -2.2116 | 0.0041489 | 0.19728 | 35013 | 4.5442 | 0.40391 | No | 1
14.1 | -2.1699 | 0.0040708 | 0.1932 | 34203 | 4.5341 | 0.39929 | No | 1
14.1167 | -2.1553 | 0.0040433 | 0.18916 | 33413 | 4.5239 | 0.39635 | No | 1
14.1333 | -2.132 | 0.0039996 | 0.18516 | 32642 | 4.5138 | 0.39216 | No | 1
14.15 | -2.1038 | 0.0039466 | 0.18122 | 31889 | 4.5036 | 0.38582 | No | 1
14.1667 | -2.0574 | 0.0038596 | 0.17736 | 31156 | 4.4935 | 0.37831 | No | 1
14.1833 | -2.0167 | 0.0037832 | 0.17358 | 30440 | 4.4834 | 0.37118 | No | 1
14.2 | -1.9746 | 0.0037042 | 0.16986 | 29742 | 4.4734 | 0.36565 | No | 1
14.2167 | -1.9512 | 0.0036605 | 0.16621 | 29060 | 4.4633 | 0.3609 | No | 1
14.2333 | -1.9177 | 0.0035975 | 0.16261 | 28396 | 4.4533 | 0.35508 | No | 1
14.25 | -1.8829 | 0.0035323 | 0.15907 | 27747 | 4.4432 | 0.3508 | No | 1
14.2667 | -1.866 | 0.0035005 | 0.15558 | 27115 | 4.4332 | 0.34598 | No | 1
14.2833 | -1.8255 | 0.0034247 | 0.15215 | 26497 | 4.4232 | 0.34048 | No | 1
14.3 | -1.8015 | 0.0033795 | 0.14876 | 25895 | 4.4132 | 0.33731 | No | 1
14.3167 | -1.7861 | 0.0033506 | 0.14543 | 25307 | 4.4032 | 0.33144 | No | 1
14.3333 | -1.7333 | 0.0032516 | 0.14217 | 24734 | 4.3933 | 0.32391 | No | 1
14.35 | -1.7005 | 0.0031901 | 0.13898 | 24175 | 4.3834 | 0.31827 | No | 1
14.3667 | -1.668 | 0.0031291 | 0.13585 | 23629 | 4.3734 | 0.31249 | No | 1
14.3833 | -1.6338 | 0.003065 | 0.13278 | 23096 | 4.3635 | 0.3082 | No | 1
14.4 | -1.6172 | 0.0030338 | 0.12975 | 22576 | 4.3536 | 0.30392 | No | 1
14.4167 | -1.5833 | 0.0029703 | 0.12677 | 22069 | 4.3438 | 0.29922 | No | 1
14.4333 | -1.5624 | 0.0029311 | 0.12384 | 21574 | 4.3339 | 0.29537 | No | 1
14.45 | -1.5376 | 0.0028845 | 0.12096 | 21091 | 4.3241 | 0.29043 | No | 1
14.4667 | -1.5054 | 0.0028241 | 0.11814 | 20619 | 4.3143 | 0.28518 | No | 1
14.4833 | -1.4775 | 0.0027718 | 0.11537 | 20159 | 4.3045 | 0.27861 | No | 1
14.5 | -1.4317 | 0.0026859 | 0.11269 | 19710 | 4.2947 | 0.27013 | No | 1
14.5167 | -1.3841 | 0.0025966 | 0.11008 | 19271 | 4.2849 | 0.26403 | No | 1
14.5333 | -1.3634 | 0.0025577 | 0.10752 | 18843 | 4.2752 | 0.26132 | No | 1
14.55 | -1.3512 | 0.0025348 | 0.10498 | 18425 | 4.2654 | 0.25927 | No | 1
14.5667 | -1.3375 | 0.0025091 | 0.10248 | 18018 | 4.2557 | 0.25505 | No | 1
14.5833 | -1.3029 | 0.0024441 | 0.10004 | 17620 | 4.246 | 0.24818 | No | 1
14.6 | -1.262 | 0.0023675 | 0.097661 | 17231 | 4.2363 | 0.24334 | No | 1
14.6167 | -1.2484 | 0.002342 | 0.095326 | 16852 | 4.2267 | 0.23963 | No | 1
14.6333 | -1.2194 | 0.0022876 | 0.093035 | 16481 | 4.217 | 0.23506 | No | 1
14.65 | -1.1972 | 0.0022459 | 0.090793 | 16120 | 4.2074 | 0.23025 | No | 1
14.6667 | -1.1659 | 0.0021872 | 0.088595 | 15766 | 4.1977 | 0.22691 | No | 1
14.6833 | -1.1589 | 0.0021741 | 0.086433 | 15422 | 4.1881 | 0.2233 | No | 1
14.7 | -1.125 | 0.0021105 | 0.084318 | 15085 | 4.1785 | 0.21797 | No | 1
14.7167 | -1.1005 | 0.0020645 | 0.082256 | 14756 | 4.169 | 0.21298 | No | 1
14.7333 | -1.0704 | 0.0020081 | 0.080235 | 14435 | 4.1594 | 0.20999 | No | 1
14.75 | -1.0663 | 0.0020004 | 0.078239 | 14122 | 4.1499 | 0.20867 | No | 1
14.7667 | -1.0534 | 0.0019761 | 0.076275 | 13815 | 4.1404 | 0.20383 | No | 1
14.7833 | -1.0137 | 0.0019017 | 0.074363 | 13516 | 4.1308 | 0.19849 | No | 1
14.8 | -0.99587 | 0.0018682 | 0.072496 | 13224 | 4.1214 | 0.19499 | No | 1
14.8167 | -0.97498 | 0.001829 | 0.070666 | 12939 | 4.1119 | 0.19134 | No | 1
14.8333 | -0.95577 | 0.001793 | 0.06887 | 12660 | 4.1024 | 0.18855 | No | 1
14.85 | -0.94373 | 0.0017704 | 0.067093 | 12388 | 4.093 | 0.18785 | No | 1
14.8667 | -0.94557 | 0.0017739 | 0.065327 | 12122 | 4.0836 | 0.18671 | No | 1
14.8833 | -0.92926 | 0.0017433 | 0.063587 | 11862 | 4.0742 | 0.1831 | No | 1
14.9 | -0.90638 | 0.0017004 | 0.061893 | 11608 | 4.0648 | 0.17742 | No | 1
14.9167 | -0.86947 | 0.0016311 | 0.060249 | 11360 | 4.0554 | 0.17315 | No | 1
14.9333 | -0.86094 | 0.0016151 | 0.058639 | 11118 | 4.046 | 0.17042 | No | 1
14.95 | -0.83959 | 0.0015751 | 0.057068 | 10881 | 4.0367 | 0.16557 | No | 1
14.9667 | -0.81 | 0.0015195 | 0.05554 | 10649 | 4.0273 | 0.16173 | No | 1
14.9833 | -0.79887 | 0.0014987 | 0.054047 | 10423 | 4.018 | 0.1585 | No | 1
15 | -0.77554 | 0.0014549 | 0.052584 | 10202 | 4.0087 | 0.1557 | No | 1
15.0167 | -0.76884 | 0.0014423 | 0.051152 | 9986 | 3.9994 | 0.15232 | No | 1
15.0333 | -0.73986 | 0.001388 | 0.049762 | 9775 | 3.9901 | 0.14716 | No | 1
15.05 | -0.71561 | 0.0013425 | 0.048414 | 9568 | 3.9808 | 0.14362 | No | 1
15.0667 | -0.70296 | 0.0013187 | 0.047085 | 9366 | 3.9716 | 0.14344 | No | 1
15.0833 | -0.71182 | 0.0013354 | 0.045766 | 9169 | 3.9623 | 0.14186 | No | 1
15.1 | -0.68559 | 0.0012862 | 0.044478 | 8976 | 3.9531 | 0.13712 | No | 1
15.1167 | -0.66332 | 0.0012444 | 0.043233 | 8788 | 3.9439 | 0.1329 | No | 1
15.1333 | -0.64243 | 0.0012052 | 0.042015 | 8603 | 3.9346 | 0.13155 | No | 1
15.15 | -0.64855 | 0.0012167 | 0.040811 | 8423 | 3.9255 | 0.1302 | No | 1
15.1667 | -0.62766 | 0.0011775 | 0.039636 | 8246 | 3.9162 | 0.12543 | No | 1
15.1833 | -0.60036 | 0.0011263 | 0.038502 | 8074 | 3.9071 | 0.12166 | No | 1
15.2 | -0.58938 | 0.0011057 | 0.037398 | 7905 | 3.8979 | 0.11918 | No | 1
15.2167 | -0.5749 | 0.0010785 | 0.03632 | 7740 | 3.8887 | 0.11628 | No | 1
15.2333 | -0.55981 | 0.0010502 | 0.035267 | 7579 | 3.8796 | 0.1138 | No | 1
15.25 | -0.5496 | 0.001031 | 0.034241 | 7421 | 3.8705 | 0.11077 | No | 1
15.2667 | -0.52932 | 0.00099299 | 0.033245 | 7267 | 3.8614 | 0.10722 | No | 1
15.2833 | -0.51407 | 0.00096439 | 0.03227 | 7116 | 3.8522 | 0.10646 | No | 1
15.3 | -0.52095 | 0.0009773 | 0.031307 | 6968 | 3.8431 | 0.1049 | No | 1
15.3167 | -0.49808 | 0.00093438 | 0.030363 | 6823 | 3.834 | 0.10229 | No | 1
15.3333 | -0.49488 | 0.00092839 | 0.029439 | 6682 | 3.8249 | 0.1007 | No | 1
15.35 | -0.48193 | 0.00090409 | 0.028533 | 6543 | 3.8158 | 0.098627 | No | 1
15.3667 | -0.47416 | 0.00088951 | 0.027643 | 6408 | 3.8067 | 0.097162 | No | 1
15.3833 | -0.46715 | 0.00087637 | 0.026774 | 6275 | 3.7976 | 0.094035 | No | 1
15.4 | -0.44336 | 0.00083174 | 0.025939 | 6145 | 3.7885 | 0.08997 | No | 1
15.4167 | -0.42735 | 0.00080171 | 0.025128 | 6018 | 3.7795 | 0.088782 | No | 1
15.4333 | -0.43149 | 0.00080946 | 0.02433 | 5894 | 3.7704 | 0.087145 | No | 1
15.45 | -0.4112 | 0.00077141 | 0.023555 | 5772 | 3.7613 | 0.083656 | No | 1
15.4667 | -0.39748 | 0.00074567 | 0.022807 | 5653 | 3.7523 | 0.081296 | No | 1
15.4833 | -0.38819 | 0.00072824 | 0.022077 | 5536 | 3.7432 | 0.079735 | No | 1
15.5 | -0.38225 | 0.0007171 | 0.021369 | 5422 | 3.7342 | 0.076605 | No | 1
15.5167 | -0.35785 | 0.00067132 | 0.020691 | 5310 | 3.7251 | 0.073059 | No | 1
15.5333 | -0.34795 | 0.00065274 | 0.020039 | 5200 | 3.716 | 0.070881 | No | 1
15.55 | -0.33682 | 0.00063187 | 0.019406 | 5093 | 3.707 | 0.068778 | No | 1
15.5667 | -0.32768 | 0.00061472 | 0.018791 | 4987 | 3.6978 | 0.066876 | No | 1
15.5833 | -0.31853 | 0.00059757 | 0.018192 | 4884 | 3.6888 | 0.065269 | No | 1
15.6 | -0.31229 | 0.00058585 | 0.017606 | 4783 | 3.6797 | 0.064069 | No | 1
15.6167 | -0.30712 | 0.00057615 | 0.017029 | 4685 | 3.6707 | 0.063007 | No | 1
15.6333 | -0.30225 | 0.00056701 | 0.016462 | 4588 | 3.6616 | 0.062051 | No | 1
15.65 | -0.29814 | 0.00055931 | 0.015898 | 4493 | 3.6525 | 0.062273 | No | 1
15.6667 | -0.30471 | 0.00057164 | 0.015329 | 4400 | 3.6435 | 0.062995 | No | 1
15.6833 | -0.30549 | 0.0005731 | 0.014765 | 4309 | 3.6344 | 0.060987 | No | 1
15.7 | -0.28567 | 0.00053591 | 0.014222 | 4219 | 3.6252 | 0.058426 | No | 1
15.7167 | -0.2811 | 0.00052734 | 0.013693 | 4132 | 3.6162 | 0.057797 | No | 1
15.7333 | -0.28005 | 0.00052536 | 0.013171 | 4046 | 3.607 | 0.056757 | No | 1
15.75 | -0.27152 | 0.00050936 | 0.012663 | 3962 | 3.5979 | 0.054646 | No | 1
15.7667 | -0.26008 | 0.00048791 | 0.012166 | 3880 | 3.5888 | 0.05415 | No | 1
15.7833 | -0.26727 | 0.00050139 | 0.011675 | 3799 | 3.5797 | 0.053399 | No | 1
15.8 | -0.2534 | 0.00047537 | 0.011194 | 3719 | 3.5704 | 0.051613 | No | 1
15.8167 | -0.25051 | 0.00046995 | 0.010725 | 3642 | 3.5613 | 0.050811 | No | 1
15.8333 | -0.24625 | 0.00046196 | 0.010265 | 3566 | 3.5522 | 0.049461 | No | 1
15.85 | -0.23802 | 0.00044653 | 0.0098219 | 3491 | 3.5429 | 0.046912 | No | 1
15.8667 | -0.22202 | 0.0004165 | 0.0093998 | 3418 | 3.5338 | 0.044786 | No | 1
15.8833 | -0.21791 | 0.00040879 | 0.009003 | 3346 | 3.5245 | 0.041267 | No | 1
15.9 | -0.18817 | 0.000353 | 0.0086324 | 3276 | 3.5153 | 0.038949 | No | 1
15.9167 | -0.19581 | 0.00036734 | 0.0082625 | 3206 | 3.506 | 0.040961 | No | 1
15.9333 | -0.20879 | 0.00039169 | 0.0078772 | 3139 | 3.4968 | 0.042128 | No | 1
15.95 | -0.20819 | 0.00039057 | 0.0074969 | 3072 | 3.4874 | 0.039702 | No | 1
15.9667 | -0.18562 | 0.00034823 | 0.0071395 | 3007 | 3.4781 | 0.037036 | No | 1
15.9833 | -0.18259 | 0.00034253 | 0.0067919 | 2943 | 3.4688 | 0.03741 | No | 1
16 | -0.19023 | 0.00035687 | 0.0064448 | 2880 | 3.4594 | 0.036771 | No | 1
16.0167 | -0.17712 | 0.00033227 | 0.0061148 | 2819 | 3.4501 | 0.033571 | No | 1
16.0333 | -0.15913 | 0.00029852 | 0.0058046 | 2758 | 3.4406 | 0.032359 | No | 1
16.05 | -0.16585 | 0.00031114 | 0.005497 | 2699 | 3.4312 | 0.032863 | No | 1
16.0667 | -0.1651 | 0.00030973 | 0.0051897 | 2641 | 3.4218 | 0.032091 | No | 1
16.0833 | -0.15901 | 0.00029831 | 0.0048876 | 2584 | 3.4123 | 0.03159 | No | 1
16.1 | -0.16101 | 0.00030205 | 0.0045954 | 2528 | 3.4028 | 0.029813 | No | 1
16.1167 | -0.14195 | 0.00026629 | 0.0043246 | 2473 | 3.3932 | 0.026921 | No | 1
16.1333 | -0.1325 | 0.00024857 | 0.0040827 | 2419 | 3.3836 | 0.023597 | No | 1
16.15 | -0.10886 | 0.00020423 | 0.0038649 | 2366 | 3.374 | 0.021719 | No | 1
16.1667 | -0.11406 | 0.00021398 | 0.0036541 | 2314 | 3.3644 | 0.021985 | No | 1
16.1833 | -0.1124 | 0.00021086 | 0.0034425 | 2263 | 3.3547 | 0.021745 | No | 1
16.2 | -0.11241 | 0.00021088 | 0.0032321 | 2213 | 3.345 | 0.021563 | No | 1
16.2167 | -0.11136 | 0.0002089 | 0.003031 | 2164 | 3.3353 | 0.019665 | No | 1
16.2333 | -0.093518 | 0.00017544 | 0.0028413 | 2116 | 3.3255 | 0.019078 | No | 1
16.25 | -0.10604 | 0.00019893 | 0.0026539 | 2068 | 3.3156 | 0.019046 | No | 1
16.2667 | -0.094001 | 0.00017635 | 0.0024737 | 2022 | 3.3058 | 0.017449 | No | 1
16.2833 | -0.090047 | 0.00016893 | 0.0023003 | 1976 | 3.2958 | 0.017534 | No | 1
16.3 | -0.095706 | 0.00017954 | 0.0021253 | 1931 | 3.2858 | 0.017616 | No | 1
16.3167 | -0.091752 | 0.00017212 | 0.0019572 | 1887 | 3.2758 | 0.015982 | No | 1
16.3333 | -0.0791 | 0.00014839 | 0.001802 | 1844 | 3.2658 | 0.014901 | No | 1
16.35 | -0.080944 | 0.00015185 | 0.0016479 | 1802 | 3.2558 | 0.01561 | No | 1
16.3667 | -0.087518 | 0.00016418 | 0.0014806 | 1760 | 3.2455 | 0.017365 | No | 1
16.3833 | -0.10081 | 0.00018911 | 0.0013025 | 1719 | 3.2353 | 0.01756 | No | 1
16.4 | -0.090596 | 0.00016996 | 0.0011301 | 1679 | 3.2251 | 0.016065 | No | 1
16.4167 | -0.085421 | 0.00016025 | 0.0009731 | 1640 | 3.2148 | 0.014418 | No | 1
16.4333 | -0.073379 | 0.00013766 | 0.00083587 | 1601 | 3.2044 | 0.012083 | No | 1
16.45 | -0.060423 | 0.00011335 | 0.0007117 | 1563 | 3.194 | 0.011759 | No | 1
16.4667 | -0.070506 | 0.00013227 | 0.00058858 | 1526 | 3.1836 | 0.01175 | No | 1
16.4833 | -0.061059 | 0.00011455 | 0.00047338 | 1489 | 3.1729 | 0.010127 | No | 1
16.5 | -0.052985 | 9.9399e-05 | 0.00036926 | 1453 | 3.1623 | 0.0095312 | No | 1
16.5167 | -0.054981 | 0.00010314 | 0.0002699 | 1418 | 3.1517 | 0.0091154 | No | 1
16.5333 | -0.048891 | 9.1719e-05 | 0.00017796 | 1384 | 3.1411 | 0.0080377 | No | 1
16.55 | -0.043258 | 8.1152e-05 | 9.9521e-05 | 1350 | 3.1303 | 0.006509 | No | 1
16.5667 | -0.031827 | 5.9707e-05 | 3.2152e-05 | 1316 | 3.1193 | 0.0059052 | No | 1