Figure S1. Method A: Ceres Microbiome A beads using 40 mL wastewater. This method allows for magnetic separation of MPXV from wastewater followed by nucleic acid extraction via the Qiagen QIAamp Viral RNA kit. Sequencing via Illumina NextSeq 2000 did not generate any MPXV specific sequences. MPXV is low abundance in wastewater so volume used for subsequent processing methods was increased to allow for greater chance of detection. Method B: PEG Precipitation using 150 mL wastewater. This method allowed for DNA from MPXV to be precipitated out of the wastewater followed by centrifugation to pellet and nucleic acid extraction via the Qiagen AllPrep Power Viral DNA/RNA kit. Sequencing via Illumina NextSeq 2000 did not generate any MPXV specific sequences. Method C: Filtration and Amicon Concentration using 150 mL wastewater. This method used filtration to separate MPXV from wastewater and Amicon filtration to concentrate the virus prior to nucleic acid extraction using the Qiagen QIAamp DNA Mini Kit. Sequencing via Illumina NextSeq 2000 also did not generate MPXV specific sequences. Method D: Extraction of Solids Pellet using 150 mL wastewater. This method used centrifugation at moderate speed for a long period to pellet MPXV in the wastewater. Supernatant was removed; pellet was lysed and nucleic acid extraction via the Qiagen DNeasy PowerSoil Pro kit. Sequencing via Illumina NextSeq 2000 did not generate any MPXV specific sequences. Method E: Extraction of Solid Phase via KingFisher using 120 mL of wastewater. Using an established and working protocol from Mejia et al. 2024, modification were made to make it cleaner for genomic sequencing by implement a purification step using AMPure XP beads prior to submitting for Illumina NextSeq 2000 sequencing and MPXV specific sequences were generated. This showed that an increase in wastewater volume and the right extraction kit could allow for detection of MPXV in wastewater. This lead to modification of method A to allow us to see if we could also detect wastewater from the suspension phase. Method F: Ceres Microbiome A beads using 100 mL wastewater. This method was done according to the manufactures protocol with a few modification. Each 50 mL tube was treated with Nanotrap particles and were then combined at the lysis step only using a single volume of lysis buffer. Nucleic acid extraction was done using the Qiagen AllPrep Power Viral DNA/RNA kit instead of the QIAamp Viral RNA kit previously used to enable DNA extraction. Sequencing via Illumina NextSeq 2000 sequencing and MPXV specific sequences were also generated using this method. Due to the limited volume of wastewater samples available, only consensus sequences from Method E are presented in this study.