Supplementary Material 
Is everything wrong in analytical chemistry? A study on reproducibility

Analytical Quality Assurance Cycle (AQAC).

Olivares IRB, Lopes FA (2012) Essential steps to providing reliable results using the Analytical Quality Assurance Cycle. TrAC Trends Anal Chem 35:109–121. https://doi.org/10.1016/j.trac.2012.01.004

Simple and efficient diagrams are generally used in quality management (e.g., PDCA and Ishikawa’s Fishbone Diagrams). A diagram (e.g., the AQAC proposed) is a way of relating concepts that can be used to implement properly the main quality concepts in a laboratory for analytical chemistries. It is important to emphasize that these concepts are interdependent, and it is necessary to know the relationship between them. Otherwise, an inappropriate application of a quality concept, shown in the AQAC, can damage all the other concepts applied.

The AQAC highlights the three major steps for Quality Assurance: validation, uncertainty assessment, and routine Quality Control. These items are mutually supporting, but a diagram can correlate their interrelationships, thereby facilitating interpretation and application.

The importance of these items is also addressed by ISO/IEC 17025 as part of requirements (validation of methods), (estimation of uncertainty of measurement) and (assuring the quality of test and calibration results).