Sanitary Inspection Form: Well with Manual Pump
Part One: General Information
a. Location:  .......................................................................................................................................
b. Village / Municipality:  ..................................................................................................................
c. Type of rock in the sampling area: .................................................................................................

d. Type of soil in the sampling area:  .................................................................................................

e. What is the usage frequency of this borehole in 30 minutes?.........................................................

f. Date of visit:  ..................................................................................................................................

g. Geographic coordinates of the borehole (GPS): ............................................................................

h. What is the access to the borehole? Easy / Difficult

i. What is the depth of this borehole?  ...............................................................................................

j. What is the color of the water from the borehole? Clear / Murky

k. Is the water from this borehole used for drinking? Yes / No

l. Is the water from this borehole treated by the population before consumption? Yes / No

Part Two: Risk Assessment. Circle the most appropriate answer. Answer "yes" if there is a potential risk and "no" if there risk is negligible no or very low. See explications at the end.
                                                Observations

1. Is there a latrine within 10 meters of the borehole?                 Yes / No

2. Is there a latrine or another source of fecal contamination upstream of the borehole?   Yes / No

3. Is there another source of contamination within 10 meters of the borehole (animals, agriculture, roads, industries, dump, etc.)?                                                    Yes / No

4. Is there a drainage defect causing the formation of puddles within 3 meters of the borehole?              Yes / No

5. Is the drainage channel absent, damaged, or clogged?                       Yes / No

6. Is the wall or fence around the pump inadequate?                              Yes / No

7. Is the slab around the borehole less than 2 meters in diameter?                 Yes / No

8. Does spilled water accumulate on the slab?                                              Yes / No

9. Is the well slab cracked or damaged?                                                         Yes / No

10. Is the manual pump poorly fixed? Is it a chain pump?                              Yes / No

If yes, is the pump cover missing?

Contamination Risk (total number of "yes" answers): ...... / 10

Part Three: Results and Comments

a. Contamination risk (check the appropriate box):  

	9-10 = Very High
	6-8 = High
	3-5 = Medium
	0-2 = Low  

	
	
	
	


b. The following risks were observed:

c. Description of the water point of this borehole:  

................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................
Part 4: Name and Signature of Technicians:
