Supplemental Methods

Representative confocal images in figures

- [In FIJI] Import Z-stack ND2 file  Z-project  Autoscale  Add scale bar  Individual channels and fluorescent merge saved as jpeg files

- [In PowerPoint] Import JPEG  +20% brightness

- [In IMARIS] Import Z-stack ND2 file  Process image  Deconvolve  Normal shading filter  Volume view

TNT identification and measurement in confocal images

- [In ICY] Import Z-stack ND2 file into ICY manual TNT plugin  Mark TNTs presented in contrast, use the tool to track numbers

- [In FIJI] Manually measure all TNTs identified in FIJI using line tool  Collect numeric data for analysis in GraphPad Prism (GPP)

Co-expression analysis in confocal images

- [In FIJI] Import Z-stack ND2 file  Z-project  Autoscale  Subtract background  Plot intensity profile of each channel (line or ROI)  Collect numeric data for correlation analysis in GPP

Image total cell counts in confocal images

- [In FIJI] Import Z-stack ND2 file  Select channel that highlights individual cells  Z-project  Subtract background  Median filter  Make binary  Despeckle  3D OC object counter  Threshold 100, size exclusion 200 – 5000μm, select show objects and statistics

Mitochondrial Quantification

- [Cytation 5 imaging_Gen5 analysis Software]

  - Cell count DAPI-positive objects  Add subpopulation (DAPI+ threshold / Texas Red threshold )  Normalize values to timepoint 0

- [Confocal imaging_IMARIS analysis Software]

  - Import and convert ND2 file using imaris converter  Add surface in DAPI channel  Surface details 0.414µm  Machine learning segmentation (all channels)  Split objects (seed point diameter set to smallest nucleus in sample)  Statistics  Specific values  Intensity mean of mitochondria channel (AF546)   Save surface creation parameters for batch

  - Repeat for other images using the saved surface  Adjust surface wrapping as necessary