Supplemental Experimental Section

Metabolite extraction [1]

Metabolite extraction of ascites supernatant samples

After thawed at 4℃ on ice, a volume of 100μl or 150 µL of each plasma sample was pipetted into 1.5 or 2.0ml microcentrifuge tube, then added 4 times the volume of methanol (cooled to −80℃) . Subsequently, the tube was vortex for 30 s and incubated for 1 h at -20℃to precipitate proteins.The sample was then centrifuged at 14,000g for 15 min at 4℃. The supernatants were transferred into to a new 1.5-ml microcentrifuge tube and dried with nitrogen. Dried metabolite samples were stored at -80℃ until the LC-MS analysis. A QC sample was prepared by pooling a small aliquot from each ascites supernatant samples, and extracted together with other samples.

Metabolite extraction of precipitated cell samples

Precipitated cell samples (10.00 ± 1.00 mg for each sample) were first homogenized with ceramic beads in 1.5ml methanol for two times using a homogenizer. The homogenization took 20 s with 5 s intervals each time, and ice was used to keep the low-temperature of homogenization. The sample was then centrifuged at 14,000 g for 15 min at 4℃. The supernatants were transferred into to a new 1.5-ml microcentrifuge tube and then repeat it again. The supernatant(about 1.2ml ) was finally transferred to a new 1.5-ml microcentrifuge tube and dried with nitrogen. Dried metabolite samples were stored at -80℃ until the LC-MS analysis. A QC sample was prepared by pooling a small aliquot from each homogenized cell solution samples, and extracted together with other precipitated cell samples.

Metabolite extraction of FFPE samples

For formalin-fixed tissue samples, start with approximately 30–40 μm FFPE slice for extraction (discard the top slice) from the tissue block, then take 20μm slices and place them in the microcentrifuge tube. Metabolite extraction was performed adding 1-1.5 ml of 80% methanol (enough volume to cover the slices completely) directly to the sample and incubating at 70 °C for 30-45 min in a 1.5-ml microcentrifuge tube without any deparaffinization procedure. The sample was then placed on ice for 15 min and centrifuged at 14,000g for 15 min (4-8 °C). The supernatant was transferred into a new 1.5-ml microcentrifuge tube and chilled on ice for 10 min, followed by centrifugation at 14,000g for 15 min (4-8 °C). Finally, the supernatant was transferd to a new test tube and dried the sample with nitrogen. Dried metabolite samples were stored at -80℃ until the LC-MS analysis. A QC sample was prepared by pooling a small aliquot from each tissue solution samples, and extracted together with other tissue samples.

Re-dissolve the samples

After thawed at 4℃ on ice, all dry extracts were then reconstituted with a 100 µL of  ACN:H2O (1:1, v/v) and vortex for 3 min. The samples were then centrifuged at 14,000 g for 15 min at 4℃. The supernatant was transferd to a new test tube. The operation is repeated. Finally, the supernatant was also transferred to LC-MS vials. Inject approximately 5–10µL of sample onto the LC-MS/MS system using anautosampler .

LC-MS data acquisition

An UHPLC system coupled to aquadruple time-of-flight (QTOF) mass spectrometer (Agilent 1200 Infinity, USA) was used for metabolomics data acquisition for electrospray ionization (ESI) in positive / negative mode. Agilent SB-C18 column (particle size, 1.8 µm; 100 mm (length) × 2.1 mm (i.d.)) was used for the LC separation. The chromatographic conditions were as follows: flow rate of 0.3 mL/min; sample injection volume, 10 µL; column temperature, 40°C. ESI+:The mobile phases A , 0.1% FA in ACN; and mobile phase B, 0.1% FA in water ;ESI-: The mobile phases A , ACN; and mobile phase B, water. The linear gradient was set as follows: 0 ~ 1 min: 5% B; 1 ~ 10min: 5% B to 95% B; 10 ~ 13min: 95% B ; 13 ~ 13.1min: 95% B to 5% B; 13.1 ~20min: 5% B. The acquisition rate of MS data acquisition was set at 2 spectra/s and the TOF mass range was set at m/z 50~1000Da. Other parameters were set as follows: dry gas temperature: 350℃; dry gas flow:10L/min; nebulizer pressure: 50psi；Oct RFV, 750 V; and fragmentor voltage: 120V. capillary voltage: 4000 V and -3500 V for positive and negative, respectively. QC samples were analyzed every five injections of biological samples and a blank sample (ACN : H 2 O, 1:1, v/v) to monitor the stability of the data acquisition and used for data normalization.

Refernce

1. Yuan M, Breitkopf SB, Yang X, Asara JM. A positive/negative ion-switching, targeted mass spectrometry-based metabolomics platform for bodily fluids, cells, and fresh and fixed tissue. Nat Protoc. 2012;7(5): 872-881.