Table 3. Mean scores, ranging from 0 to 10 (Visual Analogue Scale - VAS), assigned by each surgeon for each item related to the utilization of the RoboticScope.	

	Items – RoboticScope
	Mean score (± SD)

	Illumination
	8.83 (± 0.75)

	Magnification
	9 (± 0.89)

	Maneuverability
	8 (± 0.63)

	Focus
	8.17 (± 0.75)

	3D perception
	7,67 (± 0.82)



