|  | Microscope (*) | RoboticScope© |
| --- | --- | --- |
| Working distance (cm) | 20-60 | 30-60 |
| Magnification | 1.0-17x | 2,7-30,1x |
| Depth of field (cm) | <1,2 | 1,26 |
| Speed of movement 250 mm/s Immediate Immediate | immediate | 250mm/sec |
| Illumination | Xenon, 300 W | LED, 2-11W (extra-illumination from the HMD) |
| Field of view (cm) | 60 | 5.8x4.3–64.5x48.4 |
| Learning curve | low | low |
| Stereopsis | yes | yes |
| Occupied space | large | large |
| Image capture | 2160 x 1080 pixel full‐HD LCD display/4K | 2 x 1600 x 1200 pixel/ merged 4K resolution (4928 x 2056 px) |
| Menu control | Manual, footplate | Footplate and head movement |
| Counterbalance system | Hydraulic | Robotic |
| Portability | medium | medium |
| Teaching potential | medium | high |
| Fluorescence | yes | N/A |
| Weight (Kg) | >225 | 365 |

(*) data from LEICA, ZEISS microscope brochures (https://www.leica-microsystems.com/products/surgical-microscopes; www.zeiss.com/meditec/en/products/surgical-microscopes.html)