## Sheet1
| Part | Description/Product name | Link
Syringe pump
| Blank tool plate | Kinematic tool plate | https://e3d-online.com/products/toolchanger-extra-blank-tool-plate
| Motor | Moons LN172S-E06008-155-S-200 | https://www.moonsindustries.com/m/p/nema17-non-captive-hybrid-linear-stepper-motors/ln172s-e06008-155-s-200-000004611110031888
| Body | 3D-printed | See supplementary materials
| Plunger | 3D-printed | See supplementary materials
| Syringe mount | 3D-printed | See supplementary materials
| M3 Threaded inserts | Tappex Trisert
| Screws | M3x10
Enclosure
| Polycarbonate | Milled or lasercut PC | See supplementary materials
| Corner brackets | 3D-printed | https://www.thingiverse.com/thing:4211457
| Door handle | 3D-printed | See supplementary materials
| Door panel holder | 3D-printed | See supplementary materials
| Magnet | 8x4mm round | https://www.supermagnete.de/eng/disc-magnets-neodymium/disc-magnet-8mm-4mm_S-08-04-N
HEPA filter assembly
| Filter holder | 3D-printed | See supplementary materials
| Screws | M3x10
| HEPA-filter | Electrolux EAP150
| Fan | Noctua NF-A20 | https://noctua.at/en/nf-a20-pwm
Calibration setup
| Camera and endstop mount | 3D-printed | See supplementary materials
| Web camera | Logitech web camera
| 5V microswich | Probe for tool Z-calibration | https://www.amazon.com/Genuine-E3D-Endstop-Microswitch-ENDSTOP-INC-CABLE/dp/B07CZ3RVR6
| RPi and screen mount and lid | 3D-printed | See supplementary materials
| Raspberry Pi 4 |  | https://www.raspberrypi.org/products/raspberry-pi-4-model-b/
| Raspberry Pi screen |  | https://www.raspberrypi.org/products/raspberry-pi-touch-display/