Focal AO correction with Non- conjugated SLM and WFS

As shown in Fig. S1, the sample-induced aberration ΦS is measured by the wavefront sensor (WFS) at a plane conjugate to the pupil plane of the objective (IO). However, the spatial light modulator (SLM) is not conjugated to the IO’s pupil plane but rather to its focal plane. ‌This geometric mismatch‌ means the SLM and WFS reside in non-conjugate planes; thus, ΦS cannot be directly corrected by simply superimposing its inverse phase (-ΦS) onto the SLM, as is typical in conventional adaptive optics (AO) systems.

Fig. S1. Principle of focal AO correction.

Consider first the scenario ‌without aberrations‌: When the SLM is modulated with an arbitrary phase Φ (whether an axicon phase ΦB or a thin-lens phase ΦL), the electric field of the light reflected from the SLM can be expressed as:

Where Ein represents the incident Gaussian beam with waist radius ω:

The electric field E1 at the front focal plane of lens L is then determined by ‌Fresnel diffraction‌ of E0 over a propagation distance s:

Subsequently, the electric field Ep at the pupil plane of the IO (coinciding with the rear focal plane of lens L) is calculated through a ‌2D Fourier transform‌ of E1:

Given that the sample-induced aberration ΦS is measured by the WFS at a plane conjugate to the IO’s pupil plane, the ‌aberration-corrected electric field‌ at the pupil plane must incorporate a phase compensation term. This is achieved by subtracting ΦS from the phase of Ep, yielding:

To derive the required field for aberration correction at the SLM, the process is reversed:

1) The corrected field E1c at the front focal plane of lens L is obtained via an ‌inverse Fourier transform‌ of Epc:

2) The corresponding field ESLMc at the SLM plane is calculated through ‌reverse Fresnel diffraction‌ of E1c over distance -s:

Since the SLM modulates ‌only phase‌ (not amplitude), the applied correction pattern is derived from the phase component of ESLMc:

For any initial phase Φ (ΦB or ΦL), Ep can be precomputed using Eq. (1) ~ (4). Upon detection of ΦS by the WFS, the SLM correction phase is computed via Eq. (5) ~ (8). The final SLM pattern simultaneously achieve beam shaping and aberration correction.