SKY Assesment

Annexure 1

Gains From Migrating Metered and Unmetered Tubewells to PMKUSUM COI and PMKUSUM COII

In annexure table A and B, we evaluate financial impact on the Utility and farmer of migrating a 15 HP tubewell to PMKUSUM-COI and PMKUSUM-COII. In doing this, key assumptions made are: [a] unmetered connections will remain unmetered and pay US $ 9.2/ HP for the next 25 years, which is the economic life of solar pump; likewise, metered tubewells will pay US $ 8.33/MWh for the next 25 years; [b] marginal productivity of electricity in irrigation or water sale is US $ 55.6/MWh; [c] average unmetered and metered connection are sent 1855 kWh/HP and 719 kWh/HP of power respectively (CAG 2016); [d] average distribution loss on agriculture feeder is 20 percent; [e] upon migration to PMKUSUM-C, the consumer instantly begins behaving as if operating a metered solar connection with the option to sell surplus energy at US $ 39.3/MWh; [f] solar tubewells consume  575 kWh/HP (0.8 *719) equivalent to that of metered tubewells paying US $ 8.33/MWh; [g] cost to serve grid power is US $ 81.94/MWh; [f] the cost of solarisation is US $ 555.6/kWp, average solar generation is 1500 kWh/kWp/year  and discount rate applicable is 10 percent/year.

Table A: Impact of Migrating 15 HP Unmetered Tubewell to PMSUSUM-COI & COII

|  |  | 1 | 2 | 3 |
| --- | --- | --- | --- | --- |
|  |  | Unmetered Tubewell (15 HP) | [1] migrates to PMKUSUM-COI (panels=19.7 kWp) | [1] migrates to PMKUSUM-COII-UNMETERED (panels= 11.25kWp) |
| 1 | Total capital cost (US $) | 0 | 10944.4 | 6250 |
| 2 | MNRE, GoI subsidy (30%) (US$) | 0 | 3277.8 | 1875 |
| 3 | GoG subsidy (US$) | 0 | 3277.8 | 4375 |
| 4 | Farmer contribution (US$) | 0 | 3.16 | 0 |
| 5 | Power consumption (KWh/year) | 27495 | 8628 | 8628 |
| 6 | Utility’s gain(+)/ loss (-) on power sales (US$ year) | -2111.1 | +2111.1 | +2111.1 |
| 7 | Utility’s gain on solar power purchase (US$/year) | 0 | +0.64 | +0.25 |
| 8 | Consumer’s incremental gain from energy consumption & sale (US$/year) | +1388.9 | +1305.6 | +1138.9 |
| 9 | NPV for the Utility (US$) [payback period for GoG & MNRE in months] | -19166.7 | +23944.4 [26.2] | +17916.7 [30.5] |
| 10 | NPV for consumer (US$) [payback period for consumer in months] | +12597.2 | +7458.3 [40.3] | +10333.3 [0] |

Table B Financial Impact of Migrating a 15 HP Metered Tubewell to PMSUSUM-C Option I and PMKUSUM-C-Option II and 95% subsidy on solar pump in lieu of waitlisted grid connection

|  |  | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- | --- |
|  |  | Metered Tubewell (15 HP) | [1] onboards PMKUSUM-C Option I (panels=19.7 kWp) | [1] onboards PMKUSUM-C Option II-METERED (panels= 11.25 kWp) | PMKUSUM-B Three 5 HP solar pumps in lieu of metered pumps (Panels:11.25 kWp) |
| 1 | Total capital cost (US $) | 0 | 10944.4 | 6250 | 6250 |
| 2 | MNRE subsidy (30%) (US $) | 0 | 3277.8 | 1875 | 1875 |
| 3 | GoG subsidy (US $) | 0 | 3277.8 | 4375 | 4055.6 |
| 4 | Farmer contribution (US $) | 0 | 4388.9 | 0 | 319.4 |
| 5 | Power consumption (KWh/year) | 10785 | 8628 | 8628 | 8628 |
| 6 | Utility’s gain(+)/ loss (-) on power sales (US $ year) | -791.7 | +791.7 | +791.7 | +791.7 |
| 7 | Utility’s gain on solar power purchase (US$/year) | 0 | +888.9 | +347.2 | 0 |
| 8 | Consumer’s incremental gain from energy/water sale (US $/year) | +597.2 | +1395.6 | +1138.9 | +486.1 |
| 9 | NPV for Utlity (US $) Payback for GoG & MNRE [months] | -7180.6 | +1197.2 [46.8] | +5958.3 [66]] | +3125 [89.9] |
| 10 | NPV for consumer over 25 years @ 10%/year (Rs lakh) | +5416.7 | +7458.3 [40.3] | +10333.3 [0] | +4097.2 [7.9] |

Assuming CAG (2016) figure of 1833 kWh/HP sent out to unmetered tubewells which includes 20 percent losses

Assuming CAG (2016) figure of 719 kWh/HP sent out when metered tariff is US $ 8.33/MWh. The consumption is 719*0.8 =575 kWh/HP given 20 % distribution loss.

Power supplied valued at US $ 81.94/MWh and flat tariff deducted at US $ 9.24/HP (27495* 0.082)-(9.24*15)

DISCOM saves the cost of sending 27495 kWh but also loses flat tariff.

Generation assumed at 1500 kWh/kWp; {(1500*19.7) -8628}(0.082-0.039)

{(11.25*1500)-8628}(0.082-0.039)

Assumed that tubewell owner earns a net income of US $ 55.6/MWh in own irrigation or water sales after all transaction costs are met net of flat tariff [(27495*0.0556)-(9.24*15)]

{(19.7*1500)-8628}0.039 + (8628*0.0556)

{(15*1500)0.039-8628}+(8628*0.0556)

Computed for the combined investment by MNRE as well as GoG; e.g., for PMKUSUM COI, [(3277.8+3277.8)/(2111.1+888.9]*12

Computed using https://www.calculatorsoup.com/calculators/financial/net-present-value-calculator.php

PV of US $ 3000/year over 25 years @ 10% less US$ 3277.8

Assuming CAG (2016) figure of 719 kWh/HP including 20  percent distribution losses.

Assuming no change in pumping behaviour despite opportunity to sell saved power at US $ 39.3/MWh. The only benefit claimed is 20 percent saving in line losses; the consumption is 719*0.8 =575 kWh/HP. SKY showed increase in consumption/HP likely because of 12 hours/day power supply. This will now reduce to 8 hours daily.

Off-grid solar pumps could behave like unmetered tubewells; however, we have taken here metered consumption since these are subsidized to save new metered connections. GoG-DISCOM notional gain is grid power they would be supplied under metered connection.

Power supplied is valued at  US $ 81.9/MWh less US $ 8.3/MWh metered tariff)

Generation assumed at 1500 kWh/kWp; {(1500*19.7) -8628}(0.082- 0.039)

{(11.25*1500)-8628}(0.082- 0.039)

Assumed that tubewell owner earns a net income of US $ 55.6/MWh in own irrigation or water sales after all transaction costs are met net of flat tariff

{(19.7*1500)-8628}0.039 + (8628*0.0556)

{(11.25*1500)-8628}0.039+(8628*0.0556)

Computed using https://www.calculatorsoup.com/calculators/financial/net-present-value-calculator.php