## Table2
Sampling point | Segment | Fluid type | Date | pH | Temperature | Conductivity | Alcalinity | [HCO32-] | [Na] | [Ca] | [Cl] | [SO4] | [Li] | [Al] | [Fe] | [Cs] | [As] | [Sb] | Total dissolved solids
[5 empty] | (°C) | µS/cm | (%) | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
|  |  |  | pH | T | cond | alc | HCO3 | Na | Ca | cl | SO4 | Li | Al | Fe | Cs | As | Sb | TDS
CP-1A | Production well | Bifase fluid | 2017-07-05 | 5.762 | 18.9 | 75.3 | 0.69 | 42.0969 | 0.47 | 0.41 | 2 | 0.55 | 0.013 | 0.0066 | 6.33 | 0.0097 | 0.22 | 0.033 | 82.3721
CP-5A | Production well | Bifase fluid | 2016-06-26 | 7.381 | 16.2 | 171.4 | 14.26 | 870.0026 | 4.9 |  | 37.48 | 2.2 | 0.05 | 0.0083 | 3.07 | 0.03 | 0.14 | 0.03 | 922.4519
CP-5A | Production well | Bifase fluid | 2016-06-27 | 7.365 | 16.2 | 921 | 10.48 | 639.3848 | 366.9 | 44.1 | 330.41 | 2.74 | 4.06 | 0.002 | 0.97 | 2.29 | 3.18 | 0.07 | 1449.4548
CP-5A | Production well | Bifase fluid | 2017-09-27 | 5.1 | 21.6 | 34.39 | 0.39 | 23.7939 | 0.34 | 0.29 | 0.14 | 0.61 | 0.013 | 0.01 | 1.5 | 0.008 | 0.037 | 0.006 | 67.8168
CP-5A | Production well | Bifase fluid | 2017-09-27 | 5.1 | 21.6 | 44.62 | 0.31 | 18.9131 | 0.33 | 0.29 | 1.63 | 4.44 | 0.013 | 0.019 | 1.63 | 0.0081 | 0.038 | 0.0054 | 69.9705
CP-5A | Production well | Bifase fluid | 2017-09-27 | 5.1 | 21.4 | 42.83 | 0.33 | 20.1333 | 0.42 | 0.28 | 1.62 | 4.54 | 0.013 | 0.0075 | 1.46 | 0.0082 | 0.036 | 0.0051 | 76.4081
L. F/CP-5+5A | Separation Line | Vapor | 2017-10-18 | 5.515 | 19.5 | 42.13 | 0.34 | 20.7434 | 2.84 | 0.1 | 3.59 | 0.97 | 0.022 | 0.0014 | 0.35 | 0.012 | 0.044 | 0.014 | 72.7043
L. F/CP-5+5A | Separation Line | Vapor | 2017-11-23 | 5.04 | 24.7 | 47.05 | 0.52 | 31.7252 | 2.83 | 0.15 | 0.076 | 0.64 | 0.00066 | 0.01 | 4.77 | 0.00044 | 0.028 | 0.0073 | 81.2793
CP-6 | Production well | Bifase fluid | 2017-12-04 | 5.71 | 24.9 | 72.76 | 0.74 | 45.1474 | 3.53 | 0.83 | 2.1 | 1.16 | 0.021 | 0.011 | 6.72 | 0.012 | 1.07 | 0.031 | 184.5675
L. J/CP-1+1A | Separation Line | Vapor | 2018-01-11 | 4.695 | 25.4 | 65.38 | 0.43 | 26.2343 | 3.04 | 1.51 | 6.28 | 1.91 | 0.028 | 0.0067 | 1.63 | 0.0106 | 0.15 | 0.0096 | 83.7942
Línea J/CP-6 | Separation Line | Vapor | 2018-10-03 | 4.7 | 21.4 | 31.09 | 0.34 | 20.7434 | 0.35 | 0.31 | 0.72 | 1.45 | 0.0064 | 0.0087 | 2.26 | 0.0032 | 0.12 | 0.013 | 55.3636
L. J. filtrada/ CP-6 | Separation Line | Vapor | 2019-08-01 | 4.8 | 19.4 | 30.84 | 0.26 | 15.8626 | 6.4 | 0.88 | 0.42 | 1.31 | 0.076 | 0.008 | 1.73 | 0.039 | 0.17 | 0.027 | 53.7406
L.F./CP-5 | Separation Line | Vapor | 2019-08-06 | 4.8 | 19.6 | 32.38 | 0.36 | 21.9636 | 15.9 | 1.87 | 0.53 | 0.98 | 0.19 | 0.008 | 0.47 | 0.089 | 0.31 | 0.014 | 82.9936
Línea F | Separation Line | Vapor | 2020-03-04 | 4.71 | 24.4 | 38.05 | 0.34 | 20.7434 | 0.19 | 0.48 | 0.84 | 3.83 | 0.0018 | 0.0051 | 0.25 | 0.0022 | 0.046 | 0.0069 | 132.9889
Línea J | Separation Line | Vapor | 2020-03-05 | 4.597 | 24.3 | 32.55 | 0.29 | 17.6929 |  | 0.1 | 0.46 | 3.57 | 0.018 | 0.0059 | 1.23 | 0.001 | 0.017 | 0.0025 | 272.3988