Table 1: Verification of scheme validity

OBS	plate

femoral displacement (mm)	13.37	24.88

maximum von Mises stress of the OBS (MPa)	1141.70	2258.40

Table 2: Relationship between femoral displacement, the maximum von Mises stress of the OBS and the position of the third rod

|  | 0mm | 10mm | 20mm | 25mm | 30mm | 35mm | 50mm |
| --- | --- | --- | --- | --- | --- | --- | --- |
| femoral displacement (mm) | 15.28 | 15.23 | 16.71 | 15.09 | 15.12 | 14.42 | 14.51 |
| maximum von Mises stress of the OBS (MPa) | 771.77 | 786.47 | 1088.70 | 842.96 | 844.45 | 814.70 | 854.91 |

Table 3: Relationship between femoral displacement, the maximum von Mises stress of OBS and connection rod diameter

5mm	6mm

femoral displacement (mm)	13.73	11.85

the maximum von Mises stress of OBS (MPa)	1141.70	817.20

Table 4: Relationship between femoral displacement, the maximum von Mises stress of OBS and screws number scheme

a	b	c	d	e	f

femoral displacement (mm)	12.38	21.08	13.26	13.37	12.36	11.61

the maximum von Mises stress of OBS (MPa)	740.17	813.02	901.20	712.59	1088.90	701.71

.