Supplementary Table 1. Characteristics of RDT products recognized by the HealthPulse application in the MaCRA evaluation. 
	RDT product (manufacturer)
	Referred to as:
	Line color
	RDT cassette format

	RDT cassettes with a single test line to detect Plasmodium falciparum-specific histidine-rich protein 2 (HRP2)

	AdvDx Malaria Pf Rapid Malaria Ag Detection Test
(Advy Chemical, Mumbai, India) [27]
	AdvDx Malaria Pf

	Red/pink
	[image: A white box with a black line and a white rectangle with a white rectangle and a black rectangle with a white rectangle with a black line and a white rectangle with a white

Description automatically generated]

	Bioline MALARIA Ag P.f 
(Abbott, IL USA) [28]
Note: The same cassette previously was manufactured as SD Bioline.
	Bioline Malaria Pf

	Red/pink
	[image: A screen shot of a computer

Description automatically generated]
[image: A white rectangular object with a rectangle and a rectangle with a rectangle and a rectangle with a black line and a black rectangle with a black rectangle and a black rectangle

Description automatically generated]

	CareStart Malaria Pf (HRP2) Ag RDT 
(Access Bio Inc, NJ USA)
Note: This product has been de-listed by WHO prequalification.
	CareStart Malaria Pf

	Test lines are blue/purple
Control lines are red/pink
	[image: A drawing of a screw

Description automatically generated]

	First Response Malaria Antigen P. falciparum (HRP2) Card Test (Premier Medical Corporation Ltd, Gujarat, India) [29]
	First Response Malaria Pf
	Blue/purple
	[image: A white rectangular object with a hole in the middle

Description automatically generated]

	ParaHIT f Ver. 1.0 Rapid Test for P. falciparum Malaria Device 
(Arkray Healthcare Prvt Ltd, Mumbai, India) [30]
	ParaHIT Malaria Pf
	Red/pink
	[image: A close-up of a box

Description automatically generated]

	STANDARD Q Malaria P.f Ag Test (SD Biosensor, Gyeonggi-do, Republic of Korea) [31]
	Standard Q Malaria Pf

	Pink
	[image: A white rectangular object with a black and white text

Description automatically generated with medium confidence]

	RDT cassettes with two test lines to detect P. falciparum HRP2 and P. falciparum-specific lactate dehydrogenase (pLDH)

	Bioline Malaria Ag P.f (HRP2/pLDH)
(Abbott, IL USA) [32]
	Bioline Malaria Pf (HRP2/pLDH)
	Red/pink
	[image: A white rectangular object with black text

Description automatically generated]

	RDT cassettes with two test lines to detect P. falciparum HRP2 and pan-pLDH

	Bioline Malaria Ag P.f/Pan 
(Abbott, IL USA) [33]
	Bioline Malaria Pf/Pan
	Red/pink
	[image: A close-up of a computer screen

Description automatically generated]

	First Response Malaria Ag. pLDH/HRP2 Combo Card Test (Premier Medical Corporation Ltd, Gujarat, India)[34]
	First Response Malaria Pf Ag (pLDH/HRP2)
	Blue/purple
	[image: A white rectangular object with black text

Description automatically generated]
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