Supplementary Table 1. Characteristics of RDT products recognized by the HealthPulse application in the MaCRA evaluation.

| RDT product (manufacturer) | Referred to as: | Line color | RDT cassette format |
| --- | --- | --- | --- |
| RDT cassettes with a single test line to detect Plasmodium falciparum-specific histidine-rich protein 2 (HRP2) |  |  |  |
| AdvDx Malaria Pf Rapid Malaria Ag Detection Test (Advy Chemical, Mumbai, India) [27] | AdvDx Malaria Pf | Red/pink |  |
| Bioline MALARIA Ag P.f (Abbott, IL USA) [28] Note: The same cassette previously was manufactured as SD Bioline. | Bioline Malaria Pf | Red/pink |  |
| CareStart Malaria Pf (HRP2) Ag RDT (Access Bio Inc, NJ USA) Note: This product has been de-listed by WHO prequalification. | CareStart Malaria Pf | Test lines are blue/purple Control lines are red/pink |  |
| First Response Malaria Antigen P. falciparum (HRP2) Card Test (Premier Medical Corporation Ltd, Gujarat, India) [29] | First Response Malaria Pf | Blue/purple |  |
| ParaHIT f Ver. 1.0 Rapid Test for P. falciparum Malaria Device (Arkray Healthcare Prvt Ltd, Mumbai, India) [30] | ParaHIT Malaria Pf | Red/pink |  |
| STANDARD Q Malaria P.f Ag Test (SD Biosensor, Gyeonggi-do, Republic of Korea) [31] | Standard Q Malaria Pf | Pink |  |
| RDT cassettes with two test lines to detect P. falciparum HRP2 and P. falciparum-specific lactate dehydrogenase (pLDH) |  |  |  |
| Bioline Malaria Ag P.f (HRP2/pLDH) (Abbott, IL USA) [32] | Bioline Malaria Pf (HRP2/pLDH) | Red/pink |  |
| RDT cassettes with two test lines to detect P. falciparum HRP2 and pan-pLDH |  |  |  |
| Bioline Malaria Ag P.f/Pan (Abbott, IL USA) [33] | Bioline Malaria Pf/Pan | Red/pink |  |
| First Response Malaria Ag. pLDH/HRP2 Combo Card Test (Premier Medical Corporation Ltd, Gujarat, India)[34] | First Response Malaria Pf Ag (pLDH/HRP2) | Blue/purple |  |