Table 1: Cost estimation and energy consumption at optimized condition of (current density = 7.14 mA/cm2, NaCl dose = 0.2 g/ L, treatment time = 9 min, flow rate = 40  mL/min) for bacterial inactivation in simulated wastewater

| Time (min) | Current density (mA/cm2) | % Inactivation | Energy consumption (kWh/m3) | Running cost $/m3 |
| --- | --- | --- | --- | --- |
| 0 | 7.14 | 0 | 0 | 0 |
| 2 | 7.14 | 9 | 0.03 | 0.188 |
| 3 | 7.14 | 12 | 0.05 | 0.18870 |
| 5 | 7.14 | 31 | 0.08 | 0.18874 |
| 9 | 7.14 | 96 | 0.17 | 0.18887 |

Table 2: Comparison table with other techniques

| Wastewater | Microbe | Technique used | Removal efficiency | Current density | Cost | References |
| --- | --- | --- | --- | --- | --- | --- |
| Synthetic water Distilled water Synthetic feed water Drinking water Simulated bacterial wastewater | Escherichia coli K-12 Escherichia coli Escherichia coli Coliform bacteria, Streptococci Escherichia coli, Bacillus subtilis, Staphylococcus aureus, Salmonella enterica, Acinetobacter calcoacetius, Serratia marcescens, Listeria sp., Enterococcus faecalis | Photo-fenton and photocatalysis Solar disinfection Electrochemical dynamic membrane filtration system Charcoal column filtration followed by UV- irradiation Electrooxidation through MMO anodes | 4 log reduction at 150 min 4 log reduction at 240 min 100% log removal 95% bacterial removal 96% inactivation of bacteria | UV-light source UV-light source 75L/(m2h) at 2.0V - 7.14 mA/cm2 | 16.01$ - 30 $ 125 $ 0.18 $/m3 | 58 59 60 61 Present study |