Supplemental Figures:

Supplemental Figure 1. qRT-PCR Ct values as a function of SARS-CoV-2 RNA genome reference material. The virus copy number on the x-axis is adjusted for the volume used in a RDT cassette where 10% of the volume is extraction buffer. This indicate that the LOD (virus genome copies) on clinical samples is very similar to the heat-inactivated SARS-CoV-2 reference material, where the lateral flow RDT assay LOD is around 35-40,000 RNA copies per cassette.