Table 2: System suitability testing parameters of the methods A and B.

| Reference value | Method B |  |  |  |  | Method A |  |  | Parameter |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | FNP | ABM |  |  | CLF | FNP | ABM | CLF |  |
| >1.5 | 1.31 | 1.22 |  |  | 1.09 | 1.17 | 1.18 | 1.08 | Tailing factor* (T) |
| 1- 10 | 7.41 | 5.14 |  |  | 2.48 | 6.98 | 3.87 | 2.13 | Capacity factor (K') |
| < 1.5 | 2.71 |  |  | 3.01 |  | 5.08 |  | 1.62 | Resolution (RS) |
| < 1 | 1.44 |  |  | 2.08 |  | 1.80 |  | 1.82 | Selectivity (α) |
| Increase with efficiency of the separation | 2254 |  | 1254 |  | 870 | - |  | - | Column efficiency (N) |
| The smaller the value the higher the column efficiency | 0.021 |  | 0.015 |  | 0.087 | - |  | - | HETP (cm plate-1) |

HETP = height equivalent to theoretical plate, (cm.plate-1).

*Calculated using three peaks.

Table 3: Determination of CLF, ABM and FNP in their commercial formulations Baylora®, Aquachem® Powder, Ortus super®, respectively, by the proposed methods and application of the standard addition technique.

| Method B |  |  |  |  |  | Method A |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R % | Pure Found (µg/band) | Pure added (µg mL-1) |  | Found* % | Taken (µg mL-) | R % | Pure Found (µg/band) | Pure added (µg/band) | Found* % | Taken (µg/band) |
| CLF |  |  |  |  |  |  |  |  |  |  |
| 99.98. 98.01. 100.54. | 0.29 0.38 0.50 |  | 0.30 0.40 0.50 | 100.08 | 0.40 | 100.01. 99.98. 100.12. | 0.03 0.04 0.07 | 0.03 0.05 0.07 | 99.87 | 0.04 |
| 99.58 ± 1.21 | Mean± SD |  |  |  |  | 100.05 ± 0.99 | Mean± SD |  |  |  |
| ABM |  |  |  |  |  |  |  |  |  |  |
| 100.12. 100.01. 98.24. | 0.30 0.40 0.48 |  | 0.30 0.40 0.50 | 99.69 | 0.10 | 99.78. 100.21. 99.81. | 0.02 0.05 0.07 | 0.03 0.05 0.07 | 99.87 | 0.02 |
| 99.23± 0.95 | Mean± SD |  |  |  |  | 99.54 ± 0.71 | Mean± SD |  |  |  |
| FNP |  |  |  |  |  |  |  |  |  |  |
| 100.99. 99.67. 100.89. | 0.31 0.39 0.51 |  | 0.30 0.40 0.50 | 100.25 | 0.40 | 99.62. 99.81. 98.69. | 0.03 0.05 0.06 | 0.03 0.05 0.07 | 100.34 | 0.06 |
| 100.02 ± 0.89 | Mean± SD |  |  |  |  | 99.10 ± 0.51 | Mean± SD |  |  |  |

*Average of three determinations.

Table 4: Field sample analysis for determination of CLF, ABM, and FNP by the proposed methods A and B.

| Pesticides residue at | Residue found* (mg Kg-1) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Method A | CLF | ABM | FNP | Method B | CLF | ABM | FNP |
| First day |  | 2.091 | 0.067 | 0.089 |  | 1.978 | 0.061 | 0.078 |
| Day 10 |  | 0.821 | 0.003 | 0.108 |  | 0.765 | 0.003 | 0.100 |

*Average of six determinations.

Table 5: Statistical comparison of the results obtained by the proposed methods and the reported methods for determination of pure CLF, ABM, and FNP.

| Parameter | Method A |  |  | Method B |  |  | Reported methods |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CLF | ABM | FNP | CLF | ABM | FNP | CLF | ABM | FNP |
| Mean | 100.24 | 100.52 | 100.19 | 100.17 | 99.77 | 99.99 | 99.38 | 99.20 | 99.41 |
| SD | 1.04 | 1.01 | 0.75 | 0.70 | 1.16 | 0.99 | 1.31 | 1.18 | 1.30 |
| Variance | 1.08 | 1.02 | 0.56 | 0.49 | 0.45 | 0.98 | 1.72 | 1.39 | 1.69 |
| N | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| Student’s t-test* (2.45) | 0.57 | 0.87 | 0.45 | 0.12 | 0.89 | 0.09 | ---- | ---- | ---- |
| F- test* (4.28) | 1.98 | 1.68 | 2.14 | 1.89 | 2.01 | 1.68 | ---- | ---- | ---- |

*Figures in parenthesis are the corresponding tabulated values at p = 0.05.