| Table 1: Material properties |  |  |
| --- | --- | --- |
| Material | Modulus of Elasticity (GPa) | Poisson's Ratio |
| Compact Bone | 13.7 | 0.30 |
| Cancellous Bone | 0.142 | 0.3 |
| Titanium alloy Mini-Implants | 0.113 | 0.342 |
| Periodontal Ligament (PDL) | 0.07 | 0.45 |
| Gingiva (Soft Tissue) | 0.0001 | 0.4 |
| Dentine | 18.6 | 0.31 |
| Filtek z250 Composite | 14 | 0.31 |

| Table 2: Mesh Nodes and Element distribution for the two models |  |  |
| --- | --- | --- |
| Models | Nodes | Elements |
| Model A | 635141 | 362625 |
| Model B | 574684 | 346294 |

| Table 3: Maximum Von-Mises Stress and Total Deformation on Mini-Screws (Pa, mm) Across Model A and B: |  |  |
| --- | --- | --- |
| Teeth | Model A | Model B |
| Equivalent Stress (Von-Mises) (Pascal) | 2889.2 | 15563 |
| Total Deformation (mm) | 1.64E-05 | 5.90E-05 |

| Table 4: Maximum Von-Mises Stress on PDL (Pa) Across Models: |  |  |
| --- | --- | --- |
| Teeth | Model A (Pa) | Model B (Pa) |
| Central Incisor | 2.16E+05 | 56687 |
| Lateral Incisor | 3.28E+05 | 2.57E+05 |
| Canine | 3.16E+06 | 6.84E+05 |
| First Premolar | 1.73E+05 | 4968.2 |
| Second Premolar | 2190.4 | 556.55 |
| First Molar | 589.8 | 143.79 |
| Second Molar | 187.55 | 79.467 |

| Table 5: Total Deformation of PDL (mm) Across Models: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Central Incisor | Lateral Incisor | Canine | First Premolar | Second Premolar | First Molar | Second Molar |
| Model A | 0.00031608 | 0.00099521 | 0.0055536 | 0.2211 | 0.20001 | 0.2 | 0.2 |
| Model B | 0.00021845 | 0.00070767 | 0.0014896 | 0.20003 | 0.2 | 0.2 | 0.2 |

| Table 6: Direction Deformation on Dentine (mm) Across Models |  |  |  |
| --- | --- | --- | --- |
| Teeth |  | Model A | Model B |
| Central Incisor | X | 0.00028202 | 5.25E-05 |
|  | Y | 0.000279 | 6.71E-05 |
|  | Z | 0.00010578 | 0.0002244 |
| Lateral Incisor | X | 0.0010393 | 0.00016981 |
|  | Y | 0.0013575 | 0.00041201 |
|  | Z | 9.85E-05 | 3.42E-05 |
| Canine | X | 0.0046286 | 0.00017385 |
|  | Y | 0.0043005 | 0.0012152 |
|  | Z | Intrusion N/A | 0.00021645 |
|  |  | Extrusion 8.14E-05 | N/A |
| First Premolar | X | 0.019804 | 0.00012686 |
|  | Y | 0.08923 | 0.00023874 |
|  | Z | 0.13495 | 0.19992 |
| Second Premolar | X | 1.99E-05 | 2.30E-05 |
|  | Y | 2.30E-05 | 1.93E-05 |
|  | Z | 0.2 | 0.2 |
| First Molar | X | 6.48E-06 | 1.40E-06 |
|  | Y | 7.18E-06 | 2.34E-06 |
|  | Z | 0.19999 | 0.2 |
| Second Molar | X | 6.88E-07 | 6.20E-07 |
|  | Y | 8.08E-07 | 3.87E-07 |
|  | Z | 0.2 | 0.2 |

| Table 7: Total Deformation on Dentine (mm) Across Models |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Central Incisor | Lateral Incisor | Canine | First Premolar | Second Premolar | First Molar | Second Molar |
| Model A | 0.00041683 | 0.0019863 | 0.0074972 | 0.22 | 0.20001 | 0.2 | 0.2 |
| Model B | 0.00058113 | 0.00095622 | 0.0023356 | 0.20003 | 0.20001 | 0.2 | 0.2 |

| Table 8: Maximum Von-Mises Stress on aligners (Pa) Across Models: |  |  |
| --- | --- | --- |
| Aligners | Model A | Model B |
|  | 1.16E+07 | 1.31E+07 |

| Table 9: Maximum Principal Stress on Bone (Pa) Across Models: |  |  |
| --- | --- | --- |
| Compact Bone | Model A | Model B |
|  | 1.91E+06 | 1.79E+06 |