Supplementary table 1. Description of RDT products observed in the MaCRA study.

| Test name (manufacturer) Result interpretation time period | Referred to as: Result interpretation window | RDT cassette format |
| --- | --- | --- |
| RDT cassettes with a single test line to detect Plasmodium falciparum-specific histidine-rich protein 2 (HRP2) |  |  |
| AdvDx Malaria Pf Rapid Malaria Ag Detection Test (Advy Chemical, Mumbai, India) 20 – 30 minutes | AdvDx Malaria Pf |  |
| Bioline MALARIA Ag P.f (Abbott, IL USA) Note: The same cassette previously was manufactured as SD Bioline. Both versions of the RDT appeared in this study. 15 – 30 minutes | Bioline Malaria Pf |  |
| First Response Malaria Antigen P. falciparum (HRP2) Card Test (Premier Medical Corporation Ltd, Gujarat, India) 20 – 30 minutes | First Response Malaria Pf |  |
| ParaHIT f Ver. 1.0 Rapid Test for P. falciparum Malaria Device (Arkray Healthcare Prvt Ltd, Mumbai, India) 25 – 30 minutes | ParaHIT Malaria Pf |  |
| STANDARD Q Malaria P.f Ag Test (SD Biosensor, Gyeonggi-do, Republic of Korea) 15 – 30 minutes | Standard Q Malaria Pf |  |
| RDT cassettes with two test lines to detect Plasmodium falciparum HRP2 and Plasmodium falciparum-specific lactate dehydrogenase (pLDH) |  |  |
| Bioline Malaria Ag P.f (HRP2/pLDH) (Abbott, IL USA) 15 – 30 minutes | Bioline Malaria Pf (HRP2/pLDH) |  |
| RDT cassettes with two test lines to detect Plasmodium falciparum HRP2 and pan-pLDH |  |  |
| First Response Malaria Ag. pLDH/HRP2 Combo Card Test (Premier Medical Corporation Ltd, Gujarat, India) Note: pLDH line does not distinguish between P. falciparum and non-falciparum species 20 – 30 minutes | First Response Malaria Pf Ag (pLDH/HRP2) |  |