| Table 1. Experimental scales of solvent volumes based on sample size. |  |  |  |
| --- | --- | --- | --- |
| Steps/reagents/materials | Sample size/solvent volumes |  |  |
| Lyophilized sample | ~10 mg | ~20 mg | ~50 mg |
| Tube size | 2 ml | 5 ml | 15 ml |
| IS mixa | 5 µl | 5–10 µl | 10–30 µl |
| Extraction: 1-butanol/methanol (2:1) | 270 µl | 450 µl | 1.8 ml |
| Alkaline hydrolysis: 1 N KOH | 180 µl | 300 µl | 1.2 ml |
| Acidification: 0.4 N HCl | 900 µl | 1.5 ml | 6 ml |
| Phase partitioning: 1-butanol | 600 µl | 1 ml | 4 ml |
| Resuspension solventb | 100–200 µl | 200–500 µl | 250–1000 µl |
| aInternal standard (IS) mixture: 5 nmol/ml C12-Cer, 5 nmol/ml C12-hCer, 50 nmol/ml C12-GlcCer, 100 nmol/ml GM1. bTHF/methanol/water = 2:1:2 supplemented with 0.1% formic acid. Final volume is adjustable to lipid contents in analytes. |  |  |  |

| Table 2. Sphingolipid species targeted by LC-MS/MS analysis. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Class | LCBb | MS1 | MS2c | #Species | #MRMs |
| Cer | d18:0 d18:1 d18:2 t18:0 t18:1 | [M+H]+ | [LCB-nH2O+H]+ | 140 | 140 |
| GlcCer | d18:0 d18:1 d18:2 t18:0 t18:1 | [M+H]+ | [LCB-nH2O+H]+ | 140 | 140 |
| GIPCa | d18:0 d18:1 t18:0 t18:1 |  | [Cer-H2O+H]+ | 672 | 396d |
| aGIPC contains 6 subclasses with different head groups (see Fig. 1). bLCBs are specific but FAs are commonly targeted in the lipid classes: α-OH and normal species of 16:0, 18:0, 20:0, 20:1, 22:0, 22:1, 23:0, 23:1, 24:0, 24:1, 25:0, 25:1, 26:0 and 26:1. c“n” means the number of H2O loss; n = 1 for t18 Cer; n = 2 for d18 Cer and d18 GlcCer; n = 3 for t18 GlcCer. dMRMs of GIPCs contain m/z overlapping in several species with isomeric ceramide moieties, resulting in 66 of total number of MRMs for each subclass including 112 targeted species. |  |  |  |  |  |