Supplementary Table S1. Detection limits (DL) and R values from the calibration graphs for all studied metal isotopes. The ClinCheck samples were prepared using two different digestion protocols, D1 and D2, as explained in the Materials and Methods section.

|  | CSF |  |  | Blood plasma |  |  | ClinCheck Control |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | D1 |  |  | D2 |  |
| Element | DL, ppb | R |  | DL, ppb | R |  | DL, ppb | R |  | DL, ppb | R |
| 25Mg | 0.168 | 0.9999 |  | 0.113 | 0.9998 |  | 0.064 | 1.0000 |  | 0.054 | 1.0000 |
| 27Al | 0.063 | 0.9999 |  | 0.211 | 0.9999 |  | 0.18 | 0.9999 |  | 0.083 | 0.9998 |
| 51V | 0.0016 | 1.0000 |  | 0.0040 | 1.0000 |  | 0.0014 | 1.0000 |  | 0.0035 | 0.9999 |
| 52Cr | 0.033 | 1.0000 |  | 0.012 | 1.0000 |  | 0.0092 | 1.0000 |  | 0.015 | 0.9999 |
| 55Mn | 0.0077 | 1.0000 |  | 0.0067 | 1.0000 |  | 0.010 | 1.0000 |  | 0.0043 | 1.0000 |
| 56Fe | 0.024 | 1.000 |  | 0.015 | 1.000 |  | 0.021 | 1.0000 |  | 0.035 | 1.0000 |
| 59Co | 0.0026 | 1.000 |  | 0.0012 | 1.000 |  | 0.0032 | 0.9999 |  | 0.0050 | 0.9999 |
| 60Ni | 0.026 | 1.000 |  | 0.0053 | 1.000 |  | 0.011 | 1.0000 |  | 0.0024 | 1.0000 |
| 63Cu | 0.0036 | 1.000 |  | 0.0035 | 1.000 |  | 0.0074 | 1.0000 |  | 0.0022 | 1.0000 |
| 66Zn | 0.078 | 0.999 |  | 0.097 | 0.999 |  | 0.047 | 1.0000 |  | 0.0017 | 1.0000 |
| 75As | 0.0023 | 1.000 |  | 0.023 | 1.000 |  | 0.005 | 1.0000 |  | 0.0038 | 1.0000 |
| 82Se | 0.0095 | 1.000 |  | 0.014 | 1.000 |  | 0.12 | 1.0000 |  | 0.13 | 1.0000 |
| 111Cd | 0.000 | 1.0000 |  | 0.011 | 1.0000 |  | 0.0082 | 1.0000 |  | 0.0045 | 0.9993 |
| 206Pb | 0.0047 | 1.000 |  | 0.01 | 1.000 |  | 0.014 | 1.0000 |  | 0.0081 | 0.9998 |
| 207Pb | 0.0073 | 1.000 |  | 0.006 | 1.000 |  | 0.0071 | 1.0000 |  | 0.0085 | 0.9999 |
| 208Pb | 0.055 | 0.9999 |  | 0.11 | 0.9999 |  | 0.0086 | 0.9986 |  | 0.092 | 0.9996 |
| 238U | 0.0003 | 1.0000 |  | 0.0024 | 1.0000 |  | 0.0034 | 0.9999 |  | 0.0081 | 0.9998 |