Towards standardized microbial hydrogen consumption testing in the subsurface: Harmonized field sampling and enrichment approaches

Kateřina Černá1*, Kristýna Fadrhonc1, Jakub Říha1, Petra Bombach2, Sylvain Stephant3, Caroline Michel3, Laura Fablet3, Joachim Tremosa4, Kyle Mayers5, Biwen Annie An-Stepec5, Nicole Dopffel5

1 Technical University of Liberec, Institute for Nanomaterials, Advanced Technologies and Innovation, Bendlova 7, 46117 Liberec, Czechia

2 Isodetect GmbH, Deutscher Platz 5b, 04103 Leipzig, Germany

3 BRGM, 3 Avenue Claude Guillemin, 45060 Orléans Cedex 2, France

4 Geostock, 2 Rue des Martinets, 92500 Rueil-Malmaison, France

5 Norwegian Research Centre AS – NORCE, Nygårdsgaten 112, 5008 Bergen, Norway

*Corresponding author: katerina.cerna1@tul.cz, ORCID ID: 0000-0003-3351-6372

The tables below summarize the analytes and analytical approaches applied by individual labs during round-robin tests.

| Lab 1 | Methods | Volume taken | unit | Sample preservation |
| --- | --- | --- | --- | --- |
| ph | LAQUA twin pH compact (Horiba​) | 0.5 mL |  | directly processed |
| Salinity | LAQUA twin conductivity compact (Horiba​) |  | % | directly processed |
| Eh | LAQUA twin Eh compact (Horiba​) |  | mV | directly processed |
| Pressure | Keller manometer (connect to the GC) | 500 µL | mbar | directly processed |
| Gas composition | GC |  | % | directly processed |
| Inorganic anions | F, Cl, NO3, SO4, Br: IC PO4: Spectrophotometry | 100 mL | mg/L | sterile filtered, stored in the fridge |
| Dissolved HS- | In-house photometric method | 125 mL | mg/L | fixation with zinc acetate and HO-, stored in the fridge |
| Cations | Ca, K, Mg, Na: ICP-AES Mn: ICP-MS NH4, NO2: Spectrophotometry | 50 mL | mg/L | sterile filtered, acidified with HNO3, stored in the fridge |
| Organics compounds | Lab 3 (HPLC) | 1 mL | mg/L | frozen at -20°C |
| Total dissolved organic carbon (DOC) | NF EN 1484 | 125 mL | mg/L | sterile filtered and acidified with H2SO4, stored in the fridge |
| Total inorganic carbon (TIC) | Sodium persulfate oxydation | 125 mL | mg/L | stored in fridge |
| 16S copy number | dPCR at TUL | 1 mL | cells/L | pellets frozen until extraction with Blood and Tissue Kit |

| Lab 2 | Methods | Volume taken | unit | Sample preservation |
| --- | --- | --- | --- | --- |
| pH | Open membrane type pH meter - LAQUA twin pH compact (Horiba​)/ WTW (electrode system) | 0.3 mL |  | directly processed |
| Salinity | Pocket Salt meter ATAGO​/WTW (electrode system) | 0.5 mL | % | directly processed |
| Eh | n.a. | n.a. | n.a. | n.a. |
| Pressure | Pocket Instrument Greisinger/Small manual manometers |  | mbar | directly processed |
| Gas composition | GC-ECD/WLD | 30 µl | % | directly processed |
| Inorganic anions | external lab; Ion Chromatography; DIN EN ISO 10304-01 (D 20) | 100 mL | mg/L | fast handover to the laboratory |
| Dissolved HS- | in house: photometric method, external lab: DIN 38405-27 | 0.2 mL 100 mL for inorganic anions | mg/L | fixation with zinc acetate |
| Cations | external lab: ICP; DIN EN ISO 11885 (E 22) | 50 mL | mg/L | fast handover to the laboratory |
| Organics compounds | Lab 3 (HPLC) | 1 mL | mg/L | frozen at -20°C |
| Total dissolved organic carbon (DOC) | external lab: DIN EN 1484 (H 3) | 50 mL | mg/L | fast handover to the laboratory |
| Total inorganic carbon (TIC) | external lab: DIN EN 1484 (H 3) | 100 mL | mg/L | fast handover to the laboratory |
| 16S copy number | dPCR at TUL | 1 mL | cells/L | pellets frozen until extraction with Blood and Tissue Kit |

| Lab 3 | Methods | Volume taken | Unit | Sample preservation |
| --- | --- | --- | --- | --- |
| pH | Open membrane type pH meter - LAQUA twin pH compact (Horiba​)/ WTW (electrode system) | 0.3 mL |  | directly processed |
| Salinity | Pocket Salt meter ATAGO​/WTW (electrode system) | 0.5 mL | % | directly processed |
| Eh | WTW (electrode system) | 1 mL | mV | directly processed under anoxic conditions |
| Pressure | Pocket Instrument Greisinger/Small manual manometers |  | mbar | directly processed |
| Gas composition | microGC Agilent 490 | 500 uL | % | directly processed |
| Inorganic anions | IC/ICP external ISO 11885 | 10 mL | mg/L | sterile filtered |
| Dissolved HS- | photometric Cline assay | 200 µl | nmol | stabilized in zinc acetate, frozen |
| Cations | IC/ICP external ISO 11885 | 10 mL | mg/L | fixed with HNO3 to pH <2, |
| Organics compounds | HPLC | 1 mL |  | frozen at -20°C |
| Total dissolved organic carbon (DOC) | Elementar vario TOC cube | 10 mL | mg/L | sterile filtered, stored in the fridge |
| Total inorganic carbon (TIC) | Elementar vario TOC cube | 10 mL | mg/L | sterile filtered, stored in the fridge |
| 16S copy number | ddPCR | 1 mL | cells/L | pellets frozen until extraction with Blood and Tissue Kit |

| Lab 4 | Methods | Volume taken | unit | Sample preservation |
| --- | --- | --- | --- | --- |
| pH | Open membrane type pH meter - LAQUA twin pH compact (Horiba​)/ WTW (electrode system) | 0.7 mL |  | directly processed |
| Salinity | Pocket Salt meter ATAGO​/WTW (electrode system) |  | % | directly processed |
| Eh | WTW (electrode system) | 10 mL | mV | directly processed under anoxic conditions |
| Pressure | Pocket Instrument Greisinger/Small manual manometers |  | mbar | directly processed |
| Gas composition | gas chromatography (Clarius 580-FID/TCD for CH4,CO2 and H2S, Thermo Trace 1310, Thermo TCD for H2) | 200 µl for H2 500 µl for CO2 and CH4 | % | directly processed |
| Inorganic anions | liquid chromatography (Dionex ICS 90, ThermoFisher Scientific), PO4: Spectrophotometry (ČSN EN ISO 6878, SM 4500-P), external | 10 mL | mg/L | sterile filtered |
| Dissolved HS- | Spectrophotometry (ČSN 83 0520-16:1978, ČSN 83 0530-31:1980, SM 4500-S2- D), external | 60 mL | mg/L | fixed with zinc acetate |
| Cations | metals ICP OES, PE 2100DV/ NH4+ spectrophotometry (Hach cuvette system) | 15 mL | mg/L | fixed with HNO3 to pH <2, stored in the fridge |
| Organics compounds | Capillary electrophoresis with UV detection | 1 mL | mg/L | frozen at -20°C |
| Total dissolved organic carbon (DOC) | IR detection (ČSN EN ISO 20236, SM 5310), external | 60 mL | mg/L | fixed with HCl, stored in the fridge |
| Total inorganic carbon (TIC) | IR detection (ČSN EN ISO 20236, SM 5310), external | 15 mL | mg/L | stored in fridge |
| 16S copy number | dPCR (QIAcuity Digital PCR System) | 1 mL | cells/L | pellets frozen until extraction with Blood and Tissue Kit |