# Supplementary Information

# Table S1. Chromatographic gradient conditions (water/acetonitrile (98:2) 0.1% formic acid (phase A) and acetonitrile (phase B)) for the analysis of melanin samples.

| Time (min) | Flow (mL min-1) | Phase A (%) | Phase B (%) |
| --- | --- | --- | --- |
| Initial | 0.25 | 85.0 | 15.0 |
| 2.00 | 0.25 | 85.0 | 15.0 |
| 2.10 | 0.30 | 5.0 | 95.0 |
| 5.50 | 0.30 | 5.0 | 95.0 |
| 5.55 | 0.25 | 85.0 | 15.0 |
| 7.00 | 0.25 | 85.0 | 15.0 |

# Table S2. Optimized MRM parameters (cone voltage (CV) and collision energy (CE)) and chromatographic retention time (RT) of standards.

| Compound | Polarity | Parent ion (m/z) | Product ion (m/z) | CV (V) | CE (V) |
| --- | --- | --- | --- | --- | --- |
| PDCA | + | 155.98 | 64.04 | 30.0 | 15.0 |
|  | + | 155.98 | 120.06 | 30.0 | 15.0 |
|  | + | 155.98 | 138.01 | 30.0 | 8.0 |
| TDCA | + | 174.01 | 111.99 | 30.0 | 15.0 |
|  | + | 174.01 | 127.86 | 30.0 | 15.0 |
|  | + | 174.01 | 155.95 | 30.0 | 8.0 |

# Table S3. Chromatographic gradient conditions (methanol 0.1% acid formic (phase A) and water + methanol (98:2) 0.1% acid formic (phase B)) for the analysis of melanin samples.

| Time (min) | Flow (mL min-1) | Phase A (%) | Phase B (%) |
| --- | --- | --- | --- |
| Initial | 0.30 | 70.0 | 30.0 |
| 2.00 | 0.30 | 70.0 | 30.0 |
| 3.00 | 0.30 | 95.0 | 5.0 |
| 3.10 | 0.30 | 95.0 | 5.0 |
| 3.50 | 0.30 | 70.0 | 30.0 |
| 5.00 | 0.30 | 70.0 | 30.0 |

# Table S4. Optimized MRM parameters (cone voltage (CV) and collision energy (CE)) and chromatographic retention time (RT) of standards.

| Compound | Polarity | Parent ion (m/z) | Product ion (m/z) | CV (V) | CE (V) |
| --- | --- | --- | --- | --- | --- |
| 1,8-DHN | - | 158.77 | 129.93 | 35.0 | 25.0 |
|  | - | 158.77 | 140.85 | 35.0 | 20.0 |

Figure S1

Figure S1.  Changes in the colour of the fungal suspensions of Monilinia spp. between control (CT) and tricyclazole (TRI) conditions.