Dual Electrochemical Sensing of Spiked virus and SARS-CoV-2 Using Natural Bed-receptor (MV-gal1)

E. Ghazizadeh a,b*, Ali Neshastehrizd,b Ali Dehghani Firoozabadic, E.Saievar-Iranizadd

aDepartment of Medical Biotechnology, School of Medicine, Mashhad University of Medical Sciences, Mashhad, Iran

bRadiation Biology Research Center, Iran University of Medical Sciences (IUMS), Tehran, Iran

c Yazd Cardiovascular Research Center, Shahid Sadoughi University of Medical Sciences,Yazd, Iran

d Department of Physics, Faculty of Science, University of Tarbiat Modarres, Tehran, Iran

Fig S1. The images of TEM about characterization of MV-extracted from bone marrow-derived mesenchymal stem cells

Fig S2. The performance of the sensor for screening and specific detection of SARS-CoV-2   in0.01× UTM(A) Screening of SARS-CoV-2 Antigen based on DPV images using the 500 ng/mL(e) to 1 µ/mL(a) on the MV-gal1/SCPE-GNP. (B) A calibration plot of the current density vs log concentration of SARS-CoV-2 Antigen. (C) Specific detection of SARS-CoV-2 Antigen based on DPV images using the 1 µg/mL (e) to 250 500fg/mL. (D) A calibration plot of the current density vs log concentration of SARS-CoV-2 Antigen.

Fig S3. Normalize the sensor between the covid-19 samples and normal samples.

A)

B)

C)

Fig S4. (A) DPV behaviors of stability of MV-gal1@ SARS-CoV-2 Antigen@ Au/Anti-SARS-CoV-2 spike sensors in different days. (B, C) Reproducibility behaviors of MV-gal1@ SARS-CoV-2 Antigen@ Au/Anti-SARS-CoV-2 spike sensors while adding the SARS-CoV-2 Antigen and Au/Anti-SARS-CoV-2 spike.

Table S1. Clinical characteristics of laboratory confirmed patients with COVID-19

| patient#1 patient#2 patient#3 |  | patient#4 |
| --- | --- | --- |
| Age (years)/Sex 25/M 48/M 55/F Fever + + + Chills - - - Cough + + + Dyspnea - - Diarrhea - - + Viral load 3.12 × 106 2.23 × 106 3.14 × 105 |  | 32/M + - + + + 3.67× 104 |

Table S2. Calibration results for MV-gal1@ SARS-CoV-2 Antigen@ Au/Anti-SARS-CoV-2 spike sensors

| Variable | Range tested | Selected Value |
| --- | --- | --- |
| Number of repetitions | 1-10 | 1-10 |
| Incubation time of SARS-CoV-2 Antigen and MV-gal1 (hour) | 18-24 | 24 |
| Incubation time of SARS-CoV-2 Antigen and MV-gal1 (temparture) | 25-37° | 26° |
| Anti-SARS-CoV-2 spike , uM | 25-37° | 34° |
| Dropping Anti-SARS-CoV-2 spike (temparture) | 4° | 4° |
| Dropping of SARS-CoV-2 Antigen (time) | 2-4 | 4 |

Table S3. Validation of MV-gal1@Au/Anti-SARS-CoV-2 Biosensor using clinical samples validated by Real-time PCR

Real time PCR MV-gal1@Au/Anti-SARS-CoV-2 Positive Negative Total Biosensor

Positive 4 1 5

Negative 2 10 12

Total 6 11 17 PPA 96.38 % (93% CI 93.64%–95.96%) NPA 98.46 % (98 % CI 93.84%–99.00%)