Supplementary Table 2. Protocol for the PCR reactions performed. Quantities of reagents are specified followed by specifications of the PCR cycles.

| Reagent | ITS | ndhF |
| --- | --- | --- |
| H2O Buffer 10x DMSO BSA ITS-4 & ITS-5 ndhF1212 & ndhF52 MgCl2 Taq dNTP DNA | 8µl 2µl 1,75µl 0 2.5 µl 0 1µl 0,25 µl 2µl 1µl | 11.5µl 2.5µl 0 1.25µl 0 2.5 µl 1µl 0,25 µl 2µl 1µl |
| Total: | 20µl | 25µl |
| Protocol of the PCR Reactions |  |  |
| Cycles | ITS | ndhF |
| 1 (1 x) | 94 °C / 5:00 m | 95 °C /3:00 m |
| 2 (35 x) | 94 °C / 00:45 s 50 °C / 0:45 s 72 °C / 1:00 m | 95 °C / 0:30 s 54 °C / 0:40 s 72 °C / 1:00 m |
| 3 (1x) | 72 °C / 10:00 m 4°C (∞) | 72 °C / 5:00 m 4°C (∞) |