Supplementary Material 1

Fig. S1. Experimental Setup

Table S1. Range of Operational Parameters.

| Operational Parameters | Range | References |
| --- | --- | --- |
| pH | 3 - 6 | Bashir et al., 2019 |
| Reaction Time | 10 - 60 minutes | Bashir et al., 2019 |
| Current Density | 4 – 15 mA/cm2 | Preliminary experiment |
| H2O2 Dosage | 0 – 1 g/L | Barrera-Diaz et al., 2014 |

Table S2. Initial Characteristics of Biologically Treated Poultry SWW.

| Parameters | Unit | Range | Average |
| --- | --- | --- | --- |
| COD | mg/L | 2350-2900 | 2625 |
| BOD5 | mg/L | 131.5-150 | 140.75 |
| pH | - | 6.55-6.92 | 6.735 |
| Colour | PtCo | 2333-2467 | 2400 |
| Turbidity | NTU | 229.67-311.5 | 270.56 |
| Temperature | oC | 24.2-25 | 24.6 |
| Total Suspended Solids, TSS | mg/L | 317-400 | 358.5 |
| Ammoniacal Nitrogen, NH3-N | mg/L | 36-37 | 36.5 |
| Oxidation Reduction Potential, ORP | mV | 59.2-60.1 | 59.65 |
| Electrical Conductivity | mS | 333.4-334.1 | 333.75 |
| Total Dissolved Solids, TDS | ppm | 329-332 | 330.5 |
| Salinity | ppm | 194.5-196.2 | 195.35 |
| Resistivity | kΩ | 1.516-1.523 | 1.52 |
| Measuring DO | mg/L | 0.56-0.62 | 0.59 |
| Aluminium ion (Al3+) | mg/L | 1.52-1.64 | 1.58 |

Table S3. ANOVA for COD, TSS, Colour and pH..

|  | Source | Sum of Square | df | Mean Square | F value | p-value | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| COD | Model | 211.45 | 4 | 29.59 | 15.35 | <0.0001 | Significant |
| TSS | Model | 101.04 | 14 | 7.22 | 8.96 | <0.0001 | Significant |
| Colour | Model | 156.32 | 14 | 11.17 | 6.80 | 0.0003 | Significant |
| pH | Model | 28.89 | 10 | 2.89 | 23.11 | <0.0001 | Significant |

Table S4. RSM Model Fit Summary.

| Statistical Figure | COD | TSS | Colour | Treated pH |
| --- | --- | --- | --- | --- |
| Standard Deviation | 1.39 | 0.90 | 1.28 | 0.35 |
| Mean | 95.01 | 97.48 | 96.49 | 5.93 |
| Coefficient of Variance (C.V.%) | 1.46 | 0.92 | 1.33 | 5.97 |
| Predicted Residual Error Sum of Square (PRESS) | 16.97 | 73.35 | 15.77 | 14.30 |
| R2 | 0.8797 | 0.8932 | 0.8639 | 0.9240 |
| Adequate Precision (AP) | 9.726 | 13.864 | 11.721 | 19.495 |

Fig. S2. Graphical optimization of independent parameters with overlay plots