Appendix 1:

# Protocol for fresh milk processing

# Supplies:

·   	Sterile collection container

·   	50mL centrifuge tubes

·   	15mL centrifuge tubes

·   	Centrifuge (4˚C)

·   	Plastic transfer pipettes

·   	Sterile spatula

·   	Wash buffer: DPBS with 0.04% BSA

·   	2mL internally threaded cryovials

·   	RNAlater

·   	RLT lysis buffer (Qiagen)+β-Mercaptoethanol (1mL lysis buffer +10µL Beta-mercaptoethanol) and/or Trizol for RNA extraction.

·   	Freeze Media (90% FBS to 10% DMSO filtered and stored in fridge) or CryoStor™CS10.

·   	Mr. Frosty

Breast Milk (BM) Processing and Storage Procedures:

·   	This protocol is ideally for fresh milk samples at room temperature, treated as soon as possible after milk expression (up to 2 hours).

·   	If samples have been refrigerated, allow them to come to room temperature before processing and document the time in refrigeration.

·   	All tubes should include participant ID and date in addition name of material collected

Very Low volume samples (<1mL):

If <1mL is obtained, aliquot 0.2ul of milk in a tube with 0.2ml of RNAlater, and aliquot the rest of the milk in 2 tubes (split into aliquots of 0.4 mL or less in LoBind Eppendorf tubes). Store directly in -80˚C.

Low volume samples (>2mL <10mL):

If >2mL but <10mL is obtained, aliquot samples as follow:

a.          	Aliquot up to 1mL milk into a 2mL LoBind Eppendorf tube. Add RNAlater in ratio of 1:1 (RNAlater:Milk) into the container (mark as “BMR”), invert the tubes multiple times to mix. Put in -80˚C.

b.          	Aliquot the remaining milk (0.5-1mL) in sterile tubes (label “BM” in Eppendorf tubes). Place directly into -80˚C.

Large volume samples (>10mL):

a.          	Ensure milk is homogenously mixed.

b.          	Prepare tubes and label “BMR” or “BM” as needed.

c.           	Into the labeled “BMR” tubes, add RNAlater in ratio of 1:1 (RNAlater:Milk).

d.          	Aliquot 1mL milk into each 2mL LoBind Eppendorf tubes marked with BMR, ensuring a minimum of 2 tubes. Vortex gently, keep on ice until processing is complete. Store BMR tubes at -80°C.

e.          	Aliquot 0.5-1 mL unprocessed breastmilk in sterile Eppendorf tubes labeled “BM”. Place directly into -80˚C for storage.

Breast Milk Separation

a.          	If the breast milk was collected in a container other than the labeled 50mL centrifuge tube (e.g., sterile urine cup), the breast milk should be transferred to a sterile 50mL centrifuge tube and the volume measured.

b.          	Centrifuge the breast milk at 800g for 20 minutes at 4˚C.

The breast milk will separate into 3 layers:

·   	Top layer: fat

·   	Middle layer: skim milk supernatant layer

·   	Bottom layer: cell pellet

c.           	Label 4 sterile tubes per the following naming convention:

·   	BF: 1 tube without buffer

·   	BF-RLT: 1 tube for the fat layer with RLT buffer (Qiagen) or BF-Tri if Trizol is used

·   	BFR: 1 tube for fat with RNAlater

·   	BF-cry: 1 tube for fat with Freeze Media

d.          	Add the respective buffer to the labeled tubes:

·   	BF-RLT: 600µL RLT buffer Qiagen or BF-Tri- 1mL Trizol

·   	BFR: 600µL RNAlater

·   	BF-cry: 600µL Freeze Media

e.          	Remove equivalent of ~100mg of milk fat (the size of a lentil) from the centrifuged breastmilk and place it into each of the 3 tubes containing buffers.

·   	Vortex all tubes until fat is fully dissolved in the buffer. Store the 4 vials in -80˚C

·   	Remaining fat should be added to “BF” tube without buffer, split into multiple tubes as needed.

f.           	Pour the supernatant layer into a new 50mL tube held on ice, ensuring the centrifuged tube is not inverted during the process. After pouring, invert the centrifuged tube onto a paper towel to allow any residual fat and supernatant to drain completely. Next, hold the drained tube at ~45˚ and use a 1000µL pipet and gently resuspend the cells pellet in 1mL cold wash buffer. Quickly transfer the resuspended cell pellet into a new, clean, and labeled 15 if cells used immediately or 1.5 mL tube if cells are cryopreserved.

g.          	If cells used immediately: Add wash buffer up to 10mL and spin at 800g for 5 minutes at 4˚C.

h.          	Resuspend with 350µL-1mL of wash buffer, count the cells and continue to further application.

i.            	If cells are not used immediately: Add wash buffer up to 1 mL, take 20 ul aside for cells count and spin at 800g for 5 minutes at 4˚C.

j.            	If cells are cryopreserved, label cryovials with sample info and “BC”.

k.          	Carefully aspirate the wash buffer using a 1000ul pipette, ensuring cells pellet is not disturbed or also aspirated.

l.            	Resuspend with 350µL-1mL of freeze media (CryoStor™CS10) dependent on pellet size. Transfer 300-500µL to each labeled cryovials (labeled “BC”). Place in a Mr. Frosty container at -80˚C, and transfer to liquid nitrogen the next day.

m.        	Centrifuge supernatant at 3,000g for 10 minutes at 4°C to remove residual milk fat. Insert a 5mL pipet to the bottom of the tube and carefully aspirate supernatant below the top layer of fat while ensuring that only the liquid below the fat is collected.  * If excessive fat remains, repeat this step as needed or proceed to the next stage.

n.          	Transfer the remaining supernatant in 15mL/2mL tubes (depending on milk volume), aliquoting as needed.  Labeled each tube with sample information and mark as “BS”. Store at -80oC.