Table 1 Statistics of groundwater chemical index concentration

| index | The 2022 wet season（n=36） |  |  |  |  |  |  |  | The 2022 dry season（n=36） |  |  |  |  |  |  | Standard limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Min | Max | Average | SD | Me | CV | Exceedance rate |  | Min | Max | Average | SD | Me | CV | Exceedance rate |  |
| pH | 3.9 | 8.4 | 6.69 | 0.74 | 6.65 | 11.04 | 2.78 |  | 5.2 | 7.9 | 6.71 | 0.55 | 6.7 | 8.17 | 2.78 | 5.5~9.0 |
| Cl- | 2.32 | 17400 | 1633.6 | 3675.52 | 19.85 | 224.99 | 25 |  | 4.23 | 19700 | 1906.6 | 4475.59 | 27.3 | 234.74 | 22.22 | 350 |
| NO3- | 0.027 | 2.75 | 0.48 | 0.72 | 0.1495 | 149.6 | 0 |  | 0.002 | 17.2 | 1.33 | 3.66 | 0.214 | 274.83 | 0 | 30 |
| SO42- | 1.44 | 2440 | 271.16 | 512.08 | 46.15 | 188.85 | 19.44 |  | 1.96 | 15000 | 676.46 | 2489.96 | 39.4 | 368.09 | 19.44 | 350 |
| F- | 0.03 | 1.85 | 0.53 | 0.46 | 0.355 | 86.88 | 0 |  | 0.048 | 1.2 | 0.39 | 0.28 | 0.3005 | 71.74 | 0 | 2 |
| NO2- | 0.0005 | 0.433 | 0.02 | 0.08 | 0.0025 | 319.66 | 0 |  | 0.0005 | 0.257 | 0.02 | 0.05 | 0.003 | 264.94 | 0 | 4.8 |
| NH4+ | 0.005 | 1.42 | 0.33 | 0.38 | 0.17 | 114.54 | 0 |  | 0.01 | 2.28 | 0.35 | 0.56 | 0.13 | 160.4 | 8.33 | 1.5 |
| I- | 0.001 | 5.25 | 0.21 | 0.92 | 0.001 | 429.15 | 5.56 |  | 0.001 | 2.72 | 0.29 | 0.59 | 0.001 | 202.74 | 16.67 | 0.5 |
| Na+ | 1.76 | 9420 | 741.48 | 1835.59 | 33.35 | 247.56 | 25 |  | 2.33 | 11300 | 1049.12 | 2518.86 | 31.4 | 240.09 | 22.22 | 400 |
| Fe | 0.0024 | 83.3 | 2.47 | 13.67 | 0.01435 | 553.91 | 5.56 |  | 0.0047 | 53.9 | 1.86 | 8.83 | 0.04 | 474.31 | 8.33 | 2 |
| Mn | 0.002 | 45.3 | 1.62 | 7.42 | 0.0335 | 457.35 | 13.89 |  | 0.0043 | 51.5 | 1.69 | 8.43 | 0.05 | 498.61 | 5.56 | 1.5 |
| Zn | 0.00043 | 0.122 | 0.02 | 0.02 | 0.01205 | 125.6 | 0 |  | 0.0029 | 0.029 | 0.01 | 0.01 | 0.0083 | 59.34 | 0 | 5 |
| Pb | 0.000045 | 0.0086 | 0.00053 | 0.0015 | 0.00016 | 278.4 | 0 |  | 0.000045 | 0.026 | 0.0017 | 0.0049 | 0.00024 | 288.18 | 0 | 0.1 |
| Al3+ | 0.0024 | 7.34 | 0.22 | 1.2 | 0.0097 | 549.75 | 11.11 |  | 0.0013 | 0.23 | 0.033 | 0.049 | 0.0061 | 148.1 | 0 | 0.5 |
| Cu2+ | 0.00008 | 0.05 | 0.0036 | 0.0082 | 0.0018 | 227.73 | 0 |  | 0.00018 | 0.0091 | 0.0023 | 0.0023 | 0.0017 | 99.11 | 0 | 1.5 |
| TPH | 0.005 | 1.97 | 0.28 | 0.4 | 0.15 | 144.24 | 8.33 |  | 0.005 | 0.63 | 0.05 | 0.11 | 0.015 | 208.27 | 2.78 | 0.5 |

Note: pH is dimensionless, the unit of other indicators is mg/L, the unit of variation coefficient and Exceedance rate is %; The standard limit values refer to the “groundwater quality Standard” (GB/T 14848-2017) Class IV limit values, and the TPH refers to the “Surface water Environmental Quality Standard” (GB3838-2002) Class IV limit values.

Table 2 Statistical analysis of various clusters during the wet and dry seasons

| Clusters | Wet Season |  |  |  | Dry Season |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Max | Min | Ave |  | Max | Min | Ave |
| Cluster Ⅰ | 24.24 | 2.27 | 9.22 |  | 45.62 | 2.44 | 12.41 |
| Cluster Ⅱ | 248.46 | 9.15 | 92.76 |  | 198.75 | 8.22 | 69.54 |
| Cluster Ⅲ | 398.19 | 17.88 | 106.54 |  | 302.23 | 20.23 | 84.44 |
| Cluster Ⅳ | 580.99 | 343.94 | 462.46 |  | 689.73 | 319.79 | 472.38 |

Table 3 Percentage of water quality grades in each cluster during the wet and dry seasons (%)

| Water quality | Wet Season |  |  |  |  | Dry Season |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ⅰ | Ⅱ | Ⅲ | Ⅳ |  | Ⅰ | Ⅱ | Ⅲ | Ⅳ |
| Excellent | 100.00 | 41.67 | 60.00 | 0.00 |  | 85.00 | 57.14 | 20.00 | 0.00 |
| Good | 0.00 | 0.00 | 0.00 | 0.00 |  | 15.00 | 0.00 | 60.00 | 0.00 |
| Medium | 0.00 | 16.67 | 20.00 | 0.00 |  | 0.00 | 14.29 | 0.00 | 0.00 |
| Poor | 0.00 | 25.00 | 0.00 | 0.00 |  | 0.00 | 0.00 | 0.00 | 0.00 |
| Very Poor | 0.00 | 16.67 | 20.00 | 100.00 |  | 0.00 | 28.57 | 20.00 | 100.00 |