Table 1 Case study overview

| Apartment | Pucang | Wonocolo | Ngelom Taman | Pakal Benowo |
| --- | --- | --- | --- | --- |
| Blocks | 3 | 4 | 5 | 4 |
| Storey | 5 | 5 | 5 | 5 |
| Units | 297 | 396 | 466 | 96 |
| Site character | Dense 1-2 storey residential area, near factory | Dense 1-2 storey residential area, | Dense 1-2 storey residential area, | Dense 1-2 storey residential area, |
| Block plan |  | A B C D | A B C D E |  |

Table 2 Building factor of Case study apartment

| Case | Block | Building orienta-tion | Elevation (floor) | ∑ unit | Gross Floor Area (m²) | Communal space (m²) | Nett LetTable Area (m²) | Unit area (m²) | Horizontal roof area (m²) | Tilted roof area `(m²) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pakal | A | East - West | 1st | 8 | 954,6 | 170,10 | 329,40 | 24,3 | 814,2 | 0 |
|  |  |  | 2nd | 22 | 954,6 | 0 | 534,6 | 24,3 |  |  |
|  |  |  | 3rd | 22 | 954,6 | 0 | 534,6 | 24,3 |  |  |
|  |  |  | 4th | 22 | 954,6 | 0 | 534,6 | 24,3 |  |  |
|  |  |  | 5th | 22 | 954,6 | 0 | 534,6 | 24,3 |  |  |
| Ngelom | B | East - West | 1st | 3 | 1152,0 | 199,8 | 145,8 | 24,3 | 698,07 | 442,8 each side |
|  |  |  | 2nd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 3rd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 4th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 5th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  | C | North - South | 1st | 3 | 1152,0 | 199,8 | 145,8 | 24,3 | 698,07 | 442,8 each side |
|  |  |  | 2nd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 3rd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 4th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 5th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  | E | North - South | 1st | 6 | 927,4 | 204,64 | 318,33 | 34,11 | 0 | 314,9 each side |
|  |  |  | 2nd | 16 | 811,1 | 21,59 | 545,7 | 34,11 |  |  |
|  |  |  | 3rd | 16 | 811,1 | 21,59 | 545,7 | 34,11 |  |  |
|  |  |  | 4th | 16 | 811,1 | 21,59 | 545,7 | 34,11 |  |  |
|  |  |  | 5th | 16 | 811,1 | 21,59 | 545,7 | 34,11 |  |  |
| Wono-colo | A | East - West | 1st | 3 | 1152,0 | 199,8 | 145,8 | 24,3 | 698,07 | 442,8 each side |
|  |  |  | 2nd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 3rd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 4th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 5th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  | B | East - West | 1st | 3 | 1152,0 | 199,8 | 145,8 | 24,3 | 698,07 | 442,8 each side |
|  |  |  | 2nd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 3rd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 4th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 5th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
| Pucang | B | East - West | 1st | 3 | 1152,0 | 199,8 | 145,8 | 24,3 | 698,07 | 442,8 each side |
|  |  |  | 2nd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 3rd | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 4th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |
|  |  |  | 5th | 24 | 1152,0 | 88,2 | 583,2 | 24,3 |  |  |

Table 3 Strategi desain pasif dan aktif yang sudah diterapkan pada objek studi

| NZEB strategy category | Purpose of strategy | Strategies that can be applied | Evaluation of existing condition strategy |  |
| --- | --- | --- | --- | --- |
|  |  |  | Rusunawa Pakal | Rusunawa Ngelom, Wonocolo, and Pucang |
| Passive design strategy | Maximizing natural lighting | Glazing improvement | n.a (still using clear glass) | n.a (still using clear glass) |
|  |  | Natural lighting | The bathroom has minimal natural lighting, the kitchen is dark because the light is blocked by the roster. | Lighting in the kitchen, bathroom and family room can be maximized if there are no obstructions on the windows. |
|  |  | Light shelf | n.a | n.a |
|  |  | Skylight | Void in the inner courtyard | Void in the inner courtyard |
|  | Maximizing natural ventilation | Night Ventilation | n.a | n.a |
|  |  | Utilization of natural ventilation | All windows allow to be opened | All windows allow to be opened |
|  | Minimize heat gain | Double skin facade | Located in the kitchen area in the form of a roster, 1m from the kitchen wall | Located in the kitchen area in the form of galvanized hollow, 1.6m from the kitchen wall |
|  |  | Wall insulation | n.a | n.a |
|  |  | Shading | n.a | Horizontal shading |
|  |  | Thermal bridge control | n.a The wall material does not use materials with low thermal conductivity. | n.a The wall material does not use materials with low thermal conductivity. |
|  |  | Internal heatgain monitoring | n.a There is no routine control for measuring temperature / CO₂ levels in each unit. | n.a There is no routine control for measuring temperature / CO₂ levels in each unit. |
| Active design strategy | Renewable energy substitution | PV on grid | n.a | n.a |
|  |  | PV off- grid | n.a | n.a |
|  |  | Migration to electric vehicles | 2 respondents have implemented, most are not interested | 4 respondents have implemented it, most are not interested |
|  | Appliance efficiency | Building system automation | n.a | n.a |
|  |  | Using efficient equipment | n.a 55.5% of respondents have considered the power size when buying appliances. There is still electricity leakage from equipment plugged into the wall socket | n.a 69.6% of respondents have considered the power size when buying appliances. There is still electricity leakage from equipment plugged into the wall socket |
|  |  | Lighting system efficiency | Use LED lamp | Use LED lamp |
|  |  | Efficiency of the ventilation system | n.a | n.a |

Table 4 Thermal sensation chategory

| PMV Skor | Kode warna pada heat map | Estimasi Real feel Temperatur (°C) | Kategori Sensasi Termal | Keterangan |
| --- | --- | --- | --- | --- |
| -3 |  | ≤ 23,07 | Cold | Cold, requires heating equipment |
| -2 |  | 23,08 - 25,07 | Cool | Cool; can be comforTable with heavy clothing or high activity |
| -1 |  | 25,08 - 27,07 | Slightly Cool | approaching comforTable for those who like low temperatures |
| 0 |  | 29,07 ± 1 (28,07–30,07) | Neutral | The most comforTable temperature in general, not feeling hot or cold |
| +1 |  | 30,08 - 31,07 | Slightly Warm | Can be considered comforTable, especially in the tropics. |
| +2 |  | 31,08 - 33,07 | Warm | Feels warm, starting to feel uncomforTable without ventilation |
| +3 |  | ≥ 33,08 | Hot | Hot, requires active cooling |

Table 5 Thermal profile of each case

|  | Outdoor thermal profile | Building thermal profile | Mean indoor PET (ᴼC) | ∑ jam tidak nyaman (jam / hari) |
| --- | --- | --- | --- | --- |
| Pakal |  |  | 32,6 | 24 |
| Ngelom |  |  | 32,9 | 24 |
| Wonocolo |  |  | 32,9 | 24 |
| Pucang |  |  | 32,7 | 24 |

Table 6 Distribution analysis of household energy demand

| Nama rusun | ∑energy demand (kWh/m²/year) | Quartile 1 (kWh/m²/year) | Quartile 2 (kWh/m²/year) | Quartile 3 (kWh/m²/year) |
| --- | --- | --- | --- | --- |
| Pakal | 64,46 | 47,33 | 66,43 | 76,60 |
| Ngelom blok A | 73,61 | 58,65 | 71,71 | 87,53 |
| Ngelom blok C | 80,06 | 58,51 | 73,36 | 87,81 |
| Ngelom blok E | 60,86 | 47,17 | 52,92 | 77,59 |
| Wonocolo blok A | 67,42 | 55,95 | 68,22 | 71,96 |
| Wonocolo blok B | 63,64 | 53,47 | 68,63 | 71,43 |
| Pucang | 70,89 | 51,76 | 72,37 | 84,95 |

Table 7 Comparation of dominant appliance on each case

| Appliance | Pakal | Ngelom | Wonocolo | Pucang |
| --- | --- | --- | --- | --- |
| Fridge | Dominant, constant 24 hours | Very dominant, largest | Dominant, contributes the largest base load | Dominant, contributes base load |
| Rice Cooker / Warmer | High in the morning and evening | Very high, peak load | High during peak hours | Very high, peak energy at 5 am |
| Lamp | Active morning & night | Active all day, increases at night | Morning and evening | STable morning–evening, quite high |
| Fan | High day to night | Consistently high | STable throughout the day | High at all times, especially at night |
| Laptop / PC | Used at night | Laptop dominant in the evening-night, PC active in the morning | Laptop active at night | Laptop and PC used almost all day |
| TV / Set Top Box | Morning & evening | Used intensively in the morning & evening | Appears morning-evening | Consistent afternoon–evening |
| Washing Machine | Only in the morning | Morning dominant | Moderate-morning | Quite active in the morning |
| Microwave | Slightly visible | Appears in the morning and evening | Used in the morning | Used morning and evening |
| Dispenser | Quite active | Active in the morning & evening | Morning | Active morning and evening |
| Hair Iron / Dryer | A few | Visible in the morning | Visible in the morning | Present in the morning and light afternoon |
| Speaker | A few | Active at night | A few | Used at night |

Table 8 Energy demand of each apartment

| Case | block | Building Orienta-tion | Annual household energy consumption (kWh/m²/year) | Annual energy consumption (for communal space) (kWh/ m²/year) | EEI (kWh/m²/ year) |
| --- | --- | --- | --- | --- | --- |
| Pakal | A | East - West | 66,43 | 18,69 | 85,12 |
| Ngelom | A | East - West | 71,71 | 4,39 | 360,8 |
|  | B | East - West | 71,71 |  |  |
|  | C | North - South | 80,06 |  |  |
|  | D | North - South | 80,06 |  |  |
|  | E | North - South | 52,92 |  |  |
| Wonocolo | A | East - West | 68,22 | 10,53 | 147,4 |
|  | B | East - West | 68,63 |  |  |
| Pucang | A | East - West | 72,37 | 5,91 | 223,02 |
|  | B | East - West | 72,37 |  |  |
|  | C | East - West | 72,37 |  |  |

Table 9 Load shifting strategy on each apartment

| Case | Main features of the energy profile | Strategy |
| --- | --- | --- |
| Pakal |  Morning peak (05.00–08.00) - Moderate evening load  Dominated by rice cooker, lights, fans |  Use a rice cooker timer to cook earlier/afternoon  Replace lights/fans with energy-saving versions  Schedule washing during the day |
| Ngelom |  Very high morning peak - Many appliances active at the same time  Evening is also busy |  Spread the schedule for using heavy equipment (rice cooker, iron, washing machine) during the day  Use energy storage batteries when using PV  Educate residents not to turn on heavy equipment at the same time |
| Wonocolo |  High morning & evening, but not extreme  STable TV, fan, laptop activity |  Reschedule laundry, cooking, to daytime hours  Use smart plugs or timers  Encourage non-simultaneous use of heavy equipment at home |
| Pucang |  Sharp morning peak  High but even evening  Many digital appliances active |  Switch digital activities (laptop/charger) to the afternoon  Schedule rice cooker/microwave to before noon  Maximize daytime PV usage for digital devices |

Table 10 PV installation scenario on 30% of roof area

| Apartment | Total roof area (m²) | Scenario 30% of roof area (m²) | ∑ Minimum number of solar panels that can be installed (units) | Solar panel system size (kWp) | Electric power obtained (kWh) |
| --- | --- | --- | --- | --- | --- |
| Pakal | 814,2 | 244,26 | 153 | 45,8 | 190,29 |
| Ngelom | 6.964,48 | 2.089,34 | 1.306 | 391,75 | 1.627,73 |
| Wonocolo | 6.334,68 | 1.900,40 | 1.188 | 356,33 | 1.480,53 |
| Pucang | 2.656,80 | 797,04 | 499 | 149,45 | 620,94 |

Table 11 Calculation of optimal daily energy requirements

| Apartment | Daily optimum energy requirement unit (Watt / unit) | ∑ unit | Daily optimum energy requirement communal (kWh) | Total daily optimum energy requirement (kWh) | Energy surplus (kWh/day) |
| --- | --- | --- | --- | --- | --- |
| Pakal | 250 | 96 | 6,21 | 30,21 | 160,08 |
| Ngelom | 374 | 466 | 14,11 | 188,394 | 1.439,34 |
| Wonocolo | 289 | 396 | 12,61 | 127,054 | 1.353,48 |
| Pucang | 345 | 297 | 10,28 | 112,745 | 508,20 |