Supporting Information for

Room-Temperature Fabrication of Dual-Functional SiO2/TiO2 Coating for Photovoltaic Efficiency Enhancement: from Laboratory Development to Field Validation

Pengge Wang1,2,3, Xinwei Li4, Ning Zhang1,2,3, Yue Zhai5, Zhenyu Wang1,2,3, Suixin Liu1,2,3, Wingkei Ho6, Yu Huang1,2,3*, and Shun-cheng Lee7

# 1 State Key Laboratory of Loess Science, Institute of Earth Environment, Chinese Academy of Sciences, Xi'an 710061, China

# 2 National Observation and Research Station of Regional Ecological Environment Change and Comprehensive Management in the Guanzhong Plain, Xi'an 710061, China

# 3 Shaanxi Key Laboratory of Atmospheric and Haze-fog Pollution Prevention, Xi'an 710061, China

# 4 Department of Civil and Environmental Engineering, The Hong Kong Polytechnic University, Hong Kong, China

# 5 Xi’an Institute for Innovative Earth Environment Research, Xi’an 710061, China

# 6. Department of Science and Environmental Studies, The Education University of Hong Kong, Hong Kong, China

# 7 Earth, Ocean and Atmospheric Sciences Thrust, Function Hub, The Hong Kong University of Science and Technology (Guangzhou), Guangzhou 511442, China

Corresponding author: Yu Huang (huangyu@ieecas.cn)

Table S1 The specifications for the 550 Wp monocrystalline PV module.

| Power (Pmax / Wp) | 550 |
| --- | --- |
| Open-Circuit Voltage (Voc / V) | 49.80 |
| Short-Circuit Current (Isc /A) | 13.98 |
| Voltage at Pmax (Vmp / V) | 41.95 |
| Current at Pmax (Imp / A) | 13.12 |
| Efficiency (%) | 21.7 |
| Size (mm) | 2256 × 1133 × 35 |
| Weight (kg) | 27.2 |

Table S2 The specifications for the 110 kW string inverter.

| Model Number (kW) | 110 |
| --- | --- |
| Maximum Input Voltage (V) | 1100 |
| Rated Input Voltage (V) | 600 |
| Rated Output Power (kW) | 110 |
| Maximum Output Power (kW) | 121 |
| Maximum Efficiency (%) | 99 |

Fig. S1 2D AFM images of the ST-coated glass.

Fig. S2 Variation of total active power for experimental and control PV modules on a rainy day (April 22, 2023).