Detection of SARS-CoV-2 infection by multicapillary column coupled ion mobility spectrometry (MCC-IMS) of breath. A proof of concept study

Supplementary Material

Claus Steppert1, Isabel Steppert2, William Sterlacci3, Thomas Bollinger4

1 Department of Pulmonology and Thoracic Oncology, Bayreuth General Hospital, Bayreuth, Germany

2 Institute for Biochemistry and Biology, Potsdam University, Germany

3 Department for Pathology, Bayreuth General Hospital, Bayreuth, Germany

4 Department for Microbiology and Laboratory Medicine, Bayreuth General Hospital, Bayreuth, Germany

Corresponding author:

Dr. Claus Steppert, Department of Pulmonology, Thoracic Oncology, Sleep Medicine, Klinikum Bayreuth, Preuschwitzer Str. 101, D-95445 Bayreuth, Germany

Tel.:+49 921 4004902

Fax: +49 921 400884902

E-Mail: claus.steppert@klinikum-bayreuth.de

Sampling time: 			10s

Sampling flow			200 mL/min

Valve temperature: 			40° C

MCC column temperature: 		60° C

Detector temperature:   		60° C

Dead space of tubing:			6 mL

Tab. S1

MCC-IMS settings

Intensity				0.05

V1(%)					1

V2(%)					100

RT1					1

RT2					200

Cluster Size				5x5

RIP correction				No

Chessboard				No

Fast Clustering			No

Tab . S2

Parameters of the cluster analysis

| Cluster | retention-time [s] | drift- time [ms] |  | Cluster | retention-time [s] | drift- time [ms] |  | Cluster | retention-time [s] | drift- time [ms] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| c_1 | 8 | 4.01 |  | c_56 | 127 | 3.71 |  | c_111 | 38 | 3.34 |
| c_2 | 9 | 3.19 |  | c_57 | 139 | 3.79 |  | c_112 | 47 | 3.61 |
| c_3 | 11 | 3.42 |  | c_58 | 142 | 5.08 |  | c_113 | 55 | 3.06 |
| c_4 | 9 | 2.83 |  | c_59 | 137 | 4.01 |  | c_114 | 57 | 3.58 |
| c_5 | 10 | 3.01 |  | c_60 | 154 | 3.74 |  | c_115 | 52 | 3.87 |
| c_6 | 16 | 3.65 |  | c_61 | 150 | 3.90 |  | c_116 | 52 | 2.74 |
| c_7 | 15 | 3.88 |  | c_62 | 151 | 3.30 |  | c_117 | 62 | 5.43 |
| c_8 | 14 | 4.13 |  | c_63 | 148 | 4.02 |  | c_118 | 68 | 4.19 |
| c_9 | 18 | 2.85 |  | c_64 | 158 | 3.65 |  | c_119 | 71 | 3.62 |
| c_10 | 26 | 5.05 |  | c_65 | 159 | 5.07 |  | c_120 | 75 | 5.32 |
| c_11 | 31 | 3.74 |  | c_66 | 155 | 3.43 |  | c_121 | 92 | 5.39 |
| c_12 | 29 | 3.98 |  | c_67 | 161 | 4.03 |  | c_122 | 102 | 3.55 |
| c_13 | 47 | 5.08 |  | c_68 | 163 | 3.29 |  | c_123 | 106 | 5.42 |
| c_14 | 44 | 3.73 |  | c_69 | 171 | 3.70 |  | c_124 | 109 | 3.90 |
| c_15 | 48 | 3.37 |  | c_70 | 166 | 3.94 |  | c_125 | 105 | 2.81 |
| c_16 | 43 | 3.07 |  | c_71 | 176 | 3.34 |  | c_126 | 116 | 2.81 |
| c_17 | 61 | 3.71 |  | c_72 | 178 | 5.08 |  | c_127 | 124 | 3.50 |
| c_18 | 63 | 3.45 |  | c_73 | 178 | 4.01 |  | c_128 | 140 | 3.56 |
| c_19 | 63 | 3.99 |  | c_74 | 183 | 3.68 |  | c_129 | 141 | 3.25 |
| c_20 | 56 | 2.87 |  | c_75 | 191 | 3.99 |  | c_130 | 175 | 3.20 |
| c_21 | 57 | 4.25 |  | c_76 | 188 | 3.31 |  | c_131 | 131 | 2.82 |
| c_22 | 53 | 3.20 |  | c_77 | 192 | 5.08 |  | c_132 | 192 | 2.77 |
| c_23 | 67 | 5.10 |  | c_78 | 193 | 3.66 |  | c_133 | 114 | 3.03 |
| c_24 | 71 | 3.13 |  | c_79 | 4 | 5.08 |  | c_134 | 4 | 3.61 |
| c_25 | 69 | 4.30 |  | c_80 | 14 | 4.23 |  | c_135 | 109 | 4.22 |
| c_26 | 72 | 3.37 |  | c_81 | 41 | 3.99 |  | c_136 | 131 | 4.21 |
| c_27 | 73 | 3.78 |  | c_82 | 32 | 4.29 |  | c_137 | 162 | 3.07 |
| c_28 | 70 | 2.81 |  | c_83 | 78 | 4.10 |  | c_138 | 159 | 2.83 |
| c_29 | 83 | 3.99 |  | c_84 | 88 | 3.78 |  | c_139 | 170 | 2.80 |
| c_30 | 81 | 5.06 |  | c_85 | 111 | 3.76 |  | c_140 | 149 | 3.05 |
| c_31 | 80 | 2.82 |  | c_86 | 170 | 3.49 |  | c_141 | 146 | 2.82 |
| c_32 | 82 | 3.11 |  | c_87 | 176 | 3.83 |  | c_142 | 173 | 2.91 |
| c_33 | 83 | 3.48 |  | c_88 | 187 | 3.42 |  | c_143 | 179 | 4.45 |
| c_34 | 79 | 4.32 |  | c_89 | 183 | 2.84 |  | c_144 | 10 | 5.44 |
| c_35 | 83 | 3.21 |  | c_90 | 191 | 3.79 |  | c_145 | 11 | 5.67 |
| c_36 | 86 | 3.67 |  | c_91 | 193 | 2.89 |  | c_146 | 28 | 5.45 |
| c_37 | 92 | 2.81 |  | c_92 | 34 | 3.18 |  | c_147 | 45 | 5.44 |
| c_38 | 92 | 4.20 |  | c_93 | 38 | 2.81 |  | c_148 | 120 | 5.42 |
| c_39 | 93 | 3.13 |  | c_94 | 64 | 5.02 |  | c_149 | 136 | 5.41 |
| c_40 | 88 | 3.35 |  | c_95 | 20 | 2.75 |  | c_150 | 149 | 5.42 |
| c_41 | 98 | 5.07 |  | c_96 | 31 | 4.09 |  | c_151 | 162 | 5.41 |
| c_42 | 93 | 4.30 |  | c_97 | 51 | 4.09 |  | c_152 | 178 | 5.41 |
| c_43 | 95 | 3.94 |  | c_98 | 61 | 3.33 |  | c_153 | 193 | 5.41 |
| c_44 | 99 | 3.42 |  | c_99 | 123 | 3.22 |  | c_154 | 58 | 4.37 |
| c_45 | 101 | 3.68 |  | c_100 | 8 | 5.33 |  | c_155 | 114 | 4.40 |
| c_46 | 104 | 4.03 |  | c_101 | 5 | 3.76 |  |  |  |  |
| c_47 | 105 | 3.28 |  | c_102 | 78 | 5.46 |  |  |  |  |
| c_48 | 114 | 5.07 |  | c_103 | 124 | 4.06 |  |  |  |  |
| c_49 | 110 | 3.17 |  | c_104 | 134 | 3.11 |  |  |  |  |
| c_50 | 116 | 4.00 |  | c_105 | 42 | 4.34 |  |  |  |  |
| c_51 | 115 | 3.66 |  | c_106 | 61 | 4.65 |  |  |  |  |
| c_52 | 116 | 3.41 |  | c_107 | 31 | 4.49 |  |  |  |  |
| c_53 | 126 | 3.93 |  | c_108 | 34 | 3.60 |  |  |  |  |
| c_54 | 127 | 5.05 |  | c_109 | 22 | 4.81 |  |  |  |  |
| c_55 | 134 | 3.38 |  | c_110 | 32 | 3.87 |  |  |  |  |

Tab. S3

Retention times and drift times of the different clusters used for further analysis

| Variables Entered/Removeda,b,c,d |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Step | Entered | Removed | Wilks' Lambda |  |  |  |  |  |  |  |  |
|  |  |  | Statistic | df1 | df2 | df3 | Exact F |  |  |  |  |
|  |  |  |  |  |  |  | Statistic | df1 | df2 | Sig. |  |
| 1 | c_96 |  | .493 | 1 | 2 | 71.000 | 36.481 | 2 | 71.000 | .000 |  |
| 2 | c_46 |  | .344 | 2 | 2 | 71.000 | 24.688 | 4 | 140.000 | .000 |  |
| 3 | c_76 |  | .255 | 3 | 2 | 71.000 | 22.559 | 6 | 138.000 | .000 |  |
| 4 | c_86 |  | .216 | 4 | 2 | 71.000 | 19.578 | 8 | 136.000 | .000 |  |
| 5 | c_117 |  | .179 | 5 | 2 | 71.000 | 18.239 | 10 | 134.000 | .000 |  |
| 6 | c_44 |  | .153 | 6 | 2 | 71.000 | 17.111 | 12 | 132.000 | .000 |  |
| 7 | c_97 |  | .135 | 7 | 2 | 71.000 | 15.965 | 14 | 130.000 | .000 |  |
| 8 | c_3 |  | .113 | 8 | 2 | 71.000 | 15.849 | 16 | 128.000 | .000 |  |
| 9 | c_13 |  | .099 | 9 | 2 | 71.000 | 15.262 | 18 | 126.000 | .000 |  |
| 10 | c_21 |  | .085 | 10 | 2 | 71.000 | 15.034 | 20 | 124.000 | .000 |  |
| 11 | c_146 |  | .075 | 11 | 2 | 71.000 | 14.716 | 22 | 122.000 | .000 |  |
| 12 | c_153 |  | .064 | 12 | 2 | 71.000 | 14.773 | 24 | 120.000 | .000 |  |
| 13 | c_78 |  | .057 | 13 | 2 | 71.000 | 14.533 | 26 | 118.000 | .000 |  |
| 14 | c_4 |  | .049 | 14 | 2 | 71.000 | 14.540 | 28 | 116.000 | .000 |  |
| 15 |  | c_3 | .052 | 13 | 2 | 71.000 | 15.316 | 26 | 118.000 | .000 |  |
| 16 | c_107 |  | .045 | 14 | 2 | 71.000 | 15.349 | 28 | 116.000 | .000 |  |
| 17 |  | c_117 | .048 | 13 | 2 | 71.000 | 16.196 | 26 | 118.000 | .000 |  |
| 18 | c_29 |  | .041 | 14 | 2 | 71.000 | 16.340 | 28 | 116.000 | .000 |  |
| 19 | c_84 |  | .035 | 15 | 2 | 71.000 | 16.395 | 30 | 114.000 | .000 |  |
| 20 |  | c_21 | .038 | 14 | 2 | 71.000 | 17.077 | 28 | 116.000 | .000 |  |
| 21 |  | c_96 | .041 | 13 | 2 | 71.000 | 17.851 | 26 | 118.000 | .000 |  |
| 22 | c_42 |  | .036 | 14 | 2 | 71.000 | 17.753 | 28 | 116.000 | .000 |  |
| 23 | c_67 |  | .031 | 15 | 2 | 71.000 | 17.804 | 30 | 114.000 | .000 |  |
| 24 | c_66 |  | .024 | 16 | 2 | 71.000 | 19.281 | 32 | 112.000 | .000 |  |
| 25 |  | c_46 | .024 | 15 | 2 | 71.000 | 20.592 | 30 | 114.000 | .000 |  |
| 26 | c_22 |  | .020 | 16 | 2 | 71.000 | 21.275 | 32 | 112.000 | .000 |  |
| 27 | c_15 |  | .017 | 17 | 2 | 71.000 | 21.918 | 34 | 110.000 | .000 |  |
| 28 | c_23 |  | .014 | 18 | 2 | 71.000 | 22.309 | 36 | 108.000 | .000 |  |
| 29 | c_58 |  | .011 | 19 | 2 | 71.000 | 23.449 | 38 | 106.000 | .000 |  |
| 30 | c_41 |  | .009 | 20 | 2 | 71.000 | 24.530 | 40 | 104.000 | .000 |  |
| 31 |  | c_78 | .010 | 19 | 2 | 71.000 | 25.224 | 38 | 106.000 | .000 |  |
| 32 | c_101 |  | .008 | 20 | 2 | 71.000 | 26.348 | 40 | 104.000 | .000 |  |
| 33 | c_74 |  | .007 | 21 | 2 | 71.000 | 26.438 | 42 | 102.000 | .000 |  |
| 34 | c_71 |  | .006 | 22 | 2 | 71.000 | 27.604 | 44 | 100.000 | .000 |  |
| 35 | c_24 |  | .005 | 23 | 2 | 71.000 | 28.377 | 46 | 98.000 | .000 |  |
| 36 | c_135 |  | .004 | 24 | 2 | 71.000 | 28.745 | 48 | 96.000 | .000 |  |
| 37 | c_102 |  | .004 | 25 | 2 | 71.000 | 29.716 | 50 | 94.000 | .000 |  |
| 38 | c_93 |  | .003 | 26 | 2 | 71.000 | 30.440 | 52 | 92.000 | .000 |  |
| 39 | c_21 |  | .003 | 27 | 2 | 71.000 | 31.389 | 54 | 90.000 | .000 |  |
| 40 | c_54 |  | .002 | 28 | 2 | 71.000 | 33.099 | 56 | 88.000 | .000 |  |
| 41 | c_46 |  | .002 | 29 | 2 | 71.000 | 34.240 | 58 | 86.000 | .000 |  |
| 42 | c_40 |  | .001 | 30 | 2 | 71.000 | 36.395 | 60 | 84.000 | .000 |  |
| 43 |  | c_44 | .001 | 29 | 2 | 71.000 | 37.150 | 58 | 86.000 | .000 |  |
| 44 | c_125 |  | .001 | 30 | 2 | 71.000 | 38.332 | 60 | 84.000 | .000 |  |
| 45 | c_17 |  | .001 | 31 | 2 | 71.000 | 40.389 | 62 | 82.000 | .000 |  |
| 46 |  | c_29 | .001 | 30 | 2 | 71.000 | 40.422 | 60 | 84.000 | .000 |  |
| 47 | c_69 |  | .001 | 31 | 2 | 71.000 | 41.435 | 62 | 82.000 | .000 |  |
| 48 | c_14 |  | .001 | 32 | 2 | 71.000 | 43.822 | 64 | 80.000 | .000 |  |

Tab. S4

Stepwise Statistics

At each step, the variable that minimizes the overall Wilks' Lambda is entered. a. Maximum number of steps is 310. b. Maximum significance of F to enter is 0.05. c. Minimum significance of F to remove is 0.10.

| Eigenvalues. Function; Eigenvalue; % of Variance; Cumulative %; Canonical Correlation. 1; 91.002a; 87.4; 87.4; 0.995. 2; 13.132a; 12.6; 100.0; 0.964. a. First 2 canonical discriminant functions were used in the analysis. |  |  |
| --- | --- | --- |
| Centoids |  |  |  |  |
| Group | Function |  |  |  |
|  | 1 | 2 |  |  |
| Control | 5.634 | 2.003 |  |  |
| Influenza A | -18.982 | 1.414 |  |  |
| SARS CoV-2 | 1.117 | -6.745 |  |  |
| Classification Resultsa,c. Group; Predicted Group Membership; Total. Control; Influenza- A; SARS CoV-2. Original; Count; Control; 44; 0; 0; 44. Influenza A; 0; 14; 0; 14. SARS CoV-2; 0; 0; 16; 16. Ungrouped cases; 0; 0; 1; 1. %; Control; 100.0; 0.0; 0.0; 100.0. Influenza A; 0.0; 100.0; 0.0; 100.0. SARS CoV-2; 0.0; 0.0; 100.0; 100.0. Ungrouped cases; 0.0; 0.0; 100.0; 100.0. Cross-validatedb; Count; Control; 43; 0; 1; 44. Influenza A; 0; 13; 1; 14. SARS CoV-2; 0; 0; 16; 16. %; Control; 97.7; 0.0; 2.3; 100.0. Influenza A; 0.0; 92.9; 7.1; 100.0. SARS CoV-2; 0.0; 0.0; 100.0; 100.0. a. 100.0% of original grouped cases correctly classified. b. Cross validation is done only for those cases in the analysis. In cross validation. each case is classified by the functions derived from all cases other than that case. c. 97.3% of cross-validated grouped cases correctly classified.. |  |  |

Tab. S5

Summary of canonical discrimant function and classification statistics for the combined dataset.