Table 4 Attribute data statistics for various requirements

| Requirement | Number of questionnaires with the same attribute (number of copies) |  |  |  |  |  | Essential attribute |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | A. (Attractive) | O (One-dimensional) | M (Must-be) | I (Indifferent) | R (Reverse) | Q (Questionable) |  |
| A1. Provide wearable non-invasive urine volume ultrasound measurement equipment | 52 | 19 | 177 | 38 | 101 | 0 | Must-be attribute |
| A2. Real-time bladder urine volume monitoring function | 50 | 19 | 177 | 37 | 104 | 0 | Must-be attribute |
| A3. The bladder urine volume monitoring results are accurate | 54 | 17 | 173 | 40 | 103 | 0 | Must-be attribute |
| A4. Alarm is given when urine volume>500ml | 47 | 152 | 7 | 121 | 58 | 2 | One-dimensional attribute |
| A5. Alarm when urine volume is <17ml | 30 | 153 | 12 | 122 | 70 | 0 | One-dimensional attribute |
| A6. Provide necessary accessories and fittings | 63 | 8 | 146 | 85 | 85 | 0 | Must-be attribute |
| B1. Easy to operate the product | 40 | 150 | 12 | 119 | 66 | 0 | One-dimensional attribute |
| B2. Product use safety | 60 | 9 | 158 | 82 | 78 | 0 | Must-be attribute |
| B3. The product is small in size, light and easy to wear without falling off | 34 | 152 | 12 | 124 | 65 | 0 | One-dimensional attribute |
| B4. The continuous use time of the product can reach 24h | 63 | 13 | 55 | 179 | 77 | 0 | Indifferent attribute |
| B5. Good product comfort | 40 | 149 | 12 | 119 | 67 | 0 | One-dimensional attribute |
| B6.APP The interface is reasonable and the operation is simple and clear | 67 | 15 | 49 | 177 | 79 | 0 | Indifferent attribute |
| B7. Quick results | 41 | 150 | 11 | 119 | 66 | 0 | One-dimensional attribute |
| B8. Suitable for patients of different body types | 35 | 151 | 13 | 125 | 63 | 0 | One-dimensional attribute |
| B9. The equipment is convenient for maintenance | 40 | 148 | 12 | 113 | 72 | 2 | One-dimensional attribute |
| B10. Protect patient privacy | 45 | 30 | 51 | 161 | 100 | 0 | Indifferent attribute |
| B11. Wearable devices do not interfere with the operation of the surgery | 52 | 17 | 172 | 41 | 105 | 0 | Must-be attribute |
| C1. Data collected by the equipment can be transmitted wirelessly | 59 | 10 | 44 | 186 | 88 | 0 | Indifferent attribute |
| C2. There is a corresponding mobile APP or small program | 42 | 129 | 13 | 133 | 70 | 0 | Indifferent attribute |
| C3. Products are divided into sterilized and non-sterilized categories | 267 | 34 | 12 | 56 | 6 | 12 | Attractive attribute |
| C4. Wearable devices are reasonably priced | 283 | 68 | 8 | 13 | 3 | 12 | Attractive attribute |
| C5. Automatically save each measurement result | 53 | 18 | 176 | 37 | 103 | 0 | Must-be attribute |
| C6. Dynamic analysis of measurement results | 280 | 76 | 16 | 8 | 0 | 7 | Attractive attribute |
| C7. Access to stored data at any time | 75 | 23 | 54 | 170 | 65 | 0 | Indifferent attribute |