Extended Data Figure 1: Design and engineering of the VISIBLE platform. (a) Photograph of the VISIBLE platform, highlighting its different components and their respective functions. (b)  Detailed dimensions of VISIBLE’s integrated incubation chamber. (c) Digital temperature sensor readout (mini temperature LCD monitor) demonstrating the consistent temperature-retaining capability over 48 hours, confirming suitability for long-term live experiments. (d) Photograph of the drop station, where Eppendorf tubes are precisely positioned on the stage for automated sample collection, facilitating subsequent downstream analysis. (e-g) Custom 3D-printed holders for the manipulation tool-head (e), with top camera holding slot (f), and a mount for attaching these components to the XY gantry (g), illustrating the platform's modular and adaptable design. (h) Temperature characteristics measured over time using two independent sensors (Pt-100 Resistance Temperature Detector and Forward Looking Infrared (FLIR) gun), confirming stable 37° C conditions suitable for in vitro cell culture experiments. (i) Microscopic images of a calibration scale with the nozzle precisely centred, used to assess the micrometer-level repeatability of manipulation tool-heads. Scale bar: 1 mm.

Extended Data Figure 2: Image-guided precision sampling mitigates organoid heterogeneity. (a) A 3D-printed cast used for generating PDMS macrowells and casted PDMS macrowell in a well of a 24-well plate, facilitating the creation of complex heterogeneous organoid cultures in suspension. (b) A stitched microscopic image of PDMS macrowells displaying diverse heterogeneous organoid populations, serving as a representative example of a complex in vitro cultures (CIVMs). Scale bar: 1 mm. (c) Sequential images illustrating the iterative sampling process of multiple organoids exhibiting broken symmetry (population 2) precisely collected by the VISIBLE platform. Scale bar: 1 mm. (d) Schematic outlining the procedural steps involved in locating, moving, and collecting an individual organoid, detailing the controlled forces applied during aspiration. (e) Immunocytochemistry (ICC) studies performed on collected organoid populations further confirm their preserved structural integrity, underscoring the VISIBLE's suitability for non-destructive sampling of complex in vitro cultures. Scale bar: 150 µm.

Extended Data Figure 3: Function-based sampling of adherent neurospheres in complex culture. (a) Scans of a well before and after the interactive calcium signalling experiment with the VISIBLE platform, visually demonstrating the selective removal of targeted neurospheres. Scale bar: 1mm. (b) Representative calcium traces (ΔF/F) from neurospheres identified as active, showing frequent transients and selected for collection. (c) Calcium traces from inactive neurospheres that were excluded from sampling due to reduced activity. These data confirm VISIBLE’s functional specificity in non-destructive selection of targeted structures.

Extended Data Figure 4: Interactive 3D bioprinting and serial intervention for spatiotemporal experiments. (a) Pipeline for the analysis of skeletal muscle cell coverage area, used to identify regions of low and high density, informing the optimal location for targeted neurosphere deposition in spatiotemporal experiments. (b) Analysis of the coverage area by neurosphere and its processes over skeletal muscle cells after Day 4 in co-culture, providing quantitative insight into interaction dynamics. (c) A higher magnification image of the co-culture after 7 days, demonstrating effective and direct interaction between the deposited neurosphere and the underlying skeletal muscle cells. Scale bar: 200 µm.

Extended Data Figure 5: Autonomous serial intervention for reproducible longitudinal studies. (a) To demonstrate the feasibility of multiplexed experiments within the VISIBLE platform, scratches were introduced autonomously into confluent muscle cell monolayers in two neighbouring wells within the same multi-well plate. A series of time-lapse images captured by VISIBLE show concurrent scratch recovery in both wells, highlighting the platform's capacity for parallel, high-throughput longitudinal studies. Scale bar: 1 mm.

Supplementary Videos 1 to 3 are provided in FigShare:

https://doi.org/10.6084/m9.figshare.29310578.v1