Graphical Abstract
The primary objective of this manuscript is to develop a new type of smart insulation mortar using glass microspheres (VMB), which combines insulation functionality with mechanical performance requirements, enabling the integration of reinforcing mesh reinforcement and insulation layer construction into a single process. This mortar is intended to replace traditional mortar in the insulation and reinforcement retrofitting of existing masonry structures. By analyzing the influence of different VMB replacement rates (50%, 65%, 75%, 80%) and glass fiber content (1%, 2%, 3% of mortar mass) on the coupling of mechanical and thermal insulation properties of the insulation mortar. The analysis results indicate that as the volume replacement rate of new glass microspheres (VMB) increases, the density of the insulation mortar decreases, porosity increases, compressive and flexural strength decrease, but thermal insulation performance improves; as the glass fiber content increases, flexural strength improves significantly in the 0%-2% range, compressive strength fluctuates slightly, and flexural performance is optimal around 2%, with minimal impact on mortar density and porosity from small amounts of glass fiber. When the replacement rate of new vitrified microbeads (VMB) is approximately 80%, and the glass fiber content is kept around 2%, the thermal insulation and mechanical properties of the mortar can effectively meet the requirements for use. This enables the integration of exterior wall reinforcement with a steel mesh and thermal insulation layer in masonry structure reinforcement, which is of significant importance for achieving carbon peaking and carbon neutrality.
[image: image1.emf]water

silica ash

cement

Heat insulating 

materials

sand

Basalt fiber repair mortar

Molding

stir

epoxy resin

geopolymer

stir


Flow chart of mortar mixing
