Tables

Table 1 General information about the subjects

| Subjects | 29 |
| --- | --- |
| Sex (M/F) | 20 / 9 |
| Age (years) | 24.6 ± 3.3 |
| Weight (kg) | 61.3 ± 11.3 |
| Height (cm) | 1.68 ± 0.08 |
| BMI* (kg/m2) | 21.6 ± 2.9 |

Table 2 Comparison of five measurements of diaphragmatic mobility between M-mode and B-mode ultrasound

| Methods | Mean | The mean of the standard deviation | CV |
| --- | --- | --- | --- |
| M-mode | 6.03±1.21 | 0.65±0.38 | 0.1103±0.0627 |
| B-mode | 3.97±0.93 | 0.29±0.10 | 0.0772±0.0347 |
| t | 11.647 | 5.471 | 2.818 |
| P | 0.000 | 0.000 | 0.009 |

Table 2: CV: Coefficient of variation. P < 0.05 was considered statistically significant.

Table 3 Evaluation of the agreement between the two measurement methods of M-mode ultrasound and B-mode ultrasound

| measurements | The difference between M-mode and B-mode measurement methods |  |  |
| --- | --- | --- | --- |
|  | Mean | 95%CI difference upper | 95%CI difference lower |
| Senior first measure | 2.10 | 4.20 | 0.10 |
| Senior second measure | 2.40 | 4.60 | 0.30 |
| Junior once measure | 2.20 | 3.90 | 0.50 |

Table 3: CI = Confidence interval. * P＜0.0001

Table 4 Intra- and inter-group consistency analysis

| Intra- and inter-group | M-mode ICC (95% CI) | B-mode ICC (95% CI) |
| --- | --- | --- |
| Senior first VS Senior 2nd | 0.851(0.615,0.947) * | 0.812(0.533,0.933) * |
| Senior 1st VS Junior once | 0.671(0.177,0.883) * | 0.832(0.464,0.945) * |
| Senior 2nd VS Junior once | 0.659(0.168,0.877) * | 0.701(0.208,0.896) * |

Table 4: CI = Confidence interval.