# Comparing observed versus expected costs

| Green text = costs for which data are available and judged to be complete Orange text = costs for which data are partially available but judged to be incomplete Grey text = goods or services not provided at study sites Black text = costs missing from available records | Blue fill = all costs covered under contracted services |
| --- | --- |

# Water—piped into facility

Referenced documents: [1-4]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Water source – delivery to facility | Source construction (e.g., borehole drilling) and/or municipal water main connection Pump infrastructure | Site assessment, engineering/architectural design, and planning for water source installation | Water source and/or water main maintenance and repairs Pump maintenance and repairs | Water source operation and testing training | Water testing and treatment supplies Water utility bills | Staff for water testing and treatment | Water safety planning1 | Interest on loans for water source installation |
| Water distribution within facility | Distribution pipes Connection points for water using infrastructure (e.g., sinks, laundry machines) | Engineering/architectural design and planning for sink and piped network installation | Distribution pipes and connection point maintenance and repairs | Water safety and testing training | Water testing and treatment supplies Water utility bills | Staff for water testing and treatment | Water safety planning | Interest on loans for piped network installation |
| Water access at point of care | Sinks/basins with connection to piped network | Engineering/architectural design and planning for sinks | Sink maintenance and repairs | Water safety and testing training | Water testing and treatment supplies Water utility bills | Staff for water testing and treatment | Water safety planning | Interest on loans for sink installation |
| Water access for drinking | Sink with connection to piped network and/or Water coolers | Engineering/architectural design and planning for sinks | Sink and distribution pipe maintenance and repairs Water cooler maintenance and repairs | Water safety and testing training | Water testing and treatment supplies Water utility bills Refill jugs for water coolers Disposable cups | Staff for water testing and treatment Staff for water cooler restocking2 | Water safety planning | Interest on loans for sink network installation |
| Emergency storage | Large storage containers (e.g. roof container or water tower) with connection to piped network | Site assessment, engineering/architectural design, and planning for emergency storage installation | Storage container maintenance and repairs Distribution pipes maintenance and repairs | Water safety and testing training | Water testing and treatment supplies Container cleaning and restocking supplies Water utility bills | Staff for water storage monitoring, flushing, and refilling | Water safety planning | Interest on loans for storage infrastructure installation |
| 1Includes water quality testing, audits of water source safety. For a full guide, see https://www.who.int/water_sanitation_health/water-quality/safety-planning/wsp-publications/en/ 2Staff time for restocking water coolers considered to be negligible and excluded |  |  |  |  |  |  |  |  |

# Sanitation – non-sewered

Referenced guidelines: [1, 2, 5-7]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic Sanitation Facilities1 | Improved toilet Handrails, raised seats and other disability accessibility supports Septic tank and connecting pipes | Site assessment, engineering/architectural design, and planning for toilet installation | Toilet maintenance and repairs Septic tank maintenance and repairs Pit/septic tank emptying services | n/a | Anal cleansing materials Utility costs for toilet operation | Staff for restocking anal cleansing materials3 | Sanitary inspections | Interest on loans for toilet installation |
| Menstrual hygiene management facilities2 | Private washing area with disposal bins with lids | Site assessment, engineering/architectural design, and planning for menstrual hygiene facility installation | Menstrual hygiene facility maintenance and repairs | n/a | Soap Drying materials Menstrual products (e.g., sanitary pads) Utility costs for washing area | Staff for restocking soap and drying materials3 Staff for disposing menstrual products4 | Sanitary inspections | Interest on loans for washing area installation |
| 1 WHO guideline for number of toilets is one per 20 users for inpatient settings; at least four toilets per outpatient setting (one for staff, and for patients: one for females, one for males and one for children) [1] 2 Menstrual hygiene management facilities may be included in sanitation facilities for women or as a separate facility 3Staff time for restocking anal cleansing materials, soap, and drying materials considered to be negligible and excluded 4Staff time for disposing menstrual products included under waste management |  |  |  |  |  |  |  |  |

# Sanitation –sewered

Referenced guidelines: [1, 2, 5-7]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic Sanitation Facilities1 | Improved toilet Handrails, raised seats and other disability accessibility supports Distribution pipes connecting to sewer mains and water source | Site assessment, engineering/architectural design, and planning for toilet installation and sewer connection | Toilet maintenance and repairs Sewer pipe maintenance and repairs | n/a | Anal cleansing materials Utility costs for toilet operation | Staff for restocking anal cleansing materials3 | Sanitary inspections | Interest on loans for toilet installation |
| Menstrual hygiene management facilities2 | Private washing area with disposal bins with lids | Site assessment, engineering/architectural design, and planning for menstrual hygiene facility installation | Menstrual hygiene facility maintenance and repairs | n/a | Soap Drying materials Menstrual products (e.g., sanitary pads) Utility costs for washing area | Staff for restocking soap and drying materials3 Staff for disposing menstrual products4 | Sanitary inspections | Interest on loans for washing area installation |
| 1 WHO guideline for number of toilets is one per 20 users for inpatient settings; at least four toilets per outpatient setting (one for staff, and for patients: one for females, one for males and one for children) [1] 2 Menstrual hygiene management facilities may be included in sanitation facilities for women or as a separate facility 3Staff time for restocking anal cleansing materials, soap, and drying materials considered to be negligible and excluded 4Staff time for disposing menstrual products included under waste management |  |  |  |  |  |  |  |  |

# Hygiene

Referenced guidelines: [1, 8-12]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hand hygiene at the point of care | Sink or other handwashing facility Dispensers for alcohol-based hand rub Disposal bins for hand drying materials | Site assessment, engineering/architectural design, and planning for sinks Orientation on hand rub formulation and restocking | Sink maintenance and repairs Hand rub dispenser maintenance and repair | Training on proper handwashing technique and handwashing promotion | Soap Alcohol-based hand rub Hand drying materials | Staff for restocking alcohol-based hand rub1 Staff for restocking soap and hand1 drying materials Staff for disposing and/or recycling hand drying materials2 | Monitoring and inspections of handwashing compliance Infection prevention and control planning | Interest on loans for sink installation |
| Handwashing facilities at sanitation facilities | Sink or other handwashing facility Disposal bins for hand drying materials | Site assessment, engineering/architectural design, and planning for sinks | Sink maintenance and repairs | Hand hygiene promotion materials at defecation site | Soap Hand drying materials | Staff for restocking soap and hand drying materials1 Staff for disposing and/or recycling hand drying materials2 | Monitoring and inspections of hand hygiene compliance | Interest on loans for sink installation |
| 1Staff time for restocking soap, alcohol-based hand rub, and hand drying materials considered to be negligible and excluded 2Staff time for disposal of hand drying materials included under waste management costs |  |  |  |  |  |  |  |  |

# Personal protective equipment at the point of care

Referenced guidelines: [9, 12, 13]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PPE at point of care | Reusable PPE (e.g., heavy-duty aprons, protective boots) | n/a | n/a | Training on proper PPE use | Disposable PPE (single-use gloves, masks, aprons) | Staff for decontaminating, sterilization, and restocking of soiled reusable PPE1 | Monitoring and inspections of PPE compliance Infection prevention and control planning | n/a |
| 1Staff time for restocking PPE included as part of cleaning process |  |  |  |  |  |  |  |  |

# Waste management

Referenced guidelines: [1, 12, 14-16]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Collection, segregation, packaging, and storage | Point-of-use waste receptacles Interim bulk storage container Syringe/needle cutters Storage area refrigeration units Reusable chemical-resistant PPE (gloves, aprons, masks) Waste weighing scale | Orientation for waste segregation and packing procedures Site assessment, engineering/architectural design, and planning for storage area design | Maintenance and repairs to storage infrastructure Repairs to refrigeration units | Waste segregation and safe handling training | Disposable waste containers (e.g., sharps bins, biohazard bags) Waste labeling materials Disposable PPE (single-use gloves, masks, aprons) Utility costs for refrigeration units | Staff for waste collection and packing | Safety monitoring and inspections Immunizations for waste handlers | Interest on loans for storage site installation |
| Transportation: pre- and post-treatment | Trolleys, carts, or other equipment for transport within facility Transportation containers Transportation vehicles for off-site transport Reusable chemical-resistant PPE (gloves, aprons, masks) | Orientation for transportation equipment and vehicle operation Vehicle registration and licensing | Maintenance and repairs to transportation equipment Vehicle repairs and maintenance | Sharps and hazardous waste safe handling and disposal training Safe transport training | Disposable waste containers Waste labeling materials Disposable PPE (single-use gloves, masks, aprons) Vehicle fuel | Staff for waste loading and unloading Driver time | Vehicle insurance Safety monitoring and inspections Immunizations for waste handlers | Interest on loans for transportation vehicle and equipment |
| Pre-storage treatment: autoclave | Autoclave machine and related supplies (e.g., autoclave trays) Reusable chemical-resistant PPE (gloves, aprons, masks) | Autoclave procurement and installation costs Orientation to autoclave operation and safety | Autoclave maintenance and repairs | Sharps and hazardous waste safe handling and disposal training | Utilities for autoclave operation Waste labeling materials Waste repackaging materials Disposable PPE (single-use gloves, masks, aprons) | Staff for autoclave operation Staff time for waste repackaging | Safety monitoring and inspections Immunizations for waste handlers | Interest on loans for treatment equipment |
| Final treatment: incineration | Incinerator waste shredders; pollution control on incinerators Reusable chemical-resistant PPE (gloves, aprons, masks, respirators) | Site assessment, engineering/architectural design, and planning for incinerator Incinerator licensing | Treatment equipment repairs and maintenance | Sharps and hazardous waste safe handling and disposal training | Disposable waste containers Disposable PPE (single-use gloves, masks, aprons) Fuel costs for incinerator | Staff for incinerator operation | Incineration air quality emissions testing Safety monitoring and inspections Immunizations for waste handlers | Interest on loans for capital hardware and land for treatment plant |
| Final disposal: solid waste landfilling | Land costs Landfill infrastructure (e.g., pit linings) Pit digging equipment On-site waste transport equipment (e.g., trucks, trolleys, etc.) | Site assessment, engineering/architectural design, and planning for landfill site Landfill permits and licensing | Digging equipment maintenance and repair Transport equipment maintenance and repair | Sharps and hazardous waste safe handling and disposal training | Disposable PPE (single-use gloves, masks, aprons) Fuel for digging equipment | Staff for waste processing | Landfill licensing; compliance monitoring and inspections; immunizations for waste handlers | Taxes on land for landfill site Interest on loans for capital hardware and land for disposal site |

# Cleaning

Referenced guidelines: [1, 17-19]

| Essential outputs | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| General Cleaning (Low level, high level, floors, walls, and doors) | Wet cleaning tools (buckets, mops, cloths) Dry cleaning tools (brooms, dustpans, cloths) Reusable chemical-resistant PPE (gloves, aprons) | Orientation to cleaning protocols for newly hired staff | n/a | Refresher trainings on cleaning protocols and safety | Disposable PPE (single-use gloves, masks, aprons) Disposable cloths Cleaning chemicals (detergents, soaps) | Staff time for cleaning | Safety monitoring and inspections Immunizations for cleaners | n/a |
| Cleaning infectious waste/blood spills | Wet cleaning tools (buckets, mops, cloths) Dry cleaning tools (brooms, dustpans, cloths) Reusable chemical-resistant PPE (gloves, aprons, face shields) | Orientation to cleaning protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff | n/a | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Disposable PPE (single-use gloves, masks, aprons) Disposable cloths, absorbent material Cleaning chemicals (detergents, soaps, antiseptics) | Staff time for cleaning | Safety monitoring and inspections Immunizations for cleaners | n/a |
| Cleaning surfaces with patient contact (e.g., mattresses, delivery beds) | Wet cleaning tools (buckets, mops, cloths) Dry cleaning tools (brooms, dustpans, cloths) Reusable chemical-resistant PPE (gloves, aprons) | Orientation to cleaning protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff | n/a | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Disposable PPE (single-use gloves, masks, aprons) Disposable cloths, absorbent material Cleaning chemicals (detergents, soaps, antiseptics) | Staff time for cleaning | Safety monitoring and inspections Immunizations for cleaners | n/a |
| Medical device/equipment disinfection and sterilization | Washing and decontamination area with waste water disposal (e.g., sluice room) Sterilization equipment (steam sterilizer, low temp sterilizers, or chemical sterilizers) Reusable chemical-resistant PPE (gloves, aprons) | Orientation to cleaning protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff Site assessment, engineering/architectural design, and planning for decontamination area design Sterilization equipment procurement and installation costs Orientation to sterilization equipment operation and safety | Waste water disposal area maintenance and repairs Sterilization equipment maintenance and repairs | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Disposable PPE (single-use gloves, masks, aprons) Cleaning chemicals (detergents, soaps, antiseptics) Packaging and wrapping for medical equipment Labeling materials Utilities for decontamination and sterilization equipment operation | Staff time for device packing & initial decontamination Staff time for sterilization equipment operation Staff time for device repacking and restocking | Safety monitoring and inspections Immunizations for cleaners | Interest on loans for washing area installation Interest on loans for sterilization equipment |
| Cleaning toilets and handwash basins | Wet cleaning tools (buckets, mops, cloths) Dry cleaning tools (brooms, dustpans, cloths) Reusable chemical-resistant PPE (gloves, aprons, face shields) | Orientation to cleaning protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff | n/a | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Disposable PPE (single-use gloves, masks, aprons) Disposable cloths, absorbent material Cleaning chemicals (detergents, soaps, antiseptics) | Staff time for cleaning | Safety monitoring and inspections Immunizations for cleaners | n/a |

# Laundry

|  | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Collection and packing of soiled items1 | Bins and cart for laundry collection and transport | Orientation to laundry protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff | Cart maintenance and repairs | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Leak-proof bags for laundry packing; Labeling materials | Staff for collecting and packaging soiled items | Safety monitoring and inspections Immunizations for laundry handlers | n/a |
| Washing and repacking soiled items | Washing machine or physical washing area Dryer or covered drying area | Site assessment, engineering/architectural design, and planning for laundry area Orientation to laundry protocols for newly hired staff Orientation to hazardous waste safety for newly hired staff | Washing machine maintenance and repairs Dryer maintenance and repairs | Refresher trainings on cleaning protocols Refresher trainings on hazardous waste safety | Leak-proof bags for laundry packing; Labeling materials; Detergent; chlorine powder or concentrated chlorine Utilities for laundry machine operation | Staff for operating washing machine and processing drying Staff for packing and redistributing clean laundry | Safety monitoring and inspections Immunizations for laundry handlers | Interest on loans for washing and drying machines |
| 1Soiled items may include bed linens, clothes for wrapping mothers and babies after delivery, staff uniforms, or reusable PPE (e.g., scrubs or surgical gowns) |  |  |  |  |  |  |  |  |

Referenced guidelines: [1, 12]

# Vector control

Referenced guidelines: [1]

|  | Capital hardware | Capital software | Capital maintenance | Recurrent training | Consumables | Personnel | Direct support | Financing |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Insect control | Insecticide-treated bed nets for inpatient beds Fumigation equipment (e.g., sprayers) | Orientation to fumigation equipment and protocols | Washing and reimpregnation of bed nets with insecticide Fumigation equipment maintenance and repair | Refresher trainings on fumigation protocols Chemical safety and poisoning prevention training | Fumigation chemicals Insecticides1 | Staff time for fumigation | Safety monitoring and inspections Immunizations for insect control workers | Interest on loans for fumigation equipment |
| Rodent and other non-insect pest control | Animal traps | Orientation to pest control equipment and protocols | Trap maintenance and repair | Refresher trainings on pest control protocols Chemical safety and poisoning prevention training | Pest poisons | Staff time for pest control activities | Safety monitoring and inspections Immunizations for pest control workers | n/a |
| 1Insect control expenses for fumigation provided as contracted serviced, but some costs were recorded for purchase of insecticides |  |  |  |  |  |  |  |  |

# References

1.	Adams J, Bartram J, Chartier Y. Essential environmental health standards in health care. Geneva: World Health Organization; 2008.

2.	WHO/UNICEF. Water and sanitation for health facility improvement tool (WASH FIT). Geneva: WHO; 2017.

3.	WHO/UNICEF. Water, sanitation and hygiene in health care facilities: practical steps to achieve universal access to quality care. Geneva: WHO; 2019.

4.	WHO/UNICEF. Expert Group Meeting on Monitoring WASH in Health Care Facilities in the Sustainable Development Goals. Geneva: 2016.

5.	WHO/UNICEF. Core questions and indicators for monitoring WASH in healthcare facilities in the Sustainable Development Goals 2018. Available from: https://washdata.org/monitoring/health-care-facilities.

6.	World Health Organization. Guidelines on sanitation and health. Geneva: World Health Organization, 2018.

7.	WHO. Sanitary inspections for sanitation systems 2020. Available from: https://www.who.int/water_sanitation_health/sanitation-waste/sanitation/sanitary-inspections-for-sanitation-systems/en/.

8.	World health Organization. Hand hygiene self-assessment framework 2010 2010 [cited 2020 25 June]. Available from: https://www.who.int/gpsc/country_work/hhsa_framework_October_2010.pdf.

9.	WHO. Standard precautions in healthcare. Geneva: WHO, 2007.

10.	Boyce JM, Pittet D. Guideline for hand hygiene in health-care settings: Recommendations of the healthcare infection control practices advisory committee and the hicpac/shea/apic/idsa hand hygiene task force. Am J Infect Control. 2002;30(8):S1-S46.

11.	World Health Organization. Guidelines on hand hygiene in health care. Geneva: World Health Organization; 2009.

12.	Centers for Disease Control and Prevention. Guidelines for Environmental Infection Prevention in Health-Care Facilities. Atlanta: CDC; 2003.

13.	Ducel G, Fabry J, Nicolle L. Prevention of hospital-acquired infections: a practical guide. Geneva: 2002.

14.	World Health Organization. Safe management of wastes from health care activities: a summary. Geneva: WHO; 2017.

15.	United Nations Environment Program Division of technology, industry, and economics. Compendium of Technologies for Treatment / Destruction of Healthcare Waste. Osaka: UNEP; 2012.

16.	Chartier Y. Safe management of wastes from health-care activities: World Health Organization; 2014.

17.	CDC and ICAN. Best practices for environmental cleaning in healthcare facilities in resource-limited settings. Atlanta, GA: US Department of Health and Human Services, CDC; 2019.

18.	Collaborative TS. Teach Clean Package London, UK: London School of Hygiene and Tropical Medicine; 2018. Available from: https://www.lshtm.ac.uk/research/centres/march-centre/soapbox-collaborative/teach-clean.

19.	WHO and PAHO. Decontamination and reprocessing of medical devices for health-care facilities. Geneva: World Health Organization; 2016.