Extreme Longitudinal Thermal Conductivity and Non-Diffusive Heat Transport in Isotopic hBN

Cléophanie Brochard-Richard1, Gaia Di Berardino1, Etienne Herth1, Chen Wei 1, Federico Panciera 1, Thomas Poirier2, James H. Edgar 2,, , Bernard Gil 3, Guillaume Cassabois 3, Maria Luisa Della Rocca4, Suman Sarkar 5, Nedjma Bendiab 5, Laëtitia Marty 5, Fabrice Oehler 1, Abdelkarim Ouerghi 1, Julien Chaste 1*

1Université Paris-Saclay, CNRS, Centre de Nanosciences et de Nanotechnologies, 91120, Palaiseau, France.

2 Tim Taylor Department of Chemical Engineering, Kansas State University, Durland Hall, Manhattan, KS 66506-5102, USA

3 Laboratoire Charles Coulomb (L2C), UMR 5221 CNRS-Université de Montpellier, F-34095 Montpellier, France

4  Université Paris Cité, CNRS, Laboratoire Matériaux et Phénomènes Quantiques, F-75013, Paris,

France

5 Université Grenoble Alpes, CNRS, Grenoble INP, Institut NEEL, F-38000, Grenoble, France.

* Corresponding author: julien.chaste@universite-paris-saclay.fr

Table des matières

1.	Soft transfer method	2

2.	Typical samples	3

3.	Raman spectrum and temperature calibration	4

4.	Joule heating, laser heating and WSe2 thermometry	7

5.	Absence of deformation and optical separation of strain from Raman measurements	8

6.	Temperature uncertainty and parasitic thermal effects	10

7.	Temperature dependence of the electrical and thermal conductivity for LMM1, LMM2 and LMMGr.	12

8.	Simulations for LMMGR: 2-points configuration.	14

9.	Simulations for LMM2: temperature dependence of k2D.	14

10.	Simulations for LMM2: out-of-plane thermal conductivity	15

11.	Simulations for LMM1: thermal contact simulation	17

12.	Thermal conductivity of hBN and graphene in the literature.	18

13.	Thermoreflectance on the supported isotopic hBN	22

I

Image of the PDMS

cut in four quarters

Soft transfer method

Figure S1-1: The different steps of the soft dry transfer process developed to transfer the 2D material on top of the microheater without any strain. Scale bar=50µm.

The transfers were performed using a commercial transfer station from HQ Graphene. For the exfoliated hBN, the flake was transferred using the pick-up technique 1,2, consisting of PPC-coated PDMS hemispheres, to catch the flakes. The use of water is known to enhance transfer efficiency due to capillary forces between water and two-dimensional materials 3,4, and has already been employed by authors5–7. This technique was employed for the transfer of WSe₂ grown by chemical vapour deposition (CVD). To collect the WSe₂ flakes, a volume of 3 μL of demineralized water, with a droplet diameter of about 400 μm was deposited to the surface. The PPC/PDMS structure is then brought into contact with the flakes. The temperature is bring to 308.15 K in order to optimize the contact. The flakes are then removed from the surface during the pick-up step at 300K.

Applying the 2D material onto the silicon cantilevers is a delicate process. In contrast to the typical fabrication of suspended 2D materials, it is essential to consider the pressure exerted by the PDMS hemisphere on the suspended silicon cantilevers and the reduced contact area, which is approximately 30 μm². To this end, a transfer method was developed whereby only a thin film of suspended PPC covered by the 2D material comes into contacts with the cantilevers. To enhance adhesion and reduce the native oxide before transfer, the substrate was subjected to plasma treatments based on O2 and SF6. To create the suspended PPC film, a hemisphere of PDMS is cut in four quarters, with a distance of a few hundred micrometers between each quarter. PPC is then deposited on a silicon substrate, which is subsequently removed with adhesive tape. The tape is perforated to create a suspended film of PPC, which is deposited on top of the previous PDMS structure. This process resulted in the structure shown in Figure S1-1.

During the pick-up step of the hBN flakes with these PPC structure, the temperature rises to 55 °C in order to improve adhesion. The second phase of the transfer process entails the meticulous placement of the flake onto the suspended cantilevers. To prevent excessive stress during this process, it is important to proceed slowly, with a duration of about two hours. Once a small contact between the cantilevers and the PPC is established, the temperature is gradually increased to 65°C. At this temperature, the PPC gradually softens and slowly contacts the surface. The temperature is then gradually elevated to 95°C to facilitate the gradual melting of the PPC. This process prevents any deformation. The PPC is then subjected to evaporation by placing the sample in an oven at 350°C for four hours under vacuum. With this process, the samples are free of contamination.

# Typical samples

Figure S2-2: Schematic (a) and optical image (b) of the sample with a 2D material (purple), suspended between two microheaters in silicon. The red electrode is heat up to Tsource by Joule heating. The two heat dissipation paths are marked in yellow.

Figure 2-3: Geometric shapes used in the simulations. a) Geometry of LMM1. b) Geometry of LMM2 superposed with an optical image. c) Geometry of LMMGr. Scales in micrometers.

Figure 2-4: Temperature profiles along the heat propagation direction. Temperature of silicon (black), WSe2 (red), graphite (blue) in a) LMM1 with P=4.6mW, Tbath=-109°C. b) LMM2 with P=6.2mW and Tbath=-116°C. c) LMMGr with P=5.6mW and Tbath=-127°C. The grey areas correspond to the regions with cantilevers and the white area to the region with the suspended 2D material region. In insets are presented the optical images of the different samples.

Figure S2-5: Atomic force microscopy of the different flakes. For LMMGr and LMM1, the thicknesses were measured directly on the suspended membranes.

The electrical conductivity of silicon was determined by the geometry and the extracted electrical power. The temperature dependence of the electrical conductivity has been integrated. The electrical resistance of graphite was considerable, but to prevent any Joule heating of the graphite itself, the measurement was performed with the electrical contacts of the second microheater in floating mode, which was only thermally anchored to the substrate. It is noteworthy that the temperature difference between the two points on the Si cantilever was identical to the graphite temperature (same Thot and Tcold). It indicates good thermal contacts and confirms the value of ΔT2D.

# Raman spectrum and temperature calibration

Figure S3-6: Stokes-Raman spectrum of a) WSe2, b) silicon and c) hBN11 at ambient temperature.

Figure S3-7: Raman spectrum of WSe2 with fitting by a Pseudo-Voigt function

First-order thermal coefficient

At very low temperatures, the frequency ω of the characteristics vdW materials Raman peaks is almost constant 8–10, while at  higher temperature a linear temperature dependence of ω is commonly used with ωT=ω0+χT 11–14. We measure the first-order thermal coefficient χ for different two-dimensional materials,such asTMD  MoS2 11–14 or WSe2 15 but also for Graphene16–18 and hBN 18–24 and for silicon 25–29 .

Figure S3-8: Raman peak position as a function of temperature for a) the A1g WSe2 peak, b) for the G peak of graphene, c) for the E2g peak of hBN10, d) for the E2g peak of hBN11.

First-order coefficient of Raman spectrum of hBN as extracted from the literature.

| first-order Raman temperature coefficients χE2g ( cm-1.K-1 ) | Isotropy of h-BN | Layer number | Linear ? | Temperature range (K) | Suspended ? | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| Strain corrected −0.0197 ± 0.0007 | Natural | 11 | Yes | 300-370 | Suspended | 24 |
| Strain corrected − 0.0170 ± 0.0007 | h-BN 10 | 11 | Yes | 300-370 | Suspended |  |
| −0.0223 ± 0.0012, −0.0214 ± 0.0010, and −0.0215 ± 0.0007 | Natural | 1 2 3 | Yes | 300-400 | Suspended | 23 |
| −0.0558 ± 0.0011, −0.0480 ± 0.0022, and − 0.0380 ± 0.0011 | Natural | 1 2 3 | Yes | 300-400 | On substrate |  |
| −0.0191 ± 0.0005 | Natural | Bulk | Yes | 300-400 | Suspended |  |
| –0.0341 ± 0.0012, −0.0315 ± 0.0014, and –0.0378 ± 0.0016 | Natural | 1 2 9 | Yes | 300-450 | On substrate | 22 |
| -0.025 | hBN 10, Natural, hBN 11 | Single crystal | No | 100-600 | On substrate | 24 |
| −0.023 | Natural | Bulk | Yes | 300-680 | On substrate | 20 |
| − 0.04123 − 0.02385 | Natural | 16.2 nm 36.2 nm | Second order poly. -8.446 × 10−5 − 2.501 × 10−5 cm−1 °C2 | 80-473 | On substrate | 18 |
| -0.025 | Natural | Bulk | With DFT | 80-600 | On substrate | 21 |

First-order coefficient of Raman spectrum of Si as extracted from literature.

| First-order Raman temperature coefficients χE2g ( cm-1.K-1 ) | Linear ? |  | Temperature range (K) | Article |
| --- | --- | --- | --- | --- |
| -0.054 | Yes |  | 300-1200 | 25 |
| -0.0216 | No |  | 10-800 | 26 |
| From- 0.02 to -0.034 depending of the reference | Yes |  | 240-400 | 27 |
| −0.022 | Yes |  | 300-420 | 28 |
| -0.047 | Yes |  | 180-800 | 29 |

Stokes and anti-Stokes calibration.

The temperature can be also determined by measuring the ratio between the intensity of the Stokes and anti-Stokes peaks. The probability of Stokes or anti-Stokes scattering depends on the density of active Raman phonons. The ratio between the two peaks  dependents on the temperature 30–34:

IASIS=νlaser+νRSnνlaser-νRSne-hc.νRSkBT

The temperature can therefore be writted as:

T=-hc.νRSkBT.1nlnνlaser+νRS-lnνlaser-νRS+lnISIAS

With IAS the intensity of the (Anti-)Stokes Raman peak, νlaser the frequency of the laser, νRS the frequency of the Raman peak and n a coefficient. In the literature, n=4 30–33,35,36, n=3 30,31,34,36,37 or even n=0 36 have been reported.  It is explained that under thermal equilibrium, n is dependent on the detection process 24,30,31.

Figure S3-9a shows the variation of the LO silicon Raman peak as a function of temperature. Figure S3-9 b illustrates the variation of the position of this silicon peak as a function of the temperature of the Linkam cell. Subsequently, a coefficient χ= -0.0187 cm-1. K-1 is determined by linear extrapolation, based on the assumption that ωT=ω0+χT. In addition, the temperatures evaluated with the Stokes/Anti-Stokes intensity ratio according to the aforementioned formula with n= 4, 3 and 0 are plotted in red, orange and yellow, respectively. We note that there is a discrepancy of about 10°C between the temperature of the Linkam cell and the Stokes/Anti-Stokes intensity ratio. As a consequence, we decide that the temperature of the Linkam cell should serve as an absolute reference between -200°C and 20°C. To compensate for this offset, a correction factor  of 0.91, 0.89 and 0.83 was inserted into the previous formula for n = 4, 3 and 0 respectively. We note that the solutions for n=0 did not converge to the desired results. Calibration using the Stokes-Anti- Stokes measurement enables the calibration curve to be extended to temperatures higher than 20°C at the microheater, which is not possible with the Linkam cell temperature alone.

Figure S3-9: Temperature dependence of the Raman peak of silicon. a) Stokes Raman spectrum at three temperatures with the same laser power. b) Position of the Raman peak as a function of temperature with the different linear extrapolations.

# Joule heating, laser heating and WSe2 thermometry

Figure S4-10: Joule heating in a silicon cantilever: a) Temperature of the silicon cantilever as a function of the applied voltage. b) Temperature map along the two cantilevers for LMM1, extracted from the Si peak. The measurement was performed at Tbath =23°C.

Figure S4-11: Raman signature of suspended hBN11 as a function of the applied optical power. Inset: Raman signature of WSe2 on top of the hBN as a function of the applied optical power.

We do not observe a laser heating of hBN up to 3.6 mW.

Figure S4-12 : Temperature measurements at different points in LMM1. a) Optical image of the sample LMM1 with the three measurements positions in black. b) Table with the temperatures of the different materials at three positions and for V=0V and V=6V.

# Absence of deformation and optical separation of strain from Raman measurements

Given the sensitivity of Raman spectroscopy to deformations, it is crucial to determine with precision whether mechanical deformations and forces are exerted on the cantilevers or on the 2D material. To achieve this, a variety of techniques were employed. The first step was to determine whether any optically discernible deformations occurred during the heating process, such as defocusing of the structure or the emergence of visible folds. The second approach involved using atomic force microscopy to assess the surface of the 2D material during the heating of the structure. This allows to verify the absence of any folds or bends at the nanometer scale. The third method is illustrated in Figure 1e and employs direct Raman spectroscopy to identify and separate the mechanical stress component from the temperature component on the Raman spectrum. This method enables to quantify the mechanical stress at 0.1%, which is negligible in the Raman signature of WSe2 and can be separated in the data.

The fourth method refers to the measurements presented in Figure S2-4b. We note here that the temperature points for the silicon and two-dimensional materials are well aligned at the contacts level, indicating the absence of an relative strain. However, an asymmetry of strain between the silicon and the two-dimensional material is  expected due to the geometric aspect ratios.

Figure 5-13: Optical image of the sample. (a) Without and (b) with electrical heating at V=5V at Tbath=-120°C. Scale bar=10µm. We do not see any strong deformation of the sample. This is confirmed for all samples.

Figure 5-14: Atomic force microscopy of a suspended flake of hBN. a) Optical image of the sample, b) and c) Optical images of the sample during the atomic force microscopy measurements. d) topographies of a suspended part of the hBN with V between 0 and 6V.

Figure S5-15: Optical separation of strain and temperature for sample LMM3. a) Position of the E2g peak of hBN at varying x-values (longitudinal direction) along the y-values (transverse direction). b) Position of the A1g peak of WSe2 at varying x-values along the y-values. c) Extracted values of strain (bidirectional) obtained for 2D heterostructures along the y direction at varying x-values. d) Same procedure for temperature.

It is possible to extract information from the Raman shift on both temperature and strain for the heterostructure composed of hBN and WSe2. All data points presented in Figures S5-15 are included in Figure 1e in the main text. The data are aligned with the directions of the strain and temperature axis. They correspond to homogeneous deformations along the heterostructure and homogeneous heating or cooling of the heterostructure. This demonstrates that temperature and strain can be optically separated in our devices and that the WSe2 flae is at the same temperature of the hBN flake. hBN is highly sensitive to strain 38, while the WSe2 peak is mainly sensitive to temperature.

# Temperature uncertainty and parasitic thermal effects

The determination of the temperature standard deviation is detailed here. We determine δTSi=3°C for silicon, δTWSe2=5°C-8°C for WSe2, and δTGr=3.5°C for graphene. Figure S6-16 shows the measured temperature for sample LMM1 (a) and sample LMMGr (b) when no heating of the microheater is applied. From these measurements we can extract an uncertainty of 5°C for  WSe2, since data for each temperature value on the longitudinal x-axis is an average over 5 points on the y-axis (the standard deviation corresponds to the error bar in Figure 3a). It is confirmed that the temperature of the silicon holder was well defined at Tbath. This test also demonstrates that there is no parallel channel of thermal conduction between the two cantilevers, in addition to the conduction through the 2D material, neither through residual air conduction nor radiative thermal transport.

Figure S6-16: Determination of the standard deviation of the temperatures during the measurements. a) Temperature of WSe2 (red) and Si (black) at V=0V and Tbath =-118°C along the sample LMM1. The grey (white) areas correspond to the supported (suspended) sections. b) Temperature of the Graphite, illustrated in blue at V=0V and Tbath=-127°C in LMMGr. c) Temperature map of the silicon cantilevers at V=6V and Tbath=-109°C for LMM1. The white square indicates the area used to measure the standard deviation.

Figure S6-17: Thermal bath. a) Stokes Raman spectrum of silicon away from the hot zone for different voltages V. c) Temperatures variations evaluated from the position of the Si peak in a). The black dot in the sketch b highlights the measurement point.

Figure S6-18: Parasitic thermal path with thermal radiation and thermal conduction through the residual air. a) Raman spectra of Silicon on the two cantilevers without suspended 2D material with and without Joule heating of the microheater with the corresponding temperatures extracted from the peak position. The different arrows indicate the measurement positions. b) Temperature map along the two cantilevers with Joule heating.

# Temperature dependence of the electrical and thermal conductivity for LMM1, LMM2 and LMMGr.

The majority of materials display a dependence on temperature of their thermal and electrical conductivities. Given the considerable temperature difference across silicon cantilevers (exceeding 100°C), it is imperative to consider this temperature dependence. The electrical conductivity of the microheaters, σSi, was determined independently using the initial electrical conditions (P = 4.6 mW, 6.2 mW and 5.6 mW for LMM1, LMM2 and LMMGr, respectively) and a fitting parameter (α) from an external electrical measurement:

σSi=α5.10-11T2-10-8T+4.10-5-1

Figure S7-19 a shows the electrical conductivities of silicon for the three samples as a function of temperature. There is a slight discrepancy between the samples, which can be attributed to variations in the manufacturing process. However, they exhibit values that closely aligned with those observed in typical silicon samples. The electrical conductivities of heavily doped silicon, as in our cantilevers, are observed to be higher than those of intrinsic silicon, typically in the range of 1000 S/m. At temperatures below 400 K, the electrical conductivity exhibits a nearly constant behavior with respect to the temperature and decreases slight above this range. It can be concluded that the temperature dependence of σSi is not a significant factor in the system under consideration.

In contrast, the temperature dependence of the thermal conductivity is of significant importance. This temperature dependence is well documented in the literature and it decreases with increasing temperature. The curve of kSi,ref(T) was extracted from the reference 39 and adjusted according to the conductivity of the sample at 200 K as :

kSi(T)=kSi,ref(T)kSi(200K)kSi,ref(200K)

With kSi200 K which corresponds to the fitting parameter in Comsol. Figure S7-19 b) shows the thermal conductivity of LMM1, LMM2 and LMMGr, which is between 124 and 156 W.m-1.K-1 at room temperature. This finding aligns well with the values reported in the literature, which are typically in the range of 140 W.m-1.K-1 40,41.

Figure S7-19: Temperature-dependent conductivities of silicon. a) Electrical conductivity of silicon as a function of temperature in the three samples. b) Typical thermal conductivity of silicon in the same samples.

Figure S7-20: Temperature-dependent thermal conductivity of the vdW heterostructure used for the simulation in the sample LMM2. In black is the curve from ref42. The red and blue dots delimit the maximum and minimum of thermal conductivities at each temperature obtained from the simulations for the sample LMM2.

# Simulations for LMMGR: 2-points configuration.

Figure S8-21: Phase space of the system with the best fitted solutions (colored region) as a function of kSi and the in-plane kGr for the sample LMMGr.

In this and the following section, we have defined the colored region in the different phase space graphs as the sum of the squares of the temperature differences for the two temperature points or more ΣΔT2=pointsTmesured-Tsimulated2. The white region describes the solution space in which at least one point of the simulated temperature Tsimulated has a difference to the measured temperature Tmesured exceeding the standard deviation for at least one point (Tmesured-Tsimulated>δT). The coloured region was defined as the region of the available solutions, and within this zone, the lowest value of ΣΔT2 corresponds to the optimal solution.

This procedure enables the identification of the optimal solution for the given data set. To illustrate, if a single point diverges, (Tmesured-Tsimulated>δT),  this does not necessarily affect the value of ΣΔT2. Our method addresses this issue.

The area of satisfactory solutions in phase space depends on the number of measurement points used. In the case of LMM1, a satisfactory solution can be obtained with only two points. We deduced from Figure S8-21 that the best solution is for k2D=2800±700 W.m-1.K-1.

# Simulations for LMM2: temperature dependence of k2D.

The temperature gradient measured along the LMM2 at a voltage of 8 V is approximately 250 Kelvin. The thermal conductivity k2D(T) varies considerably within this range. This dependence can be derived directly from the temperature profile. Considering a bar of a material of length L, between two temperatures, Thot and Tcold, it is possible to define the temperature profile in accordance with Fourier's law. To obtain the temperature along the x-longitudinal axis, it is possible to introduce a temperature dependence such as  k2DT=cTα. The temperature profile is then written as follows 43 :

T(x)=xLTcoldα+1+1-xLThotα+11α+1

In Figure 4c, the temperature profile of the sample LMM2 is quasi linear and corresponds to a coefficient α close to -1. It matches the expected behavior and experimental data obtained in reference 42.

A temperature dependence for k2D(T)  was included in the COMSOL model. This model is based on the experimental values of k2D,ref(T) as reported in reference 42. Thus, k2D(T) is defined as :
k2D(T)=k2D,ref(T)k2D(190K)k2D,ref(190K)

1300

1000

300

Nevertheless, the inclusion of the temperature dependence in k2D has a minimal impact on the conductivity value of the 2D material at room temperature, as shown in Figure S9-22 when comparing the thermal conductivity with temperature dependence at 300K and the thermal conductivity without temperature dependence We can compare at 300 K which corresponds to the mean of the vdW structure temperature.

Figure S9-22: Simulations for the sample LMM2 and phase space of the converging solutions a) with (left) and b) without (right) temperature dependence of k2D.

# Simulations for LMM2: out-of-plane thermal conductivity

Figure S10-23 shows the optimization of the simulations with measurements of the sample LMM1 for a range of out-of-plane thermal conductivities of the 2D material k2D,┴. It is not possible to achieve convergence for values of k2D,┴=2 W.m-1.K-1. The solutions are obtained for k2D,┴=5 W.m-1.K-1 and above. If k2D,┴ is greater than 5 W.m-1.K-1,  the in-plane k2D  value is unaffected by the out-of-plane thermal conductivity of the material. This leads to the conclusion that the value of the out-of-plane thermal conductivity should be around 5 W.m-1.K-1. The table below shows the out-of-plane thermal conductivity values reported for hBN in the litterature. The average  value is close to 5 W.m-1.K-1, further validating our measurements.

Figure S10-23: Simulations for the sample LMM2. Phase space of the system with the fitted solutions (colored region) as a function of kSi and the in-plane khBN for the sample LMM2 at different out-of-plane thermal conductivities k┴hBN.  a) k┴hBN=2 W.m-1.K-1. b) k┴hBN=5 W.m-1.K-1. c) k┴hBN=10 W.m-1.K-1.  d) k┴hBN=20 W.m-1.K-1.

Out of plane thermal conductivity of others 2D materials from literature

| Thermal conductivity (W/m/K) | Material | Temperature | Layers | Simu/Exp Suspendue or not | Interface conductance (MW/m2/K) | Measure setup | Ref |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4.4 3.8 2.8 2.5 | MoS2 WS2 MoSe2 WSe2 | Tamb | Bulk | Exp ( Non) | / | Thermoreflectance (Change with the modulation frequency) | 44 |
| 2 2 | MoS2 | Tamb | Bulk | Exp (Non) | 26 MoS2/Al 20 | TR-MOKE Thermoreflectance | 45 |
|  | MoS2 MoSe2 | Tamb | 1L 1L | Exp (Non) | 0.44 MoS2/Au 0.09 MoSe2/SiO2 |  | 46 |
| 3.5 | MoS2 | Tamb | Bulk | Simu |  |  | 47 |
| 1.5 | WSe2 | Tamb | Bulk |  |  | Thermobridge | 48 |

Out-of-plane thermal conductivity of hBN from literature

| Thermal conductivity (W/m/K) | Isotope/Non-isotope | Temperature | Layers | Simu/Exp | Measure setup | Ref |
| --- | --- | --- | --- | --- | --- | --- |
| 3,5 4,5 3,3 | 10 11 | Tamb Tamb Tamb | Bulk | Exp | Thermoreflectance | 42 |
| 8.1 0.2 |  | Tamb | 585 nm 7 nm | Exp | 3ω style | 49 |
| 2 |  | Tamb | Bulk | Exp |  | 50 |
| 5.2 |  | Tamb | Bulk | Exp | Thermoreflectance | 51 |
| 5,5 |  | Tamb | Bulk | Simu | Thermoreflectance | 52 |

# Simulations for LMM1: thermal contact simulation

Figure S11.24 shows the convergence of the fitting solutions at different k2D and kSi, the thermal conductivities of the two materials for the sample LMM1, with three different values of thermal conductivity at the interface kinterface. The interface is defined and simulated according to the specifications shown in Figure S11-24. Figure S11-24 b illustrates a perfect circle within the phase space of the solutions, while Figures S11-24 a and S11-24 c show imperfect circles. In cases a and c, the temperature is closely aligned with the experimental values for one material but divergent for the other one. To interpret the results, it is useful to make an analogy with optics and the astigmatism of an optical beam through a lens. A light beam without astigmatism generates a perfect circle, while a beam with astigmatism produces misshapen circles. Astigmatism can be attributed to the presence of an additional angle (or additional parameter) between the plane and the direction of the beam. The kinterface appears to behave in a manner analogous to this third parameter. Based on these considerations, we consider the scenario where kinterface= 1.4 W.m-1.K-1 to be the most accurate.

hBN

Interface

of thickness 100 nm

and thermal conductivity kinterface

cantilever

x

z

y

Figure S11-24: Simulations for the sample LMM1. Phase space of the system with the correct solutions (colored region) as a function of kSi and in-plane khBN for the sample LMM1 at different contact thermal conductivity kinterface. a) kinterface=1 W.m-1.K-1. b) kinterface=1.4 W.m-1.K-1. c) kinterface=2 W.m-1.K-1.

kinterface is the conductivity of an additional material, sandwiched between the hBN and the cantilever in order to simulate the thermal interface contact.

The electrical conductivity is equal to the 2D material's electrical conductivity (insulating for hBN).

For the interface, the thermal conductivity along x and y is 0 W.m-1.K-1 to eliminate parasitic thermal transport and the vertical thermal conductivity is kinterface.

# Thermal conductivity of hBN and graphene in the literature.

In recent years, several techniques have been employed to measure the thermal conductivity of van der Waals (VdW) materials. Some techniques require the use of supported materials, while others require the use of suspended samples, which ultimately leads to different thermal conductivities. Furthermore, the influence of temperature, sample thickness and the isotopic nature of the materials on thermal conductivity must not be ignored. The exceptionally high value of the thermal conductivity  observed in one of our samples (k2D=1650 W.m-1.K-1 in LMM1) is explained here. We conclude that our configuration for LMM1 is favorable for a high value of k2D.

Supported/suspended: As shown in Figure 2c, supported samples have overall lower thermal conductivities than suspended samples. This is obvious for graphene, with a ratio of 3 between the supported and suspended cases. For hBN, we extract a ratio of 1.7 with an analogous comparison. Similar comparisons have been made in previous studies collected on different 2D materials, in Figure S12-25, with an overall ratio of about 2.7 between suspended and supported samples.  In addition, we compared the thermal conductivity of exfoliated isotopically pure hBN of a supported sample measured by modulated thermoreflectance (MTR) with the ones measured on the suspended samples. The exfoliated flake on the support measured by MTR has a thermal conductivity of 470 W.m-1.K-1 at room temperature, i.e. there is a ratio of 3 between this value and the value obtained with the suspended flakes measured  with the microheater configuration, which is reasonably expected according to the literature.

Figure S12-25: Compilation of the ratio of the thermal conductivity observed on the suspended and supported samples. Each of these ratios was carried out in the same article with very similar samples each time. The references are provided in the table below. In blue are the experimental data, and in brown the theoretical work.

Suspended/supported

| Thermal conductivity (suspended/supported) in W.m-1K-1 | Ratio | Temperature | Layers and material | Simu/exp | Ref |
| --- | --- | --- | --- | --- | --- |
| 117/31 95/47 | 3.8 2.0 | Tamb | 1L Mos2 2L MoS2 | Simu | 53 |
| 2500/370 | 6.7 | Tamb | 1L Graphene CVD | Raman | 54 |
| 1200/600 | 2.0 | Tamb | 1L Graphene | Simu | 55 |
| 63/32 | 2.0 | Tamb | 1L Ws2 | PL | 56 |
| 84/55 59/24 77/34 42/17 | 1.5 2.4 2.3 2.4 | Tamb | 1L MoS2 1L MoSe2 2L Mos2 2L Mose2 | Raman | 46 |

Isotopic purity: The thermal conductivities of isotopic two-dimensional materials are typically higher than those of their natural counterparts. In reference 57, the authors performed thermal conductivity measurements at different isotopic concentrations in Graphene and discovered that pure isotopes exhibited thermal conductivity values twice those of natural carbon-based materials. Figure S12-26 shows that isotopically pure hBN exhibits higher thermal conductivity than natural hBN. We compare the thermal conductivity of exfoliated commercial hBN and exfoliated isotopically pure hBN with modulated thermoreflectance on supported samples. The thermal conductivity measured at room temperature was approximately 250 and 284 W.m-1.K-1 for natural hBN and 470 W.m-1.K-1 for isotopic hBN, respectively. The complete experimental description for natural hBN is provided in reference 58. The thermal conductivity is observed to double from the utilization of an isotopic material.

Figure S12-26: Comparative analysis of hBN and graphene/graphite thermal conductivities from the existing literature with the thermal conductivities evaluated in this study. We separate experimental and simulated measurements, isotopic and natural materials, ambient and low-temperature measurements, as well as the different thicknesses of the 2D materials. This graphic encompasses a multitude of thermal conductivity measurement techniques. All data and references are detailed in the table below.

In-plane thermal conductivity of hBN- graphene/graphite and different TMDs from literature

| Material | Thermal conductivity (W/m/K) | Suspended/ supported | Isotope | Temperature | Thickness | Typical size | Setup | Ref. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| hBN | 585 550 408 1300 | Sup | 10 11 10/11 | 300 K 300 K 300 K Tmax | Bulk | mms | Thermoreflectance | 42 |
| hBN | 450 | Sup |  | 300 K | Bulk |  | Method 3ω | 59 |
| hBN | 315 | Sup |  | 300 K | Bulk |  | Thermoreflectance | 51 |
| hBN | 242 | Sup |  | 300 K | 4L |  | Pump probe | 60 |
| hBN | 1009 958 | Sus | 11 10 | 300 K | 1L 1L | 3.8 μm | Optothermal Raman | 61 |
| hBN | 751 | Sus |  | 300 K | 1L | 3.8 µm | Optothermal Raman | 23 |
| hBN | 670 | Sus | 10 | 300 K | 11L | 5 µm | Optothermal Raman | 24 |
| hBN | 484 | Sus |  | 300 K | 2L | 3 µm | Thermobridge | 62 |
| hBN | 360 | Sus |  | 300 K | 11L | 7.5/6.5 µm | Thermobridge | 63 |
| hBN | 350 | Sus | 11 | 300 K | MWNT | 6 µm | Thermobridge | 64 |
| hBN | 243 | Sus |  | 300 K | 9L | 7µm | Raman | 22 |
| hBN | 2067 |  |  | 300 K | BNNR |  | Simu | 65 |
| hBN | 1650 900 |  | 10 | Tmax | SWNT |  | Simu | 66 |
| hBN | 1160 |  |  |  | Bulk |  | Simu | 67 |
| hBN | 670 730 |  | 11 11 |  | 1L |  | Simu | 68 |
| hBN | 1700 600 |  |  | 125 K 300 K |  |  | Simu | 42 |
| hBN | 550 800 520 |  | 11 11 | Tmax Tmax 300 K | 1L 1L 1L |  | Simu | 69 |
| hBN | 550 |  |  |  | Bulk |  | Simu | 70 |
| hBN | 50–500 |  | 11 | 300 K | BNNT |  | Simu | 71 |
| Material | Thermal conductivity (W/m/K) | Suspended/ supported | Isotope | Temperature | Thickness | Typical size | Setup | Ref. |
| Gr | 1910* | Sup |  | 300 K | Bulk |  | Simu | 72* |
| Gr | 1900 | Sup |  | 300 K | Bulk |  | Thermoreflectance | 51 |
| Gr | 1680 | Sup |  | 300 K | 1L |  |  | 73 |
| Gr | ~1000 ~500 | Sup |  | 300 K | 36L 1L |  | bridge | 74 |
| Gr | 160 1000 | Sup |  | 300 K | 1L 36L |  | Electric heat spreader | 75 |
| Gr | 840 1100 | Sup Sus |  | 300 K | 1L |  | Raman | 76 |
| Gr | 695 | Sup |  | 300 K | 1L |  | FTDR | 77 |
| Gr | 636 | Sup |  | 300 K | 1L |  | Pump probe | 60 |
| Gr | 600 | Sup |  | 300 K | 1L |  | Microbridge | 78 |
| Gr | 370 2500 | Sup Sus |  | 350 K | 1L |  | Raman | 54 |
| Gr | 365 | Sup |  | 300 K | 1L |  | Raman | 79 |
| Gr | 308 | Sup |  | 300 K | 5L |  | Raman | 80 |
| Gr | 4840-5300 | Sus |  | 300 K | 1L | 3 µm | Raman | 16 |
| Gr | 4300 | Sus |  | 300K | 8.5 µm | mm | Thermobridge | 81 |
| Gr | 4000 | Sus | 13/12 | 320 K | 1L |  | Raman | 57 |
| Gr | 2700 | Sus |  | 300 K | 1L |  | Raman | 82 |
| Gr | 2600-3100 | Sus |  | 300 K | 1L | µm | Raman | 83 |
| Gr | 370 2500 | Sup Sus |  | 350 K | 1L | 3.8 µm | Raman | 54 |
| Gr | 1875 | Sus |  | 350 K | 1L |  | Raman | 84 |
| Gr | 1800 | Sus |  | 300 K | 1L | 2.6 µm 6.6 µm | Raman | 85 |
| Gr | 1800 | Sus |  | 300 K | 1L |  | Raman | 86 |
| Gr | 840 1100 | Sup Sus |  | 300 K | 1L |  | Raman | 76 |
| Gr | 600 | Sus |  | 300 K | 1L |  | Raman | 87 |
| Gr | 3600 2200 2000 | Simu |  | 300 K | 1L 2L Bulk |  |  | 88 |
| Material | Thermal conductivity (W/m/K) | Suspended/ supported | Isotope | Temperature | Thickness | Typical size | Set-up | Ref. |
| MoSe2 | 20 | Sus |  | 300 K | 2L | 7.5µm | Raman | 89 |
| MoS2 WS2 MoSe2 WSe2 | 82 120 35 42 | Sup |  | 300 K | Bulk |  | Thermoreflectance | 44 |
| MoS2 | 80 | Sup |  | 300 K | Bulk |  | Thermoreflectance | 51 |
| MoS2 | 62 15 | Sup |  | Tmax 300 K | Bulk |  | Thermobridge | 90 |
| MoS2 | 85-100 | Sup |  | 300 K | Bulk |  | TR magneto-optic Kerr effect | 45 |
| MoS2 | 34.5 | Sup |  | 300 K | 1L |  | Raman | 91 |
| MoS2 MoSe2 MoS2 MoSe2 | 84 59 55 24 | Sus Sus Sup Sup |  | 300 K 300 K 300 K 300 K | 1L 1L 1L 1L |  | Optothermal Raman | 46 |
| MoS2 | 44-50 | Sus |  | 300 K | 4L |  | Thermobrigde | 92 |
| WSe2 | 124 | Sup |  | 300 K | Bulk |  | Thermobridge | 48 |
| WS2 | 63 | Sus |  | 300 K | 1L |  | PL | 56 |
| WS2 | 32 | Sup |  | 300 K | 1L |  | PL | 56 |
| WS2 | 120 | Sus |  | 300 K | 1L |  | Raman | 93 |
| MoS2 | 90 | Sus |  | 300 K | 1L |  | Raman | 93 |
| WSe2 | 75 | Sus |  | 300 K | 1L |  | Raman | 93 |
| MoS2 | 68 | Sup |  | 300 K | 5L |  | Raman | 80 |
| MoS2 | 40 | Sus |  | 300 K | 12L |  | Raman | 94 |
| MoSe2 | 105 | Sus |  | 300 K | 1L |  | Optomechanic | 95 |
| MoS2 | 73 | Simu |  | 400 K | Bulk |  |  | 47 |

Thermal conductivity of cubic structure from literature

| Article | Thermal conductivity (W/m/K) | Isotope/Non-iso | Temperature (K) | Layers | Simu/Exp |
| --- | --- | --- | --- | --- | --- |
| 96 | 1660 1650 | 11 10 | Tamb Tamb | Bulk c-BN | Exp |
| 97 | 2380 |  | Tamb | Diamond | Exp |

Thickness of the material: As shown in Figure S12-25, the overall thermal conductivities (represented by the dots) are typically higher than those observed for monolayers (represented by the squares) in Graphene/graphite. In light of the findings from the study by Balandin et al.16, the scientific community has anticipated that monolayer materials will exhibit a thermal conductivity that exceeds that of the bulk material. Within the community, this statement, the distinction between the two types of materials, has become less clear-cut, and the highest thermal conductivity is now observed in solid materials 81. This may be attributed to the inherent challenges associated with measuring the thermal conductivity of monolayers. Recently, a reverse trend has been observed for TMDs89. The thermal conductivity of our thick samples' is higher than that of previously measured monolayers. Moreover, the results of our experiments indicate that the thinnest sample exhibits a lower conductivity than the thickest sample. The data suggest that the thermal conductivity is higher for thicker hBN. However, further investigation is required to confirm this hypothesis.

Measurement temperature: The maximum thermal conductivity in VdW materials is measured around 100 K 81,98. In LMM1, thermal conductivity is measured at around -50°C and for LMMGr, it is around -40°C. These temperatures are slightly lower than the ambient temperature. Thermal conductivity in LMM2 is measured between 120 and -100°C. Thermal conductivity is higher for measurements at low temperatures. This is why the measured values are expected to be slightly higher than the ambient temperature references, but the effect should be negligible.

# Thermoreflectance on the supported isotopic hBN

Figure S13-27 Thermoreflectance measurement reported in a thick flake of isotopic hBN deposited on a gold layer.

A study was carried out to measure and simulate the modulated thermoreflectance (MTR) of an analogous flake of  hBN isotope. Details of the methodology are described in the reference 58. We use a pump laser (green laser =532nm at P~1mW) modulated at a frequency in the range 100Hz-1MHz, and measure  the variation of the reflectivity of a probe laser (bleu laser =483nm at P~150µW) as a function of their relative distance. The probe laser exhibited a response profile, as shown in the different graphics of Figure S13-27, related to the temperature gradient induces by the pump beam. We perform measurements at different frequencies of the laser modulation allowing to change the thermal diffusion length into the hBN. The amplitude and phase of the signal are plotted for each frequency measurement. Data are analyzed by solving a three-dimensional theoretical model of classical heat transport describing the temperature distribution in multilayered samples, heated by an intensity-modulated Gaussian laser beam, including both lateral and vertical heat diffusion 99. The measurements fitting is conducted by including a surface thermal conductance Gth on the 91 nm layer of hBN isotope. The out-of-plane value of khBN was set to 5 W.m-1.K-1, and Gth and khBN// were used as fit parameters. The resulting values for Gth and khBN// were approximately 47 MW.m-2.K-1 and 470 W.m-1.K-1, respectively. Analogous MTR measurements of non-isotopic hBN flakes of slightly lower thicknesses (30-40 nm) have been already reported in literature 100resulting in lower khBN// values, of the order of 250 W.m-1.K-1, almost twice lower than what extracted for the isotopic hBN flake.

Bibliography

(1)	Pizzocchero, F.; Gammelgaard, L.; Jessen, B. S.; Caridad, J. M.; Wang, L.; Hone, J.; Bøggild, P.; Booth, T. J. The Hot Pick-up Technique for Batch Assembly of van Der Waals Heterostructures. Nat. Commun. 2016, 7, 11894. https://doi.org/10.1038/ncomms11894.

(2)	Wang, L.; Meric, I.; Huang, P. Y.; Gao, Q.; Gao, Y.; Tran, H.; Taniguchi, T.; Watanabe, K.; Campos, L. M.; Muller, D. A.; Guo, J.; Kim, P.; Hone, J.; Shepard, K. L.; Dean, C. R. One-Dimensional Electrical Contact to a Two-Dimensional Material. Science 2013, 342 (6158), 614–617. https://doi.org/10.1126/science.1244358.

(3)	Jia, H.; Yang, R.; Nguyen, A. E.; Alvillar, S. N.; Empante, T.; Bartels, L.; Feng, P. X.-L. Large-Scale Arrays of Single- and Few-Layer MoS2 Nanomechanical Resonators. Nanoscale 2016, 8 (20), 10677–10685. https://doi.org/10.1039/C6NR01118G.

(4)	Ma, X.; Liu, Q.; Xu, D.; Zhu, Y.; Kim, S.; Cui, Y.; Zhong, L.; Liu, M. Capillary-Force-Assisted Clean-Stamp Transfer of Two-Dimensional Materials. Nano Lett. 2017, 17 (11), 6961–6967. https://doi.org/10.1021/acs.nanolett.7b03449.

(5)	Chiout, A.; Brochard-Richard, C.; Marty, L.; Bendiab, N.; Zhao, M.-Q.; Johnson, A. T. C.; Oehler, F.; Ouerghi, A.; Chaste, J. Extreme Mechanical Tunability in Suspended MoS2 Resonator Controlled by Joule Heating. Npj 2D Mater. Appl. 2023, 7 (1), 1–8. https://doi.org/10.1038/s41699-023-00383-3.

(6)	Chiout, A.; Tempez, A.; Carlier, T.; Chaigneau, M.; Cadiz, F.; Rowe, A.; Zheng, B.; Pan, A.; Pala, M.; Oehler, F.; Ouerghi, A.; Chaste, J. High Strain Engineering of a Suspended WSSe Monolayer Membrane by Indentation and Measured by Tip-Enhanced Photoluminescence. Adv. Opt. Mater. 2024, 12 (14), 2302369. https://doi.org/10.1002/adom.202302369.

(7)	Chiout, A.; Brochard-Richard, C.; Oehler, F.; Ouerghi, A.; Chaste, J. Mapping of Vibrational Modes Revealing a Strong and Tunable Coupling in Two Juxtaposed 3R-WSe2 Nanodrums. Nano Lett. 2024, 24 (33), 10148–10154. https://doi.org/10.1021/acs.nanolett.4c02214.

(8)	dos Santos, E. P.; Silva, F. L. R.; Gontijo, R. N.; Alves, J. M.; Ammar, M.-R.; Fantini, C. Temperature Dependence of the Double-Resonance Raman Bands in Bilayer WSe2. Vib. Spectrosc. 2020, 110, 103117. https://doi.org/10.1016/j.vibspec.2020.103117.

(9)	Verma, P.; Abbi, S.; Jain, K. Raman-Scattering Probe of Anharmonic Effects in Gaas. Phys. Rev. B 1995, 51 (23), 16660–16667. https://doi.org/10.1103/PhysRevB.51.16660.

(10)	Balkanski, M.; Wallis, R.; Haro, E. Anharmonic Effects in Light-Scattering Due to Optical Phonons in Silicon. Phys. Rev. B 1983, 28 (4), 1928–1934. https://doi.org/10.1103/PhysRevB.28.1928.

(11)	Sahoo, S.; Gaur, A. P. S.; Ahmadi, M.; Guinel, M. J.-F.; Katiyar, R. S. Temperature-Dependent Raman Studies and Thermal Conductivity of Few-Layer MoS2. J. Phys. Chem. C 2013, 117 (17), 9042–9047. https://doi.org/10.1021/jp402509w.

(12)	Taube, A.; Judek, J.; Jastrzebski, C.; Duzynska, A.; Switkowski, K.; Zdrojek, M. Temperature-Dependent Nonlinear Phonon Shifts in a Supported MoS2 Monolayer. ACS Appl. Mater. INTERFACES 2014, 6 (12), 8959–8963. https://doi.org/10.1021/am502359k.

(13)	Taube, A.; Judek, J.; Lapiriska, A.; Zdrojek, M. Temperature-Dependent Thermal Properties of Supported MoS2 Monolayers. ACS Appl. Mater. INTERFACES 2015, 7 (9), 5061–5065. https://doi.org/10.1021/acsami.5b00690.

(14)	Lanzillo, N. A.; Birdwell, A. G.; Amani, M.; Crowne, F. J.; Shah, P. B.; Najmaei, S.; Liu, Z.; Ajayan, P. M.; Lou, J.; Dubey, M.; Nayak, S. K.; O’Regan, T. P. Temperature-Dependent Phonon Shifts in Monolayer MoS2. Appl. Phys. Lett. 2013, 103 (9), 093102. https://doi.org/10.1063/1.4819337.

(15)	Li, Z.; Wang, Y.; Jiang, J.; Liang, Y.; Zhong, B.; Zhang, H.; Yu, K.; Kan, G.; Zou, M. Temperature-Dependent Raman Spectroscopy Studies of 1-5-Layer WSe2. NANO Res. 2020, 13 (2), 591–595. https://doi.org/10.1007/s12274-020-2669-0.

(16)	Balandin, A. A.; Ghosh, S.; Bao, W.; Calizo, I.; Teweldebrhan, D.; Miao, F.; Lau, C. N. Superior Thermal Conductivity of Single-Layer Graphene. Nano Lett. 2008, 8 (3), 902–907. https://doi.org/10.1021/nl0731872.

(17)	Chaste, J.; Missaoui, A.; Saadani, A.; Garcia-Sanchez, D.; Pierucci, D.; Ben Aziza, Z.; Ouerghi, A. Nanomechanical Strain Concentration on a Two-Dimensional Nanobridge within a Large Suspended Bilayer Graphene for Molecular Mass Detection. ACS Appl. Nano Mater. 2018, 1 (12), 6752–6759. https://doi.org/10.1021/acsanm.8b01555.

(18)	Li, X.; Liu, J.; Ding, K.; Zhao, X.; Li, S.; Zhou, W.; Liang, B. Temperature Dependence of Raman-Active In-Plane E2g Phonons in Layered Graphene and h-BN Flakes. Nanoscale Res. Lett. 2018, 13 (1), 25. https://doi.org/10.1186/s11671-018-2444-2.

(19)	Cuscó, R.; Artús, L.; Edgar, J. H.; Liu, S.; Cassabois, G.; Gil, B. Isotopic Effects on Phonon Anharmonicity in Layered van Der Waals Crystals: Isotopically Pure Hexagonal Boron Nitride. Phys. Rev. B 2018, 97 (15), 155435. https://doi.org/10.1103/PhysRevB.97.155435.

(20)	Stenger, I.; Schué, L.; Boukhicha, M.; Berini, B.; Plaçais, B.; Loiseau, A.; Barjon, J. Low Frequency Raman Spectroscopy of Few-Atomic-Layer Thick hBN Crystals. 2D Mater. 2017, 4 (3), 031003. https://doi.org/10.1088/2053-1583/aa77d4.

(21)	Cuscó, R.; Gil, B.; Cassabois, G.; Artús, L. Temperature Dependence of Raman-Active Phonons and Anharmonic Interactions in Layered Hexagonal BN. Phys. Rev. B 2016, 94 (15), 155435. https://doi.org/10.1103/PhysRevB.94.155435.

(22)	Zhou, H.; Zhu, J.; Liu, Z.; Yan, Z.; Fan, X.; Lin, J.; Wang, G.; Yan, Q.; Yu, T.; Ajayan, P. M.; Tour, J. M. High Thermal Conductivity of Suspended Few-Layer Hexagonal Boron Nitride Sheets. Nano Res. 2014, 7 (8), 1232–1240. https://doi.org/10.1007/s12274-014-0486-z.

(23)	Cai, Q.; Scullion, D.; Gan, W.; Falin, A.; Zhang, S.; Watanabe, K.; Taniguchi, T.; Chen, Y.; Santos, E. J. G.; Li, L. H. High Thermal Conductivity of High-Quality Monolayer Boron Nitride and Its Thermal Expansion. Sci. Adv. 2019, 5 (6), eaav0129. https://doi.org/10.1126/sciadv.aav0129.

(24)	Mercado, E.; Yuan, C.; Zhou, Y.; Li, J.; Edgar, J. H.; Kuball, M. Isotopically Enhanced Thermal Conductivity in Few-Layer Hexagonal Boron Nitride: Implications for Thermal Management. ACS Appl. Nano Mater. 2020, 3 (12), 12148–12156. https://doi.org/10.1021/acsanm.0c02647.

(25)	Tsu, R.; Hernandez, J. G. Temperature Dependence of Silicon Raman Lines. Appl. Phys. Lett. 1982, 41 (11), 1016–1018. https://doi.org/10.1063/1.93394.

(26)	Hart, T. R.; Aggarwal, R. L.; Lax, B. Temperature Dependence of Raman Scattering in Silicon. Phys. Rev. B 1970, 1 (2), 638–642. https://doi.org/10.1103/PhysRevB.1.638.

(27)	Okada, Y.; Tokumaru, Y. Precise Determination of Lattice Parameter and Thermal Expansion Coefficient of Silicon between 300 and 1500 K. J. Appl. Phys. 1984, 56 (2), 314–320. https://doi.org/10.1063/1.333965.

(28)	Tang, X.; Yue, Y.; Chen, X.; Wang, X. Sub-Wavelength Temperature Probing in near-Field Laser Heating by Particles. Opt. Express 2012, 20 (13), 14152–14167. https://doi.org/10.1364/OE.20.014152.

(29)	Périchon, S.; Lysenko, V.; Remaki, B.; Barbier, D.; Champagnon, B. Measurement of Porous Silicon Thermal Conductivity by Micro-Raman Scattering. J. Appl. Phys. 1999, 86 (8), 4700–4702. https://doi.org/10.1063/1.371424.

(30)	Tuschel, D.; Adar, F. Molecular Spectroscopy Workbench Raman Thermometry. SPECTROSCOPY 2016, 31 (12), 8–13.

(31)	Tuschel, D. Raman Thermometry: Understanding the Mathematics to Better Design Raman Measurements. SPECTROSCOPY 2019, 34 (12), 8–13.

(32)	Fujimori, H.; Kakihana, M.; Ioku, K.; Goto, S.; Yoshimura, M. Advantage of Anti-Stokes Raman Scattering for High-Temperature Measurements. Appl. Phys. Lett. 2001, 79 (7), 937–939. https://doi.org/10.1063/1.1394174.

(33)	Long, D. A. (Derek A. Raman Spectroscopy; New York : McGraw-Hill, 1977.

(34)	Hayes, W.; Loudon, R. Scattering of Light by Crystals; Wiley, 1978.

(35)	McGrane, S. D.; Moore, D. S.; Goodwin, P. M.; Dattelbaum, D. M. Quantitative Tradeoffs between Spatial, Temporal, and Thermometric Resolution of Nonresonant Raman Thermometry for Dynamic Experiments. Appl. Spectrosc. 2014, 68 (11), 1279–1288. https://doi.org/10.1366/14-07503.

(36)	Jesus Gallardo, J.; Navas, J.; Zorrilla, D.; Alcantara, R.; Valor, D.; Fernandez-Lorenzo, C.; Martin-Calleja, J. Micro-Raman Spectroscopy for the Determination of Local Temperature Increases in TiO2 Thin Films Due to the Effect of Radiation. Appl. Spectrosc. 2016, 70 (7), 1128–1136. https://doi.org/10.1177/0003702816652323.

(37)	Kip, B.; Meier, R. Determination of the Local Temperature at a Sample During Raman Experiments Using Stokes and Anti-Stokes Raman Bands. Appl. Spectrosc. 1990, 44 (4), 707–711. https://doi.org/10.1366/0003702904087325.

(38)	Blundo, E.; Surrente, A.; Spirito, D.; Pettinari, G.; Yildirim, T.; Chavarin, C. A.; Baldassarre, L.; Felici, M.; Polimeni, A. Vibrational Properties in Highly Strained Hexagonal Boron Nitride Bubbles. Nano Lett. 2022, 22 (4), 1525–1533. https://doi.org/10.1021/acs.nanolett.1c04197.

(39)	Glassbrenner, C. J.; Slack, G. A. Thermal Conductivity of Silicon and Germanium from 3°K to the Melting Point. Phys. Rev. 1964, 134 (4A), A1058–A1069. https://doi.org/10.1103/PhysRev.134.A1058.

(40)	Fulkerson, W.; Moore, J. P.; Williams, R. K.; Graves, R. S.; McElroy, D. L. Thermal Conductivity, Electrical Resistivity, and Seebeck Coefficient of Silicon from 100 to 1300°K. Phys. Rev. 1968, 167 (3), 765–782. https://doi.org/10.1103/PhysRev.167.765.

(41)	Shanks, H. R.; Maycock, P. D.; Sidles, P. H.; Danielson, G. C. Thermal Conductivity of Silicon from 300 to 1400°K. Phys. Rev. 1963, 130 (5), 1743–1748. https://doi.org/10.1103/PhysRev.130.1743.

(42)	Yuan, C.; Li, J.; Lindsay, L.; Cherns, D.; Pomeroy, J. W.; Liu, S.; Edgar, J. H.; Kuball, M. Modulating the Thermal Conductivity in Hexagonal Boron Nitride via Controlled Boron Isotope Concentration. Commun. Phys. 2019, 2 (1), 43. https://doi.org/10.1038/s42005-019-0145-5.

(43)	Thi, T. T. N. Numerical Study of Electro-Thermal Effects in Silicon Devices.

(44)	Jiang, P.; Qian, X.; Gu, X.; Yang, R. Probing Anisotropic Thermal Conductivity of Transition Metal Dichalcogenides MX2 (M = Mo, W and X = S, Se) Using Time-Domain Thermoreflectance. Adv. Mater. 2017, 29 (36), 1701068. https://doi.org/10.1002/adma.201701068.

(45)	Liu, J.; Choi, G.-M.; Cahill, D. G. Measurement of the Anisotropic Thermal Conductivity of Molybdenum Disulfide by the Time-Resolved Magneto-Optic Kerr Effect. J. Appl. Phys. 2014, 116 (23), 233107. https://doi.org/10.1063/1.4904513.

(46)	Zhang, X.; Sun, D.; Li, Y.; Lee, G.-H.; Cui, X.; Chenet, D.; You, Y.; Heinz, T. F.; Hone, J. C. Measurement of Lateral and Interfacial Thermal Conductivity of Single- and Bilayer MoS2 and MoSe2 Using Refined Optothermal Raman Technique. ACS Appl. Mater. Interfaces 2015, 7 (46), 25923–25929. https://doi.org/10.1021/acsami.5b08580.

(47)	Gu, X.; Li, B.; Yang, R. Layer Thickness-Dependent Phonon Properties and Thermal Conductivity of MoS2. J. Appl. Phys. 2016, 119 (8), 085106. https://doi.org/10.1063/1.4942827.

(48)	Pisoni, A.; Jacimovic, J.; Gaál, R.; Náfrádi, B.; Berger, H.; Révay, Z.; Forró, L. Anisotropic Transport Properties of Tungsten Disulfide. Scr. Mater. 2016, 114, 48–50. https://doi.org/10.1016/j.scriptamat.2015.11.028.

(49)	Jaffe, G. R.; Smith, K. J.; Watanabe, K.; Taniguchi, T.; Lagally, M. G.; Eriksson, M. A.; Brar, V. W. Thickness-Dependent Cross-Plane Thermal Conductivity Measurements of Exfoliated Hexagonal Boron Nitride. ACS Appl. Mater. Interfaces 2023, 15 (9), 12545–12550. https://doi.org/10.1021/acsami.2c21306.

(50)	A Simpson; A D Stuckes. The Thermal Conductivity of Highly Oriented Pyrolytic Boron Nitride. J. Phys. C Solid State Phys. 1971, 4 (13), 1710. https://doi.org/10.1088/0022-3719/4/13/021.

(51)	Jiang, P.; Qian, X.; Yang, R. Time-Domain Thermoreflectance (TDTR) Measurements of Anisotropic Thermal Conductivity Using a Variable Spot Size Approach. Rev. Sci. Instrum. 2017, 88 (7), 074901. https://doi.org/10.1063/1.4991715.

(52)	Jiang, P.; Qian, X.; Yang, R.; Lindsay, L. Anisotropic Thermal Transport in Bulk Hexagonal Boron Nitride. Phys. Rev. Mater. 2018.

(53)	Gabourie, A. J.; Suryavanshi, S. V.; Farimani, A. B.; Pop, E. Reduced Thermal Conductivity of Supported and Encased Monolayer and Bilayer MoS2. 2D Mater. 2020, 8 (1), 011001. https://doi.org/10.1088/2053-1583/aba4ed.

(54)	Cai, W.; Moore, A. L.; Zhu, Y.; Li, X.; Chen, S.; Shi, L.; Ruoff, R. S. Thermal Transport in Suspended and Supported Monolayer Graphene Grown by Chemical Vapor Deposition. Nano Lett. 2010, 10 (5), 1645–1651. https://doi.org/10.1021/nl9041966.

(55)	Chen, J.; Zhang, G.; Li, B. Substrate Coupling Suppresses Size Dependence of Thermal Conductivity in Supported Graphene. Nanoscale 2012, 5 (2), 532–536. https://doi.org/10.1039/C2NR32949B.

(56)	Sang, Y.; Guo, J.; Chen, H.; Yang, W.; Chen, X.; Liu, F.; Wang, X. Measurement of Thermal Conductivity of Suspended and Supported Single-Layer WS2 Using Micro-Photoluminescence Spectroscopy. J. Phys. Chem. C 2022, 126 (15), 6637–6645. https://doi.org/10.1021/acs.jpcc.2c00732.

(57)	Chen, S.; Wu, Q.; Mishra, C.; Kang, J.; Zhang, H.; Cho, K.; Cai, W.; Balandin, A. A.; Ruoff, R. S. Thermal Conductivity of Isotopically Modified Graphene. Nat. Mater. 2012, 11 (3), 203–207. https://doi.org/10.1038/NMAT3207.

(58)	Rahimi, M.; Sobnath, K.; Mallet, F.; Lafarge, P.; Barraud, C.; de Marcillac, W. D.; Fournier, D.; Della Rocca, M. L. Complete Determination of Thermoelectric and Thermal Properties of Supported Few-Layer Two-Dimensional Materials. Phys. Rev. Appl. 2023, 19 (3), 034075. https://doi.org/10.1103/PhysRevApplied.19.034075.

(59)	Sichel, E. K.; Miller, R. E.; Abrahams, M. S.; Buiocchi, C. J. Heat Capacity and Thermal Conductivity of Hexagonal Pyrolytic Boron Nitride. Phys. Rev. B 1976, 13 (10), 4607–4611. https://doi.org/10.1103/PhysRevB.13.4607.

(60)	Rahman, M.; Shahzadeh, M.; Pisana, S. Simultaneous Measurement of Anisotropic Thermal Conductivity and Thermal Boundary Conductance of 2-Dimensional Materials. J. Appl. Phys. 2019, 126 (20), 205103. https://doi.org/10.1063/1.5118315.

(61)	Cai, Q.; Scullion, D.; Gan, W.; Falin, A.; Cizek, P.; Liu, S.; Edgar, J. H.; Liu, R.; Cowie, B. C. C.; Santos, E. J. G.; Li, L. H. Outstanding Thermal Conductivity of Single Atomic Layer Isotope-Modified Boron Nitride. Phys. Rev. Lett. 2020, 125 (8), 085902. https://doi.org/10.1103/PhysRevLett.125.085902.

(62)	Wang, C.; Guo, J.; Dong, L.; Aiyiti, A.; Xu, X.; Li, B. Superior Thermal Conductivity in Suspended Bilayer Hexagonal Boron Nitride. Sci. Rep. 2016, 6 (1), 25334. https://doi.org/10.1038/srep25334.

(63)	Jo, I.; Pettes, M. T.; Kim, J.; Watanabe, K.; Taniguchi, T.; Yao, Z.; Shi, L. Thermal Conductivity and Phonon Transport in Suspended Few-Layer Hexagonal Boron Nitride. Nano Lett. 2013, 13 (2), 550–554. https://doi.org/10.1021/nl304060g.

(64)	Chang, C. W.; Fennimore, A. M.; Afanasiev, A.; Okawa, D.; Ikuno, T.; Garcia, H.; Li, D.; Majumdar, A.; Zettl, A. Isotope Effect on the Thermal Conductivity of Boron Nitride Nanotubes. Phys. Rev. Lett. 2006, 97 (8), 085901. https://doi.org/10.1103/PhysRevLett.97.085901.

(65)	Ouyang, T.; Chen, Y.; Xie, Y.; Yang, K.; Bao, Z.; Zhong, J. Thermal Transport in Hexagonal Boron Nitride Nanoribbons. Nanotechnology 2010, 21 (24), 245701. https://doi.org/10.1088/0957-4484/21/24/245701.

(66)	Lindsay, L.; Broido, D. A. Theory of Thermal Transport in Multilayer Hexagonal Boron Nitride and Nanotubes. Phys. Rev. B 2012, 85 (3), 035436. https://doi.org/10.1103/PhysRevB.85.035436.

(67)	Illera, S.; Pruneda, M.; Colombo, L.; Ordejón, P. Thermal and Transport Properties of Pristine Single-Layer Hexagonal Boron Nitride: A FIrst Principles Investigation. Phys. Rev. Mater. 2017.

(68)	Dong, H.; Hirvonen, P.; Fan, Z.; Ala-Nissila, T. Heat Transport in Pristine and Polycrystalline Single-Layer Hexagonal Boron Nitride. Phys. Chem. Chem. Phys. 2018, 20 (38), 24602–24612. https://doi.org/10.1039/C8CP05159C.

(69)	Lindsay, L.; Broido, D. A. Enhanced Thermal Conductivity and Isotope Effect in Single-Layer Hexagonal Boron Nitride. Phys. Rev. B 2011.

(70)	Rahman, Md. H.; Islam, M. S.; Islam, M. S.; Chowdhury, E. H.; Bose, P.; Jayan, R.; Islam, M. M. Phonon Thermal Conductivity of the Stanene/hBN van Der Waals Heterostructure. Phys. Chem. Chem. Phys. 2021, 23 (18), 11028–11038. https://doi.org/10.1039/D1CP00343G.

(71)	Sevik, C.; Kinaci, A.; Haskins, J. B.; Çağın, T. Influence of Disorder on Thermal Transport Properties of Boron Nitride Nanostructures. Phys. Rev. B 2012, 86 (7), 075403. https://doi.org/10.1103/PhysRevB.86.075403.

(72)	Klemens’, P. G.; Pedraza, D. F. THERMAL CONDUCTIVITY OF GRAPHITE IN THE BASAL PLANE.

(73)	Jo, I.; Pettes, M. T.; Lindsay, L.; Ou, E.; Weathers, A.; Moore, A. L.; Yao, Z.; Shi, L. Reexamination of Basal Plane Thermal Conductivity of Suspended Graphene Samples Measured by Electro-Thermal Micro-Bridge Methods. AIP Adv. 2015, 5 (5), 053206. https://doi.org/10.1063/1.4921519.

(74)	Sadeghi, M. M.; Jo, I.; Shi, L. Phonon-Interface Scattering in Multilayer Graphene on an Amorphous Support. Proc. Natl. Acad. Sci. 2013, 110 (41), 16321–16326. https://doi.org/10.1073/pnas.1306175110.

(75)	Jang, W.; Chen, Z.; Bao, W.; Lau, C. N.; Dames, C. Thickness-Dependent Thermal Conductivity of Encased Graphene and Ultrathin Graphite. Nano Lett. 2010, 10 (10), 3909–3913. https://doi.org/10.1021/nl101613u.

(76)	Li, Q.-Y.; Xia, K.; Zhang, J.; Zhang, Y.; Li, Q.; Takahashi, K.; Zhang, X. Measurement of Specific Heat and Thermal Conductivity of Supported and Suspended Graphene by a Comprehensive Raman Optothermal Method. Nanoscale 2017, 9 (30), 10784–10793. https://doi.org/10.1039/C7NR01695F.

(77)	Yang, J.; Ziade, E.; Maragliano, C.; Crowder, R.; Wang, X.; Stefancich, M.; Chiesa, M.; Swan, A. K.; Schmidt, A. J. Thermal Conductance Imaging of Graphene Contacts. J. Appl. Phys. 2014, 116 (2), 023515. https://doi.org/10.1063/1.4889928.

(78)	Seol, J. H.; Jo, I.; Moore, A. L.; Lindsay, L.; Aitken, Z. H.; Pettes, M. T.; Li, X.; Yao, Z.; Huang, R.; Broido, D.; Mingo, N.; Ruoff, R. S.; Shi, L. Two-Dimensional Phonon Transport in Supported Graphene. Science 2010, 328 (5975), 213–216. https://doi.org/10.1126/science.1184014.

(79)	Liu, J.; Wang, T.; Xu, S.; Yuan, P.; Xu, X.; Wang, X. Thermal Conductivity of Giant Mono- to Few-Layered CVD Graphene Supported on an Organic Substrate. Nanoscale 2016, 8 (19), 10298–10309. https://doi.org/10.1039/C6NR02258H.

(80)	Judek, J.; Gertych, A. P.; Świniarski, M.; Łapińska, A.; Dużyńska, A.; Zdrojek, M. High Accuracy Determination of the Thermal Properties of Supported 2D Materials. Sci. Rep. 2015, 5, 12422. https://doi.org/10.1038/srep12422.

(81)	Machida, Y.; Matsumoto, N.; Isono, T.; Behnia, K. Phonon Hydrodynamics and Ultrahigh–Room-Temperature Thermal Conductivity in Thin Graphite. Science 2020, 367 (6475), 309–312. https://doi.org/10.1126/science.aaz8043.

(82)	Li, H.; Ying, H.; Chen, X.; Nika, D. L.; Cocemasov, A. I.; Cai, W.; Balandin, A. A.; Chen, S. Thermal Conductivity of Twisted Bilayer Graphene. Nanoscale 2014, 6 (22), 13402–13408. https://doi.org/10.1039/C4NR04455J.

(83)	Chen, S.; Moore, A. L.; Cai, W.; Suk, J. W.; An, J.; Mishra, C.; Amos, C.; Magnuson, C. W.; Kang, J.; Shi, L.; Ruoff, R. S. Raman Measurements of Thermal Transport in Suspended Monolayer Graphene of Variable Sizes in Vacuum and Gaseous Environments. ACS Nano 2011, 5 (1), 321–328. https://doi.org/10.1021/nn102915x.

(84)	Chen, S.; Li, Q.; Zhang, Q.; Qu, Y.; Ji, H.; Ruoff, R. S.; Cai, W. Thermal Conductivity Measurements of Suspended Graphene with and without Wrinkles by Micro-Raman Mapping. Nanotechnology 2012, 23 (36), 365701. https://doi.org/10.1088/0957-4484/23/36/365701.

(85)	Lee, J.-U.; Yoon, D.; Kim, H.; Lee, S. W.; Cheong, H. Thermal Conductivity of Suspended Pristine Graphene Measured by Raman Spectroscopy. Phys. Rev. B 2011.

(86)	Malekpour, H.; Ramnani, P.; Srinivasan, S.; Balasubramanian, G.; Nika, D. L.; Mulchandani, A.; Lake, R. K.; Balandin, A. A. Thermal Conductivity of Graphene with Defects Induced by Electron Beam Irradiation. Nanoscale 2016, 8 (30), 14608–14616. https://doi.org/10.1039/C6NR03470E.

(87)	Faugeras, C.; Faugeras, B.; Orlita, M.; Potemski, M.; Nair, R. R.; Geim, A. K. Thermal Conductivity of Graphene in Corbino Membrane Geometry. ACS Nano 2010, 4 (4), 1889–1892. https://doi.org/10.1021/nn9016229.

(88)	Fugallo, G.; Cepellotti, A.; Paulatto, L.; Lazzeri, M.; Marzari, N.; Mauri, F. Thermal Conductivity of Graphene and Graphite: Collective Excitations and Mean Free Paths. Nano Lett. 2014, 14 (11), 6109–6114. https://doi.org/10.1021/nl502059f.

(89)	Saleta Reig, D.; Varghese, S.; Farris, R.; Block, A.; Mehew, J. D.; Hellman, O.; Woźniak, P.; Sledzinska, M.; El Sachat, A.; Chávez-Ángel, E.; Valenzuela, S. O.; van Hulst, N. F.; Ordejón, P.; Zanolli, Z.; Sotomayor Torres, C. M.; Verstraete, M. J.; Tielrooij, K.-J. Unraveling Heat Transport and Dissipation in Suspended MoSe2 from Bulk to Monolayer. Adv. Mater. 2022, 34 (10), 2108352. https://doi.org/10.1002/adma.202108352.

(90)	Pisoni, A.; Jacimovic, J.; Barišić, O. S.; Walter, A.; Náfrádi, B.; Bugnon, P.; Magrez, A.; Berger, H.; Revay, Z.; Forró, L. The Role of Transport Agents in MoS2 Single Crystals. J. Phys. Chem. C 2015, 119 (8), 3918–3922. https://doi.org/10.1021/jp512013n.

(91)	Yan, R.; Simpson, J. R.; Bertolazzi, S.; Brivio, J.; Watson, M.; Wu, X.; Kis, A.; Luo, T.; Hight Walker, A. R.; Xing, H. G. Thermal Conductivity of Monolayer Molybdenum Disulfide Obtained from Temperature-Dependent Raman Spectroscopy. ACS Nano 2014, 8 (1), 986–993. https://doi.org/10.1021/nn405826k.

(92)	Jo, I.; Pettes, M. T.; Ou, E.; Wu, W.; Shi, L. Basal-Plane Thermal Conductivity of Few-Layer Molybdenum Disulfide. Appl. Phys. Lett. 2014, 104 (20), 201902. https://doi.org/10.1063/1.4876965.

(93)	Yu, Y.; Ibn Minhaj, T.; Huang, L.; Yu, Y.; Cao, L. In-Plane and Interfacial Thermal Conduction of Two-Dimensional Transition-Metal Dichalcogenides. Phys. Rev. Appl. 2020, 13. https://doi.org/10.1103/PhysRevApplied.13.034059.

(94)	Bae, J. J.; Jeong, H. Y.; Han, G. H.; Kim, J.; Kim, H.; Kim, M. S.; Moon, B. H.; Lim, S. C.; Lee, Y. H. Thickness-Dependent in-Plane Thermal Conductivity of Suspended MoS2 Grown by Chemical Vapor Deposition. Nanoscale 2017, 9 (7), 2541–2547. https://doi.org/10.1039/C6NR09484H.

(95)	Morell, N.; Tepsic, S.; Reserbat-Plantey, A.; Cepellotti, A.; Manca, M.; Epstein, I.; Isacsson, A.; Marie, X.; Mauri, F.; Bachtold, A. Optomechanical Measurement of Thermal Transport in Two-Dimensional MoSe2 Lattices. Nano Lett. 2019, 19 (5), 3143–3150. https://doi.org/10.1021/acs.nanolett.9b00560.

(96)	Chen, K.; Song, B.; Ravichandran, N. K.; Zheng, Q.; Chen, X.; Lee, H.; Sun, H.; Li, S.; Udalamatta Gamage, G. A. G.; Tian, F.; Ding, Z.; Song, Q.; Rai, A.; Wu, H.; Koirala, P.; Schmidt, A. J.; Watanabe, K.; Lv, B.; Ren, Z.; Shi, L.; Cahill, D. G.; Taniguchi, T.; Broido, D.; Chen, G. Ultrahigh Thermal Conductivity in Isotope-Enriched Cubic Boron Nitride. Science 2020, 367 (6477), 555–559. https://doi.org/10.1126/science.aaz6149.

(97)	Inyushkin, A. V. Thermal Conductivity of High Purity Synthetic Single Crystal Diamonds. Phys. Rev. B 2018.

(98)	Cepellotti, A.; Fugallo, G.; Paulatto, L.; Lazzeri, M.; Mauri, F.; Marzari, N. Phonon Hydrodynamics in Two-Dimensional Materials. Nat. Commun. 2015, 6, 6400. https://doi.org/10.1038/ncomms7400.

(99)	Fournier, D.; Marangolo, M.; Fretigny, C. Measurement of Thermal Properties of Bulk Materials and Thin Films by Modulated Thermoreflectance (MTR). J. Appl. Phys. 2020, 128 (24), 241101. https://doi.org/10.1063/5.0019025.

(100)	Rahimi, M.; Sobnath, K.; Mallet, F.; Lafarge, P.; Barraud, C.; Daney de Marcillac, W.; Fournier, D.; Della Rocca, M. L. Complete Determination of Thermoelectric and Thermal Properties of Supported Few-Layer Two-Dimensional Materials. Phys. Rev. Appl. 2023, 19 (3), 034075. https://doi.org/10.1103/PhysRevApplied.19.034075.