| Supplemental Table 3. MRI acquisition parameters using the MAGNETOM Vida 3.0T device |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | T1WI | T2WI | 3D FLAIR | T2*WI | 3D MR hydrography (CISS) |  | 3D T1WI (MPRAGE) |  |
| Acuisition plane | 2D axial | 2D axial | 3D sagittal | 2D Axial | 3D Axial |  | 3D sagittal |  |
| TR (ms) | 500 | 4000 | 10000 | 600 | 5.6 |  | 1700 |  |
| TE (ms) | 13 | 89 | 118 | 20 | 2.46 |  | 2.08 |  |
| TI (ms) | NA | NA | 2600 | NA | NA |  | 900 |  |
| ETL | NA | 15 | 180 | NA | NA |  | NA |  |
| Flip angle (degrees) | 70 | 90 | 90 | 20 | 40 |  | 8 |  |
| BW (Hz/Pixel) | 200 | 349 | 651 | 230 | 504 |  | 230 |  |
| FOV (cm) | 24x19.5 | 24x19.5 | 25.6x25.6 | 24x19.5 | 18x18 |  | 25.6x25.6 |  |
| Matrix size | 320x192 | 512x410 | 256x256 | 320x256 | 320x320 |  | 256x256 |  |
| ST (mm) | 5 | 5 | 1.4 | 5 | 0.6 |  | 1 |  |
| Gap | 1 | 1 |  | 1 |  |  |  |  |
| NEX | 1 | 2 | 1 | 1 | 1 |  | 1 |  |
| AF | NA | 2 | 6 | 2 | NA |  | 2 |  |
| AT | 2min. 37sec. | 1min. 40sec. | 4min. 52sec. | 1min. 19sec. | 3min. 17sec. |  | 3min. 56sec. |  |
| Note. 3D MR hydrography, Three-dimensional magnetic resonance hydrography; CISS, Constructive interference in steady state; MPRAGE, Magnetization prepared rapid acquisition with gradient echo; TR, Repetition time; TE, Echo time; TI, Inversion time; ETL, Echo train length; BW, Band width; FOV, Field of view; ST, Slice thickness; NEX, Number of excitation; AF, Acceleration factor; AT, Acquisition time; NA, Not applicable. |  |  |  |  |  |  |  |  |