### Supplemental Figure 1. Detailed timelines for each of the three Microtumor and OBSC assays (A) The assay for measuring the survival of established tumor lines involves measuring an Mcherry signal on Day 1.  (B) Patient Tumor are transfected just before being seeded, so the signal cannot be measured on Day 1.  Each microtumor is seeded with an equal volume of tumor tissue. (C) The OBSC toxicity assay relies on a Propidium Iodide (P.I.) signal of cell death, and thus the creation of a positive control group is necessary.

### Supplemental Figure 2. ShinyApp used to expedite the recording of experimental metadata  (A) The left-hand side of the screen features a scrollable form which allows users to specify treatment, tumor, doses, etc. for a given experiment.  Many fields allow users to select from drop-down lists to increase efficiency and consistency. (B) The Metadata Render panel allows users to preview the csv output and download it.  (C) The Metadata Explainer provides instructions on how to input metadata correctly.

### Supplemental Figure 3.  Investigating automation’s impact in cases where microtumor survival measurements differed. (A) A Bland-Altman graph comparing Manual and Automated Image Analysis, highlighting the four microtumor experiments that accounted for all differences greater than 50% (B) A Dose-Response plot for PT21450 vs. Temozolomide 04/25/2022.  Automated results either maintained or increased consistency within dose groups.  A general shift downward across the non-control groups indicates that an improved measurement of negative control micro-tumors improved all other results. (C) The Dose-Response plot for MS21 vs. Trametinib 02/17/2022 also shows improved consistency at every dose group.  Some microtumors that had been manually measured as very high were found to be comparable to other replicates after Automation. (D) The Dose-Response Plot for MS21 vs. Gemcitabine 03/31/2022.  Although automation reduces consistency at 1 μM, this measurement is because that micro-tumor had an extremely dim Day 1 signal, resulting in a high normalized measurement.  Thus, automation produced an accurate measurement of this microtumor’s growth rate, and the result would be filtered out in subsequent outlier removal. (E) The Bland-Altman for OBSC toxicity experiments, with the other experiment that featured disagreements, OBSC vs. Temozolomide 04/04/2022, highlighted in pink. (F) This experiment also displays a pattern of survival measurements being increased across all doses, indicating that an improvement in control measurements improved overall experimental results.

### Supplemental Figure 4. Comparisons of manual and automated survival measurements across all experiments.

### Supplemental Figure 5.  Decreasing Model Examples. An example of each decreasing model type in our pipeline being selected as the best fit model for a given experiment.  The selected model is shown in pink, with the other models included for comparison. (A) The exponential decay model fitted to U373KO vs Lomustine 02072022. (B) The Log-Logistic model fitted to MS21 vs Cisplatin 02172022. (C) The first parameterization of the Weibull model fitted to MS21 vs Cisplatin 02212022. (D) The second parameterization of the Weibull model fitted to PT210468 vs TR107 09082021.

### Supplemental Figure 6.  Growth Model Experiments. An example of each growth model type in our pipeline being selected as the best fit model for a given experiment.  The selected model is shown in pink, with the other models included for comparison. (A) The standard Brain-Cousens model fitted to U373KO vs TR107 02242022.   (B) The Reparametrized Brain-Cousens model fitted to PT210508 vs Vincristine 09302022. Note that the standard parameterization was not fit successfully to this data.  (C) The Cedergreen-Ritz-Streibig 4a model fitted to MS21 vs Lomustine 03312022.  (D) The Cedergreen-Ritz-Streibig 4a model fitted to LN229 vs Lomustine 02142022, a Plateau experiment. (E) The Cedergreen-Ritz-Streibig 4c model fitted to PT210450 vs Temozolomide 04252022. (F) The Cedergreen-Ritz-Streibig 5b model fitted to MS21 vs Etoposide 03312022.

### Supplemental Figure 7.  Additional details about model fitting. (A) An illustration of how linear interpolation (black) is used to generate an initial guess for the Exponential Decay model (blue, dashed) leading to successful model fitting (pink) (B) The distribution of models selected across the experiments analyzed in this paper.

### Supplemental Figure 8.  DSS Comparison – DIPG vs. Etoposide. Comparing Manual and Automated results for DIPG vs Etoposide, where automation increased the DSS by 41 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score, with pink and light. (D) Automated DSS parameters and score.

### Supplemental Figure 9. DSS Comparison – LN229 vs. Etoposide. Comparing Manual and Automated results for LN229 vs Etoposide, where automation increased the DSS by 13 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score. (D) Automated DSS parameters and score.

### Supplemental Figure 10.  DSS Comparison – MS21 vs. Cisplatin. Comparing Manual and Automated results for MS21 vs Cisplatin, where automation increased the DSS by 2 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score. (D) Automated DSS parameters and score.

### Supplemental Figure 11. DSS Comparison – PT210468 vs. TR107. Comparing Manual and Automated results for PT210468 vs TR107, where automation decreased the DSS by -5 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score. (D) Automated DSS parameters and score.

### Supplemental Figure 12.  DSS Comparison – PT220029 vs. Radiation. Comparing Manual and Automated results for PT220029 vs Radiation, where automation decreased the DSS by -17 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score. (D) Automated DSS parameters and score.

### Supplemental Figure 13.  DSS Comparison – PT210508 vs. Trametinib. Comparing Manual and Automated results for PT210508 vs Trametinib, where automation decreased the DSS by -29 points.  (A) Manual image analysis and dose-response data. (B) Automated image analysis data and dose-response model (C) Manual DSS parameters and score. (D) Automated DSS parameters and score.